ArnettJE@aol.com

12/13/2005 05:08 PM	To

Group Ow-Docket@EPA

cc

bcc

Subject

Comments:  EPA Docket ID No. OW-2005-024

Please find attached comments to be filed on the subject docket.  Please

let the undersigned know if there are any difficulties in the transmission.

Thank you.

John E. Arnett

Government Affairs Counsel

Copper and Brass Fabricators Council

1050 17th Street NW, Suite 440

Washington, DC 20036

202-833-8575

202-331-8267 (fax)

arnettje@aol.com

COPPER AND BRASS FABRICATORS COUNCIL, INC.

# 1050 Seventeenth Street, NW, Suite 440

Washington, DC   20036

202-833-8575

arnettje@aol.com

December 13, 2005

Water Docket

Docket ID No. OW-2005-024

U.S. Environmental Protection Agency

Mailcode 4101T

1200 Pennsylvania Avenue, NW

Washington, DC  20460

RE: Availability of and Procedures for Removal Credits;  EPA Docket ID No. OW –2005-024; Federal Register Notice 70 Fed. Reg. 60199, October 14, 2005.

Dear Sirs:

On behalf of the Copper and Brass Fabricators Council, Inc. (“Council”), set forth below are comments in response to the Office of Water’s advance notice of proposed rulemaking and request for comments, “Availability of and Procedures for Removal Credits,” published in the October 14, 2005, Federal Register at 70 Fed. Reg. 60199.  (Hereafter “ANPR”).  The Council welcomes the opportunity to comment on the agency’s procedures for calculating removal credits for Publicly Owned Treatment Works (POTWs).

The Copper and Brass Fabricators Council is a trade association that represents the principal copper and brass mills in the United States.  The 20 member companies (see attached appendix A for a list of member companies) together account for the fabrication of more than 80% of all copper and brass mill products produced in the United States, including sheet, strip, plate, foil, bar, rod, and both plumbing and commercial tube.  These products are used in a wide variety of applications, chiefly in the automotive, construction, and electrical/electronic industries. Many Council member companies qualify as small businesses (750 employees or less) under the definitions of the Small Business Administration, classified within the 1997 North American Industrial Classification System code 331421, “Copper rolling, drawing, and extruding.”

On May 20, 2004, in response to an Office of Management and Budget request for nominations of regulations for reform, the Council submitted eight regulatory nominations, seven of which were environmentally related.  One of those seven nominations was removal credits for POTWs and is summarized as follows:

Removal Credits for POTW’s:

Agency:  U.S. Environmental Protection Agency.

Citation:  40 C.F.R. 403.7

Authority:  Clean Water Act, 33 U.S.C. 1251-1387

Description of Problem:  Under the provisions of the Clean Water Act, limits are place on the amount of a pollutant that an industrial water discharger in a particular industrial category is allowed to discharge.  In many cases, the effluent from the industrial discharger is sent to a publicly owned treatment work (POTW) and the effluent undergoes further treatment.  As provided by statue and under procedures outlined in 40 C.F.R. 403.7, POTWs with the capability to remove pollutants may apply for authorization to grant “removal credits” to facilities which discharge to the POTW, for the purpose of avoiding the unnecessary expense of treating the effluent twice.  The effect of the removal credit is to grant to the NPDES permit holder a higher limit on the subject pollutant than would otherwise be allowed, with no increase in the level of that pollutant ultimately discharged by the POTW to the waterways.  Removal credits are most critical to indirect, categorical dischargers (those facilities, usually small businesses, which discharge to a POTW) whose volumes are too small to justify the investment in treatment equipment dedicated to their operations.  If POTWs do not have removal credit authority, then the small indirect discharger is prevented from trucking waste to the POTW, even though the POTW has the capacity to treat the waste in question and the industrial discharger does not.  As a result, the small discharger is required to invest in dedicated treatment facilities that are not economical to operate due to small volume, and POTWs lose a potential revenue stream.  The problem arises from the unreasonable procedures established in 40 C.F.R. 403.7, which make it extremely difficult to obtain removal credits, and require testing procedures that do not accurately reflect the actual pollutant removal capability of the POTW.  For example, 40 C.F.R. 403.7(b) requires that the POTW calculate the removal rate based on the average of the lowest half of the removal measurements taken according to listed procedures.  As a result, many qualified POTWs are not granted removal credit authority, many are discouraged from even applying, and industrial users of the POTW must treat the effluents prior to the POTW treating the effluent, creating expenses with no benefit.

Proposed Solution:  The regulations governing removal credits should be revised to more accurately reflect the total removal by the POTW.  The overall procedures in 403.7 for a POTW to apply for removal credit authority should be modified to facilitate the granting of the authority when justified.

Estimate of Economic Impacts.  National cost impact is not determined.  The impact is especially onerous on smaller manufacturers who legitimately should be able to rely on the capability of the POTW to remove certain pollutants.  For any POTW, several small businesses being served may each be required to install and operate unnecessary on-site treatment facilities because the POTW has not been granted authority to grant removal credits for pollutants that the POTW is fully capable of removing.

We appreciate that the Agency has responded to this nomination with the October 14 ANPR and request for comment on possible solutions to the problem discussed in our nomination.  We will more fully discuss the problem with the present standard, and discuss the requirements for potential solutions.

I.  The Current Regulations Do Not Treat Direct Dischargers and Indirect Dischargers/POTWs with the Parity Required by the Clean Water Act.

The Clean Water Act (CWA) provided for removal credits to avoid the very serious and unnecessary cost burden of redundant treatment of wastes by POTWs and the indirect discharger.  To avoid this wasteful cost, the CWA requires that the POTW be authorized to give credit to the indirect discharger for removal of pollutants achieved by the POTW.  In this way, the combined removal of the POTW and the indirect discharger are equated to the amount of pollutant removal by a direct discharger operating under an applicable technology standard.  As will be made clear in the following, the present removal credit regulation does not create the required parity between the discharges of direct dischargers and indirect dischargers/POTWs.

The Agency has requested comment on options to amend the consistent removal provisions of the regulation that would simplify or improve the process for obtaining removal credits and still be consistent with prior court decisions.  This is in response to the court’s decision in NRDC v. EPA, 790 F.2d 289 (3rd Cir. 1986), where the court held that the EPA’s definition of consistent removal based on an average of all test results was invalid.  Id. at 305.  The court reasoned that averaging all test results from the POTW’s pollutant reduction assured that the combined discharge from the industrial source and the POTW would satisfy a given standard only 50% of the time.  Id. at 300.  The court emphasized that the CWA, while encouraging removal credits, required that the combination of indirect discharger/POTW discharge meet the same standard as the direct discharger.  Id. at 301.

It is clear from the above that the court was concerned about the parity of treatment of direct discharger and the combined treatment of the indirect discharger and the POTW. Further, the court was quite concerned about the effect of isolated concentration discharges exceeding a daily limit.  Ironically, the current system of compliance enforcement for direct dischargers is very different from the indirect discharger under the 1981 version of the removal credits regulation currently in effect, primarily because compliance demonstrations for direct dischargers do not eliminate from consideration the best 50% of the compliance sampling results.  But that is precisely what it does for the POTW portion of the combined indirect discharger/POTW removal. In addition, the indirect discharger/POTW unit is disadvantage because, when considering the possibility of high excursions best illustrated by the "Daily Maximum" limitations, there is not a linking of the least removal from the POTW to the day of highest discharge from the indirect discharger.

To illustrate, assume that a direct discharger were required to sample three consecutive days on two different occasions during a year. The average of those three results would be used to determine compliance with the Monthly Average Limit and the highest single day's discharge would be used to compare to the Daily Maximum Limit used to protect against a concentrated discharge. Each of the two sampling events is imputed to represent the performance of the facility over the previous six months. The best two days of data are only disregarded for the Daily Maximum Limit compliance demonstration. They are not ignored for the Monthly Average Limit. By contrast, under the current rules, indirect dischargers are treated in a largely opposite manner. The best 50% of the effluent removal measurements are ignored when calculating the Monthly Average Limit compliance, while the effect of the worst removal performance on a Daily Maximum result is diluted by averaging it in with five other monthly sampling results.  Hence, the indirect dischargers are held to a stricter standard than direct dischargers, and the parity envisioned by the Congress in the CWA is not achieved.

II.  The Agency Should Attempt to Bring Direct Dischargers and Indirect Dischargers/POTWs to Parity through Removal Credit Regulatory Change.

The Council encourages the EPA to explore more fully the merits of any methods proposed to calculate the removal by the POTW that would bring the removal credit regulations into parity with the system of regulating direct dischargers.

The present regulatory regime is overly burdensome in focusing on the worst 50% of the removal results over a twelve-sample period.  In addition, contrary to the assertions in NRDC,  it is not clear that eliminating the best 50% of removal rates and taking the average of the remaining 50% results in the indirect discharger/POTW combination being in compliance 75% of the time.  It likely results in a higher compliance rate.  For example, if the twelve removal rate results were eleven units of 10, and one unit of 30, the calculation would require that the 30 and five tens be eliminated.  The resulting average of the remaining worst 50% would be 10.  But this removal credit level would result in a compliance rate of 100%.  Clearly the assumptions made in the removal rate calculations in the NRDC  case should be reexamined.

The net result of any proposed change should be to bring direct dischargers and indirect dischargers/POTWs into parity while encouraging the reduction of redundant treatment.  Thus, Congress’ twin goals of consistent removal and avoidance of redundant treatment would be served.

In making regulatory changes to removal credit procedures, the Agency must guard against increasing the burden on either the POTW or the indirect dischargers through any increase in sampling and testing requirements.  Most importantly, the Agency must guard against creating any uncertainty or frequent changes in the standards that the indirect discharger must meet.

III.  Conclusion.

We thank the Agency for requesting comments on the issue of removal credits and for seeking a solution to the problem raised by the Council’s regulatory reform nomination.

We would encourage the Agency to seek additional input from various stakeholders to search for a comprehensive solution that works for all parties concerned, while providing the greatest amount of reduction in the pollutants discharged from indirect dischargers/POTWS.  If necessary, the Agency should solicit comments directly from parties directly affected by any change in regulations, such as POTWs themselves.

If you have any questions, please feel free to contact the Council.

Sincerely,

John Arnett

Government Affairs Counsel

Copper and Brass Fabricators Council

COPPER AND BRASS FABRICATORS COUNCIL, INC.

MEMBERSHIP LIST

December 8, 2005

ANSONIA COPPER & BRASS, INC.

P.O. Box 109

Ansonia, CT  06401

(203) 732-6673

BRUSH ENGINEERED MATERIALS, INC.

17876 St. Clair Avenue

Cleveland, OH  44110

(216) 383-6815

CAMBRIDGE-LEE INDUSTRIES, INC.

P.O. Box 14026

Reading, PA  19612

(610) 926-4141

CERRO FLOW PRODUCTS, INC.

P.O. Box 66800

St. Louis, MO  63166-6800

(618) 874-8670

CERRO METAL PRODUCTS CO.

P.O. Box 388

Bellefonte, PA  16823

(814) 355-6217

CHASE BRASS & COPPER COMPANY, INC.

P.O. Box 152

Montpelier, OH  43543

(419) 485-8956

CHICAGO EXTRUDED METALS COMPANY

1601 South 54th Avenue

Cicero, IL  60804

(708) 656-7900

DRAWN METAL TUBE COMPANY

P.O. Box 370

219 Elm Street

Thomaston, CT  06787

(718) 894-1442

EXTRUDED METALS

302 Ashfield Street

Belding, MI  48809

(616) 794-4842

HEYCO METALS, INC.

1069 Stinson Drive

Reading, PA  19605

(610) 926-4131X-2100

HUSSEY COPPER LTD.

Washington Street

Leetsdale, PA  15056-1099

(724) 251-4238

KOBE WIELAND COPPER PRODUCTS, LLC

P.O. Box 160

Pine Hall, NC  27042

(336) 427-6611

METALS AMERICA

135 Old Boiling Springs Road

Shelby, NC  28150

(215) 517-6000X-125

THE MILLER COMPANY

290 Pratt Street

Meriden, CT  06450-1010

(203) 639-5234

MUELLER INDUSTRIES, INC.

8285 Tournament Drive, #150

Memphis, TN  38125

(901) 753-3201

OLIN CORPORATION

427 N. Shamrock Street

East Alton, IL  62024-1174

(618) 258-2054

OUTOKUMPU AMERICAN BRASS

P.O. Box 981

Buffalo, NY  14240-0981

(716) 879-6979

PMX INDUSTRIES, INC.

5300 Willow Creek Drive, SW

Cedar Rapids, IA  52404-4303

(319) 368-7700X-1155

REVERE COPPER PRODUCTS, INC.

One Revere Park

Rome, NY  13440-5561

(315) 338-2332

WIELAND METALS, INC.

567 Northgate Parkway

Wheeling, IL  60090

(847) 537-3990