ATTACHMENT 17

GREEN OPERATING & MAINTENANCE PLAN

(GO&M Plan)

1. Introduction

The Owner and the Secretary acknowledge that the Owner has elected to participate in the Mark-to-Market Green Initiative, pursuant to which the Owner has entered into Green Commitments (as such term is defined in the document titled “Owner’s Green Commitments”) to rehabilitate and operate the Project in a manner that minimizes utility usage, furthers occupant health, and minimizes impact on the environment.  Owner acknowledges that this Green Operating & Maintenance Plan (“GO&M Plan”) is a material consideration in the Project’s eligibility for the Mark-to-Market Green Initiative and in the Owner’s eligibility for various incentives in connection therewith.

The Owner provides this GO&M Plan to show how it plans to fulfill the obligations required in the Owner’s Green Commitments for the life of the Mark-to-Market Use Agreement.  This GO&M Plan becomes a key component in HUD’s oversight and in determining the Owner’s compliance with its obligation.

2. Instructions

- Owners are required to use this form, as it may be revised from time to time, to provide the Project’s GO&M Plan for HUD review and approval.

- Definitions used in the GO&M Plan can be found in this Plan at section 3, Green Definitions.

- For each topic, HUD’s requirements are stated in plain text, instructions to the Owner are stated in italicized text, and instructions to the PAE are stated in yellow highlighted text.

- This form is intended to support the Owner’s Green Commitments document that is executed at the closing of the Mark-to-Market restructuring and is attached to the Restructuring Commitment and attached to and recorded with the Mark-to-Market Use Agreement.

- Owners are required to present an update to the GO&M Plan on the occurrence of any of these events:

- Request by HUD (not to occur more frequently than annually except if again prompted by any of the events listed in this section).

- Change in ownership.

- Change in management agent.

- Change in pest control operator.

- Change in circumstances that cause the Owner to request a modification of the approved GO&M Plan.

- HUD may request a one-time orientation call with the owner, management agent staff, HUD field office project manager and others as may be identified, to review the contents of this GO&M Plan.  The owner agrees to cooperate with such request.

3. Definitions

- Green Component Defined.  A “Green Component” is one that is not mandated by applicable codes or ordinances, is consistent with the Reserve for Replacements schedule agreed to in the Mark-to-Market restructuring, and has one or more of the following attributes, when compared with the comparable component that would normally be used by Owners of similar properties in the same market area who have not made a Green Commitment:

  - Materially lower electric / natural gas / heating fuel/ water/ other utility consumption.

  - Materially lower emissions of chemicals thought to be harmful to humans.

  - Materially longer useful life.

  - Materially more biodegradable.

  - Materially more easily recycled.

  - Materially lower use of raw materials/ materially more recycled content.

  - Materially less miles to transport materials to the Project.

- Green Operation Defined.  “Green Operation” is operation that conforms to the Green Commitments generally, conforms to the Traditional vs. Green Comparison for R4R attached hereto as Exhibit B specifically, that uses Green Components where prudent and appropriate for operations and replacements, and that uses products for cleaning and maintenance with a materially lower use of chemicals thought to be harmful to humans.

4. Green Rehabilitation

Requirement: Owner has reviewed the Traditional vs. Green Comparison for Rehab and Significant Additions attached here to as Exhibit A.  Owner agrees that such Exhibit accurately reflects Owner’s agreements for rehabilitation and significant additions, to be completed by insert Rehabilitation Escrow Deposit Agreement expiration date and otherwise as required in the executed Rehabilitation Escrow Deposit Agreement.  With respect to the rehabilitation designated as Green Components, Owner further agrees to follow Green Rehabilitation in carrying out such activities, and to document its compliance with this requirement.

5. Green Implementation of Replacements

Requirement: Owner has reviewed the Traditional vs. Green Comparison for R4R attached here to as Exhibit B. Owner agrees that such Exhibit accurately reflects Owner’s agreements for replacements. With respect to the replacements designated as Green Components, Owner agrees to replace various components with items broadly recognized as Green Components at such times as the useful lives of the existing components have expired. Owner agrees to document its compliance with this requirement.  Owner further agrees to provide a copy of each request for reimbursement from the Reserves for Replacement Account (including supporting documentation) to an office designated by the Secretary for monitoring the Owner’s compliance with the Green Commitments.

6. Green Maintenance

Requirement: Owner agrees to take all reasonable steps, to use materials and practices that are broadly recognized as being practical, feasible and less harmful to the residents and the environment, to follow Green Operation in the operation of the Project, including cleaning, maintenance, and replacement tasks, and to generally select and make best efforts to use cleaning and maintenance products that are Green Components.

The following narrative describes how the Owner will meet the Green Maintenance requirement. For example, the Owner should consider how to use appropriate practices to install and maintain Green Components (and train on-site staff and tenants, as applicable, in the use of the new Green Components).  The Owner should also consider how best to optimize the use of air quality compliant products, materials and practices, and where practicable,  use appropriate types of caulking, adhesives and sealants; use appropriate types of paints and coatings that contain no or less volatile organic compounds when compared to comparable products used by Projects not participating in the Mark-to-Market Green Initiative; implement a toxic material source reduction program, as necessary, for proper disposal of mercury contained in light bulbs and compact fluorescent lights; maintain carbon monoxide alarms; use appropriate types of refrigerants for cooling systems, if applicable, that use a product less harmful to the environment; dispose of construction debris and component replacement using both recycling and other methods that reduce the addition to landfills; and with respect to all practices, train existing and new staff in selection and use of appropriate products and practices.

7. Discounts, Rebates, Commissions and Other Savings

Requirement: The Owner acknowledges the existing Regulatory Agreement requirement to secure for the benefit of the Project all reasonably available discounts, rebates, commissions and other savings, which includes securing for the benefit of the Project any such benefits that are attributable to Green improvements.  The Owner agrees to periodically review programs for cost savings that may be available through the likely Federal, State and Local resources, Green Component manufacturers and utility companies, and to pursue those that the Owner determines are beneficial to the Project.

8. Resident Involvement, Outreach and Incentive Plan

Requirement: Owner shall operate the Project in accordance with the Resident Involvement, Outreach and Incentive Plan, as approved by the Secretary.  The Plan shall address the owner’s plans for involving, training and incentivizing tenants in the prudent operation of a Project that benefits from having Green Components installed and that follows Green Operation.  In developing the Plan, the Owner may rely on guidance from national organizations with a mission for improving the indoor environmental quality and incorporating energy and water saving components in their housing.

The following narrative addresses the Owner’s plans for orienting residents to the Green Operation of the Project, seeking input on existing and future Green Operations, and incentivizing residents to promote Green Operations.  For example, the Owner should consider its plans for existing residents upon conversion to a Green Project and upon the move-in of new residents in the future.  The Owner should also evaluate each area where residents can have an impact on Green Operations and identify incentives (e.g., recognizing top energy savers and water savers,, improving the community facilities, extending hours of the Neighborhood Network Center, offering more or expanding existing job training programs) to reward the desired conduct.  The areas might include, for example, energy-saving items, water-saving items, recycling, carpooling, public transportation, compact fluorescent lighting (CFL) replacement programs, Green Welcome Package, Green Orientation Session, etc.  The Owner’s plan should show how the training will be sustained over the life of the Mark-to-Market Use Agreement.

(Resident Involvement, Outreach and Incentive Plan continued):

9. Integrated Pest Management Plan

Requirement: Owner shall ensure that pest management activities are undertaken in accordance with the Secretary’s requirements for an Integrated Pest Management Plan, as documented in the Mark-to-Market Program’s existing guidance as it may be amended from time to time. OAHP expects the Owner to generally adhere to these principles (from Draft Green Guide, Version 9, paragraph V.C.5):

  - “Periodic exterior inspection: identify and seal pest entry points.

- Interior unit inspection: look for evidence of roaches, mice, and other pests, and if evidence is found, identify and seal pest entry points and notify the pest control firm.

- IPM principles: incorporate IPM principles into third party pest control firm contract and/or into internal property management practices, as applicable, including:

(1)- The problem or pest is identified before taking action.

(2)- Vegetation, shrubs and wood mulch should be kept far enough away from structures to avoid attracting termites and to remove cover for rodents looking to enter the building.

(3)- Cracks and crevices in walls, floors and pavement are either filled or eliminated.

(4)- Garbage cans and dumpsters are cleaned regularly.

(5)- Litter is collected and disposed of properly at least once a week.

(6)- If fertilizers are used, they should be applied several times (e.g., spring, summer, fall) during the year, rather than one heavy application.

(7)- If pesticides are necessary, use spot treatments rather than area-wide applications.  In choosing among pesticides likely to be effective: (i) For roaches, prioritize baits, growth regulators, and boric acid as the primary pesticides. Focus on housekeeping issues and on avoiding introducing roaches during move-in; (ii) in general, give priority to the lowest-toxicity pesticide; and (iii) in general, avoid the use of spray applicators and fogging applicators.

(8)- Interior water leaks should be fixed as identified by inspectors or property management staff, or as reported by residents.”

The following narrative evidences the Owner’s commitment to establish and maintain an Integrated Pest Management Plan, a copy of which is attached as Exhibit C.  For example, the Owner should confirm that the selected pest control operator is experienced in IPM principles and practices, that the IPM Plan will be adopted at the Project, and that on-site staff and residents will be trained upon conversion to an IPM Plan and upon the move-in of new residents and change of staff in the future.

10. Temperature and Relative Humidity Monitoring

Requirement: Owner agrees that the Mark-to-Market restructuring plan incorporates the costs of purchasing, operating and maintaining devices to monitor and report temperature and relative humidity at the Project. Owner shall install devices to monitor and report temperature and relative humidity at the Project, for a period of three years after completion of the rehabilitation required in the Rehabilitation Escrow Deposit Agreement, pursuant to protocols that the Secretary provided prior to closing the Mark-to-Market restructuring (in the event the protocols are not provided, the funding for this requirement is included in the Rehabilitation Escrow, to be used when the Secretary provides the protocols). Owner may continue the monitoring beyond this time requirement at the Owner’s discretion; HUD may continue the monitoring at its expense.

The following narrative describes the Owner’s plans for installing and operating devices in apartments that will monitor temperature and relative humidity and transmitting it wirelessly to HUD in a format, on a frequency and according to the technical specifications provided by OAHP prior to closing.  The narrative should include the type, number, and location of devices to be installed.

11. Energy and Water Usage Monitoring

Requirement: Owner agrees that the Mark-to-Market restructuring plan incorporates the costs of monitoring and reporting energy and water usage at the Project, for a period of three years after completion of the rehabilitation required in the Rehabilitation Escrow Deposit Agreement, pursuant to protocols that the Secretary provides prior to closing the Mark-to-Market restructuring. Owner may continue the monitoring beyond this time requirement at the Owner’s discretion; HUD may continue the monitoring at its expense.

The following narrative describes the Owner’s plans for installing and operating devices that will monitor utility consumption and transmitting it wirelessly to HUD in a format, on a frequency and according to the technical specifications provided by OAHP prior to closing.  The narrative should include the type, number, and location of devices to be installed.

12. Resident Paid Energy and Water  Consumption

Requirement: Insert ‘Not Applicable’ if there will be no utility allowance following the Mark-to-Market Closing Date The owner’s commitment to monitor energy and water usage provides data that can be used to fulfill the owner’s existing and ongoing obligation to properly size the tenant utility allowance.  Twelve months after completing the required rehabilitation, the owner shall provide to the HUD field office project manager (or other designee) a request for re-determination of the utility allowance following existing HUD guidelines and including all available monitoring data for tenant usage for the most recent twelve months at the Project.  This data will be used to revise the tenant utility allowance, if necessary, to reflect actual utility usage post-rehabilitation.  Utility usage will thereafter be reviewed periodically in the same manner in order to fulfill owner’s obligation to ensure that the utility allowance is properly sized.

13. Green Property Management Certification

Requirement: Owner shall ensure that at least one representative of the property management (working on site or a direct supervisor of such staff) maintains a Green certification as prescribed by the Secretary in Exhibit D attached hereto. Owner further agrees to document its compliance with this requirement and provide evidence of compliance to HUD annually.

The following narrative includes the Owner’s plan to achieve initial compliance with the requirement and acknowledges the obligation to maintain compliance for the life of the Mark-to-Market Use Agreement.

14. Green Research Project Cooperation

Requirement: Through the Mark-to-Market Green Initiative, HUD and the Owner are taking steps at the Project to reduce utility usage, further occupant health, and be less harmful to the environment.  It is important to measure results; HUD has required, and the Owner has agreed, to measure utility consumption, temperature and humidity for a specific period of time to obtain tangible, meaningful data about savings and improvements at the Project.  The research community may also be interested in obtaining other data from the Project, such as air quality measurements or resident health surveys, in order to validate other benefits to the tenants.

Owner agrees that, if so requested by the Secretary, Owner will cooperate with research projects approved by the Secretary.  Owner will provide to researchers all of the following if requested by the Secretary to do so:

  - Access to the Project at reasonable times of the day and for reasonable amounts of time.

  - Access to Project information held by or under the control of the Owner and its agents and affiliates that is available to the Secretary.

  - Access to resident information only as specifically authorized by the Secretary.

  - The opportunity to interact with tenants of the Project at reasonable times of the day and for reasonable amounts of time, and as agreed to by the tenants.

  - In approving researchers, the Secretary shall impose such requirements as the Secretary deems appropriate to minimize administrative and other burdens on Owner, managing agent, and residents of the Project.

Submitted by:  _______________________________   Date:  ____________________

(Owner representative’s name printed)

Signature:  __________________________________

(Owner representative’s signature)

GREEN OPERATING AND MAINTENANCE PLAN

EXHIBIT A, DESCRIPTION OF REQUIRED REHABILITATION

Attach Exhibit A to the Rehabilitation Escrow Deposit Agreement, the Plug-In Significant Additions and the Plug-In Rehab pages here

GREEN OPERATING AND MAINTENANCE PLAN

EXHIBIT B, RESERVE FOR REPLACEMENTS SCHEDULE

Attach the 20-year schedule and Plug-In R4R page(s) here, noting the Green Components

accepted for implementation by the Owner.

GREEN OPERATING AND MAINTENANCE PLAN

EXHIBIT C, INTEGRATED PEST MANAGEMENT PLAN

Attach the IPM Plan here.

GREEN OPERATING AND MAINTENANCE PLAN

EXHIBIT D, GREEN PROPERTY MANAGEMENT CERTIFICATION REQUIREMENTS

Attach the current version of the requirements here.

# Text boxes

Property: __________________________________________

Physical Address:  __________________________________

City, State, Zip: _____________________________________

REMS ID: _____________   Date of this GO&M Plan: 01/01/01

Owner (Legal Name): _____________________________________________________

Contact Person: __________________________ ______________________________

Phone:  111-111-1111         Email:  __________________________________________

Management Agent: ______________________________________________________

Contact Person: _________________________________________________________

Phone:  111-111-1111         Email:  __________________________________________