STATEMENT OF WORK

- Objectives

The contractor will provide highly specialized preparation and analyses of bone specimens in support of studies in the Skeletal Clinical Studies Unit (SCSU) of the Craniofacial and Skeletal Diseases Branch (CSDB) of the National Institutes of Dental and Craniofacial Research.  These will primarily be, but not confined to, specimens from studies of patients with hypoparathyroidism.

- Approach

The contractor will receive fixed bone specimens obtained from patients at the NIH Clinical Center as part of the IRB-approved SCSU clinical studies.  He will process the specimens in his laboratory, and perform the agreed upon analyses.  Specimens are property of the US government, and except for those parts of the specimens needed for future reference by Dr. Dempster, will be returned upon completion of the analyses.  SCSU investigators and Dr. Dempster and his staff will review and analyze the results of his studies in a collaborative fashion and prepare figures representative of the findings for publication.

- Methods

i. Methods of tissue processing:

The bone samples will be processed as previously described (Ref.1).  The specimen is fixed, dehydrated, and embedded in methyl methacrylate without decalcification according to the following schedule:

a.	Fixative: 10% buffered formaldehyde for 24h;

b.	70% ethanol for 6-7days;

c.  	Absolute ethanol for 2 days;

d.  	Toluene for 2 days;

e.	Activated solution of methyl methacrylate for 4 days;

f. 	Exposure at 32°C, constant temperature, for 3 days.

Undecalcified sections are cut on a Reichert-Jung Polycut microtome by 3 levels in a biopsy core with approximately 150 (m apart between levels.  For each level, sections cut at 7 (m are stained with Goldner's trichrome, solochrome and toluidine blue, respectively, for routine morphology, and one section cut at 20 (m is mounted unstained for visualization of tetracycline fluorescence under ultraviolet light.  Goldner trichrome stain demonstrates bone section in best colors, solochrome stain discriminates well between mineralized and non-mineralized matrix (osteoid) and toluidine blue stain permits visualization of the bone cells, including osteoclasts.

ii. Methods of measurement:

Each section will be subjected to histology evaluation and histomorphometry, using computerized image analysis, as previously described in this laboratory (Ref 1). The computerized image analysis system consists of a digitizing tablet, a high resolution color video camera, a light microscope with fluorescence system, a color computer display and an OsteoMeasure computer software system (version 4.00c) for the quantitative analysis of areas, perimeters, distances and points.

The following parameters will be obtained by measurement on cancellous and cortical bone of the biopsy sections:

# Static Parameters

Osteoid perimeter (O.Pm/B.Pm),   Osteoid width (O.Wi), Osteoclast number (Oc.No/B.Pm), Eroded perimeter (E.Pm/B.Pm), and Wall width of cancellous bone packets (W.Wi)

# Dynamic parameters

Mineral apposition rate (MAR), Mineralized perimeter (Md.Pm/B.Pm), Bone formation rate, tissue level, perimeter referent (BFR/B.Pm), Adjusted apposition rate (Aj.AR), Formation period of trabecular bone packets (FP), Resorption period (Rs.P), Activation frequency (Ac.f)

# Structural parameters

Cancellous bone area (B.Ar/T.Ar), Ratio of bone surface to volume (B.Pm/B.Ar), Trabecular width (Tb.Wi), Trabecular number (Tb.N), Trabecular separation  (Tb.Sp), Cortical width (Ct.Wi), Cortical Porosity Density (Ct.Po.N/Ct.Ar ) and Cortical Porosity Area (Ct.Po.Ar).

- Personnel, Evaluation, and Schedule

    - Personnel

Dr. Dempster and his staff are experts in the area of the processing and evaluation of human bone biopsy specimens.

Personnel will comply with the rules and policies of the NIDCR and its staff.

    - Evaluation

If the contractor’s performance is found to be substandard in the judgment of the Project Officer, the contractors will initially receive notice of the problem from the Project Officer and will be required to take corrective measures and to demonstrate improved performance.

    - Schedule

The contractor will work with the investigators and collaborators on an as-need basis.  It is estimated there will be approximately 10 – 20 specimens per year for analysis.

5.  Reporting Requirements

The contractor will provide bone specimen processing and analysis to the SCSU, CSDB, DIR, NIDCR during the period of July 1, 2006 through June 3, 2007.  The CSDB, in consideration of the foretasted services, will pay a computed rate of $1000 per specimen processed and analyzed.  He will be required to submit statements to the SCSU investigators on an ad hoc basis as the work is completed.

Justification

Attached is a purchase request for $20,000.00. This is to request the services of Dr. David Dempster.  Under this contract Dr. Dempster will provide bone specimen processing and analyses to the SCSU, CSDB, DIR, NIDCR.  His contract will run from July 1, 2006 – June 30, 2007.

Dr. Dempster is a nationally-recognized expert in bone biology, and human bone specimen processing and analyses.  These are skills that we have been unable to secure on the NIH campus.  He has numerous publications in the field and has collaborated with several NIH researchers in the past as well as currently.

Appointment of Dr. Dempster is of critical importance to assure that the rare clinical specimens that are acquired as part of SCSU clinical studies are appropriately prepared and studied.  Lack of expertise will not only jeopardize the quality of the project and validity of the data, but will result in research subjects having gone through invasive research procedures for no benefit to the field.  For these reasons it is requested that this request be processed as quickly as possible.

Reference

1. Dempster DW, Cosman F, Kurland ES, Zhou H, Nieves J, Woelfert L, Shane E, Plavetic K, Muller R, Bilezikian J, Lindsay R 2001 Effects of daily treatment with parathyroid hormone on bone microarchitecture and turnover in patients with osteoporosis: A paired biopsy study. J Bone Miner Res 16(10): 1846-1853.