## Sheet1
PAR Vacuum Chamber Spares Accounting | [5 empty] | 2001-04-06
Spare designation | Spare dwg | Location | Appl. chamber (ring) | APS dwg | Length | Comments
S1-02 | -00009 | Bldg 382 | S1 & S1-B | -00009 & -100020 | 27.97 | S1-02 unfinished after feedhrough repair. Needs stripline, flange, pump port.
|  |  | S-1B | -00010 |  | S1-02 spare not compatible with S1-A location - (pump port interference with stand)
S2-08 | -00011 | Bldg 382 | S2 | -00011 | 12.375 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition.
S3-02 | -00016 | Bldg 382 | S3 & S9 | -100027 | 9.488
S4-02 | -00017 | Bldg 382 | S4 | -00017 | 14.196 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition.
SP5-01 | -00030 | Bldg 382 | S5 | -00013 | 27.3
SP6-01 | -00031 | Bldg 382 | S6 & S6-A | -00015 | 26.728 | Support brackets for spare not compatible with installed chamber
S7-03 | -00012 | Bldg 382 | S7 | -00012 | 14.196
S7-A-02 | -00046-01 | Hot cage | S7-A | -00046-00 | 23.155 | S7A-02 in hot cage has not been modified for bridge and will not fit.
S8-02/-04/-05 | -00032 | Hot cage | S-8 | -00032 | 6.102 | Original spare S8-03 found but flgs look bad. Three chambers from ring in hot cage.
S8-03 | -00032 | Bldg 382 |  |  |  | Original S8-02/-04/-05 removed from ring and replaced by valves, bellows, etc.
Cross chamber | -100200 | Bldg 382 | Extraction & Injection | -100100 | 13.88 | Primary subassembly found, but spare chamber not complete.
B2-03 | -00019 | Bldg 382 | B1 & B2 | -00019 |  | Verified each dipole magnet location to ensure there is sufficient space for lightport flg.
SPT-01 | -00029 | Bldg 382 | I-XFRMR | Elbio | 23.905 | Chamber fits but there is no matching hardware on "bridge" onto which to attach it
Other spare parts
Part | Drawing | Location | Properties | Quantity | Length | Comments
Chamber INS-1 | -100037 | 412 | Coated ceramic break | 4 | 4 | No longer used in ring after septum was redesigned
Pump support spool | -100041 | Bldg 382 |  | 1 | 7 | Possibly obsolete as drawn; but might be possible to modify to match what's in ring now
Bellows/spool Assy | -00047 | Bldg 382 |  | 3 | 7.5 | Obsolete as drawn; but looks possible to modify to match what's in ring now
Pump port subassembly | -00040 | Bldg 382 |  |  | 29
beam tube | -00003 | Bldg 378 | Inconel 625 | 1 | 60 | Not welded by e-beam; not suitable for making chambers
beam tube | -00003 | Bldg 378 | Inconel 625 | 1 | 13 | Only 10" of length is useable
beam tube | -00003 | Bldg 378 | Inconel 625 | 1 | 30
beam tube | -00003 | Bldg 378 | Inconel 625 | 1 | 4
formed plate (machined) | -00002 | Bldg 378 | Inconel 625 | 8 | 60 | Ready to weld by e-beam

## Sheet2
PAR Vacuum Chamber Spares Accounting | [7 empty] | List begins at septum and moves CCW (beam direction)
No. | Chmbr type | APS dwg | Serial | Length | Spare | Spare dwg | Location | Comments | Action
1 | Septum | [6 empty] | By others | n/a
2 | Extraction | -100100 |  | 13.88 |  | -100200 | Bldg 382 | Primary subassembly found, but chamber not complete. | 1
3 | S-6 | -00014 | S6-01 | 26.728 | SP6-01 | -00031 | Bldg 382 |  | 11
4 | S-8 | -00032 | S8-04 | 6.102 | S8-02/-04/-05 | -00032 | Hot cage | Original spare S8-03 found but flgs look bad. Three chambers from ring in hot cage. | 2
4 | Valve |  |  |  | S8-03 | -00032 | Bldg 382 | Original S8-04 removed from ring and replaced by valve. | n/a
5 | S1-B | -100020 | S1B-02 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
S1-02 spare with pump port is compatible with space available.
6 | B1 | -00018 | B1-06 |  | B2-02 | -00019 | Bldg 382 |  | 4
7 | S2 | -00011 | S2-07 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
8 | S7 | -00012 | S7-02 | 14.196 | S7-03 | -00012 | Bldg 382 |  | No
9 | Kicker | [6 empty] | By others | n/a
10 | S9 | -100027 | S9-02 | 9.488 | S3-02 | -00016 | Bldg 382 |  | No
11 | S1-A | -00010 | S1A-01 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
[8 empty] | Spare not compatible with S1-A location - (pump port interference) | 10
12 | B1 | -00018 | B1-04 |  | B2-02 | -00019 | Bldg 382 |  | 4
13 | S2 | -00011 | S2-09 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
14 | S5 | -00013 | S5-02 | 27.3 | SP5-01 | -00030 | Bldg 382 |  | No
15 | S2 | -00011 | S2-04 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
16 | B2 | -00019 | B2-01 |  | B2-03 | -00019 | Bldg 382 |  | No
17 | S1-A | -00010 | S1A-02 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
[8 empty] | Spare not compatible with S1-A location - (pump port interference) | 10
18 | I-XFRMR | Elbio | ????? | 23.905 | SPT-01 | -00029 | Bldg 382 | Chamber fits but there is no matching hardware on "bridge" onto which to attach it | 12
19 | S7-A | -00046-01 | S7A-01 | 23.155 | S7-A-02 | -00046-01 | Hot cage | S7A-02 in hot cage has not been modified | 7
20 | S2 | -00011 | S2-05 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
21 | B1 | -00018 | B1-05 |  | B2-02 | -00019 | Bldg 382 |  | 4
22 | S1-B | -100020 | S1B-01 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
S1-02 spare with pump port is compatible with space available.
23 | S8 | -00032 | S8-01 | 6.102 | S8-02/-04/-05 | -00032 | Hot cage | Original spare S8-03 found but flgs look bad. Three chambers from ring in hot cage. | 2
24 | RF-Cavity | [6 empty] | By others | n/a
25 | RF-Cavity | [6 empty] | By others | n/a
26 | S8 | -00032 | S8-02 | 6.102 | S8-02/-04/-05 | -00032 | Hot cage | Original spare S8-03 found but flgs look bad. Three chambers from ring in hot cage. | 2
26 | Bellows |  |  |  | S8-03 | -00032 | Bldg 382 | Original S8-02 removed from ring and replaced by bellows. | 9
27 | S1 | -00009 | S1-01 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
S1-02 spare with pump port is compatible with space available.
28 | B2 | -00019 | B2-02 |  | B2-03 | -00019 | Bldg 382 |  | No
29 | S2 | -00011 | S2-02 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
30 | S9 | -100027 | S9-01 | 9.488 | S3-02 | -00016 | Bldg 382 |  | No
31 | S7 | -00012 | S7-01 | 14.196 | S7-03 | -00012 | Bldg 382 |  | No
32 | Kicker | [6 empty] | By others | n/a
33 | S1-A | -00010 | S1A-03 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
[8 empty] | Spare not compatible with S1-A location - (pump port interference) | 10
34 | B1 | -00018 | B1-02 |  | B2-02 | -00019 | Bldg 382 |  | 4
35 | S2 | -00011 | S2-01 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
36 | S5 | -00013 | S5-01 | 27.3 | SP5-01 | -00030 | Bldg 382 |  | No
37 | S2 | -00011 | S2-03 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
38 | B1 | -00018 | B1-03 |  | B2-02 | -00019 | Bldg 382 |  | 4
39 | S1 | -00009 | S1-03 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
S1-02 spare with pump port is compatible with space available.
40 | S3 | -00016 | S3-01 | 9.488 | S3-02 | -00016 | Bldg 382 |  | No
41 | Kicker | [6 empty] | By others | n/a
42 | S4 | -00017 | S4-01 | 14.196 | S4-02 | -00017 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 6, 12
43 | S2 | -00011 | S2-06 | 12.375 | S2-08 | -00011 | Bldg 382 | Spare found in Diagnostic Grp long term storage. Need to evaluate condition. | 5
44 | B1 | -00018 | B1-01 |  | B2-02 | -00019 | Bldg 382 |  | 4
45 | S1-B | -100020 | S1B-03 | 27.97 | S1-02 | -00009 | Bldg 382 | S1-02 unfinished after feedhrough repair. Needs stripline, flg, pump port. | 3
S1-02 spare with pump port is compatible with space available.
46 | S8 | -00032 | S8-05 | 6.102 | S8-02/-04/-05 | -00032 | Hot cage | Original spare S8-03 found but flgs look bad. Three chambers from ring in hot cage. | 2
46 | Valve |  |  |  | S8-03 | -00032 | Bldg 382 | Original S8-05 removed from ring and replaced by valve. | n/a
47 | S6-A | -00015 |  | 26.728 | SP6-01 | -00031 | Bldg 382 | Supports for installed chamber not compatible with spare. | 11
48 | Injection | -00006 |  | 13.88 |  | -100200 | Bldg 382 | Primary subassembly found, but chamber not complete. | 1
ACTION ITEMS
1 | Procure parts for items having circular cross-section. Complete final assembly of spare Injection/Extraction chamber using existing subassembly.
2 | No action required for S-8 chambers because three chambers removed from ring were found in hot cage.
3 | Fab new striplines and flange. Complete final assembly of spare S-1 using existing subassembly.
4 | Magnets with B1 chambers have been checked for compatibility with spare B2 chamber which has lightport. Space for lightport is available at these locations.
5 | Evaluate need for cleaning and flange treatment. Must be leak checked (feedthroughs).
6 | Evaluate need for cleaning and flange treatment. Must be leak checked (feedthroughs).
7 | Need to decide how to make new chamber (modify old or make new)
8 | Serial numbers of chambers in the ring verified. B2 chambers are reversed on dwg -120000-01
9 | Who has responsibility for spare bellows?
10 | Need to build a spare S1-A chamber because S1 spare is incompatible.
11 | Compatibility of supports for spare chamber SP-6 must be checked out. Make hardware to install if necessary.
12 | Support issues:
S-4 spare needs an attachment.
SP-T needs the matching anchor which gets attached to "bridge".
SP-6 supports need addressing.

## Sheet3
PAR spares action list |  | 2001-05-24
Chamber type | Status of spare | Chamber work req'd? | Comments
S-1 | beam tube intact after remmoving leaky stripline | Yes | no new beam tube required
S-1A | S-1 spare would not fit in this location | Yes | beam tube is 28.470" long final
S-1B | Use spare S-1 | No
S-2 | Spare exists; needs cleaning and evaluation | No | Used byDiag Grp; concern for dust, feed throughs and flange condition
S-3 | Spare exists; needs cleaning and evaluation | No
S-4 | Spare exists; needs cleaning and evaluation | No | Used byDiag Grp; concern for dust, feed throughs and flange condition
SP-5 | Spare exists; needs cleaning and evaluation | No
SP-6 | Spare exists; needs cleaning and evaluation | No | Need to make supports compatible with installation in ring
S-7 | Spare exists; needs cleaning and evaluation | No
S-7A | No spare; original chamber is not the same | Yes | Need to make a new spare; beam tube finished is 22.671 long
S-8 | 3 spares exist; no action required | No
S-9 | No spare; original intent was to use S-3 | No
SPT-01 | Spare exists, but support is not compatible | No | Need to remove support from spare and design/fab new support
INJ/EXTR | rectangular portion complete | Yes | Need to add flanges and 2" diam. Portion
B-2 | Ready to go; ends are blanked | No