UNITED STATES ENVIRONMENTAL PROTECTION AGENCY

REGION III

1650 Arch Street

Philadelphia, Pennsylvania  19103

DATE:	June 23, 2008

SUBJECT:	Technical Support Document for the Notice of Proposed Rulemaking – Delaware; Control of Stationary Combustion Turbine Electric Generating Unit Emissions

FROM:	Gerallyn Duke, Environmental Scientist /s/

Office of Enforcement and Permits Review

TO:		File

THRU: 	Cristina Fernandez, Chief /s/

Air Quality Planning Branch

A.  BACKGROUND

Delaware Department of Natural Resources and Environmental Control (DNREC) has identified large stationary combustion turbines (“CTs”) as significant contributors to the release of nitrogen oxides (NOx), which is a precursor to the formation of ground-level ozone.  Ozone poses a significant threat to human health especially to the young, the elderly or anyone with impaired ability to breathe, as ozone harms the lungs.

CTs normally operate at peak times for the demand for electricity.  In Delaware, peak times are in the summer and coincide with hot and humid weather conditions that are conducive to the formation of ozone.  By reducing NOx emissions from CTs during the ozone season, the likelihood that Delaware’s air quality will exceed the federal standards for ozone is reduced.  This regulation will affect six existing CTs in Delaware, each with an installed capacity of 1 megawatt, none of which currently operate with any NOx pollution control equipment.

These six CTs emitted 2.21 tons of NOx per day in 2002, which is the most recent year for Delaware’s emissions inventory.  DNREC has determined that use of water injection technology would reduce NOx emissions by approximately 40 percent, or by 0.88 tons per day.  Water injection reduces the combustion temperature and consequently reduces NOx emissions.

On October 6, 2005, DNREC opened the proposed rulemaking proceeding in Start Action Notice 2005-10 to regulate and reduce the air emission of NOx from certain CTs used for electric generation.  DNREC published the proposed regulation, “Control of Stationary Turbine Electric Generating Unit Emissions,” on April 1, 2007 in the Delaware Register of Regulations and held a public hearing on April 26, 2007.  The public comment period for participants at the public hearing was extended until May 9, 2007.  The Hearing Officer’s Report, dated June 15, 2007 responds to the comments received.  Minor changes to the proposed regulatory language were made in response to comments received.

Secretary’s Order No. 2007-A-0023, dated June 19, 2007, approves Final Regulation, 7 DE Admin. Code 1148, “Control of Stationary Combustion Turbine Electric Generating Unit Emissions” in Delaware.  The effective date is July 11, 2007.

B.  EPA REQUIREMENTS

Delaware is part of the Philadelphia-Wilmington-Atlantic City ozone nonattainment area and it must take regulatory actions to improve air quality to meet the 8-Hour Ozone National Ambient Air Quality Standard (NAAQS) by 2010.  This regulation is one of many regulatory actions the Department has undertaken in recent years as part of its State Implementation Plan (SIP) which is a federal requirement to show that Delaware’s air quality will attain compliance with NAAQS by 2010.  No inconsistencies or inadequacies regarding EPA policy and the Clean Air Act have been identified.

C.  SUMMARY OF SIP REVISION:

This regulation requires that an owner or operator of an existing stationary combustion turbine electric generating unit located in Delaware with a base-load nameplate capacity of 1 MW or greater must, by May 1, 2009, either demonstrate that the existing stationary combustion turbine generating unit meets the emission limits listed below or must install NOx emission controls designed to meet these limits:

▫	For CTs that burn gaseous fuel – 42 parts per million volume, corrected to 15 percent O2 dry basis (ppmv) NOx

▫	For CTs that burn liquid fuel – 88 ppmv NOx.

Design of these limits was based on anticipated NOx emissions if water injection pollution control equipment were installed.

The six CTs affected by this regulation operate without any NOx pollution control equipment, although they are subject to regulations designed to control NOx emissions.  DNREC determined that the six sources could achieve significant reductions in their NOx emissions through the use of water injection equipment.  EPA has previously recognized this equipment and technology as reasonably available control technology (RACT).  Water injection is a proven, feasible technology that has been used in other states to reduce NOx emissions.

Owners or operators of covered units installing NOx emission reduction controls are required to submit an emissions control plan which details all actions to be taken to comply with the NOx emission limits set forth in this regulation.  These plans are due to DNREC for approval no later than April 11, 2008.  Compliance testing also is required for all units covered by this regulation.  Finally the owners or operators of covered units must submit for approval a monitoring plan, maintain an operating log during the ozone season, and submit required monitoring information to DNREC on an annual basis.  These requirements ensure that the NOx limits may be enforced.

- EVALUATION OF STATE SUBMITTAL

DNREC calculates that the above emission limits would reduce NOx emissions from CTs by 40 percent, or by 0.88 tons per day to approximately 1.33 tons per day.  Such a reduction would significantly improve air quality, particularly on days when CTs normally operate, i.e., hot humid days and when weather conditions are conducive to forming ground-level ozone.  Such an improvement is one of the many regulatory steps taken to meet the NAAQS.  DNREC maintains that this regulation will allow DNREC to fulfill Delaware’s federal regulatory responsibility to attain the NAAQS by 2010.

On September 11, 2007, Delaware submitted a letter notifying EPA of its revision to the SIP for Ozone by adopting Regulation No 1148 – Control of Stationary Combustion Turbine Electric Generating Unit Emissions.  The submittal included a certification that a public hearing was held in accordance with notice required by 40 CFR 51.102, affidavit of publication of the announcement of the public meeting for the proposed regulations in The News Journal and The Delaware State News, the Hearing Officer’s Report on the proposed regulation and public comments received, DNREC’s Response Document to Comments Submitted on the Proposed Adoption of Regulation No 1148, a copy of the final regulations, and a copy of the Secretary’s Order No. 2007-A-0023 which approves the final regulations.  EPA believes the state’s supporting materials are technically adequate.  As discussed above, under this revised SIP, six CTs are expected to install water injection technology by May 1, 2009.

This regulation is not expected to impact potential growth in the affected area.  This regulation does not apply to new generating units which might otherwise impact potential growth.  Also, because CTs generally are expensive to operate, these units are not expected to operate more frequently than during peak periods of demand for electricity.

The regulation is expected to result in reduced NOx emissions from significant sources of such emissions which have not installed emission controls under other air quality regulations.

E.  CONCLUSIONS AND RECOMMENDED AGENCY ACTION:

The SIP revision strengthens the Delaware SIP and is recommended for approval.