Before the

## Federal Communications Commission

## Washington, D.C. 20554

In the Matter of	)

)

Alpine Broadcasting Corporation	)	File No. EB-08-KC-0351

Licensee of Radio Stations KCTO and KCXL	)

Facility ID #1162, Liberty, MO and	)	NOV No.  V200932560001

Facility ID #136386, Cleveland, MO	)

)

)

NOTICE OF VIOLATION

Released:  November 7, 2008

By the District Director, Kansas City Office, South Central Region, Enforcement Bureau:

- This is a Notice of Violation (“Notice”) issued pursuant to Section 1.89 of the Commission’s Rules (“Rules”) to Alpine Broadcasting Corporation (“Alpine”), licensee of radio stations KCTO, Cleveland, MO and KCXL, Liberty, MO.

- On October 30, 2008 and November 3, 2008, agents of the Commission’s Kansas City Office of the Enforcement Bureau inspected radio station KCTO located at Cleveland, MO, and co-owned station KCXL, Liberty, MO and observed the following violation(s):

  - 47 C.F.R. § 73.1125(a): “… each AM… broadcast station shall maintain a main studio at one of the following locations: (1) Within the station’s community of license; (2) At any location within the principal community contour of any AM, FM or TV broadcast station licensed to the station’s community of license; or (3) Within twenty-five miles from the reference coordinates of the center of its community of license…”   “A station must equip the main studio with production and transmission facilities that meet applicable standards, maintain continuous program transmission capability, and maintain a meaningful management and staff presence.”  The Commission has defined a minimally acceptable “meaningful presence” as full-time managerial and full-time staff personnel.

At the time of these inspections, station management stated that the main studio for station KCTO was located at the office of an accountant, 3001 N. Hwy 291, Suite 6, Harrisonville, MO.   However, no signage designating that location as the KCTO main studio was made or posted until after the inspection began, and that signage was a small piece of paper taped to the door window where it was not clearly visible to vehicles passing that location.  According to station management, the main studio was staffed by the accountant/manager from 10 AM – 5 PM or 9 AM – 4 PM, Monday through Friday, but the main studio had no posted business hours.  No other station employees staffed the main studio.

  - 47 C.F.R. § 73.1125(e): “Each AM… broadcast station shall maintain a local telephone number in its community of license or a toll-free number.”  On October 30, 2008, according to station management, the licensee did maintain a toll-free telephone number for station KCTO.  However, according to senior management, the toll-free number was not available through directory assistance, was not posted in local phone books, was not aired on KCTO, and was not published in media where it would be available to the public.  When the agents called that number on October 30, 2008, it was answered at the Liberty, MO studio for station KCXL, not at the KCTO studio.  When the number was called again on November 3, 2008, it was answered by the accounting office in Harrisonville.  According to the accountant, who is also the KCTO station manager, he has no way of determining if the incoming call is to the KCTO phone number or for the number associated with his accounting business, so he answers all calls as if they are for his accounting office.

  - 47 C.F.R. §  11.35(a):  “… EAS Participants must determine the cause of any failure to receive the required tests or activations …  Appropriate entries indicating reasons why any tests were not received must be made in the broadcast station log…”   At the time of inspection, the separate station logs for both KCTO and KCXL for the period of 5/1/08 to 10/30/08 documented several weeks where only one of the two required weekly tests or actual EAS activation had been received by the station.  No entries were found documenting the reasons why no test or activation had been received from their second monitoring source during those weeks.

  - 47 C.F.R. § 73.1870(c):  “The chief operator is responsible for completion of the following duties… Review of the station records at least once each week to determine if required entries are being made correctly.  Additionally, verification must be made that the station has been operated as required by the rules or the station authorization.  Upon completion of the review, the chief operator or his designee must date and sign the log, initiate any corrective action which may be necessary, and advise the station licensee of any condition which is repetitive.”   At the time of the inspection on October 30, 2008, the station’s chief operator had been reviewing the station logs for both stations for EAS activations, and had signed and dated the logs, but had not taken necessary corrective actions.  The EAS logs clearly indicated that on several weeks during the period of May 1, 2008 through October 30, 2008 only one EAS activation had been logged, when two or more should have been received.  The chief operator did not note the missing EAS activations and took no corrective action to determine why some EAS activations were not being received.  It is further noted that this violation is repetitive as the last inspection of Alpine-owned station KCXL, conducted on 12/13/96 found that no station operator was reviewing the KCXL logs or taking corrective actions.

  - 47 C.F.R. §  73.3526(e)(9):  “All written comments and suggestions received from the public regarding operation of the station, unless the letter writer has requested that the letter not be made public or when the licensee feels that it should be excluded from public inspection because of the nature of its content, such as defamatory or obscene letter.  Letters and electronic mail message shall be retained [in the public inspection file] for a period of three years form the date on which they are received by the licensee.”  On October 30, 2008, the KCXL public inspection file did not contain any letters or emails from the public.  A folder containing that material was later found in another location in the KCXL studios, but those were not provided upon initial request to view the entire public inspection file.  On November 3, 2008, the inspection of the KCTO public inspection file found no folder containing letters or emails.

  - 47 C.F.R. §  73.49:  “Antenna towers having radio frequency potential at the base (series fed, folded unipole, and insulated base antennas) must be enclosed within effective locked fences or other enclosures.  Ready access must be provided to each antenna tower base for meter reading and maintenance purposes at all times.  However, individual tower fences need not be installed if the towers are contained within a protective property fence.”  At the time of inspection of station KCXL, the gate to the tower fence had a large gap underneath it allowing unobstructed access to the tower base.  According to the station manager, a piece of the fencing, found nearby, must have been knocked off recently and the manager was able to resecure the fencing at the time of inspection.  However, it was noted that the overall condition of the fencing around this tower was severely deteriorated and providing a minimally effective enclosure.

- Pursuant to Section 308(b) of the Communications Act of 1934, as amended, and Section 1.89 of the Commission's Rules, Alpine Broadcasting Corporation, must submit a written statement concerning this matter within twenty (20) days of release of this Notice.  The response must fully explain each violation, must contain a statement of the specific action(s) taken to correct each violation and preclude recurrence, and should include a time line for completion of pending corrective action(s).  The response must be complete in itself and signed by a principal or officer of the licensee.  All replies and documentation sent in response to this Notice should be marked with the File No. and NOV No. specified above, and mailed to the following address:

Federal Communications Commission

Kansas City Office

520 N.E. Colbern Rd., 2nd Floor

Lees Summit, MO  64086

- This Notice shall be sent to Alpine Broadcasting Corporation at its address of record.

- The Privacy Act of 1974 requires that we advise you that the Commission will use all relevant material information before it, including any information disclosed in your reply, to determine what, if any, enforcement action is required to ensure compliance.  Any false statement made knowingly and willfully in reply to this Notice is punishable by fine or imprisonment under Title 18 of the U.S. Code.

FEDERAL COMMUNICATIONS COMMISSION

Robert C. McKinney

District Director

Kansas City District Office

South Central Region

Enforcement Bureau

# Footnotes

47 C.F.R. § 1.89.

Main Studio and Program Origination Rules, Memorandum Opinion and Order, 3 FCC Rcd  5024, 5026 (1988).

Jones Eastern of the Outer Banks, Inc., Memorandum Opinion and Order, 6 FCC Rcd 3615, 3616 (1991), clarified 7 FCC Rcd 6800 (1992).

47 U.S.C. § 308(b).

P.L. 93-579, 5 U.S.C. § 552a(e)(3).

18 U.S.C. § 1001 et seq.