## Cooling Coeffs List
| New, Furnance, Single story |  |  |  |  | New, Furnace, Two story |  |  |  | Existing, Furnace, Single story |  |  |  | Existing, Furnace, Two story
Location | Climate | U-term | SHGC-term |  | Location | Climate | U-term | SHGC-term | Location | Climate | U-term | SHGC-term | Location | Climate | U' | SHGC'
AK_Anchorage | -1.6783 | -3.7205 | 59.7332 |  | AK_Anchorage | -0.17347 | -4.2612 | 67.1936 | AK_Anchorage | -2.8887 | -2.952 | 82.4242 | AK_Anchorage | 1.015 | -3.1267 | 93.2932
AK_Fairbanks | 24.6554 | -8.9434 | 146.7071 |  | AK_Fairbanks | 34.0818 | -7.7198 | 159.4077 | AK_Fairbanks | 26.1703 | -3.726 | 190.2052 | AK_Fairbanks | 53.369 | -8.6633 | 238.3022
AL_Birmingham | 783.9725 | -26.2613 | 990.9576 |  | AL_Birmingham | 864.2426 | -50.0173 | 1166.4772 | AL_Birmingham | 1539.9009 | -73.5946 | 1522.115 | AL_Birmingham | 1545.786 | -81.8161 | 1699.5506
AL_Mobile | 1156.6398 | -3.1596 | 1166.0397 |  | AL_Mobile | 1198.2432 | -31.8579 | 1312.7079 | AL_Mobile | 2117.8232 | -38.2523 | 1731.8694 | AL_Mobile | 2074.081 | -45.6889 | 1899.1841
AR_Little_Rock | 960.0511 | 17.3837 | 1033.0524 |  | AR_Little_Rock | 1016.6741 | -0.071381 | 1181.2475 | AR_Little_Rock | 1808.4892 | -3.6056 | 1544.971 | AR_Little_Rock | 1787.4919 | -7.6426 | 1695.7606
AZ_Flagstaff | 38.4988 | -14.3676 | 211.8216 |  | AZ_Flagstaff | 71.3176 | -24.0467 | 291.7339 | AZ_Flagstaff | 150.0923 | -29.2184 | 398.4296 | AZ_Flagstaff | 171.977 | -29.243 | 466.6672
AZ_Phoenix | 2484.8782 | 341.0966 | 1948.6173 |  | AZ_Phoenix | 2367.6581 | 335.5393 | 2130.445 | AZ_Phoenix | 4453.906 | 399.645 | 2823.5983 | AZ_Phoenix | 4102.8501 | 417.4044 | 3036.9109
AZ_Prescott | 448.5404 | -29.3288 | 805.2682 |  | AZ_Prescott | 504.6534 | -33.3324 | 925.5263 | AZ_Prescott | 948.2526 | -51.7602 | 1227.0952 | AZ_Prescott | 945.6083 | -51.2654 | 1370.6144
AZ_Tucson | 1545.4647 | 114.0671 | 1508.9123 |  | AZ_Tucson | 1532.127 | 109.3102 | 1679.2769 | AZ_Tucson | 2862.6096 | 124.8089 | 2256.2277 | AZ_Tucson | 2683.789 | 134.7541 | 2447.4161
CA_Arcata | -4.7175 | -3.6571 | 48.9601 |  | CA_Arcata | -3.4677 | -4.2822 | 54.135 | CA_Arcata | -2.9477 | -3.8969 | 70.0552 | CA_Arcata | -1.867 | -2.743 | 77.8172
CA_Bakersfield | 1227.4634 | 103.8914 | 1189.2236 |  | CA_Bakersfield | 1231.4589 | 105.5042 | 1319.0221 | CA_Bakersfield | 2317.0391 | 114.2998 | 1778.4228 | CA_Bakersfield | 2181.1987 | 128.3279 | 1924.173
CA_Daggett | 1616.9352 | 195.2928 | 1494.5491 |  | CA_Daggett | 1600.1662 | 188.7833 | 1675.3286 | CA_Daggett | 2988.0998 | 226.1774 | 2246.1201 | CA_Daggett | 2810.9262 | 236.0541 | 2450.4479
CA_Fresno | 1044.6201 | 92.0068 | 1131.7385 |  | CA_Fresno | 1072.9096 | 100.6764 | 1252.563 | CA_Fresno | 2094.7644 | 75.3146 | 1725.5038 | CA_Fresno | 1985.3554 | 89.6524 | 1882.5839
CA_Los_Angeles | 76.7933 | -30.6976 | 850.006 |  | CA_Los_Angeles | 118.0436 | -43.6789 | 973.5099 | CA_Los_Angeles | 186.9753 | -58.7573 | 1322.6435 | CA_Los_Angeles | 217.2721 | -62.5801 | 1481.9495
CA_RedBluff | 1024.1103 | 107.614 | 1126.1575 |  | CA_RedBluff | 1058.1254 | 109.7732 | 1263.0243 | CA_RedBluff | 2026.235 | 103.0319 | 1720.6898 | CA_RedBluff | 1932.3946 | 113.1038 | 1874.9206
CA_Sacramento | 451.7366 | -6.4477 | 850.006 |  | CA_Sacramento | 520.9869 | -11.4907 | 973.5099 | CA_Sacramento | 1023.9589 | -41.44 | 1322.6435 | CA_Sacramento | 1039.0009 | -54.1388 | 1481.9495
CA_San_Diego | 206.6959 | -54.0299 | 477.7787 |  | CA_San_Diego | 248.9657 | -51.4762 | 562.1022 | CA_San_Diego | 423.5837 | -74.8146 | 657.0807 | CA_San_Diego | 438.7431 | -74.619 | 750.7032
CA_San_Francisco | 9.6552 | -3.9578 | 87.8539 |  | CA_San_Francisco | 18.7287 | -6.3599 | 113.0593 | CA_San_Francisco | 37.7383 | -7.5196 | 156.9562 | CA_San_Francisco | 46.29 | -7.4644 | 187.6262
CO_Boulder (Denver) | 302.52 | -42.4733 | 625.8644 |  | CO_Boulder (Denver) | 324.0838 | -38.7599 | 686.7608 | CO_Boulder (Denver) | 476.4474 | -13.8451 | 888.3276 | CO_Boulder (Denver) | 534.901 | -26.6464 | 1004.7255
CO_Grand_Junction | 534.4424 | -17.4567 | 840.0382 |  | CO_Grand_Junction | 543.1239 | -10.2989 | 894.614 | CO_Grand_Junction | 870.5663 | -12.6488 | 1217.0885 | CO_Grand_Junction | 903.8041 | -17.3183 | 1302.4406
CT_Hartford | 380.7945 | -60.8404 | 623.1474 |  | CT_Hartford | 406.9661 | -61.0424 | 671.3863 | CT_Hartford | 494.604 | -17.9357 | 817.1411 | CT_Hartford | 592.6653 | -35.3461 | 919.184
VA_Sterling (DC) | 547.2657 | -61.7021 | 775.9363 |  | VA_Sterling (DC) | 568.6922 | -62.0528 | 827.8434 | VA_Sterling (DC) | 795.5069 | -28.9022 | 1066.0046 | VA_Sterling (DC) | 862.3722 | -45.0108 | 1162.1649
DE_Wilmington | 535.0891 | -65.939 | 744.9675 |  | DE_Wilmington | 556.4176 | -70.2218 | 800.7481 | DE_Wilmington | 763.1147 | -42.4153 | 1039.7958 | DE_Wilmington | 830.4505 | -57.4429 | 1132.799
FL_Daytona_Beach | 1448.2098 | -62.1929 | 1508.2155 |  | FL_Daytona_Beach | 1473.2251 | -97.9898 | 1690.6957 | FL_Daytona_Beach | 2591.4525 | -113.6952 | 2179.2612 | FL_Daytona_Beach | 2495.9456 | -127.5996 | 2383.6351
FL_Jacksonville | 1338.425 | -29.4074 | 1378.3605 |  | FL_Jacksonville | 1376.3225 | -47.8734 | 1535.6987 | FL_Jacksonville | 2491.491 | -53.119 | 1999.2588 | FL_Jacksonville | 2396.7096 | -60.0693 | 2193.4777
FL_Miami | 2372.0354 | -76.5554 | 2048.6995 |  | FL_Miami | 2268.4427 | -83.443 | 2199.8393 | FL_Miami | 3942.0044 | -115.6901 | 2929.1566 | FL_Miami | 3715.6741 | -116.0593 | 3144.7694
FL_Tallahassee | 1186.3462 | -20.2928 | 1278.4411 |  | FL_Tallahassee | 1237.4006 | -38.1134 | 1442.4118 | FL_Tallahassee | 2250.9806 | -46.2459 | 1851.4692 | FL_Tallahassee | 2166.1795 | -48.0905 | 2028.439
FL_Tampa | 1759.2303 | -57.3661 | 1735.9756 |  | FL_Tampa | 1749.1866 | -71.1571 | 1881.105 | FL_Tampa | 3114.7085 | -81.7705 | 2470.7969 | FL_Tampa | 2960.0252 | -87.0006 | 2679.4153
GA_Atlanta | 704.2862 | -65.856 | 1000.9522 |  | GA_Atlanta | 789.0072 | -84.87 | 1143.686 | GA_Atlanta | 1454.9987 | -111.8872 | 1463.0397 | GA_Atlanta | 1426.3151 | -113.9355 | 1602.5679
GA_Savannah | 1113.0714 | -31.7157 | 1221.2533 |  | GA_Savannah | 1167.6944 | -54.5282 | 1382.1749 | GA_Savannah | 2121.1175 | -67.3687 | 1779.3766 | GA_Savannah | 2048.5518 | -79.9816 | 1955.7378
HI_Honolulu | 2416.8796 | -188.2622 | 2323.0251 |  | HI_Honolulu | 2313.5615 | -191.8657 | 2491.9315 | HI_Honolulu | 3931.0258 | -258.2535 | 3382.3211 | HI_Honolulu | 3718.1269 | -264.194 | 3614.002
IA_Des_Moines | 483.6185 | -46.7081 | 724.1556 |  | IA_Des_Moines | 511.0646 | -51.6121 | 776.6298 | IA_Des_Moines | 668.7418 | -11.5856 | 960.187 | IA_Des_Moines | 760.4306 | -32.5846 | 1069.2914
ID_Boise | 388.6967 | -14.0516 | 668.7115 |  | ID_Boise | 401.3976 | -4.2013 | 702.6606 | ID_Boise | 585.134 | 2.3609 | 961.2898 | ID_Boise | 650.6658 | -4.0341 | 1043.4068
IL_Chicago | 362.3827 | -52.9921 | 611.4234 |  | IL_Chicago | 394.6721 | -61.3601 | 679.202 | IL_Chicago | 469.212 | -31.3095 | 854.2072 | IL_Chicago | 570.4498 | -49.4222 | 960.4246
IL_Springfield | 588.7757 | -68.1013 | 829.5885 |  | IL_Springfield | 610.6925 | -62.1733 | 880.5757 | IL_Springfield | 809.3503 | -30.134 | 1135.7929 | IL_Springfield | 910.8627 | -48.1214 | 1238.7094
IN_Indianapolis | 479.0107 | -71.8105 | 738.6006 |  | IN_Indianapolis | 503.5549 | -73.4939 | 803.8365 | IN_Indianapolis | 645.2909 | -32.2899 | 972.2105 | IN_Indianapolis | 740.4308 | -56.9184 | 1105.3248
KS_Wichita | 876.1292 | 4.7656 | 963.22 |  | KS_Wichita | 884.6539 | 3.4904 | 1044.7405 | KS_Wichita | 1296.6844 | 50.9384 | 1327.9724 | KS_Wichita | 1373.4518 | 31.8794 | 1471.4687
KY_Lexington | 647.0307 | -98.2051 | 832.7287 |  | KY_Lexington | 631.1828 | -104.5979 | 900.9628 | KY_Lexington | 1000.6051 | -61.3302 | 1111.9104 | KY_Lexington | 974.3725 | -82.5281 | 1240.8539
KY_Louisville | 875.7173 | -52.5739 | 909.6168 |  | KY_Louisville | 837.9478 | -55.3754 | 995.659 | KY_Louisville | 1443.802 | -42.0305 | 1304.6076 | KY_Louisville | 1359.5105 | -55.8348 | 1436.3004
LA_Lake_Charles | 1311.5621 | -32.8642 | 1354.348 |  | LA_Lake_Charles | 1352.3617 | -57.8335 | 1522.0986 | LA_Lake_Charles | 2367.0987 | -74.7823 | 1976.638 | LA_Lake_Charles | 2312.5526 | -80.7454 | 2163.7496
LA_New_Orleans | 1290.3069 | -15.7915 | 1270.2021 |  | LA_New_Orleans | 1318.4593 | -30.9659 | 1423.0523 | LA_New_Orleans | 2324.7062 | -39.621 | 1887.1679 | LA_New_Orleans | 2274.0424 | -51.828 | 2074.523
LA_Shreveport | 1130.6204 | -1.0031 | 1212.0094 |  | LA_Shreveport | 1186.2434 | -23.6226 | 1369.8537 | LA_Shreveport | 2097.3136 | -29.3946 | 1779.783 | LA_Shreveport | 2062.8263 | -32.2321 | 1952.4695
MA_Boston | 252.0097 | -59.7893 | 496.0827 |  | MA_Boston | 279.946 | -64.4259 | 533.6473 | MA_Boston | 297.9563 | -37.0393 | 658.8721 | MA_Boston | 378.7823 | -48.9227 | 743.6746
MD_Baltimore | 544.344 | -50.5581 | 727.4449 |  | MD_Baltimore | 561.0646 | -54.7279 | 789.6112 | MD_Baltimore | 792.1732 | -13.6575 | 974 | MD_Baltimore | 846.0778 | -34.2472 | 1104.3969
ME_Portland | 147.5583 | -55.1398 | 383.948 |  | ME_Portland | 174.9848 | -59.9884 | 438.5925 | ME_Portland | 153.2493 | -20.5177 | 449.592 | ME_Portland | 224.4483 | -40.2512 | 566.4371
MI_Detroit | 262.5196 | -60.8559 | 508.7639 |  | MI_Detroit | 291.9853 | -67.5643 | 555.2223 | MI_Detroit | 297.3092 | -31.706 | 657.241 | MI_Detroit | 393.8608 | -51.088 | 761.3182
MI_Grand_Rapids | 244.6178 | -66.5165 | 548.0133 |  | MI_Grand_Rapids | 279.7894 | -70.2482 | 596.7088 | MI_Grand_Rapids | 276.1525 | -29.0573 | 691.0216 | MI_Grand_Rapids | 380.0179 | -49.217 | 811.2196
MI_Houghton | 124.4602 | -52.0204 | 371.5366 |  | MI_Houghton | 156.0043 | -53.9165 | 408.3039 | MI_Houghton | 124.0733 | -23.3605 | 458.3402 | MI_Houghton | 205.3699 | -48.4153 | 585.0709
MN_Duluth | 80.8324 | -31.3947 | 268.541 |  | MN_Duluth | 103.0627 | -33.4539 | 301.4388 | MN_Duluth | 86.8763 | -9.896 | 313.6527 | MN_Duluth | 136.565 | -21.7594 | 395.0939
MN_International_Falls | 72.0676 | -32.9024 | 258.8828 |  | MN_International_Falls | 93.1607 | -33.0955 | 290.6137 | MN_International_Falls | 74.6603 | -8.0804 | 299.9382 | MN_International_Falls | 121.251 | -21.8006 | 382.8236
MN_Minneapolis | 311.9514 | -60.9087 | 610.5816 |  | MN_Minneapolis | 349.6524 | -63.1272 | 655.8665 | MN_Minneapolis | 373.3882 | -30.5255 | 801.8226 | MN_Minneapolis | 491.3516 | -52.0799 | 910.3458
MO_Kansas_City | 786.9135 | -38.0153 | 953.1196 |  | MO_Kansas_City | 805.7911 | -42.3372 | 1026.9516 | MO_Kansas_City | 1102.7825 | -4.9418 | 1341.1596 | MO_Kansas_City | 1209.0596 | -24.0183 | 1461.9
MO_St._Louis | 761.6584 | -33.3448 | 897.9568 |  | MO_St._Louis | 777.8693 | -39.5008 | 969.7705 | MO_St._Louis | 1052.4292 | 3.309 | 1248.2918 | MO_St._Louis | 1157.7848 | -16.4593 | 1372.0137
MS_Jackson | 1052.9928 | -2.3751 | 1175.0272 |  | MS_Jackson | 1121.4589 | -24.5736 | 1326.977 | MS_Jackson | 1994.4703 | -32.52 | 1723.3915 | MS_Jackson | 1970.0221 | -35.4829 | 1888.7707
MT_Billings | 289.657 | -18.8648 | 552.4809 |  | MT_Billings | 310.1815 | -11.2976 | 584.6047 | MT_Billings | 426.8196 | -12.8486 | 803.7382 | MT_Billings | 499.0574 | -23.0117 | 884.5836
MT_Great_Falls | 191.5194 | -31.4803 | 474.9436 |  | MT_Great_Falls | 215.1223 | -25.6673 | 502.3537 | MT_Great_Falls | 262.8975 | -16.5724 | 665.9962 | MT_Great_Falls | 334.2529 | -27.8186 | 736.5533
NC_Charlotte | 977.247 | -79.0919 | 991.9535 |  | NC_Charlotte | 920.8697 | -79.6058 | 1068.1607 | NC_Charlotte | 1573.2532 | -47.9846 | 1373.4122 | NC_Charlotte | 1469.0205 | -62.7234 | 1498.2221
NC_Raleigh | 848.3645 | -81.4389 | 951.6658 |  | NC_Raleigh | 815.5558 | -84.1723 | 1036.4136 | NC_Raleigh | 1373.9981 | -43.574 | 1314.7701 | NC_Raleigh | 1312.5106 | -59.4994 | 1460.5678
ND_Bismarck | 231.6178 | -49.9561 | 563.7226 |  | ND_Bismarck | 270.4169 | -51.1997 | 616.1516 | ND_Bismarck | 283.2507 | -11.4343 | 734.7587 | ND_Bismarck | 389.8808 | -32.1584 | 858.2821
NE_Omaha | 566.1678 | -50.6393 | 797.663 |  | NE_Omaha | 590.8493 | -51.7782 | 864.1003 | NE_Omaha | 797.2913 | -17.4075 | 1094.2872 | NE_Omaha | 895.4704 | -33.9847 | 1218.3922
NH_Concord | 243.108 | -60.9819 | 547.0753 |  | NH_Concord | 281.5933 | -61.4703 | 592.7451 | NH_Concord | 281.5447 | -17.0723 | 695.3979 | NH_Concord | 391.0767 | -37.2442 | 815.262
NJ_Atlantic_City | 458.6772 | -66.6319 | 689.7138 |  | NJ_Atlantic_City | 484.0057 | -71.0683 | 750.7297 | NJ_Atlantic_City | 639.9574 | -31.2806 | 930.2826 | NJ_Atlantic_City | 714.4893 | -54.8323 | 1036.4487
NM_Albuquerque | 537.7956 | -26.9454 | 896.8388 |  | NM_Albuquerque | 597.7714 | -27.9209 | 1005.0113 | NM_Albuquerque | 1136.0766 | -61.1556 | 1340.8874 | NM_Albuquerque | 1116.0792 | -52.5886 | 1463.9996
NV_Las_Vegas | 1765.8763 | 254.3183 | 1464.4797 |  | NV_Las_Vegas | 1732.9698 | 252.7006 | 1607.0993 | NV_Las_Vegas | 3238.4327 | 310.8517 | 2136.6337 | NV_Las_Vegas | 3022.4551 | 322.7332 | 2296.5676
NV_Reno | 281.9907 | -23.1844 | 640.8274 |  | NV_Reno | 338.9664 | -20.4677 | 738.5132 | NV_Reno | 672.8792 | -32.7591 | 989.6824 | NV_Reno | 691.4701 | -28.4023 | 1123.1829
NY_Albany | 281.7159 | -61.7196 | 557.9522 |  | NY_Albany | 315.162 | -61.2725 | 605.0294 | NY_Albany | 379.3095 | -25.4212 | 734.8763 | NY_Albany | 464.0964 | -44.3897 | 839.7855
NY_Buffalo | 225.9902 | -77.0496 | 519.0421 |  | NY_Buffalo | 258.0441 | -79.7367 | 558.3835 | NY_Buffalo | 271.0543 | -41.5128 | 659.3023 | NY_Buffalo | 353.0569 | -63.7083 | 772.195
NY_New_York_City | 423.3828 | -56.2993 | 622.7735 |  | NY_New_York_City | 442.9857 | -56.6388 | 669.9264 | NY_New_York_City | 591.8983 | -39.8266 | 861.6449 | NY_New_York_City | 658.1361 | -55.8458 | 957.5234
OH_Cleveland | 296.2846 | -68.4857 | 580.058 |  | OH_Cleveland | 325.8287 | -72.3902 | 636.1753 | OH_Cleveland | 361.7802 | -30.5292 | 746.3439 | OH_Cleveland | 456.3514 | -52.7659 | 869.2666
OH_Dayton | 341.814 | -73.4157 | 590.2111 |  | OH_Dayton | 369.2013 | -71.8277 | 634.8817 | OH_Dayton | 433.2706 | -43.3074 | 797.7367 | OH_Dayton | 530.9791 | -61.1394 | 917.4876
OK_Oklahoma_City | 904.5411 | 33.1181 | 996.5327 |  | OK_Oklahoma_City | 973.0072 | 13.5255 | 1139.9749 | OK_Oklahoma_City | 1710.7244 | 16.9566 | 1523.9111 | OK_Oklahoma_City | 1710.4134 | 13.2971 | 1666.8325
OR_Medford | 519.5598 | -3.4643 | 757.0883 |  | OR_Medford | 499.1823 | 5.1284 | 799.7632 | OR_Medford | 923.2326 | 19.7441 | 1121.024 | OR_Medford | 889.9214 | 14.9226 | 1208.3726
OR_Portland | 196.0093 | -26.7402 | 395.1565 |  | OR_Portland | 196.4554 | -24.0428 | 425.1363 | OR_Portland | 298.4266 | -20.7371 | 596.9111 | OR_Portland | 319.782 | -25.1105 | 655.3446
PA_Philadelphia | 483.1674 | -60.139 | 694.5172 |  | PA_Philadelphia | 502.0645 | -65.1364 | 753.7714 | PA_Philadelphia | 689.3495 | -32.6697 | 931.8791 | PA_Philadelphia | 746.3913 | -48.9762 | 1033.7983
PA_Pittsburgh | 330.8729 | -69.3936 | 593.6874 |  | PA_Pittsburgh | 357.0248 | -70.5441 | 634.4319 | PA_Pittsburgh | 444.5843 | -33.3104 | 790.356 | PA_Pittsburgh | 521.2338 | -53.1961 | 887.6722
PA_Williamsport | 347.4023 | -77.0887 | 612.8502 |  | PA_Williamsport | 374.4955 | -80.5461 | 660.293 | PA_Williamsport | 462.3882 | -41.1143 | 801.338 | PA_Williamsport | 540.3907 | -61.0054 | 896.6283
RI_Providence | 284.2059 | -62.1455 | 521.5711 |  | RI_Providence | 309.4363 | -62.9766 | 573.1622 | RI_Providence | 346.4858 | -39.1276 | 694.0944 | RI_Providence | 433.9786 | -52.5785 | 787.1868
SC_Charleston | 1224.1694 | -84.0061 | 1204.8332 |  | SC_Charleston | 1159.6746 | -96.4652 | 1314.3769 | SC_Charleston | 1997.1367 | -48.7454 | 1666.4544 | SC_Charleston | 1866.1395 | -71.3724 | 1841.36
SC_Greenville | 923.9526 | -56.6389 | 927.0014 |  | SC_Greenville | 870.7125 | -56.2848 | 994.1306 | SC_Greenville | 1500.1942 | -44.4823 | 1330.4141 | SC_Greenville | 1397.7851 | -56.9477 | 1449.0262
SD_Pierre | 428.5204 | -30.2962 | 719.8259 |  | SD_Pierre | 457.241 | -28.7951 | 772.4674 | SD_Pierre | 659.0556 | 20.0481 | 969.442 | SD_Pierre | 725.6463 | 3.6905 | 1071.742
TN_Memphis | 1361.5223 | -27.3143 | 1183.3786 |  | TN_Memphis | 1274.8705 | -28.5356 | 1276.605 | TN_Memphis | 2337.7249 | 12.9113 | 1651.6202 | TN_Memphis | 2127.0806 | 2.7898 | 1804.0829
TN_Nashville | 1138.6004 | -46.2152 | 1109.5451 |  | TN_Nashville | 1079.8898 | -44.8374 | 1200.9106 | TN_Nashville | 1953.7047 | 4.8838 | 1513.6604 | TN_Nashville | 1794.7663 | -11.3475 | 1668.4255
TX_Amarillo | 536.9132 | -7.114 | 881.1504 |  | TX_Amarillo | 630.1832 | -20.967 | 1022.7364 | TX_Amarillo | 1119.7629 | -40.4978 | 1337.8035 | TX_Amarillo | 1155.4323 | -38.5254 | 1500.0382
TX_Brownsville | 2051.3874 | 3.4091 | 1806.6563 |  | TX_Brownsville | 2022.1282 | -25.4101 | 2000.1952 | TX_Brownsville | 3453.4737 | -8.6017 | 2605.8032 | TX_Brownsville | 3347.1827 | -21.0006 | 2836.0324
TX_El_Paso | 1133.4049 | 50.5159 | 1265.8148 |  | TX_El_Paso | 1168.8711 | 44.9871 | 1434.3979 | TX_El_Paso | 2091.4318 | 33.4534 | 1915.1461 | TX_El_Paso | 2040.8857 | 40.3584 | 2105.6638
TX_Fort_Worth | 1311.4246 | 41.9688 | 1280.1082 |  | TX_Fort_Worth | 1345.1261 | 25.1994 | 1451.2885 | TX_Fort_Worth | 2358.8043 | 32.3826 | 1907.4175 | TX_Fort_Worth | 2309.5719 | 28.7902 | 2091.1643
TX_Houston | 1421.9152 | -8.8635 | 1381.2294 |  | TX_Houston | 1452.6363 | -31.2382 | 1556.1645 | TX_Houston | 2538.7461 | -42.2762 | 2066.0096 | TX_Houston | 2483.9059 | -48.9759 | 2267.3349
TX_Lubbock | 665.2468 | -14.0054 | 939.6212 |  | TX_Lubbock | 747.2619 | -28.0761 | 1090.182 | TX_Lubbock | 1286.9986 | -52.017 | 1456.6528 | TX_Lubbock | 1307.6877 | -53.2605 | 1612.9413
TX_San_Antonio | 1562.3273 | 30.2059 | 1462.9195 |  | TX_San_Antonio | 1578.6562 | 8.5464 | 1639.0473 | TX_San_Antonio | 2757.3151 | 11.7364 | 2158.3788 | TX_San_Antonio | 2677.3572 | 11.8003 | 2341.1134
UT_Cedar_City | 352.834 | -33.5145 | 682.3138 |  | UT_Cedar_City | 373.2801 | -28.3476 | 743.0361 | UT_Cedar_City | 551.0946 | 1.6604 | 936.6778 | UT_Cedar_City | 607.2934 | -11.8879 | 1062.8543
UT_Salt_Lake_City | 513.0892 | 0.00412 | 773.8574 |  | UT_Salt_Lake_City | 521.2805 | 4.0691 | 827.4407 | UT_Salt_Lake_City | 840.3305 | 28.7366 | 1085.8268 | UT_Salt_Lake_City | 868.2546 | 21.8185 | 1176.9667
VA_Richmond | 651.4033 | -76.0902 | 856.4903 |  | VA_Richmond | 668.6731 | -80.2253 | 930.5673 | VA_Richmond | 963.9975 | -39.0003 | 1176.495 | VA_Richmond | 1018.51 | -56.2315 | 1297.8557
VT_Burlington | 185.1271 | -52.6282 | 431.7995 |  | VT_Burlington | 217.534 | -56.1098 | 476.9416 | VT_Burlington | 204.5636 | -17.5914 | 531.7956 | VT_Burlington | 292.4093 | -36.9975 | 640.5425
WA_Seattle | 66.3028 | -22.1095 | 232.3563 |  | WA_Seattle | 74.8468 | -19.0161 | 243.0936 | WA_Seattle | 87.0923 | -13.6882 | 320.4184 | WA_Seattle | 115.134 | -20.7989 | 361.6458
WA_Spokane | 221.6959 | -23.0696 | 461.4058 |  | WA_Spokane | 235.1811 | -14.8357 | 486.9614 | WA_Spokane | 318.3876 | -9.5158 | 644.0929 | WA_Spokane | 371.8606 | -14.647 | 708.6944
WI_Madison | 266.5394 | -58.5111 | 563.7337 |  | WI_Madison | 306.3581 | -64.1327 | 615.7002 | WI_Madison | 326.0938 | -16.1274 | 716.6591 | WI_Madison | 431.6454 | -36.6732 | 829.6269
WV_Charleston | 463.7557 | -78.3849 | 713.4522 |  | WV_Charleston | 485.8881 | -77.6271 | 766.5104 | WV_Charleston | 647.1143 | -44.2887 | 942.5491 | WV_Charleston | 709.9796 | -58.3265 | 1050.2797
WY_Cheyenne | 110.6367 | -42.7163 | 377.1231 |  | WY_Cheyenne | 136.1024 | -42.2014 | 425.5474 | WY_Cheyenne | 156.4263 | -9.5841 | 504.4206 | WY_Cheyenne | 211.1151 | -22.7249 | 609.4574
[5 empty] | Centering values |  |  |  |  | Current Value | Coefficient |  |  | Current Value | Coefficient
Note | U' = U -0.571 |  |  | U_center | 0.571 |  |  |  |  | 0 | 114.4865 |  |  | 0 | 132.4154
| SHGC' = SHGC - 0.4282 |  |  | SHGC_center | 0.4282 |  |  |  |  | 0 | -208.4073 |  |  | 0 | -219.3974
[10 empty] | 0 | 125.4178 |  |  | 0 | 105.3405
[10 empty] | 0 | -219.0057 |  |  | 0 | -249.8836
Note | [9 empty] | 0 | 283.0768 |  |  | 0 | 308.4889
[10 empty] | 0 | 357.3372 |  |  | 0 | 433.4679
New | SF |  | Exist | SF | [5 empty] | 0 | -874.1812 |  |  | 0 | -953.8434
Single story | 1700 |  | Single story | 1700
Double Story | 2800 |  | Double Story | 2600
Kwh / ft2 = Climate + U' * U-term + SHGC' * SHGC-term

## Heating Coeffs List
Updated 4/7 JSA | Kbtu/ sf
|  | New, Furnance, Single story |  |  |  |  | New, Furnace, Two story |  |  |  | Existing, Furnace, Single story |  |  |  | Existing, Furnace, Two story
| Location | Climate | U-term | SHGC-term |  | Location | Climate | U-term | SHGC-term | Location | Climate | U-term | SHGC-term | Location | Climate | U' | SHGC'
| AK_Anchorage | 45.2046 | 32.6763 | -7.327 |  | AK_Anchorage | 40.8564 | 32.4085 | -7.2279 | AK_Anchorage | 88.2127 | 35.4356 | -11.5511 | AK_Anchorage | 75.4502 | 35.1331 | -10.7605
| AK_Fairbanks | 66.9505 | 40.4485 | -5.8987 |  | AK_Fairbanks | 60.6994 | 40.0505 | -5.5386 | AK_Fairbanks | 127.2452 | 43.4406 | -10.0046 | AK_Fairbanks | 108.4535 | 42.9086 | -8.5989
| AL_Birmingham | 13.9426 | 11.8787 | -7.7797 |  | AL_Birmingham | 11.6258 | 11.7108 | -6.8548 | AL_Birmingham | 18.0148 | 12.2217 | -8.2604 | AL_Birmingham | 16.3353 | 12.2152 | -7.58
| AL_Mobile | 6.7223 | 8.0806 | -5.4651 |  | AL_Mobile | 5.8562 | 8.0129 | -4.8878 | AL_Mobile | 9.7719 | 8.7299 | -6.4166 | AL_Mobile | 9.1351 | 8.7564 | -5.8419
| AR_Little_Rock | 18.1575 | 14.2896 | -9.0523 |  | AR_Little_Rock | 15.1113 | 14.2709 | -8.2453 | AR_Little_Rock | 22.7311 | 14.5924 | -9.5175 | AR_Little_Rock | 20.6059 | 14.6468 | -8.9898
| AZ_Flagstaff | 34.5434 | 29.0913 | -23.2737 |  | AZ_Flagstaff | 27.7597 | 28.581 | -21.3928 | AZ_Flagstaff | 53.0293 | 28.7838 | -23.0164 | AZ_Flagstaff | 44.327 | 28.7645 | -21.5772
| AZ_Phoenix | 3.1291 | 5.0684 | -2.5019 |  | AZ_Phoenix | 2.899 | 5.12 | -1.906 | AZ_Phoenix | 6.4064 | 6.2118 | -3.9873 | AZ_Phoenix | 5.8143 | 6.2324 | -2.9707
| AZ_Prescott | 19.6663 | 18.8134 | -14.9737 |  | AZ_Prescott | 16.5864 | 18.6181 | -13.632 | AZ_Prescott | 31.0391 | 19.4071 | -16.0145 | AZ_Prescott | 26.2441 | 19.3853 | -14.4961
| AZ_Tucson | 5.0187 | 7.6648 | -5.7801 |  | AZ_Tucson | 4.4441 | 7.5833 | -4.4803 | AZ_Tucson | 9.2513 | 8.757 | -7.0134 | AZ_Tucson | 8.3306 | 8.7212 | -5.4712
| CA_Arcata | 20.0279 | 20.2306 | -19.0217 |  | CA_Arcata | 15.336 | 19.5313 | -17.0256 | CA_Arcata | 32.5068 | 20.8239 | -21.1856 | CA_Arcata | 26.457 | 20.5201 | -19.6535
| CA_Bakersfield | 8.517 | 8.6717 | -5.7942 |  | CA_Bakersfield | 6.9174 | 8.5376 | -4.7425 | CA_Bakersfield | 12.916 | 9.3079 | -6.625 | CA_Bakersfield | 11.118 | 9.2854 | -5.6216
| CA_Daggett | 6.066 | 8.7428 | -8.0487 |  | CA_Daggett | 5.0731 | 8.5616 | -6.6407 | CA_Daggett | 10.6966 | 9.7511 | -9.4929 | CA_Daggett | 9.3398 | 9.71 | -7.8753
| CA_Fresno | 12.3081 | 10.9639 | -7.1802 |  | CA_Fresno | 10.017 | 10.8381 | -6.0456 | CA_Fresno | 17.6896 | 11.5853 | -7.9425 | CA_Fresno | 15.2482 | 11.5644 | -6.777
| CA_Los_Angeles | 3.7324 | 6.547 | -6.326 |  | CA_Los_Angeles | 2.809 | 6.0502 | -4.5604 | CA_Los_Angeles | 6.1137 | 7.4685 | -7.6839 | CA_Los_Angeles | 5.1733 | 7.2505 | -6.0546
| CA_RedBluff | 17.2642 | 13.9934 | -7.8428 |  | CA_RedBluff | 14.5686 | 13.9486 | -6.7261 | CA_RedBluff | 24.326 | 14.3229 | -8.801 | CA_RedBluff | 21.3921 | 14.3632 | -7.8465
| CA_Sacramento | 14.6317 | 12.1201 | -8.4468 |  | CA_Sacramento | 11.6474 | 11.9769 | -7.2898 | CA_Sacramento | 20.2835 | 12.7285 | -9.4654 | CA_Sacramento | 17.2959 | 12.7717 | -8.3937
| CA_San_Diego | 2.2354 | 4.677 | -3.8468 |  | CA_San_Diego | 1.7108 | 4.2738 | -2.3556 | CA_San_Diego | 4.0547 | 5.5529 | -5.029 | CA_San_Diego | 3.4739 | 5.3592 | -3.5373
| CA_San_Francisco | 15.8193 | 16.0664 | -17.5948 |  | CA_San_Francisco | 11.696 | 15.4293 | -14.764 | CA_San_Francisco | 20.9462 | 16.7018 | -18.9663 | CA_San_Francisco | 17.4333 | 16.4254 | -16.7058
| CO_Boulder (Denver) | 20.6897 | 20.4849 | -11.2939 |  | CO_Boulder (Denver) | 18.4041 | 20.2863 | -10.7752 | CO_Boulder (Denver) | 47.3623 | 22.9905 | -15.2608 | CO_Boulder (Denver) | 38.1982 | 22.7962 | -14.2026
| CO_Grand_Junction | 18.8781 | 18.2021 | -9.6553 |  | CO_Grand_Junction | 16.7843 | 18.0279 | -9.1978 | CO_Grand_Junction | 42.9648 | 20.4568 | -13.4428 | CO_Grand_Junction | 34.6807 | 20.2624 | -12.3778
| CT_Hartford | 26.424 | 21.7326 | -8.6778 |  | CT_Hartford | 23.9245 | 21.6571 | -8.7311 | CT_Hartford | 49.6907 | 24.2638 | -12.3074 | CT_Hartford | 43.1202 | 24.0205 | -11.9116
| VA_Sterling (DC) | 21.1491 | 17.7394 | -8.1214 |  | VA_Sterling (DC) | 19.3854 | 17.6395 | -7.9537 | VA_Sterling (DC) | 43.4268 | 19.7132 | -11.3431 | VA_Sterling (DC) | 35.7962 | 19.6166 | -10.7625
| DE_Wilmington | 21.6989 | 18.449 | -8.7867 |  | DE_Wilmington | 19.9343 | 18.4089 | -8.8211 | DE_Wilmington | 43.9848 | 20.4245 | -12.0959 | DE_Wilmington | 36.4451 | 20.3567 | -11.7128
| FL_Daytona_Beach | 2.1682 | 4.1936 | -2.078 |  | FL_Daytona_Beach | 2.0359 | 4.2158 | -1.6496 | FL_Daytona_Beach | 4.528 | 5.162 | -3.5309 | FL_Daytona_Beach | 4.1371 | 5.1158 | -2.7699
| FL_Jacksonville | 5.4991 | 6.8502 | -4.1534 |  | FL_Jacksonville | 4.8176 | 6.8013 | -3.6454 | FL_Jacksonville | 9.3507 | 7.4998 | -5.3249 | FL_Jacksonville | 8.2712 | 7.4916 | -4.6611
| FL_Miami | 0.34777 | 1.3343 | 1.0752 |  | FL_Miami | 0.35842 | 1.4194 | 1.0895 | FL_Miami | 0.79998 | 1.8267 | 0.41539 | FL_Miami | 0.82256 | 1.8621 | 0.52814
| FL_Tallahassee | 6.5236 | 7.4853 | -4.8847 |  | FL_Tallahassee | 5.6202 | 7.3994 | -3.9232 | FL_Tallahassee | 10.9123 | 8.1376 | -5.6815 | FL_Tallahassee | 9.5994 | 8.0694 | -4.6077
| FL_Tampa | 1.8893 | 3.7837 | -1.3854 |  | FL_Tampa | 1.8421 | 3.8392 | -1.2048 | FL_Tampa | 4.0811 | 4.5735 | -2.6465 | FL_Tampa | 3.7726 | 4.596 | -2.2011
| GA_Atlanta | 17.0383 | 14.1675 | -9.4279 |  | GA_Atlanta | 14.2017 | 14.0717 | -8.5282 | GA_Atlanta | 23.778 | 14.6124 | -10.3592 | GA_Atlanta | 20.6704 | 14.57 | -9.4698
| GA_Savannah | 8.6726 | 9.1745 | -6.1045 |  | GA_Savannah | 7.4643 | 9.0458 | -5.2736 | GA_Savannah | 13.5205 | 9.7903 | -7.1045 | GA_Savannah | 11.8802 | 9.7295 | -6.211
| HI_Honolulu | 0.24992 | 1.058 | 1.265 |  | HI_Honolulu | 0.21175 | 1.0298 | 1.3323 | HI_Honolulu | 0.37351 | 1.2493 | 0.87315 | HI_Honolulu | 0.34041 | 1.2189 | 0.98531
| IA_Des_Moines | 29.2991 | 24.002 | -9.9285 |  | IA_Des_Moines | 26.7188 | 24.0042 | -10.0397 | IA_Des_Moines | 56.7697 | 26.3163 | -13.4398 | IA_Des_Moines | 48.8268 | 26.1665 | -12.819
| ID_Boise | 22.4301 | 20.4307 | -9.3577 |  | ID_Boise | 20.098 | 20.2831 | -9.0621 | ID_Boise | 45.9074 | 22.8479 | -13.4387 | ID_Boise | 38.5884 | 22.666 | -12.6749
| IL_Chicago | 29.0699 | 23.7255 | -9.0002 |  | IL_Chicago | 26.495 | 23.7318 | -9.2208 | IL_Chicago | 55.955 | 25.8507 | -12.0788 | IL_Chicago | 48.2686 | 25.7501 | -11.7758
| IL_Springfield | 26.3083 | 22.2436 | -9.2862 |  | IL_Springfield | 24.1449 | 22.249 | -9.4374 | IL_Springfield | 50.7748 | 24.3765 | -12.6402 | IL_Springfield | 44.0955 | 24.2534 | -12.1339
| IN_Indianapolis | 24.2401 | 20.6612 | -7.9943 |  | IN_Indianapolis | 22.1296 | 20.5957 | -7.9693 | IN_Indianapolis | 47.355 | 22.9326 | -11.4492 | IN_Indianapolis | 40.71 | 22.7456 | -10.7576
| KS_Wichita | 21.8395 | 19.1317 | -9.5092 |  | KS_Wichita | 20.2623 | 19.0424 | -9.2169 | KS_Wichita | 40.808 | 21.3153 | -13.1837 | KS_Wichita | 35.3253 | 21.1654 | -12.3047
| KY_Lexington | 27.7777 | 19.6877 | -8.0473 |  | KY_Lexington | 23.7941 | 19.6208 | -8.0354 | KY_Lexington | 69.1003 | 21.7885 | -11.8735 | KY_Lexington | 50.25 | 22.0221 | -11.2744
| KY_Louisville | 23.9783 | 17.4312 | -7.4527 |  | KY_Louisville | 20.4884 | 17.3501 | -7.2904 | KY_Louisville | 60.8588 | 19.4783 | -11.443 | KY_Louisville | 43.9739 | 19.6517 | -10.7001
| LA_Lake_Charles | 7.8958 | 8.3622 | -4.7177 |  | LA_Lake_Charles | 6.989 | 8.3376 | -4.2091 | LA_Lake_Charles | 11.1786 | 9.0054 | -5.8401 | LA_Lake_Charles | 10.4665 | 9.0117 | -5.2283
| LA_New_Orleans | 5.5274 | 6.9139 | -3.9909 |  | LA_New_Orleans | 4.9368 | 6.8638 | -3.5201 | LA_New_Orleans | 8.1709 | 7.5539 | -5.0945 | LA_New_Orleans | 7.7298 | 7.5525 | -4.544
| LA_Shreveport | 10.545 | 10.2798 | -6.4505 |  | LA_Shreveport | 9.0623 | 10.232 | -5.8605 | LA_Shreveport | 14.448 | 10.7563 | -7.4087 | LA_Shreveport | 13.3237 | 10.7805 | -6.833
| MA_Boston | 26.4893 | 22.8278 | -10.7874 |  | MA_Boston | 24.1052 | 22.8211 | -10.9542 | MA_Boston | 49.4848 | 25.3916 | -14.6797 | MA_Boston | 43.3907 | 25.1245 | -14.3417
| MD_Baltimore | 20.7067 | 17.839 | -8.6219 |  | MD_Baltimore | 19.0529 | 17.7825 | -8.5914 | MD_Baltimore | 42.216 | 19.8545 | -11.973 | MD_Baltimore | 34.9523 | 19.7754 | -11.5077
| ME_Portland | 29.2346 | 25.1635 | -12.369 |  | ME_Portland | 26.6741 | 25.0859 | -12.4824 | ME_Portland | 57.9529 | 27.8169 | -16.526 | ME_Portland | 49.8551 | 27.5171 | -15.8241
| MI_Detroit | 30.2511 | 24.4852 | -9.1382 |  | MI_Detroit | 27.5041 | 24.4695 | -9.2523 | MI_Detroit | 55.9876 | 27.0679 | -12.6092 | MI_Detroit | 49.0341 | 26.8176 | -12.0727
| MI_Grand_Rapids | 32.0044 | 25.1633 | -8.563 |  | MI_Grand_Rapids | 29.0243 | 25.144 | -8.6957 | MI_Grand_Rapids | 58.9772 | 28.0113 | -12.2979 | MI_Grand_Rapids | 51.4166 | 27.6994 | -11.7445
| MI_Houghton | 35.6207 | 29.2804 | -10.1731 |  | MI_Houghton | 32.5137 | 29.2305 | -10.3683 | MI_Houghton | 70.1574 | 32.1345 | -14.0805 | MI_Houghton | 60.8088 | 31.7694 | -13.3266
| MN_Duluth | 46.0344 | 36.4298 | -13.6353 |  | MN_Duluth | 41.9393 | 36.2759 | -13.8341 | MN_Duluth | 92.4001 | 39.1425 | -18.2142 | MN_Duluth | 78.8127 | 38.9731 | -17.4195
| MN_International_Falls | 46.4207 | 35.3983 | -11.842 |  | MN_International_Falls | 42.209 | 35.2304 | -11.9987 | MN_International_Falls | 93.0654 | 37.9914 | -16.1916 | MN_International_Falls | 79.1845 | 37.8188 | -15.2854
| MN_Minneapolis | 35.7434 | 28.1132 | -10.4312 |  | MN_Minneapolis | 32.9941 | 28.0863 | -10.6755 | MN_Minneapolis | 67.317 | 30.8099 | -14.1409 | MN_Minneapolis | 58.9549 | 30.544 | -13.5365
| MO_Kansas_City | 22.5477 | 18.9453 | -8.2475 |  | MO_Kansas_City | 20.8586 | 18.9169 | -8.2922 | MO_Kansas_City | 39.8037 | 21.2645 | -11.5785 | MO_Kansas_City | 35.0206 | 21.0439 | -11.0587
| MO_St._Louis | 22.6901 | 18.823 | -7.7915 |  | MO_St._Louis | 21.1345 | 18.7502 | -7.6815 | MO_St._Louis | 39.7313 | 21.1358 | -11.0205 | MO_St._Louis | 35.2562 | 20.8969 | -10.3507
| MS_Jackson | 12.2105 | 11.2205 | -7.2959 |  | MS_Jackson | 10.3635 | 11.1614 | -6.6994 | MS_Jackson | 16.3254 | 11.6427 | -8.1063 | MS_Jackson | 14.9357 | 11.6857 | -7.536
| MT_Billings | 30.3842 | 26.9164 | -11.5583 |  | MT_Billings | 28.0264 | 26.844 | -11.6526 | MT_Billings | 61.2132 | 29.5572 | -15.7777 | MT_Billings | 52.3994 | 29.3447 | -15.1051
| MT_Great_Falls | 33.4269 | 28.3067 | -11.3869 |  | MT_Great_Falls | 30.7941 | 28.2353 | -11.5089 | MT_Great_Falls | 66.9793 | 31.1 | -15.9434 | MT_Great_Falls | 57.3102 | 30.8824 | -15.2326
| NC_Charlotte | 15.7585 | 13.0203 | -7.9817 |  | NC_Charlotte | 12.8898 | 12.8401 | -7.4232 | NC_Charlotte | 41.7795 | 14.8814 | -11.9428 | NC_Charlotte | 29.3135 | 14.9281 | -10.8083
| NC_Raleigh | 16.2815 | 13.9471 | -7.8869 |  | NC_Raleigh | 13.7268 | 13.8196 | -7.4088 | NC_Raleigh | 45.1972 | 16.0005 | -11.8586 | NC_Raleigh | 31.9908 | 16.0592 | -10.7815
| ND_Bismarck | 38.6187 | 30.197 | -11.6555 |  | ND_Bismarck | 35.4986 | 30.1595 | -11.6131 | ND_Bismarck | 73.4925 | 33.0704 | -15.5005 | ND_Bismarck | 64.0141 | 32.7523 | -14.5805
| NE_Omaha | 27.0413 | 22.3221 | -9.0548 |  | NE_Omaha | 24.7513 | 22.2977 | -9.0221 | NE_Omaha | 52.2054 | 24.5416 | -12.5092 | NE_Omaha | 45.1796 | 24.405 | -11.8397
| NH_Concord | 29.6562 | 23.5161 | -9.5789 |  | NH_Concord | 27.0805 | 23.5011 | -9.7633 | NH_Concord | 58.1584 | 26.0507 | -13.2567 | NH_Concord | 50.1682 | 25.7944 | -12.5933
| NJ_Atlantic_City | 21.9583 | 18.8043 | -9.6158 |  | NJ_Atlantic_City | 20.1325 | 18.7279 | -9.5376 | NJ_Atlantic_City | 45.0235 | 21.0071 | -13.4958 | NJ_Atlantic_City | 37.1711 | 20.8963 | -12.9027
| NM_Albuquerque | 19.5824 | 18.5372 | -14.8945 |  | NM_Albuquerque | 16.589 | 18.3363 | -13.7339 | NM_Albuquerque | 30.7187 | 19.0605 | -16.104 | NM_Albuquerque | 25.9951 | 19.0138 | -14.8241
| NV_Las_Vegas | 7.945 | 10.0051 | -8.5968 |  | NV_Las_Vegas | 6.5933 | 9.8815 | -7.274 | NV_Las_Vegas | 13.0556 | 10.9755 | -9.8612 | NV_Las_Vegas | 11.3414 | 10.9073 | -8.153
| NV_Reno | 25.4124 | 21 | -15.1461 |  | NV_Reno | 20.6127 | 20.7603 | -13.5488 | NV_Reno | 40.5513 | 21.3594 | -15.7614 | NV_Reno | 33.98 | 21.3167 | -14.178
| NY_Albany | 31.0873 | 24.0167 | -8.3963 |  | NY_Albany | 28.1084 | 23.9834 | -8.5964 | NY_Albany | 64.2525 | 26.3805 | -12.1418 | NY_Albany | 53.2757 | 26.2809 | -11.7495
| NY_Buffalo | 31.8187 | 24.9873 | -8.0251 |  | NY_Buffalo | 29.0121 | 24.9441 | -8.2436 | NY_Buffalo | 64.9062 | 27.4186 | -11.8492 | NY_Buffalo | 54.2859 | 27.2929 | -11.4863
| NY_New_York_City | 23.6858 | 19.9671 | -9.3328 |  | NY_New_York_City | 21.8752 | 19.9459 | -9.5315 | NY_New_York_City | 47.1625 | 21.949 | -12.7046 | NY_New_York_City | 39.4664 | 21.8651 | -12.3853
| OH_Cleveland | 26.9905 | 22.1553 | -7.1454 |  | OH_Cleveland | 24.6458 | 22.106 | -7.1826 | OH_Cleveland | 52.1562 | 24.4465 | -10.4391 | OH_Cleveland | 44.8682 | 24.292 | -10.0338
| OH_Dayton | 25.6785 | 21.7422 | -8.3392 |  | OH_Dayton | 23.4507 | 21.7227 | -8.3876 | OH_Dayton | 50.1625 | 23.9444 | -11.4585 | OH_Dayton | 43.2249 | 23.8129 | -10.923
| OK_Oklahoma_City | 24.5861 | 18.4097 | -12.5658 |  | OK_Oklahoma_City | 20.4878 | 18.3969 | -11.7173 | OK_Oklahoma_City | 30.3874 | 18.7779 | -13.3975 | OK_Oklahoma_City | 27.5458 | 18.7972 | -12.6644
| OR_Medford | 19.0846 | 15.8886 | -5.6948 |  | OR_Medford | 16.4408 | 15.7565 | -5.2557 | OR_Medford | 54.9517 | 18.2743 | -10.3565 | OR_Medford | 40.1041 | 18.3226 | -9.1068
| OR_Portland | 19.5917 | 16.9775 | -5.9084 |  | OR_Portland | 17.1604 | 16.901 | -5.8345 | OR_Portland | 56.8511 | 19.6983 | -10.7737 | OR_Portland | 41.5415 | 19.7064 | -9.7719
| PA_Philadelphia | 23.0707 | 19.1073 | -8.5636 |  | PA_Philadelphia | 21.2162 | 19.0234 | -8.6135 | PA_Philadelphia | 46.1658 | 21.1856 | -11.8643 | PA_Philadelphia | 38.3504 | 21.0916 | -11.461
| PA_Pittsburgh | 25.275 | 20.948 | -7.0235 |  | PA_Pittsburgh | 23.0231 | 20.9023 | -7.0265 | PA_Pittsburgh | 53.1237 | 23.177 | -10.3332 | PA_Pittsburgh | 44.0998 | 23.0316 | -9.7678
| PA_Williamsport | 25.7536 | 20.7487 | -7.2469 |  | PA_Williamsport | 23.3298 | 20.6747 | -7.2845 | PA_Williamsport | 54.3946 | 22.8176 | -10.5674 | PA_Williamsport | 44.96 | 22.7315 | -10.1081
| RI_Providence | 25.4956 | 22.3382 | -10.8653 |  | RI_Providence | 23.1099 | 22.3296 | -11.0581 | RI_Providence | 48.4236 | 24.8198 | -14.7273 | RI_Providence | 42.2237 | 24.6068 | -14.3951
| SC_Charleston | 9.5799 | 9.5142 | -6.1645 |  | SC_Charleston | 7.8506 | 9.3429 | -5.5382 | SC_Charleston | 28.1227 | 11.3205 | -9.8787 | SC_Charleston | 19.4853 | 11.2757 | -8.6
| SC_Greenville | 15.3636 | 12.9615 | -7.614 |  | SC_Greenville | 12.5666 | 12.8025 | -7.1119 | SC_Greenville | 41.1778 | 14.8359 | -11.6748 | SC_Greenville | 28.8708 | 14.8397 | -10.4593
| SD_Pierre | 32.5575 | 26.9396 | -11.2818 |  | SD_Pierre | 30.025 | 26.8021 | -11.0787 | SD_Pierre | 70.1572 | 29.4216 | -15.5545 | SD_Pierre | 58.3315 | 29.3396 | -14.865
| TN_Memphis | 15.2848 | 12.7232 | -7.446 |  | TN_Memphis | 12.6613 | 12.6027 | -7.091 | TN_Memphis | 40.574 | 14.5026 | -11.2227 | TN_Memphis | 28.7286 | 14.5493 | -10.3087
| TN_Nashville | 20.8991 | 15.8191 | -7.6307 |  | TN_Nashville | 17.758 | 15.7502 | -7.4852 | TN_Nashville | 54.0458 | 17.6345 | -11.2079 | TN_Nashville | 38.899 | 17.8036 | -10.5984
| TX_Amarillo | 31.1406 | 22.9877 | -16.2717 |  | TX_Amarillo | 25.6882 | 23.0058 | -15.3403 | TX_Amarillo | 37.8125 | 23.2966 | -16.9693 | TX_Amarillo | 34.1162 | 23.3705 | -16.1432
| TX_Brownsville | 2.2203 | 3.7947 | -0.47256 |  | TX_Brownsville | 2.2955 | 3.8867 | -0.32704 | TX_Brownsville | 3.918 | 4.3996 | -1.4023 | TX_Brownsville | 4.0008 | 4.4829 | -1.1632
| TX_El_Paso | 9.2991 | 10.7968 | -9.1869 |  | TX_El_Paso | 7.6749 | 10.5796 | -7.6726 | TX_El_Paso | 12.808 | 11.4072 | -9.7604 | TX_El_Paso | 11.7592 | 11.361 | -8.3455
| TX_Fort_Worth | 11.1424 | 11.0721 | -7.7099 |  | TX_Fort_Worth | 9.5307 | 10.9778 | -6.8502 | TX_Fort_Worth | 15.0688 | 11.5709 | -8.6396 | TX_Fort_Worth | 13.8827 | 11.5939 | -7.8509
| TX_Houston | 6.563 | 7.314 | -3.449 |  | TX_Houston | 5.9313 | 7.2973 | -2.9961 | TX_Houston | 9.5835 | 7.8175 | -4.2368 | TX_Houston | 9.0963 | 7.8535 | -3.7807
| TX_Lubbock | 20.2136 | 17.2823 | -13.3214 |  | TX_Lubbock | 16.7023 | 17.1961 | -12.1471 | TX_Lubbock | 25.3891 | 17.6852 | -13.9405 | TX_Lubbock | 23.0006 | 17.7154 | -12.8502
| TX_San_Antonio | 6.6642 | 7.7656 | -4.1514 |  | TX_San_Antonio | 5.9845 | 7.741 | -3.5467 | TX_San_Antonio | 9.7904 | 8.3324 | -5.0904 | TX_San_Antonio | 9.2798 | 8.3653 | -4.4206
| UT_Cedar_City | 19.5289 | 18.9536 | -11.1722 |  | UT_Cedar_City | 17.2019 | 18.7161 | -10.6358 | UT_Cedar_City | 45.378 | 21.4092 | -15.3054 | UT_Cedar_City | 36.2531 | 21.2119 | -14.1351
| UT_Salt_Lake_City | 19.912 | 18.8325 | -8.6321 |  | UT_Salt_Lake_City | 17.88 | 18.6736 | -8.165 | UT_Salt_Lake_City | 44.8438 | 21.0992 | -12.4421 | UT_Salt_Lake_City | 36.5045 | 20.927 | -11.4103
| VA_Richmond | 14.6662 | 14.5258 | -8.0479 |  | VA_Richmond | 13.566 | 14.4728 | -7.8808 | VA_Richmond | 31.694 | 16.4527 | -11.1842 | VA_Richmond | 26.0974 | 16.3407 | -10.5498
| VT_Burlington | 33.4654 | 26.5551 | -9.4262 |  | VT_Burlington | 30.8113 | 26.4829 | -9.5778 | VT_Burlington | 63.9084 | 29.3882 | -13.5758 | VT_Burlington | 55.6515 | 29.0662 | -12.744
| WA_Seattle | 18.7544 | 17.5587 | -5.7387 |  | WA_Seattle | 17.0104 | 17.362 | -5.2832 | WA_Seattle | 39.5607 | 20.2375 | -10.4776 | WA_Seattle | 33.3276 | 19.9371 | -9.329
| WA_Spokane | 28.2954 | 23.9538 | -9.3267 |  | WA_Spokane | 25.4601 | 23.8422 | -9.2601 | WA_Spokane | 56.2823 | 26.5653 | -13.8491 | WA_Spokane | 47.5953 | 26.3682 | -13.113
| WI_Madison | 31.4336 | 25.6943 | -9.8234 |  | WI_Madison | 28.9658 | 25.653 | -9.9508 | WI_Madison | 60.4707 | 28.4414 | -13.704 | WI_Madison | 52.6819 | 28.2016 | -13.1077
| WV_Charleston | 17.6958 | 15.0879 | -5.5473 |  | WV_Charleston | 16.3468 | 15.0338 | -5.3973 | WV_Charleston | 36.9431 | 17.0338 | -8.4358 | WV_Charleston | 30.4488 | 16.9014 | -7.7154
| WY_Cheyenne | 29.343 | 28.2586 | -15.2947 |  | WY_Cheyenne | 26.8354 | 28.1503 | -15.1914 | WY_Cheyenne | 65.8381 | 31.3905 | -20.1097 | WY_Cheyenne | 53.9293 | 31.1495 | -19.2249
Centering values
[5 empty] | U_center | 0.571
| Note | U' = U -0.571 |  |  | SHGC_center | 0.4282
SHGC' = SHGC - 0.4282
| New | SF |  | Exist | SF
| Single story | 1700 |  | Single story | 1700
| Double Story | 2800 |  | Double Story | 2600
Kbtu / ft2 = Climate + U' * U-term + SHGC' * SHGC-term
| Convert Gas Heating to … | Multiply kBtu by to get site kWh
| …Electric Resistance | 228.5
| … Heat Pump | 115
| Site-to-source (primary) factor | 3.22