| Department of Veterans Affairs | VHA HANDBOOK 1173.2 |
| --- | --- |
| Veterans Health Administration | Transmittal Sheet |
| Washington, DC 20420 |  |

### FURNISHING PROSTHETIC APPLIANCES AND SERVICES

1.  REASON FOR ISSUE:  This Veterans Health Administration (VHA) Handbook updates the previous procedures of the Department of Veterans Affairs (VA) for furnishing prosthetic appliances and services to veteran beneficiaries.

2.  SUMMARY OF CHANGES:  This VHA Handbook updates current procedures.

3.  RELATED ISSUES:  VHA Directive 1173 and VHA Handbooks 1173.1 through 1173.16.

4.  RESPONSIBLE OFFICE:  The Chief Prosthetics and Clinical Logistics Officer (10FP), is responsible for the contents of this VHA Handbook.  Questions may be referred to 202-254-0440.

5.  RESCISSIONS:  VHA Handbook 1173.2, dated November 3, 2000, is rescinded.

6.  RECERTIFICATION:  This document is scheduled for recertification on or before the last working day of

|  | Jonathan B. Perlin, MD PhD, MSHA, FACP |
| --- | --- |
|  | Under Secretary for Health |

Distribution:  RPC:  0005

FD

Printing Date:   /00

### CONTENTS

### FURNISHING APPLIANCES AND SERVICES

PARAGRAPH 	PAGE

1.  Purpose 	 1

2.  Furnishing Appliances 	 1

3.  Stock Procurement 	 1

4.  Repairs to Appliances 	 3

5.  Loan of Appliances 	 10

6.  VA Prosthetic and Orthotic Laboratories 	 12

7.  VA Restoration Clinics 	 15

8.  VA DDC 	 16

9.  Direct Purchasing by Prosthetic Activities under COCP 	 18

10.  Prosthetic Treatment Centers 	 20

11.  Major Medical and Special Equipment Committee (MMSEC) 	 21

12.  Visual Impairment Services Team (VIST) 	 23

APPENDICES

A.  Designated Polytrauma Centers & Amputee Clinic Teams 	 A-1

B.  Designated Prosthetic Treatment Centers & iBot Evaluation Centers 	 B-1

C.  Prosthetic-Orthotic Laboratories Authorized in VA Field Facilities	 C-1

### FURNISHING PROSTHETIC APPLIANCES AND SERVICES

1.	PURPOSE

This Veterans Health Administration (VHA) Handbook establishes uniform and consistent national policy and procedures in furnishing prosthetic appliances to all eligible beneficiaries based upon the medical recommendations of Prosthetic Clinic Teams, staff physicians, or authorized fee-basis physicians.  NOTE:  Prosthetic staff will consider the recommendations of any private physician requesting a prosthetic appliance to treat a service connected condition, or any condition of a veteran 50 percent or more service connected.

2.	FURNISHING APPLIANCES

a.	In Department of Veterans Affairs (VA) facilities and VA nursing home care units, all 	prescriptions for appliances, repairs, or modifications requested for inpatients will be initiated 	sufficiently in advance of the patient's anticipated release date to permit procurement and 	delivery prior to discharge.

b.	Special and non-routine prosthetic appliances will require approval of an appropriate 	committee, e.g., Major Medical and Special Equipment Committee (MMSEC), Home 	Improvement and Structural Alterations (HISA), VHA Headquarters, etc.

c.	The Prosthetic Representative will ensure compliance with the legal authority to provide 	services as outlined in Title 38, and ensure that the resources necessary to sustain a viable 	program are identified to appropriate upper management officials.

d.	The Prosthetic Representative will review all requests from beneficiaries or their 	authorized representatives for determination of whether a previously provided appliance may 	be replaced or, if circumstances indicate, referral to the appropriate clinician for a new 	prescription.

e.	In the absence of a Prosthetic Representative, all requests from patients or their 	authorized representatives will be referred to a designated physician or to the Prosthetic Team.

f.	Personal equipment or appliances owned by a veteran, which have not been furnished 	by VA, may be added to the veteran’s VA Form 10-2319 (ADP), “Record of Prosthetic 	Service”, at the veteran’s request, provided that he/she meet the medical criteria for that 	equipment, based on the provisions set forth in this handbook.

3.	STOCK PROCUREMENT

a.	If the appliance is to be procured commercially, VA Form 2237, “Request, Turn-in and 	Receipt for Property or Services” will be electronically prepared through the Veterans Health 	Information Systems and Technology Architecture (VISTA) software.  The printed copy of 	the form will be retained, as a delivery copy, to compare with the item(s) received.  Stock 	items may also be procured through use of the purchase card.

b.	Upon receipt of the appliances at the facility warehouse, delivery will be made to the 	Prosthetics Service.  If the received appliance meets the specification set forth in the order, as 	verified by the suspense copy, VA Form 90-2138-7 (ADP), “Order for Supplies or Service”, 	will be signed and dated by an authorized receiving official.

c.	Purchase Order Number.  The purchase order number is assigned sequentially by the 	Integrated Funds Distribution, Control Point Activity, Accounting and Procurement (IFCAP) 	process at the time the order is obligated. In recording the transaction to the VA Form 10-	2319 (ADP), simultaneous posting to the National Prosthetic Patient Database (NPPD) occurs.  	The provision of items from stock is exercised through the Prosthetics software.  Items and/or 	services are posted to the VA Form 10-2319 (ADP) and deleted from the quantity of existing 	stock.

d.	Blanket Purchase Agreements (BPA).  BPA’s are designed to reduce the number of 	daily purchases and may be established for the purpose of obtaining large quantities of similar 	items and to offer the benefit of obtaining quantity discounts.  Under no circumstances should 	the existence of BPA for a particular product be used as a vehicle for denying issuance of a 	similar, non-BPA item that would be more appropriate for meeting a beneficiary’s medical 	needs.  BPAs are negotiated nationally. Items, equipment and services obtained through BPAs 	are processed as described above, using VA Form 2421pc for individual patients and VA 	Form 2237 for bulk stock.

e.	Recommended Special and/or Experimental Appliance.  If a special and/or 	experimental appliance is recommended for issuance to a beneficiary, VA Form 10-2641, 	“Authorization for Issuance of Special and/or Experimental Appliances,” will be prepared.  	Completion of this form is self-explanatory; however, a thorough and comprehensive 	justification for issuance of the requested item must be presented to VHA Headquarters, in 	order that designated personnel can make an appropriate decision.  In addition to the 	diagnosis, the following information will be required:

(1)	A statement regarding the physical condition of the patient, including an 				assessment of functional limitations and the medical justification for the requested 			device.

(2)	Reports of home visits, if applicable, including information on accessible space, 			floor plan layouts, available electrical power, or other factors effecting the use or 				installation of the requested equipment.

(3)	Alternatives that were considered, using more conventional devices or methods.

(4)	The ability of the patient to use and operate the device and/or the availability of 			family members of family members or attendants to assist the veteran.

(5)	Training provided to the veteran and/or family members.

(6)	Relevant illustrative literature or scientific articles should be included, 				particularly if the item is new to the market.  VA Form 10-2641 will be signed by the 			appropriate physician, the Prosthetics representative, and will be forwarded to the VPR 			for review and, if necessary, forwarded to VHA Headquarters for approval.  A copy 			of the document will be held in suspense until a decision has been rendered.  It is 				recommended that the "critical comment" on VA Form 10-2319 (ADP) be annotated to 			reflect the status of VA Form 10-2641.  If the request is denied, the veteran will be 			notified of his appeal rights.

f.	Approval for Issuance of the Special and/or Experimental Appliance.  If approval 	for issuance of the special and/or experimental appliance is granted, the original VA Form 10-	2641 will be returned to the field facility.  Upon receipt of such approval, VA Form 10-2421 	(ADP), “Prosthetic Authorization for items or Services”, will be prepared in the usual manner. 	In addition, a copy of the approval, VA Form 10-2641, will be retained along with the 	suspense copy of the procurement document, as authority for procurement. It will be placed in 	the veteran's Consolidated Health Record upon receipt of the item and/or service.

g.	Follow-up Procedures on All Pending Orders.  All pending orders will be reviewed 	on a regular basis to determine that they are being processed in a timely fashion.  Use of the 	“IFCAP Option List Purchase Card Transactions by Initiator” (“LPCI”) will identify obligated 	pending orders.   Annotations to this list may include, but are not limited to:  date of follow-	up, person(s) contacted, general discussion, and changes in estimated delivery times.

4.	REPAIRS TO APPLIANCES

a.	Scope

(1)	All parts procured or fabricated to replace existing parts or to modify a 				previously issued appliance will be considered as "repairs," regardless of whether 				installation is performed by a commercial source, a VA facility, or the beneficiary.

(2)	Repairs will be obtained by use of either VA Form 10-2501, Prosthetic Service 			Card (PSC) (for veterans receiving prosthetic services for a Service Connected 			condition), or VA Form 10-2421pc, “Prosthetic Authorization for Items or Services”, or 			Purchase cards, whichever is determined to be the most appropriate, under the 				circumstances.

(3)	Repairs/replacements for DME/Artificial Limbs not furnished by a facility will be 		provided once a patient is enrolled at the new/referral facility.  Prosthetic staff should 			input the item(s) to be repaired into the patient’s 2319 as historical data for tracking 			purposes.  If a replacement is deemed necessary, follow standard procedures for 				replacement of equipment.

(4)	PSCs shall be provided by all prosthetic programs at field facilities.

(5)	Equipment repairs and services which may be authorized under the authority of 			PCS include artificial limbs, aids for the blind and veterinary services for guide dogs, 			orthopedic braces, and power wheelchairs.

(6)	PSCs are limited to the following amounts:

(a)	Blind aids and/or braces	$150

(b)	Power Wheelchairs   		$250

(c)	Artificial limbs 		$500

(7)	Invoices for repairs or veterinary treatment obtained under the authority of a 			PSC will be submitted to and paid for by the Prosthetic Service with Primary Service 			Area (PSA) responsibility where the veteran resides.

##### (8)	When eligible beneficiaries, requiring repairs to authorized appliances, do not 			possess a PSC, prior approval for repairs must be given by the Prosthetic Representative, 			or designee, before payment of repairs can be made.  NOTE:  Exceptions to this policy 			are found in “Procedures for Usage of PSC.”

##### b.	Responsibility

(1)	Prosthetic representatives, or designated officials, are responsible for the overall 			administration of the PSCs, to include receiving and processing all PSC invoices 				submitted by vendors for repairs to appliances.  Training will be provided to all 				subordinate staff with reference to what types of repairs are appropriate or acceptable 			cost limits that may be authorized on beneficiary appliances.

(2)	Vendors are responsible for ensuring that the appliance being repaired is 				described on the PSC and for obtaining a Form Letter (FL) 10-55, Authority to Exceed 			Repair Costs of Prosthetic Appliance, when repairs exceed the authorized limitations of 			the card.

(3)	Veterans are responsible for safeguarding their PSC, using it only for the 				identified appliance(s) and for updating as required.  Veterans should take care to ensure 			that they do not sign a “blank” invoice, and to verify that the charges on the invoice are 			for services received.

c.	Procedure

(1)	After determination of eligibility and review to assure that the beneficiary has no 			previously issued card, VA Form 10-2501 will be prepared.

(a)  When an initial PSC is prepared, the date of preparation will be entered in the 				box "Date Card Issued"; subsequent cards will reflect this same initial date. 				"PSC/Entitlement Records" option in the VISTA Prosthetic software will be 				exercised to collect the data necessary for paying invoices.

(b)  Beneficiaries with more than one type appliance, for which a PSC is 					authorized, will be furnished a separate PSC for each appliance.

(2)	Limits for PSC Benefits

(a)	Artificial Limbs.  The price limitation of $500 will be entered in the 			appropriate space.  The level of amputation, specification of left or right, of 			serviceable artificial limbs in the patient's possession, with the year of issue, will 			be entered in the description area for each amputation.

(b)	Aids for the Blind.  The price limitation of $150 will be entered in the 				appropriate space.  The make, model, and serial number of each of the major aids 				in the patient's possession will be listed.  When a dog guide is used, the breed and 				dog's name; e.g., "German Shepherd," "Fido," will be entered as one item and the 				harness as another.

(c)	Orthotic Appliances (not including foot orthotics).  The price limitation 				of $150.00 will be entered in the appropriate space.  The “Description” area will 				include:

1.	The type of orthosis

2.	Specification of left/right extremity, specification of type of spinal 				orthosis, etc.

3.	Number of serviceable orthopedic devices in the patient's 						possession, along with the year of issue.

(d)	Power Wheelchairs.  The price limitation of $250.00 will be entered.  The 					make, 	model, and serial number of the authorized wheelchair(s) in the 					patient's possession, with the year of issue, will be entered in the 						description area.

(3)	Preparation and Issuance by Mail

(a)	When a new or replacement PSC is requested by mail, and the personal 				information is not available, FL 10-216, Instructions for Issuance of New 					Prosthetic Service Card, will be developed through the VISTA Prosthetic 					software and mailed to the patient with a blank PSC and a return envelope.

(b)	Upon return of FL 10-216, the signed PSC and the old card or statement 				confirming loss or destruction, the revised PSC will be processed and sent to the 				patient with FL 10-215, Prosthetic Service card instructions (Selected).  The 				veteran's VA Form 10-2319 (ADP) will be annotated to reflect the issuance of the 			PSC.

(c)	When preparing FL 10-215, the appropriate box explaining the reason for 				furnishing the PSC will be checked.  If the PSC is replaced because of the 					issuance of a different appliance, the box requesting the destruction of the existing 			card will also be checked.

(d)	When the personal information is available, the PSC will be processed 				and sent to the patient with a return receipt.  Screen 6 of the VA Form 10-2319 				(ADP) will be annotated to reflect the name of the signatory on the returned 				receipt.

(e)	The patient will verify the information and sign the PSC in ink in the 				appropriate box.   The PSC with FL 10-216 will be given to the veteran.

(4)	PSC Invoices

(a)	Upon the receipt of VA Form 10-2520, PSC Invoice, a purchase card 				obligation will be processed for the amount of the invoice using the control point 				purchase card assigned to repairs.  In the event that it exceeds the PSC 					limitations, FL 10-55 will be employed.

(b)	Every effort should be made to ensure that repairs that exceed the 					limitations of the appropriate PSC are authorized before the card limit is 					exceeded.  There will be cases where the limit is inadvertently exceeded before 				proper authorization is given; however, this is unacceptable after more than one 				occurrence following documented notification from the repair source of the 				proper process.  In such subsequent cases, only the card limit for the repairs will 				be paid, and a copy of the invoice will be returned with the balance marked as 				"unauthorized repair."

(c)	The preparation of two separate invoices to cover a repair exceeding 				established PSC limits will not be approved for payment; invoices will be 					prepared only for each incident of repair to appliances.

(5)	Preparation and Processing of Invoices

(a)	After repairs have been accomplished, the vendor will prepare invoices 				as illustrated on the reverse side of the PSC.  VA Form 10-2520 may be used and 				will be furnished to vendors by the authorizing VA field facility on request.  				Verification will be required, to the best of the patient's ability, of the repair 				information and charges listed on the invoice to ascertain that the total charges 				have been typed or entered in ink or indelible pencil in the appropriate space on 				the invoice, and to sign the original only of the invoice, using the same signature 				as that on the PSC.  Under no circumstances should the patient ever sign a blank 				PSC invoice.  Verifiable indications of such occurrence may result in cancellation 			of the abusing beneficiary’s PSC.

(b)	The vendor will forward the original invoice and one copy, and the 				original FL 10-55, if applicable, to the VA field facility indicated on the PSC.

(c)	On receipt of such invoices, the following actions will be taken:

1.	The invoice will be entered into the Prosthetic Suspense package 					as a clone to the original request if less than two years old. If greater 					than two years old, a new request will have to be submitted for the repair.

2.	The description of the appliance repaired and the issuance of a 					PSC will be checked against the information posted on the VA Form 10-					2319 (ADP).  Repair invoices for artificial limbs, aids for the blind, and 					braces should be compared to delivery dates; wheelchairs should be 					compared by serial numbers.

(6)	Other Authorized PSC Repairs

(a)	Price Limitations.  Price limitations have been established for each 					appliance for which PSC repairs have been authorized.  These are clearly defined 				on each PSC and may not be exceeded except in the following circumstances:

1.	If a PSC is presented to a VA Orthotic Laboratory, any necessary 					repairs will be made without further authority, provided facilities and 					necessary parts or supplies are available, and the cost of the repairs do not 					exceed 50 percent of the cost of a replacement item.  If the cost exceeds 50 				percent, the Prosthetic Representative with PSA responsibility over the 					veteran's treatment will be contacted for authorization to repair or replace 					the device.

2.	On presentation of a PSC at any VA field facility with medical 					activities, the patient will be entitled to all required prosthetic services in 					connection with the appliances listed on the card, as well as to other 					appliances or accessories obviously required because of the condition for 					which the card was issued.

3.	Major repairs to appliances in excess of the limitation listed on 					the PSC, or emergency replacement of such an item if medically indicated, 				will be provided without the necessity for prior eligibility certification 					from the field facility exercising jurisdiction over the veteran's case.  					Requests for prosthetic services under such circumstances will be 						processed as follows:

a.	The patient will be immediately referred to an appropriate 						physician, if medically necessary, for examination and medical 						determination of need for the requested major repair or 							replacement.

b.	If authorized, the Prosthetic representative, or designee, 						will make all necessary arrangements, in accordance with existing 						policies and procedures, to obtain immediate repairs or 							replacement.  NOTE:  Such cases will be processed as 							emergencies and every effort will be made to expedite service to 						the patient.

c.	The field facility authorizing and procuring repairs or 						replacement appliances will be obligated for payment of all costs 						incurred, except for costs of any repairs obtained under direct 						authority of the PSC.

d.	When any device is in the process of being repaired by a 						commercial vendor under the authority of a PSC, and it is found 						that more extensive repairs are absolutely essential to restore the 						device to serviceable condition, the vendor should immediately 						contact the Prosthetic Representative of the field facility listed on 						the card.  A full explanation of the situation and the total estimated 						cost for the repairs will be obtained from the vendor.  A 							determination will then be made as to what action is to be taken in 						the case.  If it is agreed that the repairs are necessary and 							economically feasible, FL 10-55 will be prepared by the Prosthetic 						activity.

e.	If the quoted cost appears to be excessive for any reason 						and no emergency exists, the device (preferably, along with the 						patient) will be referred to the Prosthetic Service for clinical 						evaluation and for possible replacement.  If the need is emergent, 						minimal repairs will be authorized and the patient will be 							scheduled for examination.

f.	If all of the conditions of preceding subparagraph 							4c(6)(d)c. are met, but the Prosthetics Representative cannot be 						contacted during non-office hours and if prosthetic repairs must be 						accomplished in order to ambulate the patient, absolute minimum 						essential repairs may be performed on the prerogative of both the 						patient and the vendor.  However, the Prosthetic representative will 					be contacted by the vendor at the earliest opportunity and a 							complete explanation submitted.  The invoices will then be 							processed upon receipt.

(b)  In using VA Form 10-2501, a terminal device may be repaired as part of an 				artificial arm.

(7)	Revoked or Cancelled PSC.  A beneficiary’s PSC will be cancelled or revoked 			if:

(a)	There is an adjudication rating action resulting in lack of eligibility for a 				beneficiary for the appliance or repairs thereto.

(b)	There is a medical determination that there is no further need for the 				appliance.

(c)	There is flagrant abuse of the benefits of the PSC, e.g., signing blank 				invoices, using the card for unauthorized purchases more than twice, etc.

1.	When a determination to cancel has been made, immediate steps 					will be taken by the Prosthetic Representative to re-possess the PSC.  Such 				action will include informing the patient, in writing, of the reasons for the 					action, including the statement that continued use of the card to obtain 					repairs will be considered as a fraudulent act.  Revocation letters 						forwarded for abuse or lack of cooperation will be sent via registered mail 					and will contain a statement that the patient will obtain prior authority 					from the local facility of jurisdiction for all future repair services.  This 					letter will be developed through the Prosthetic VISTA software 						"correspondence menu" to ensure inclusion and ready review on VA Form 				10-2319 (ADP).

2.	If the patient does not surrender the card, and does not submit a 					letter explaining the circumstances within 45 days of receipt of certified 					correspondence, VA Form 10-2319 (ADP) will be prominently annotated 					through the "critical comment" screen #6 to suspend payment of all 					subsequent invoices charged to the card. An investigation under the 					auspices of the District Counsel may be required when there is a dispute 					between the Prosthetic representative and the billing vendor over 						legitimate billing.

(8)	Repairs VA Form 10-2421, Prosthetic Authorization for Items or Services.  			In the absence of a PSC or use of PSC, VA Form 10-2421pc will be used to obtain repair 			or replacement parts for any appliances for eligible beneficiaries [qualifying under Pub. 			L. 104-262].  Service may be authorized up to one-half the replacement value of the item.  		These forms will be processed in the usual manner.

(9)	Centralized Hearing Aids Repair Program

(a)	A national centralized program for processing hearing aids for repair is 				established at the Denver Distribution Center (DDC), Denver, CO.  Except for 				local emergency repairs, all hearing aids in possession of veterans will be 					processed for repair through this centralized system.

(b)	Personally purchased hearing aids may be included in the centralized 				program upon approval of the Audiology and Speech Pathology Service (ASPS) 				with PSA responsibility where the veteran resides and detailed notification to the 				DDC.  ASPS will input data through the Remote Order Entry System.

(c) 	Upon receipt of notification indicating the issuance of a hearing aid to a 				veteran not already participating in the program, the DDC will forward a mailing 				carton and instructions to facilitate repairs of the aid.

(d)	The Prosthetic Service with PSA responsibility where the veteran resides 				will authorize and pay for appropriate local emergency repairs to hearing aids 				when repair by DDC is not feasible.

(e)	VA facilities requiring repairs to hearing aids for long-term non service-				connected patients may forward such aids to the DDC.  VA Form 10-2529-3, 				Request and Receipt for Prosthetic Appliances or Services, should be prepared by 				the Prosthetic Service with PSA responsibility in the usual manner and clearly 				annotated to identify the hearing aid by manufacturer, model number and serial 				number.

(f)	All costs for repairs of hearing aids by the DDC will be charged to the 				Prosthetic Service with PSA responsibility where veteran resides.  Procedures for 				processing emergent repairs by VA field facilities will be established at the local 				level.

5.	LOAN OF APPLIANCES

a.	Scope

(1)	The procedures for furnishing appliances as outlined are generally applicable to 			major items of medical equipment which are loaned or furnished to eligible veterans.

(2)	Necessary forms for managing the issuance of major items of medical equipment 			and the procedures, i.e., FL 10-219, Notice to Veteran of Loan of Medical Accessories 			and Receipt; FL 10-219a, Release from Responsibility for Government Property; and FL 			10-426a, Information Letter – Major Medical Equipment, should be created in the local 			“correspondence menu” of the prosthetics VISTA software.  This ensures that a copy is 			reserved in VA Form 10-2319 (ADP) when the original is sent to a beneficiary.  It is not 			necessary that a separate letter be sent whenever multiple or subsequent issues of the 			major medical equipment are involved.  One letter sent upon the issuance of the first item 		is sufficient to inform the veteran of the existing policy.

(a)	Reusable medical equipment will be recovered, if offered, refurbished if 				necessary, and reissued whenever such actions are cost-effective.  For the 					purposes of recovery, loan items will be depreciated at the rate of 20 percent per 				year from the date purchased.  If it is not cost-effective to recover a particular 				item, the offer will be politely declined and the veteran or family member will be 				advised to donate it to an appropriate nonprofit organization; e.g., a veterans 				service organization, the Red Cross, the American Cancer Society, etc.

(b)	Non-custom appliances and/or items will be furnished on loan when the 				purchase cost of the item exceeds $10,000 or the Durable Medical Equipment 				(DME) item with a life-span of 1 to 5 years is only required for a short period of 				time, generally 1 to 3 months, or less.

(c)	Appliances and/or items whose loan periods have expired will be deleted 				from the loan program and permanently issued to the veteran.

(d)	The Prosthetic Representative must maintain a file or database of all 				loaned equipment.

b.	Responsibility

(1)	The Prosthetic Representative is responsible for the overall administration of the 			loan program.  This includes identifying those items that are to be loaned, the duration of 			the loan period, establishing loan records, maintaining an inventory of returned loaned 			items, and documenting the records of veterans in receipt of loaned items.

(2)	The Prosthetic Representative, with PSA responsibility, will repair and/or 				replace any loaned equipment in the possession of a veteran residing within that PSA.

c.	Procedure

(1)	The VISTA "Loan Program" menu will be selected.  The equipment may be 			placed on loan by responding to prompts for the usual information.  No item may be 			placed on loan that is not entered on the veteran’s VA Form 10-2319 (ADP) prior to 			initiating the loan process.

(2)	VA Form 10-1439, Prosthetic Inventory Card Prosthetic - Loaner Item, an 				automated loan card, will be maintained to document actions during the serviceable life 			of an appliance, which will be 5 years from the initial purchase and/or delivery date.  			Particular care should be taken to ensure that the item’s description, value, and purchase 			date is accurately recorded, as this information is critical in the follow-up activity.

(3)	The VISTA software will establish the dates of follow-up.  With the exception of 			‘short-term” loans (1 to 12 months), the first date will be 6 months from the date of loan.  		Routine follow-up dates are 6 months, 12 months, and annually thereafter.  When 				electronically transferred and downloaded to another facility, these dates remain 				unchanged to accommodate subsequent follow-up including the loan expiration date 			originally established.

(4)	Items over 5 years old will not normally be loaned, nor will items which have 			been recovered after being loaned two times.

(5)	Loaned items that are returned to inventory, that have a residual value greater 			than $6,000, will be loaned if provided to another veteran within 5 years from the date of 			purchase.

(6)	FL 10-219, incorporated in the local VISTA correspondence menu, will be 			printed in duplicate and the original and one copy will be forwarded to the patient at the 			time the loaned appliance is shipped or delivered.  An entry will be made in the electronic 		loan correspondence suspense file pending return of the signed original from the patient.  			Upon receipt of the signed copy of the FL 10-219, it will be filed in the veteran's 				Consolidated Health Record. The electronic loan correspondence suspense file entry will 			be closed.

(7)	When alerted by the prosthetic software that a loan follow-up is required, it will 			be accomplished by one of the following:

(a)	Personal Contact.  If the Prosthetic representative has personal 					knowledge that the veteran is using the device, the appropriate option of the loan 				program will be exercised, and "personal" will be selected as the type of contact.

(b)	Record Review.  If the Prosthetic representative does not have personal 				knowledge of the veteran's continued need for the item, a review of the veteran's 				VA Form 10-2319 (ADP) or Consolidated Health Record will be made to 					determine if:

1.	The veteran has requested service to the item 						2.	The veteran was recently issued items of a similar nature 					3.	The veteran’s medical condition is such that continued need 				for the item can be established.

If it can be reasonably assumed that the veteran still requires the item, the 					appropriate option of the loan program will be exercised, and "Record Review" 				will be selected as the type of contact.

(c)	Telephone or Letter.  If continued need cannot be established by the 				preceding methods, contact will be made by telephone or FL 10-426, “Temporary 				Loan Follow-up Letter”.  If a letter is the method of follow-up, an entry will be 				made in the electronic loan correspondence suspense file.  This file may be dated 				for automatic ‘alert’ or ‘print’ by the inputting user. The incomplete follow-up 				will appear each time the "Follow-up Loan Report" is viewed and remains open, 				pending receipt of a response. If it can be reasonably assumed that the veteran still 			requires the item, the appropriate option of the loan program will be exercised, 				and "Telephone or Letter" will be selected as the type of contact.

(8)	If any methods of follow-up indicate that a veteran no longer needs the item, 			appropriate arrangements for the return of the loaned property will be made, if 				economically feasible.  The recovery of equipment for which recovery costs exceed the 			residual value of an item will not normally be authorized, unless it is known that the item 			is in very good condition and the item is suitable for reissue.

(9)	If a follow-up letter is returned as undeliverable or no response is received, a 			second attempt will be made to contact the veteran during the next review period.  If 			unsuccessful, the "Comments" section of the inventory card will be documented with the 			phrase "unable to contact," the card will be printed for filing in the veteran's Consolidated 		Health Record, and deleted from the loan program (in that order).

(10)	When loaned items are recovered or permanently issued, a “loan release form” 			will be generated from the prosthetics software correspondence option, and forwarded to 			the veteran and automatically documented on the veteran’s VA Form 10-2319 (ADP).

6.  VA PROSTHETIC AND ORTHOTIC LABORATORIES

a.	Scope

(1)	The size of a VA Prosthetic and Orthotics Laboratory will vary depending on the 			needs of the VA medical center.  Laboratories may be established as a necessary part of 			patient treatment services in any VA medical center when analyzed as cost-effective.

(2)	The Prosthetic and Orthotic Laboratory will be assigned organizationally to the 			Prosthetic Service.

(3)	Prosthetic and orthopedic appliances, when required to be custom-fabricated for 			specific veterans, may be procured from commercial vendors where adequate facilities 			are conveniently available. However, existing VA Prosthetic and Orthotic Laboratories 			will be used as a primary source and will be utilized to the fullest extent possible.

(4)	Laboratories employing two or more clinicians will serve as a referral source for 			the fabrication of orthotic and/or prosthetic devices for other VA facilities without a 			Prosthetic and Orthotic Laboratory or for those facilities with smaller laboratories.

(5)	In field facilities having established VA Prosthetic and Orthotic Laboratories, 			the Chief Prosthetic and Clinical Logistics Officer (10FP), will periodically conduct an 			evaluation to ensure that the:

(a)	Laboratory is being properly utilized to its full capacity; that the quality 				of appliances fabricated is completely satisfactory to prescribing physicians and is 			at least equal to the best available from local commercial vendors.

(b)	Needs of the patients are being fully met through a combination of 					internal fabrication and commercial procurement.

(c)	Laboratory is operating as efficiently and economically as possible.

(d)	Current staffing is appropriate for the amount of work being done.

(6)	In field facilities not having a VA Prosthetic and Orthotic Laboratory, but 				desiring to establish one, a request for authority, with full justification, will be submitted 			to the Chief Prosthetics and Clinical Logistics Officer, through the appropriate Network 			Director.

(7)	VA Prosthetic and Orthotic Laboratories have been established at selected VA 			facilities (see App. C).

b.	Responsibility

(1)	The Chief Prosthetics and Clinical Logistics Officer, is responsible for the 				formulation of policies, standards, and scope of VA Prosthetic and Orthotic 				Laboratory activities, including, but not limited to, providing training and technical 			assistance to the laboratories, participating in the development and recommendation of 			space, equipment, and funds to be provided, and recommending proper staffing levels.

(2)	The Director of a facility in which a VA Prosthetic and Orthotic Laboratory is 			located will be responsible for assuring that other VA facilities requesting services from 			the laboratory are afforded fair and equitable priorities, and that the requirements of any 			one facility (including the Director’s own) do not take precedence over any other.  The 			Director will be responsible to the same degree for successful operation of this activity as 		for the conduct of other activities that solely benefit the Director's own facility.

(3)	The Prosthetic and Orthotic Laboratory Supervisor will ensure that the quality of 			the appliances fabricated is satisfactory to patients and prescribing physicians, the time 			required for delivery is not excessive or will not result in prolonged hospital stays for 			patients, and the prices charged for such appliances are reasonable.

(4)	The Prosthetic and Orthotic Laboratory Supervisor is responsible to the Prosthetic 		Program Manager, for the efficient and economical administration and operation of the 			laboratory in accordance with established policies, standards and procedures.

##### c.	 Procedure

(1)	VA Prosthetic and Orthotic Laboratories design, fabricate, repair, and fit 				custom-made artificial limbs, orthotic devices, corsets, surgical belts, arch supports, and 			similar appliances, for VA beneficiaries upon receipt of a properly prepared VA Form 			10-2529-3, from any facility.  The fabrication of definitive artificial limbs may be 				authorized in accordance with the following policy:

(a)	Eligible veterans who are new amputees will be provided a preparatory 				limb using conventional endoskeletal componentry.  Once the veteran has 					achieved appropriate shrinkage and is ready for a definitive prosthesis, the socket 				may be replaced and the limb cosmetically finished.  These veterans will not be 				referred to a commercial contractor unless such action is necessary to expedite the 			treatment process.

(b)	Eligible veterans will select their provider for artificial limbs from the 				listing of contract vendors, including capable VA Prosthetic and Orthotic 					Laboratories.  Service-connected veterans who have obtained their most recent 				limb from a non-contract provider will be allowed to have their subsequent limb 				manufactured by the VA non-contract provider as long as the provider is willing 				to accept the geographic VA preferred provider payment rate for the State in 				which the prosthetist performs this service.  The VA Prosthetic and Orthotic 				Laboratory will be on the same listing, and may be selected to fabricate definitive 				limbs.

(2)	Prosthetic and Orthotic Laboratories will store, modify as necessary, fit, and 			issue prefabricated orthotic devices, i.e., corsets, belts, elastic hosiery, and other 				appliances provided under centralized distribution programs or purchased from 				commercial sources.

(3)	Prosthetic and Orthotic Laboratories must repair artificial limbs, orthotic 				devices, wheelchairs, and other appliances in possession of eligible veterans on receipt of 		VA Form 10-2529-3 or on presentation by the veteran of a valid PSC.

(4)	Prosthetic and Orthotic Laboratories may participate in clinical evaluation 				studies of newly developed prosthetic and orthotic devices initiated by the Chief 				Prosthetics and Clinical Logistics Officer.

7.  VA RESTORATION CLINICS

##### a.	Scope

(1)	Restoration Clinics will be used as a primary fabrication source for VA 				beneficiaries and will be utilized to the fullest extent possible.

(2)	Restoration Clinics will be assigned organizationally to the Chief, Prosthetic 			Service.

(3)	In field facilities having established VA Restoration Clinics, the facility Director 			will conduct an annual evaluation to ensure that the clinic is being properly utilized to its 			full capacity; that the quality of appliances fabricated is completely satisfactory and is at 			least equal to the best available from local commercial facilities; that the needs of patients 		are being fully met; that the clinic is operating as efficiently and economically as 				possible; and that current staffing is proper for the amount of work being done.  The 			Chief Prosthetics and Clinical Logistics Officer will assist in such evaluation by 				providing comparative statistical analyses of all VA Restoration Clinics in operation with 		specific recommendations when requested.

##### (4)	Custom made artificial eyes, facial and body restorations, cosmetic partial hands 			and similar appliances may be procured from commercial sources if the quality of the 			appliance is satisfactory, the time required for delivery is not excessive, and prices 			charged for such appliances are reasonable.

##### (5)	Cosmetic gloves for partial hand amputees may be fabricated by the VA 				Restoration Clinics, having the capabilities to fabricate and fit these appliances, or 			procured from commercial sources.  Such appliances will be made available to any VA 			facility upon receipt of a properly prepared VA Form 10-2529-3.

##### (6)	VA Restoration Clinics have been established at selected VA facilities (see App. 			A, VHA Handbook 1173.11).

##### b.	Responsibility

(1)	The Chief Prosthetics and Clinical Logistics Officer, is responsible for:

(a)	The formulation of policies, standards, and scope of VA Restoration 				Clinic activities, including, but not limited to, providing training and technical 				assistance to the clinics, participating in the development and recommendation of 				space, equipment, and funds to be provided, and recommending proper staffing 				levels.

(b)	Directing the use of standardized materials and techniques if required for 				efficient operation and/or uniformity of services to patients.

(2)	The facility Director in which a VA Restoration Clinic is located is responsible 			for ensuring that other VA facilities requesting services from the clinic are accorded fair 			and equitable priorities and that the requirements of 	any one facility (including the 			Director's own) do not take precedence over any other.  NOTE:  The Director is 				responsible, to the same degree, for successful operation of this activity, as for the 			conduct of other activities that solely benefit the Director's own facility.

(3)	The Supervisor of the Restoration Clinic must ensure that the quality of the 			appliances fabricated is satisfactory to patients and prescribing physicians, that the time 			required for delivery is not excessive or will not result in prolonged hospital stay for 			patients, and that the prices charged for such appliances are reasonable.

(4)	The Supervisor of the Restoration Clinic is responsible to the Prosthetic 				Representative for the efficient and economical administration and operation of the clinic, 		in accordance with established policies, standards, and procedures.

c.	Procedure

(1)	Restoration Clinics custom make artificial eyes, facial and body restorations, 			cosmetic partial hands, ear inserts and similar appliances for eligible VA beneficiaries on 			receipt of clinical notes and VA Form 10-2529-3, from all VA facilities.  For referrals, 			VA Form 10-10EZ, Application for Medical Benefits, is also required.

(2)	Restoration Clinics may participate in clinical evaluation studies of new 				materials and techniques initiated by the Chief Prosthetics and Clinical Logistics Officer.

(3)	Restoration Clinics will fabricate or repair special appliances in possession of 			their own eligible VA beneficiaries, and for beneficiaries of other field facilities, 				provided such work can be done with existing staff and without detriment to direct 			patient services.

8.	Denver Distribution Center (DDC)

The DDC provides for the warehousing, procurement, and distribution of hearing aids, hearing accessories, hearing aid batteries, artificial larnyxes, prosthetic stump socks, select aids for the blind and flexible orthoses, and repairs hearing aids.

NOTE:  Any changes in policy and/or procedures concerning the centralized distribution of prosthetic items will be coordinated among the Prosthetic and Sensory Aids Service Strategic Healthcare Group, DDC, and the involved VHA Clinical Program.

##### a.	Responsibility

(1)	The Office of Acquisition and Materiel Management (OA&MM) provides 			internal management including:

(a)	Supervision of the personnel involved in the centralized distribution of 				prosthetic items,

(b)	The review and development of the policies and procedures needed to 				operate the centralized distribution functions,

(c)	Preparation of annual budget estimates to support resource requirements, 				and

(d)	Initial funding from the Supply Fund (escrow account).

(2)	VHA Headquarters Program Officials provide:

(a)	Review of the resources requirements, and

(b)	Oversight of the distribution functions in terms of the various VHA 				programs involved, i.e., Prosthetic and Sensory Aids, Audiology and Speech 				Pathology, and Blind Rehabilitation.

b.	Procedures

(1) 	Initial items will be obtained from DDC by utilizing the Remote Order Entry 			System (ROES), an automated process that orders, certifies, issues and invoices local 			facilities for services rendered to beneficiaries residing within their PSA.  Similar or other 		select items will be furnished to beneficiaries through VA health care facilities, Blind 			Rehabilitation Centers and VA or contract Audiology Clinics.

(2)	Replacement items may be obtained by the following processes:

(a)	Local facility ordering for individual beneficiary through the ROES 				process.

(b)	Individual beneficiary requests by use of written correspondence or 				established VA Form 2346, Veterans Request for Hearing Aid Batteries, and VA 				Form 2345, Veterans Request for Stump Socks.

(c)	Items may be furnished by direct issue to VA beneficiaries whenever 				they reside or sojourn in foreign countries, provided that written correspondence 				or VA Form 2345 and VA Form 2346 are mailed in an envelope with postage of 				the foreign country affixed.

(3)	Payments for the items acquired from DDC are accomplished via an established 			1358 account.  Billing reports (Order Detail by Commodity/Facility) are received from 			DDC at the end of each month for payment certification.

9.  DIRECT PURCHASING BY PROSTHETIC ACTIVITIES UNDER COCP

###### a.	Scope

(1)	The Contracting Officers Certification Program (COCP) is a formal process for 			the delegation of procurement authority to contracting officers.  This program establishes 			a chain of contracting authority within the Department as required by law, regulations, 			and Executive Order 12931, and ensures a trained, experienced and regulated workforce.

(2)	Warrants to Prosthetic and Sensory Aids Service (PSAS) are authorized up to 			$100,000 for open market purchases and "the maximum order limitation of the contract," 			which means the money limit is determined by the specific established Federal Supply 			Schedules, decentralized and local beneficiary service contracts.  The purchasing 				authority encompasses procurement of all items required for the medical treatment and 			rehabilitation of beneficiaries.  Appropriate delegations of authority are required for 			Prosthetic staff in addition to their warrants to ensure compliance with MP-2, 108-			25.5002.

##### b.	Responsibility

(1)	Managers of Fiscal Service and Acquisition and Materiel Management Service 			will conduct periodic reviews, to ensure that Prosthetic purchasing activities are in 			compliance with applicable acquisition and accounting regulations.  Monthly reports are 			required to provide information for the Federal Procurement Data System (FPDS).

(2)	OA&MM is responsible for providing required training to the appropriate 				prosthetic staff.  This training should consist of "VA Small Purchase Procurement 			Procedures: Level A, Module I & II."

(3)	All PSAS personnel involved in purchasing must complete the required training, 			pass the written exam, and obtain a warrant.  A pre-test will be administered by the 			responsible training official to determine the level of familiarity or training required.  A 			post-test will be administered to ensure successful completion of the training and to issue 			a warrant.  Any PSAS employee requiring a warrant, who has not been provided the 			requisite training for reasons beyond the employee’s control, may be issued an interim 			warrant for a period of 90 days from the date of issuance.

c.	Procedures

(1)	Purchase Card Procurement.  The Purchase Card, a procurement card with a 			pre-set monetary limit, will be the primary method of authorizing purchases by 				designated employees.  The use of this card results in obligations against a specific fund 			control point in a sequential manner.  Available fund control balances will not reflect 			purchase charges until reconciliation of applicable invoices.

(a)	PC 2421 is the software option for generating a Purchase Card 					document containing the necessary information to procure the items and/or 				services requested.

(b)	Whenever feasible, deliveries of Purchase Card items should be made 				directly to the cardholder.  However delivery of equipment and/or supplies may 				be to the veteran, the Prosthetic Department, or to the facility’s receiving 					warehouse.

(c)	A Dispute Officer or Purchase Card Auditor is responsible for 					coordinating and monitoring billing errors, disputed procurements, and credits 				which can not be resolved within 30 days.  Activity of this type is identified as a 				Statement of Questioned Item (SQI).

(2)	VA Form 1358, Estimated Miscellaneous Obligation or Change in Obligation, 			may be established on a monthly basis for utilizing known sources of procurement not 			capable of processing orders through the Purchase Card system.  VA Form 1358 will be 			closed on a monthly basis in compliance with established fiscal regulations.

(a)	A review of the past 12 months of activity with the source(s) requiring 				VA Form 1358 usage will be conducted to determine the average monthly 					allocation.

(b)	Funds used in establishing VA Form 1358s are deducted from assigned 				control points on the basis of appropriate BOC designation.  The authorization 				number, for example C80423, provided by Fiscal Service delineates the year (C8), 			month (04), and expenditure purpose (23) in an alphanumeric format.

(c)	When control point balances are not sufficient to support the VA Form 				1358 requirement, a written request to Fiscal Service justifying the need for 				additional funds will be made.

(d)	The IFCAP option of VISTA will be used to create and record sequential 				transactions against the balance of the existing VA Form 1358.  These 					transactions are identified as purchase order numbers, i.e., #POC40823-0002, 				when using documents other than those in the Purchase Card system.

(3)	VA Form 10-2421.  VA Form 10-2421 will be used when the Purchase Card is 			not accepted by the procurement source.  It must be obligated against an established VA 			Form 1358.  Use of this form will require that the vendor submit an invoice which must 			be certified for payment purposes.

(4)	Rescinding of Procurement Authority by PSAS Under COCP

(a)	Authority to procure under COCP may be rescinded when supplies and 				services are not consistent with organizational responsibilities and are outside the 				applicable VA Acquisition Regulations (VAAR) and Federal Acquisition 					Regulations (FAR).

(b)	Any decision by the local contracting officer to rescind a warrant for 				other than normal reasons, i.e., change of duty station, retirement, etc., will be 				reported to the Deputy Assistant Secretary for Acquisition and Materiel 					Management and the Chief Prosthetics and Clinical Logistics Officer 					through the Veterans Integrated Services Network (VISN) Director, along with a 				complete explanation of the circumstances leading to the rescission action.  The 				decision shall be reviewed by both OA&MM and VHA Program staff.  The local 				contracting officer will be notified in writing as to the concurrence or non-					concurrence in the warrant rescission.

10.  PROSTHETIC TREATMENT CENTERS

a.	Scope.  The facilities designated as Prosthetic Treatment Centers (PTCs) in Appendix B 	have established amputee clinic teams, experienced Prosthetic Staff and Physical Medicine 	and Rehabilitation Service personnel capable of providing assistance necessary to resolve 	difficult prosthetic problems.  They may also have a substantial number of special medical 	programs, e.g., Spinal Cord Injury Service (SCIS), Spinal Cord Injury Outpatient Support 	Clinic (SCI/OSC), Visual Impairment Services Team (VIST), Hospital-based Primary Care 	(HBPC), Prosthetic-Orthotic Laboratory (POL), Restoration Clinic (RC), Blind Rehabilitation 	Clinic (BRC), Driver rehabilitation (DR), Geriatric Research, Education, and Clinical Care 	(GRECC), etc., and the personnel experienced in treating specific disabilities which require 	prosthetic appliances and/or equipment.

b.	Responsibility

(1)	The PTC will ensure that appropriate prescriptions are developed and that 				protocol checkout procedures are followed on all appliances required for all authorized 			patients referred by other VA field facilities.

(2)	The PTC provides or arranges for adequate pre-prosthetic therapy and post-			prosthetic training in the use of prosthetic devices.

(3)	A paramount responsibility is to fabricate/fit artificial limbs, orthotic appliances, 			orthopedic shoes, artificial eyes, cosmetic restorations, and similar devices.  When 			required devices are commercially procured, the PTC will monitor the adherence to 			prescription on the same basis as in-house fabrication.

(4)	The PTC initiates and, after approval by VHA Headquarters, conducts limited 			research studies in the field of prosthetics or orthotics dealing with the development of 			new materials, devices, or fabrication techniques for applicants or with the problems and 			reactions of patients wearing or using devices.

(5)	The PTC provides the professional and technical guidance in the training of all 			employees who have an interest in prosthetics.

(6)	The Prosthetic Representative will be responsible for coordinating all aspects of 			required care, and arranging for necessary patient travel.

(7)	The clinical staff normally involved in the treatment of the patient's disability, 			e.g., spinal cord injury, blindness, amputation, etc., will be responsible for the care of the 			patients referred to a facility designated as a PTC.

c.	Procedures

(1)	Patients to be considered for referral to a facility designated as a PTC include 			those with conditions deemed to be complicated or unusual enough to require specialized 			evaluations, prescription, fabrication and training to resolve the patient's problem.

(2)	Referrals will be arranged by the following process:

(a)	Communication between the referral and receiving facility regarding the 				need for clinical records, pertinent findings with regard to other known medical 				conditions is a prerequisite.

(b)	The appropriate administrative records such as VA Form 10-10EZ, VA 				Form 10-2529-3, and supportive medical documentation will be provided to the 				PTC when a patient referral is accepted.

(c)	If a facility referral results in a prescription for an appliance, the 				prescribing facility’s Prosthetic Treatment Center or Prosthetic Service will 			normally provide the equipment unless arrangements between the affected VPRs 			have been made. The most efficient, cost-effective method of procurement will be 		employed to ensure the continuum of care for the patient is not compromised (i.e., 		a hospital bed that may be available for delivery from referral site’s contract 			vendor may be the best source in filling an order than having the prescribing 			facility order and/or ship across VISN lines).

(d)	If a facility referral results in a surgical procedure involving any type of 			Prosthetic implant, the facility performing the surgery is responsible for the cost 			of the implant(s).

(e)	The PTC must provide copies of documented treatment to the referring 				Prosthetic Representative within 15 working days of any episode of care.

11.  MAJOR MEDICAL AND SPECIAL EQUIPMENT COMMITTEE (MMSEC)

#### a.	Scope

(1)	All facilities providing prosthetic equipment and/or appliances should establish a 			MMSEC.  The MMSEC should be comprised of knowledgeable medical, therapy, 			engineering, and administrative specialists with PSA responsibility for prosthetic 				services; referrals will be made when the expertise does not exist at the local VA medical 			center.

(2)	The MMSEC may review requests for major items; e.g., environmental control 			systems, motorized wheelchairs, hospital beds, patient lifts, respiratory equipment, etc., 			as well as special items of automobile adaptive equipment; i.e., van modifications, 			sensitized brakes and steering systems.  Special equipment may also include experimental 		appliances and/or devices as well as unusual requests for modalities of care.

(3)	The MMSEC will be outlined in a medical center Policy Memorandum, meet on 			a regularly scheduled basis, and maintain minutes.

b.	Responsibility

(1)	The MMSEC Chairperson, a physician who is knowledgeable about prosthetic 			equipment and rehabilitation, will be charged with the direct professional responsibility 			for all patients referred to the Committee.

(2)	The Prosthetic Representative will serve as the coordinator and be responsible for 			the overall administrative management of the Committee.  The remaining composition of 			the MMSEC will be flexible and should include a specialty physician involved in the 			patient's treatment, a rehabilitation medicine therapist, a nurse, a driver rehabilitation 			specialist, a social worker, and a biomedical engineer (when indicated).

(3)	The MMSEC will review prescriptions written by fee-basis or private physicians 			to ensure that the requested items are necessary for the treatment or rehabilitation of the 			veteran.

(4)	The MMSEC will arrange for home visits necessary to assess the available space 			in the veteran's home, power capability, ingress or egress to the home and/or bathroom 			facilities, and the need for the requested equipment.

(5)	The MMSEC will finalize prescriptions for the needed equipment and arrange 			for training of the veteran and/or care provider in the use and operation of the equipment.

##### c.	Procedure

(1) 	Upon receipt of a request that requires MMSEC consideration, the beneficiary 			will be afforded ample opportunity to attend the meeting for presenting information that 			may not be a part of the medical record.  The veteran's personal comments and desires 			will be solicited before a final decision is made; this participation will be encouraged.

(2)	Scheduling of veterans to the Committee will be accomplished through the 			VISTA appointment menu. Relevant medical records will be obtained for the meeting.

(3) 	The Committee coordinator will briefly outline the cases to be considered prior to 			seeing the veteran; the driver training specialist and/or therapist (as applicable) will give 			a brief verbal summary of each case.

(4)	The medical findings and recommendations will be included in the veteran's 			medical records.  Appropriate prescriptions will be written to cover all approved items. 			The MMSEC chairperson will arrange for:

(a)	Any medical consultation, if indicated.

(b)	Professional training, if indicated.

(5)	The MMSEC Committee coordinator will prepare correspondence to the 				beneficiary and/or representatives on its decisions; decisions will be communicated to the 		veteran including the reasons for denial and the veteran will be advised in writing 				regarding appellate and reconsideration rights.

(6)	The MMSEC Committee coordinator will arrange for the provision of the 				approved items and/or services, and prepare a VA Form 10-2641, for submission to the 			VISN and VHA Headquarters, if required.

12.  VISUAL IMPAIRMENT SERVICES TEAM (VIST)

a.	Scope

(1)	This team will serve as the primary source for determining the specialized and/or 			custom equipment needs of all visually impaired and blind veterans eligible for VA 			health care, and will make necessary referrals to BRCs.

(2)	The team will be comprised of health care and allied health care professionals 			charged with the responsibility for determining the comprehensive services required by a 			visually impaired veteran.  Representatives may include, but are not limited to, the 			following Services: Ophthalmology, Optometry, Medicine, Audiology and Speech 			Pathology, Prosthetics, Social Work, Nursing, Administration, Vocational Rehabilitation, 		Adjudication and Veterans Benefits Administration.  The VIST may also include a 			representative from the local Blinded Veterans Association as well as a representative 			from a local agency for the blind.

(3)	The VIST chairperson will be elected by the team members and will serve a 1-			year term.

(4)	Veterans enrolled in the VIST Program will be offered an annual evaluation for 			continued appropriateness of equipment, medical and social needs.

c.	Responsibility

(1)	The Prosthetic Representative will provide prescribed equipment and repairs for 			all eligible blind and visually impaired veterans.

(a)	The Prosthetic Representative at a field facility with a BRC will provide 				the initial low-vision aid or blind equipment recommended for all veterans who 				successfully complete training at that facility and ensure that a copy of the 2319 is 			forwarded to the patient’s prosthetic service if patient is out of the PSA.

(b)	The Prosthetic Representative at the facility with PSA responsibility for 				the veteran will provide replacement and repairs to low vision aids or blind 				equipment provided by the BRC.

(2)	The VIST Coordinator will carry overall responsibility to coordinate, act as 			consultant and as resource person, blindness services for blinded veterans.  NOTE:  			Recommendations for blind aids from other disciplines, not developed through the VIST, 			will be referred to the VIST Coordinator.  The VIST Coordinator will work with 				Prosthetics to obtain the appropriate blind aids.

c.  Procedure

(1)	All team members will determine and ensure that legally blind veterans with 			whom they have contact are enrolled in the VIST Program.

(2)	The treatment records of all VIST enrollees will be reviewed to ensure that they 			are evaluated at least annually by designated disciplines of the team.

(3)	The Blind Rehabilitation Outpatient Specialist (BROS) is responsible for 				recommending prosthetic equipment for veterans participating in the BROS Program.

(4)	The VIST Coordinator is responsible for assisting eligible veterans in applying 			for blind rehabilitation training.

(5)  	Prosthetic requests will be developed by VIST for all items and/or services 			deemed necessary for any treatment of VIST enrollees.  VA Form 10-2641 will be 			required when requests are for special mechanical or electronic devices, i.e., speech 			recognition systems, computers, and software.

### Designated Polytrauma Centers

VISN6 								VISN 8

Richmond, VA							Tampa, FL

VISN 12								VISN 21

Minneapolis, MN							Palo Alto, CA

Amputee Clinic Teams

### VISN 1								VISN 2

Boston Health Care System						Albany, NY

Manchester, NH							Syracuse, NY

Providence, RI								Bath, NY

Togus, ME								Canandaigua, NY

Connecticut Health Care System

White River Junction, VT						VISN 4

Altoona, PA

### VISN 3								Butler, PA

Bronx, NY								Coatesville, PA

Brooklyn, NY								Erie, PA

New Jersey Health Care System					Lebanon, PA

New York, NY							Philadelphia, PA

Northport, NY								Pittsburgh, PA

Hudson Valley Health Care System					Wilkes-Barre, PA

Wilmington, DE

### VISN 6

Asheville, NC								VISN 5

Hampton, VA								Maryland Health Care

Durham, NC								  System

Fayetteville, NC							Martinsburg, WV

## Richmond, VA	Washington, DC

Salem, VA

Salisbury, NC

Beckley, WV								VISN 8

Ft. Myers, FL OPC

VISN 7								Bay Pines, FL

Atlanta, GA								Miami, FL

Augusta, GA								North Florida/South Georgia

Birmingham, AL							  Health Care System

### Charleston, SC							San Juan, PR

Columbia, SC								Tampa, FL

Dublin, GA								Brevard, FL OPC

Montgomery, AL							Orlando, FL

### Amputee Clinic Teams (cont’d)

### VISN 9								VISN 10

Lexington, KY							Chillicothe, OH

Memphis, TN								Cleveland, OH

Mountain Home, TN							Columbus, OH

Nashville, TN								Dayton, OH

Murfreesboro, TN

Louisville, KY								VISN 12

Huntington, WV							Chicago (Lakeside), IL

Chicago (Westside), IL

### VISN 11								Hines, IL

Ann Arbor, MI							Milwaukee, WI

Detroit, MI								North Chicago, IL

Indianapolis, IN							Madison, WI

Battle Creek, MI							Tomah, WI

Danville, IL

Marion, IL								VISN 16

Ft. Wayne, IN								Alexandria, LA

Biloxi, MS

VISN 15								Houston, TX

Columbia, MO							Jackson, MS

Kansas City, MO							Little Rock, AR

Leavenworth, KS							Muskogee, OK

St. Louis, MO								New Orleans, LA

Topeka, KS								Oklahoma City, OK

Wichita, KS								Shreveport, LA

Marion, IL								Tulsa, OK OPC

### VISN 17								VISN 18

Dallas, TX								Albuquerque, NM

San Antonio, TX							Amarillo, TX

Temple, TX								El Paso, TX OPC

Phoenix, AZ

### VISN 19								Tucson, AZ

Denver, CO

Salt Lake City, UT							VISN 20

Cheyenne, WY							Boise, ID

Portland, OR

Roseburg, OR

### Puget Sound

### Healthcare System

### Amputee Clinic Teams (Cont’d)

### VISN 21								VISN 22

Fresno, CA								Las Vegas, NV

Honolulu, HI								Loma Linda, CA

Palo Alto, CA								Long Beach, CA

Reno, NV								Los Angeles, CA OPC

San Francisco, CA							San Diego, CA

Northern California HealthCare System				Sepulveda, CA

West Los Angeles, CA

VISN 23

Fargo, ND

Minneapolis, MN

Sioux Falls, SD

Des Moines, IA

Iowa City, IA

Knoxville, IA

Lincoln, NE

Omaha, NE

Designated Prosthetic Treatment Centers

### VISN 1								VISN 2

Boston Health Care System						Albany, NY

West Haven, CT							Buffalo, NY

Syracuse, NY

### VISN 3

Bronx, NY								VISN 4

Brooklyn, NY								Pittsburgh, PA

East Orange, NJ							Wilkes-Barre, PA

New York, NY

VISN 6

VISN 5							 	Richmond, VA

Washington, DC							Hampton, VA

Maryland Health Care System					Durham, NC

### VISN 7								VISN 8

Augusta, GA								Bay Pines, FL

Birmingham, AL							Miami, FL

Columbia, SC								San Juan, PR

Decatur (Atlanta), GA							Tampa, FL

### West Palm Beach, FL

VISN 9								North Florida/South Georgia

Memphis, TN

Nashville, TN								VISN 10

Louisville, KY								Cleveland, OH

Cincinnati, OH

### VISN 11

Detroit, MI								VISN 12

Indianapolis, IN							Hines, IL

### Chicago (WS), IL

### VISN 15								Milwaukee, WI

Kansas City, MO

St. Louis, MO								VISN 17

Dallas, TX

### VISN 16								San Antonio, TX

Houston, TX								Temple, TX

Little Rock, AR

New Orleans, LA							VISN 19

Oklahoma City, OK							Denver, CO

Jackson, MS								Salt Lake City, UT

### VISN 18								VISN 20

New Mexico Health Care System					Portland, OR

Phoenix, AZ								Puget Sound

Southern Arizona Health Care System				  Healthcare System

### Designated Prosthetic Treatment Centers (Cont’d)

### VISN 21

Palo Alto, CA								VISN 22

San Francisco, CA							Sepulveda, CA

Long Beach, CA

### VISN 23								San Diego, CA

Minneapolis, MN							West Los Angeles, CA

Designated iBOT Evaluation Centers

VISN 1								VISN 22

West Roxbury, MA							San Diego, CA

VISN 2								VISN 23

Buffalo, NY								St. Louis, MO

Albany, NY

VISN 3

Bronx, NY

VISN 5

Washington, DC

VISN 8

Gainesville, FL

VISN 9

Nashville, TN

VISN 12

Milwaukee, WI

VISN 17

Dallas, TX

VISN 19

Denver, CO

VISN 20

Seattle, WA

## Prosthetic/Orthotic Laboratories

Authorized in VA Field Facilities

Facility			Station #			Prosthetic/Orthotic

VISN 1

Boston, MA			523					P/O

West Roxbury, MA		523A4					P/O

VISN 2

Albany, NY			528A8					P/O

Buffalo, NY			528					P/O

Syracuse, NY			528A7					P/O

VISN 3

New York, NY		630					P/O

VISN 5

Martinsburg, WV		613					P/O

Baltimore, MD		512					P/O

VISN 6

Hampton, VA			590					P/O

Richmond, VA		652					P/O

VISN 7

Atlanta, GA			508					P/O

Montgomery, AL		619					P/O

VISN 8

Tampa, FL			673					P/O

West Palm Beach, FL		548					P/O

Miami, FL			546					P/O

Bay Pines, FL			516					P/O

Gainesville, FL		573					P/O

VISN 9

Lexington, KY		596					P/O

VISN 10

Cincinnati, OH		539					P/O

VISN 11

Detroit, MI			553					P/O

Ann Arbor, MI		506					P/O

Facility			Station #			Prosthetic/Orthotic

Indianapolis, IN		583					P/O

Danville, IL			550					P/O

VISN 12

Hines, IL			578					P/O

VISN 15

Wichita, KS			589A7					O

VISN 16

Houston, TX			580					P/O

Oklahoma City, OK		635					P/O

Little Rock, AR		598					P/O

Alexandria, LA		502					P/O

Jackson, MS			586					P/O

VISN 17

Dallas, TX			549					P/O

San Antonio, TX		671					P/O

VISN 18

Phoenix, AZ			644					P/O

Tucson, AZ			678					P/O

VISN 20

Seattle, WA			663					P/O

Portland, OR			648					P/O

VISN 21

Martinez/Sacramento, CA		612					P/O

San Francisco, CA		662					P/O

Palo Alto, CA			640					P/O

VISN 22

Long Beach, CA		600					P/O

West Los Angeles		691					P/O

Loma Linda, CA		605					P/O

San Diego, CA		664					P/O

VISN 23

Minneapolis, MN		618					P/O