Study Horizon:  February 2003 - September 2003 using 50 Historical Streamflows (1929-1978) and Kuehl-

Moffitt volume runoff forecasts.   January generations taken from a study initialized to January 1 which operated to Bonneville flows of 125 kcfs for Chum.

50-Year Treaty Storage Regulation (TSR)

- 5.1/2.08 Mica/Arrow flood control split, Standard Libby and VARQ Horse Flood Controls, No shift at Dworshak, Brownlee and Coulee

- Initialize Canadian and US project elevations to Dec 20, 2002 Official TSR

- All project operating requirements, loads, and resources based on the OY03 Detailed Operation Plan (DOP)

50-Year Actual Energy Regulation (AER)

- 5.1/2.08 Mica/Arrow flood control split, VARQ Libby and VARQ Horse Flood Controls, No shift at Dworshak, Brownlee and Coulee, With Adjustment to Coulee for Power Draft

- Initialize Canadian projects to TSR and US project elevations to Dec 23, 2002 Official AER

- Canadian project operation based on the 50-Year TSR

- All US project operating requirements, loads, and resources based on the OY03 Pacific Northwest Coordination Agreement (PNCA) Data Submittal

50-Year Operational Regulation (OPER)

- 3.6/4 Mica/Arrow flood control split, VARQ Libby and VARQ Horse Flood Controls, No shift at Dworshak, Brownlee and Coulee, With Adjustment to Coulee for Power Draft

- Initialize Canadian to TSR, Non-Federal US project elevations to Dec 23, 2002 Official AER and Federal projects to projected elevation from 1-8-2003 D30

- Arrow initialized to 375 ksfd above the February 1 TSR content (includes LCA return, Flow Shaping Agreement and Special Treaty Storage)

- Coulee initialized to 1283.0’ for February 1

- All Non-Federal US project operations and Duncan based on 50-Year AER

- All Federal projects and Mica and Arrow operating assumptions described below.

- Non-treaty storage was modeled as adjustments to Mica’ outflow (see below)

Project Operations:

Mica:  		TSR operation + NonTreaty Storage

Arrow:	Arrow Total VECC method

Special storage release of 190 ksfd in February

LCA provisional draft (from December) of 28 ksfd returned in March

January Flow Shaping storage of 213 ksfd to release in February and March

February 1 initial content = TSR + 190 ksfd - 28 ksfd + 213 ksfd

Draft up to 400 ksfd at Arrow in March to smooth Feb and Mar flows and reduce Apr1 outflows

1 maf Flow Aug stored at Arrow only in years when GCL returns to April 10 Flood control

February and March minimum flows = 5 kcfs;

May and Jun Qmin = 15 kcfs  -- Goal to smooth flows for Trout in BC

On TSR April 15 through July 31

No Trout Spawning modeled

NTS:	No NTS storage in April

Store in May and June as Arrow’s outflows permit (Qmin = 15,000cfs)  Release in July and August

Release in September based in surplus

Kootenay Lake:	IJC operation

Duncan:	TSR operation

Libby:		VARQ FCE

Sturgeon/Bull Trout starting in May

Sturgeon May/Jun sliding scale of flow volume (.8 to 1.6 maf)

Bull Trout Jul/Aug sliding scale of 6-9 kcfs flow min

July 31:  2454ft (allowed to fill to 2459 ft if Bull trout flow being met)

Aug 15:  2444ft lower limit for Mcnary flow target

Aug 31:  2439ft lower limit for Mcnary flow target

Sep 30:  7 ft draft from Aug 31 elevation, not to exceed 16 kcfs

Hungry Horse:  Columbia Falls Qmin all year (variable)

Jan – Mar:  VARQ FCEs

Apr – Jun:  VARQ FCEs, not used for McNary spring flow targets

June 30:  3560ft

July 31:  3560ft, not used for Mcnary July flow

Aug 15:  3550ft lower limit for Mcnary flow target

Aug 31:  3540ft lower limit for Mcnary flow target

Kerr:		following AER end of month elevations

Albeni Falls:	Draft to 2055ft by Nov30 hold through Mar

Fill to 2062.5ft by June 30 – Spring fill at normal rate

Dworshak:	Sep – Mar:  Qmin or FCE

Apr – June:  FCE, fill by June 30

July – Aug:  draft to 1520ft for Lower Granite flow target

No shift in flood control

Grand Coulee:   Initial Elevation:	February 1 elev = 1283 ft

Chum target flows: 	February:   Bonneville Q = 115 kcfs

March:       Bonneville Q = 105 kcfs

February – March:  Fish VECCs, meet Chum flows and Vernita Bar

April – May:  operate to Flood Control elevations

Jun:  Fill to 1288ft

Jul – Aug:  August 15 draft to 1280ft, August 31 draft to 1278 ft

Vernita Bar:   Feb – May  = 70 kcfs

Banks Lake:  5 ft draft in August (flat), return in 5 ft in Sep

Brownlee:	Jan – Jun:  FCE

Jul31:  2072ft  (5 ft draft for Lower Granite flows)

Aug15:  2066ft

Aug31:  2060ft

Sep:  2050ft

No shift in flood control

Lower Granite:  Spring target flows not required.  Refill is priority.

Summer target flows based on May Kuehl-Moffitt volume runoff forecast

at Lower Granite for April – July.

If volume <= 16 maf, target flow = 50 kcfs

If volume >= 28 maf, target flow = 55 kcfs

For volumes between 16 and 28 maf, interpolate the taget flow between 50 and 55 kcfs.

McNary:  	Spring target flows not modeled.  Refill is priority.

Summer target flows = 200 kcfs in July and August.

Bonneville:	Chum flows required in all years.  Chum flows for February = 115 kcfs and for March = 105 kcfs.

Meet Chum flows in al years

Project Spill for Fish:   See next page.

## Project Spill for Fish

| HOURLY/DAILY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Expected 2003 Spill Plan for HYDSIM/HOSS modeling |
| Project | Spill | Spill Cap (120%) | Min Turb | Days | Hour Ending |
| Lower Granite* | 60 kcfs |  | 12 kcfs | Apr 3 - Apr 14 | 1900 - 0600 |
| Lower Granite* | 18 kcfs |  | 12 kcfs | Apr 15 - May 31 | All hours |
| Lower Granite* | 60 kcfs |  | 12 kcfs | Jun 1 - Jun 20 | 1900 - 0600 |
| Little Goose* | 120% TDG | 45 kcfs | 12 kcfs | Apr 3 - Jun 20 | 1900 - 0600 |
| Lower Monumental* | 120% TDG | 40 kcfs | 12 kcfs | Apr 3 - Jun 20 | All hours |
| Ice Harbor | 0 | 72.5 kcfs | 5.5 kcfs | Apr 3 - Aug 31 | All hours |
| McNary | 120% TDG | 135 kcfs | 50 kcfs | Apr 10 - Jun 30 | 1900 – 0600 |
| John Day | 40% flow | 90 kcfs | 50 kcfs | Apr 3 - Aug 31 | All hours |
| The Dalles | 40% flow | 230 kcfs | 50 kcfs | Apr 10 - Aug 31 | All hours |
| Bonneville (a)# | 120% TDG | 100 kcfs | 30 kcfs | Apr 10 - Aug 31 | All hours |
| Bonneville (b)# | 120% TDG | 100 kcfs | 30 kcfs | Apr 10 - Aug 31 | 0700 – 1800 |
| Bonneville (b)# | 120% TDG | 75 kcfs | 30 kcfs | Apr 10 - Aug 31 | 1900 – 0600 |
| # Bonneville has schedule a and b that alternates every 2 days |  |

* Spill when the April 1 Apr-Jul volume forecast at Lower Granite >= 17.5

maf (using Kuehl-Moffitt forecasts).