2.0	References and Definitions

NOTE:  All critical references described in this quality manual are maintained on file in the laboratory and are accessible to all laboratory staff and management.

2.1	Critical References

2.1.1	ANSI/NCSL Z540-1, 1994, Calibration Laboratories and Measuring and Test Equipment - General Requirements.

2.1.2	ISO/IEC Guide 25, 1990, third edition,  General Requirements for the Competence of Calibration and Testing Laboratories.

2.1.3	National Institute of Standards and Technology (NIST) Handbook (HB) 143, 1985 (or later version if available), State Weights and Measures Laboratories Program Handbook.  John K. Taylor and Henry V. Oppermann.

2.1.4	NIST HB 145, 1986 (or later version if available), Handbook for the Quality Assurance of Metrological Measurements.  John K. Taylor and Henry V. Oppermann.

2.1.5	NIST HB 150, 1994,  National Voluntary Laboratory Accreditation Program (NVLAP) Procedures and General Requirements.  James L. Cigler and Vanda R. White

2.1.6	NIST HB 150-2 (Draft), 1995, National Voluntary Laboratory Accreditation Program (NVLAP) Calibration Laboratories Technical Guide.  Jon M. Crickenberger

2.1.7	NIST Technical Note 1297, 1994, Guidelines for Evaluating and Expressing the Uncertainty of NIST Measurement Results.  Barry N. Taylor and Chris E. Kuyatt.

2.1.8	National Conference of Standards Laboratories (NCSL), 1993, Recommended Practice (RP) No. 7, Laboratory Design.

- NISTIR 5802, 1996, Office of Weights and Measures Quality Manual Template. G. Diane Lee

2.1.10	Applicable State laws and department policies and guidelines (NOTE: include here State statutes which denote the legal status of the metrology laboratory).

2.2	Additional References

2.2.1	NIST Special Publication 791, 1994, State Weights and Measures Laboratories: State Standards Program Description and Directory.  Georgia L. Harris

2.2.2	NIST HB 130, 1996, Uniform Laws and Regulations.  Joan A. Koenig, Kenneth S. Butcher and Terry L. Grimes

NOTE: This quality manual was written using the references listed in this section.  The core of this manual was written following the guidelines in ISO/IEC Guide 25 and modified to promote a specific quality assurance program for the laboratory.

2.3	Definitions

Definitions are contained in Appendix A.