| Inspection Item | Rating + | Rating - | References |
| --- | --- | --- | --- |
| 1. Arrangement of Facilities | Rating | Rating | NWSI 10-1303, 4.2b(1) |
| Location of observing site adequate? (If no, explain in remarks) |  |  |  |
| Location of weather sensors adequate? |  |  | FCM-S4-1994 2.1 WSOH #8 2.2 |
| Adequate safety devices (sufficient lighting, guardrails on stairs, etc.) |  |  |  |
| 2. Pressure | Rating | Rating | NWSI 10-1303, 4.2b(2) |

| Type of Pressure instrument used? (Aircraft altimeter, aneroid, mercurial, barograph). |  |  | WSOH #8 8.3.2 NWSI 10-1302 Appendix A 6.d & e FAA Advisory Circular 91-14 |
| --- | --- | --- | --- |
| Comparisons completed in accordance with observing handbooks (No Grace Period) |  |  | WSOH #8 8.1 thru 8.5.3 |
| Condition of Instrument(s) |  |  | FCM-S4-1994 para 2.2 |
| Aircraft Altimeters (SAWRS). Calibrated within the past 24 months? (No Grace Period) |  |  | FAA Advisory Circular 91-14 |
| Correct height of Instrument Posted on or near instrument. |  |  | WSOH #8 8.2.3 |
| Comparisons Properly logged on MF1M-10 or FAA form 7230-4. |  |  | WSOH #8 8.5 thru 8.5.3 |
| Instruments Installed Properly (No Grace Period) |  |  | FCM-S4-1994 para 2.2 |
| Backup Available |  |  |  |

| Use/condition of aircraft altimeters ( ) One ( ) Two (SAWRS) (No Grace Period) |  |  | FAA Advisory Circular 91-14 NWSI 10-1302 Appendix A 6.d |
| --- | --- | --- | --- |
| Aneroid instruments routinely compared ( ) daily with each other ( ) 3 times a week with ramp aircraft. |  |  | WSOH #8 Table 8-2 |
| Surveyed Height of pressure sensor on file with NWS? |  |  | WSOM A-11 Appendix A |
| If Station has a mercury barometer, make comparison readings noting the following: temperature of instrument, barometer reading, station pressure, and altimeter value. |  |  |  |
| Comparison satisfactory with inspecting official’s traveling standard? (No Grace Period SAWRS , 7 day Grace period for backup of automated systems.) |  |  | NWSI 10-1302, Sec 6, Exhibit A-2 |
| Other pressure instruments operated correctly (specify in remarks). |  |  | NWSI 10-1303, 4.2b(2) |
| 3. Temperature and Humidity (30 day Grace Period) | Rating | Rating | NWSI 10-1303, 4.2B(3) |
| Temperature and dewpoint instruments properly functioning and in good condition. |  |  | WSOH #8 7.3 thru 7.3.2 NWSI 10-1302 Appendix 7. & Exhibit A-3 |
| Dewpoint properly computed? |  |  | Obs Training Guide 6.5 |
| Temperature and Dewpoint Data provided . |  |  | WSOH #8 7.5 |
| Condition of Instrument Shelter . Adequate supplies (muslin wicks, batteries, etc)? |  |  | WSOH #8 7.2.3 |
| Location, general condition and exposure of instruments. |  |  | FCM-S4-1994 para 2.6 |
| 4. Wind (30 day Grace Period) | Rating | Rating | NWSI 10-1303, 4.2b(5) |
| Method for determining Direction and Speed properly. ( Identify the method in remarks, e.g., wind sock, flag, Beaufort Scale , estimations, etc). |  |  | NWSI 10-1302, Sec. 9 & Exhibit A-4 |
| Estimation Procedures understood by Observers. |  |  | WSOH #8 3.3.3 & 3.3.5 Obs Training Guide 2.1.4 |
| Gusts and Squalls Understood by Observers. |  |  | WSOH #8 3.3.6 - 5.2.3b & 9.5.7e Training Guide 2.1.3 & page 2-3 |
| Exposure of equipment. |  |  | FCM-S4-1994 para 2.5 |
| Supports for equipment. |  |  |  |
| Speed recorded in knots and accurate to within 10 %? |  |  | NWSI 10-1302 Appendix Exhibit A-4 WSOH #8 3.3.4 Training Guide 2.1.2 & page 2-3 |
| True directions recorded and accurate to within 10 degrees? |  |  | NWSI 10-1302 Appendix Exhibit A-4 WSOH #8 3.3.1 Training Guide 2.1.1 & page 2-3 |
| 5. Ceiling (15 day Grace Period) | Rating | Rating | NWSI 10-1303, 4.2b(6) |
| LBCs, balloons, ceiling lights, clinometers in satisfactory condition?. |  |  | NWSI 10-1302, 5 Training Guide 5.4 |
| Operation of equipment understood. |  |  | Training Guide 5.3.1 |
| Helium available and safely stored (where balloons are in use). |  |  |  |
| 6. Other Equipment and Procedures | Rating | Rating | NWSI 10-1303, 4.2b(1) |
| Required telephone numbers available. ( supervising station, etc.) |  |  |  |
| A-1, and A-3 forms up to date? |  |  | NWSI 10-1303, 3.2g |
| Procedures for reporting RVR satisfactory. (If required) |  |  | Training Guide 3.4 & 3.4.1 |
| Cooperator unwilling to make observations available to other users. (7 day Grace Period). |  |  | WSOH #8 9.7.2 |
| Observers familiar with visibility markers. |  |  | WSOH #8 4.2.6 & 4.3.6 |
| All recorder charts annotated as required by Observing handbooks? (List recorder charts and equipment). |  |  |  |
| 7. Observational Aids and Facilities | Rating | Rating | NWSI 10-1303, 4.2b(8) |
| Visibility charts available (30 day Grace Period). |  |  | WSOH #8 4.3.2 Training Guide 3.3 FAA Order 7210.3 2-9-6 |
| Visibility charts accurate. |  |  | Training Guide 3.3 |
| Nighttime visibility markers indicated? |  |  | FAA Order 7210.3 2-9-6 |
| Table of SPECI criteria available and correct? |  |  | WSOM-66 3.2i |
| Cloud Atlas or cloud charts available. |  |  | WSOH #8 6.3.10 |
| WSOH #8 current and available |  |  | NWSI 10-1306 Appendix C 2. & 3. WSOH #8 1.6 & 1.7 |
| Other aids available (Training guides, Users Guides, station duty manuals, reference guides, etc). |  |  | NWSI 10-1306 Appendix C 3. |
| 8. Preparation of Records |  |  | NWSI 10-1303, 4.2b(9) |
| 30 day review of observations . |  |  | NWSI 10-1303, 3.2f |
| Observation records neat and legible. |  |  | WSOH #8 2.4 & 10.2.2 & 10.3 |
| Local quality assurance of observations. |  |  | FMH-1 3.4.3 |
| Corrections to observations performed as required? |  |  | FMH-1 3.4.3b WSOH #8, 10.3 |
| Observations reported on time? |  |  | WSOH #8 2.8.2 & 2.8.3 also 9.7.3 |
| How many observations taken in your presence? |  |  | NWSI 10-1303, 4.2b(10) |
| Were observations taken in your presence performed adequately? If not recommend training and Notify Regional Office. |  |  | NWSI 10-1303, 4.2b(10) |
| 9. General |  |  | NWSI 10-1303, 4.2b(10) |
| Quality control of observations conducted on sight. |  |  | FMH-1 3.4.3 WSOH #8 10.3 |
| All observers certified and current. (No Grace Period) |  |  | NWSI 10-1304, 2.0 NWSI 10-1304 Appendix A 15c WSOH #8, 2.3.1 |
| Examination of observing certificates. |  |  | NWSI 10-1303, 3.2e |
| Adequate on the job training for new observers. |  |  | NWSI 10-1304, 5.2 |
| Adequate arrangements for notification of observers in the event of an aircraft mishap. |  |  |  |
| Station instructions adequate for observing, disseminating and quality control of observations. |  |  | NWSI 10-1303, 4.2b(9) |
| Training aides utilized. |  |  | NWSI 10-1306 Appendix C 3. |
| Pilot reports utilized |  |  |  |
| Remarks encoded properly when required. |  |  | WSOH #8 9.6 Training Guide 8.1 |
| Observers adequately proficient (No Grace Period, Immediate Decertification after consultation with Regional Office) |  |  | NWSI 10-1304 Appendix A 14. & 15c |
| Valid agreement in place and signed by the NWS? |  |  | NWSI 10-1306 Appendix B 4 |

Overall Rating:

Excellent:__________ Satisfactory:___________

Conditionally Unsatisfactory:____________     Unsatisfactory:_____________

Additional remarks:

The following are guidelines for the station evaluation taken from NWSI 10-1303:

(1) Excellent should be considered if all answers to WS Form B-32 are "YES or Satisfactory," and in the opinion of the inspector the station exceeds expected standards.

(2) Satisfactory should be considered if the "NO(s)or Unsatisfactory" in WSForm B-32 can be fixed quickly, and in the opinion of the inspector the station meets or exceeds expected standards.

(3) Conditionally UnSatisfactory should be considered if the program has significant number of "NO(s)or UnSatisfactory" in WS Form B-32 but not enough to warrant a rating of unsatisfactory. If the program fails to improve to satisfactory within 30 days, an Unsatisfactory rating will be given.

(4) Unsatisfactory should be considered if numerous "NO(s) or Unsatisfactory” in WS Form B-32 and in the opinion of the inspector, the station overall program does not meet or is below expected standards.

The inspector’s experience, and knowledge of the observing program, should allow them to detect the strengths and weaknesses of the station and should give the inspectors the ability to recognize aspects of the observing program that may be unusually favorable. The rating of a station should not be determined solely by the number of "YES/Satisfactory" or "NO/Unsatisfactory" answers recorded on WS Form B-32. The “grace periods” listed on the B-32 for certain elements are the time limits for correcting unacceptable conditions.