| Inspection Item | Rating + | Rating - | References |
| --- | --- | --- | --- |
| 1. Arrangement of Facilities | Rating | Rating | NWSI 10-1303, 4.2b(1) |
| Location of observing site adequate for backup and augmentation of automated system? (If no, explain in remarks) |  |  |  |
| Location of weather sensors adequate? |  |  | FCM-S4-1994 2.1 |
| Adequate safety devices (sufficient lighting, guardrails on stairs, etc.) |  |  |  |
| 2. Pressure | Rating | Rating | NWSI 10-1303, 4.2b(2) |
| Type of Pressure instrument used? (Aircraft altimeter, ASI, ASOS, AWOS, aneroid instrument) |  |  | NWSI 10-1302, App. A, 6a |
| Comparisons of backup instruments completed in accordance with observing handbooks (No Grace Period) |  |  |  |
| Condition of Instrument(s) |  |  | FCM-S4-1994,para 2.2 |
| Correct height of backup Instrument Posted on or near instrument. |  |  |  |
| Comparisons Properly logged on MF1M-10 or FAA form 7230-4. |  |  | FAA Order 7210.3, Ch 2, 2-10-4 FAA Order 7900.5b, Sec 3, 14-52e |
| Backup Instruments Installed Properly (No Grace Period) |  |  | FCM-S4-1994, para 2.2 |
| Backup Available (7 day Grace Period) |  |  |  |

|  |  |  | FAA Order 7210.3, Ch 2, 2-10-3 |
| --- | --- | --- | --- |
| Aneroid instruments routinely compared ( ) daily with each other ( ) 3 times a week with ramp aircraft. |  |  | FAA Order 7210.3, Ch 2, 2-10-4 |
| Surveyed Height of pressure sensor on file with NWS? |  |  | WSOM A-11 |
| All comparison corrections displayed at or near DASI/ASI? (If not, instruct office to post corrections) |  |  | FAA Order 7210.3, Ch 2, 2-10-4a(3) |
| Comparison satisfactory with inspecting official’s traveling standard? ( 7 day Grace Period ) |  |  | NWSI 10-1303, 4.2b(2) |
| Pressure Reduction tables satisfactory? |  |  |  |
| Backup Procedures clearly understood by observers? |  |  | FAA Order 7900.5b, App. D NWSI 10-1308, 2.0 |
| Other pressure instruments operated correctly (specify in remarks). |  |  |  |
| 3. Temperature and Humidity | Rating | Rating | NWSI 10-1303, 4.2B(3) |
| Temperature and dewpoint instruments properly functioning and in good condition. (30 day Grace Period (N/A LAWRS)) |  |  |  |
| Dewpoint properly computed? |  |  | FAA order 7900.3b, Ch 13, Sec 2 &3 |
| Temperature and Dewpoint Data provided . (30 day Grace Period (N/A LAWRS)) |  |  | FAA order 7900.3b, Ch 13, Sec 2 &3 |
| Condition of Backup Instrument Shelter . Adequate supplies (muslin wicks, batteries, etc)? (N/A LAWRS) |  |  |  |
| Location, general condition and exposure of instruments. |  |  | FCM-S4-1994, para 2.6 |
| Temperature and dewpoint backup provided for automated systems? (N/A LAWRS) |  |  | FAA Order 7900.5b, Ch 6, |
| 4. Precipitation (N/A LAWRS) | Rating | Rating |  |
| Condition of gage (8-inch, universal, etc.). |  |  |  |
| Condition of snowboard |  |  |  |
| Measuring stick. |  |  |  |
| Exposure of precipitation measuring instruments. |  |  | FCM-S4-1994, para 2.9-2.11 |
| Correct procedures used in measuring and identifying precipitation. |  |  |  |
| 5. Wind | Rating | Rating | NWSI 10-1303, 4.2B(5) |
| Method for determining Direction and Speed properly. ( Identify the method in remarks, e.g., wind sock, flag, Beaufort Scale , estimations, etc). |  |  |  |
| Estimation Procedures understood by Observers. |  |  |  |
| Gusts and Squalls Understood by Observers. |  |  |  |
| Exposure of equipment. |  |  | FCM-S4-1994, para 2.5 |
| Supports for equipment. |  |  |  |
| Speed recorded in knots and accurate to within 10 %? (30 day Grace Period, if equipment is required) |  |  |  |
| True directions recorded and accurate to within 10 degrees? (30 day Grace Period, If equipment is required) |  |  |  |
| 6. Ceiling | Rating | Rating | NWSI 10-1303, 4.2B(6) |
| LBCs, balloons, ceiling lights, clinometers in satisfactory condition? (N/A LAWRS) |  |  |  |
| Operation of equipment understood. |  |  |  |
| Observational procedures for backing up automated equipment followed. |  |  | FAA Order 7900.5b, App. D |
| Helium available and safely stored (where balloons are in use). (N/A LAWRS) |  |  |  |
| 7. Other Equipment and Procedures | Rating | Rating |  |
| Aviation Service Level responsibilities understood. |  |  | FAA Order 7900.5b, App. D |
| ASOS reference guides available. |  |  | FAA Order 7900.5b, Ch 4, 4-6c |
| AWOS Users guide available. |  |  | FAA Order 7900.5b, Ch 4, 4-6a,b |
| Practice observations taken. |  |  |  |
| ASOS OID and printer in good condition. |  |  |  |
| AWOS OT and printer in good condition. |  |  |  |
| Proper Log on/log off procedures followed for ASOS. |  |  |  |
| WS form B-14 properly completed. (NWS locations only) |  |  | FAA Order 7900.5b, Ch 16, 16-49 (FAA encouraged to complete B-14) |
| Required telephone numbers available. (AOMC, supervising station, etc.) |  |  |  |
| Location of ASOS ACU. |  |  |  |
| Location of Sunshine switch (if required). |  |  |  |
| A-1, A-3, and A5a forms up to date for station? |  |  | FAA Order 7900.5b, Ch 3, 3-12 |
| Procedures for reporting RVR satisfactory. |  |  |  |
| Cooperator willing to make observations available to other users. (7 day Grace Period ). |  |  |  |
| Observers familiar with visibility markers. |  |  |  |
| All recorder charts annotated as required by Observing handbooks? (List recorder charts and equipment). |  |  |  |
| 8. Observational Aids and Facilities | Rating | Rating | FAA Order 7310.3 NWSI 10-1303, 4.2B(8) |
| Visibility charts available (30 day Grace Period). |  |  | FAA Order 7900.5, Ch 9, (9-5 - 9-7) FAA Order 7310.3, Ch 2, 2-9-6 |
| Visibility charts accurate. |  |  | FAA Order 7310.3, Ch 2, 2-9-6 |
| Nighttime visibility markers indicated? |  |  | FAA Order 7310.3, Ch 2, 2-9-6 |
| Observers understand correct procedures for reporting and backing up prevailing visibility for ASOS. |  |  | FAA Order 7900.5b, Ch 6, 6-4b |
| Table of Speci criteria available and correct Notify Region for ASOS problems. |  |  |  |
| Cloud Atlas or cloud charts available. |  |  |  |
| WSOH #7 current and available (NWS locations). |  |  |  |
| FAA Order 7900.5 current and available (FAA, FCWOS, NF-OBS locations). |  |  | FAA Order 7900.5b, Ch 1, 1-11 |
| Other aids available (Training guides, Users Guides, station duty manuals, reference guides, etc). |  |  |  |
| 9. Preparation of Records |  |  | NWSI 10-1303, 4.2B(9) |
| 30 day review of observations . |  |  |  |
| Observation records neat and legible. |  |  | FAA Order 7900.5b, Ch 3, 3-10 |
| Local quality assurance of observations. |  |  |  |
| Corrections to observations performed as required? |  |  |  |
| Is Tower Visibility reported correctly? |  |  |  |
| Observations reported on time? |  |  |  |
| AWOS/ASOS backup and augmentations Procedures followed correctly? |  |  | FAA 7900.5b, App D (ASOS only) |
| How many observations taken in your presence? |  |  |  |
| Were observations taken in your presence performed adequately? If not recommend training and Notify Regional Office. |  |  |  |
| 10. General |  |  | NWSI 10-1303, 4.2B(10) |
| Quality control of observations conducted on site. |  |  |  |
| All observers certified and current. (No Grace Period) |  |  | FAA 7900.5b, Ch 2, 2-7 |
| Examination of observing certificates. |  |  | NWSI 10-1303, 3.2e |
| Adequate on the job training for new observers. |  |  |  |
| Adequate arrangements for notification of observers in the event of an aircraft mishap. |  |  |  |
| Station instructions adequate for observing, disseminating and quality control of observations. |  |  |  |
| Training aides utilized. |  |  |  |
| Pilot reports utilized |  |  |  |
| Remarks encoded properly when required. |  |  |  |
| Observers adequately proficient (No Grace Period, Immediate Decertification after consultation with Regional Office) |  |  | NWSI 10-1304, 15 |
| Valid agreement in place? (NF-OBS) |  |  |  |

Overall Rating:

Excellent:__________ Satisfactory:___________

Conditionally Unsatisfactory:____________     Unsatisfactory:_____________

Additional remarks:

The following are guidelines for the station evaluation taken from NWSI 10-1303:

(1) Excellent should be considered if all answers to WS Form B-32 are "YES or Satisfactory," and in the opinion of the inspector the station exceeds expected standards.

(2) Satisfactory should be considered if the "NO(s)or Unsatisfactory" in WSForm B-32 can be fixed quickly, and in the opinion of the inspector the station meets or exceeds expected standards.

(3) Conditionally UnSatisfactory should be considered if the program has significant number of "NO(s)or UnSatisfactory" in WS Form B-32 but not enough to warrant a rating of unsatisfactory. If the program fails to improve to satisfactory within 30 days, an Unsatisfactory rating will be given.

(4) Unsatisfactory should be considered if numerous "NO(s) or Unsatisfactory” in WS Form B-32 and in the opinion of the inspector, the station overall program does not meet or is below expected standards.

The inspector’s experience, and knowledge of the observing program, should allow them to detect the strengths and weaknesses of the station and should give the inspectors the ability to recognize aspects of the observing program that may be unusually favorable. The rating of a station should not be determined solely by the number of "YES/Satisfactory" or "NO/Unsatisfactory" answers recorded on WS Form B-32. The “grace periods” listed on the B-32 for certain elements are the time limits for correcting unacceptable conditions.