Title: V9.1 SAS System Output
Author: SAS Version 9.1
Last saved by: dbeaty

08:07  Monday, November 13, 2006  

FY06 LT-MDL Review – Schedule 1319 – Organophosphate pesticides, WWR

08:07  Monday, November 13, 2006  

LTMDL Review for CHLORPYRIFOS, TOTAL

08:07  Monday, November 13, 2006

08:07  Monday, November 13, 2006  

LTMDL Review for PHORATE, TOTAL

08:07  Monday, November 13, 2006  

LTMDL Review for DEF, TOTAL

08:07  Monday, November 13, 2006  

LTMDL Review for ETHION, TOTAL(WATER)

08:07  Monday, November 13, 2006  

LTMDL Review for MALATHION, T (WATER)

08:07  Monday, November 13, 2006  

LTMDL Review for PARATHION, TOT.

08:07  Monday, November 13, 2006  

LTMDL Review for DIAZINON, TOT(WATER)

08:07  Monday, November 13, 2006  

LTMDL Review for METHYLPARATHION TOT.

08:07  Monday, November 13, 2006  

LTMDL Review for TRITHION, TOT.

08:07  Monday, November 13, 2006  

LTMDL Review for FONOFOS TOTAL

Analyte | TestID | Lab Code | Calculated LT-MDL | LT-MDL in use | Update LT-MDL To: | Update LRL To: | Update?
CHLORPYRIFOS, TOTAL | 38932A | 11319 | 0.00346 | 0.007 | 0.003 | 0.006 | Y
PHORATE, TOTAL | 39023A | 11319 | 0.00817 | 0.01 | | | N
DEF, TOTAL | 39040A | 11319 | 0.00902 | 0.01 | | | N
ETHION, TOTAL(WATER) | 39398B | 11319 | 0.00421 | 0.007 | | | N
MALATHION, T (WATER) | 39530B | 11319 | 0.00614 | 0.1 | 0.006 | 0.012 | N
PARATHION, TOT. | 39540B | 11319 | 0.00579 | 0.006 | | | N
DIAZINON, TOT(WATER) | 39570B | 11319 | 0.01556 | 0.01 | 0.02 | 0.04 | Y
METHYLPARATHION TOT. | 39600B | 11319 | 0.00558 | 0.007 | | | N
TRITHION, TOT. | 39786B | 11319 | 0.00591 | 0.011 | 0.006 | 0.012 | Y
FONOFOS TOTAL | 82614C | 11319 | 0.00369 | 0.006 | | | N

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
38932A | 11319 | 061319O | 12 | 0.02 | 0 | 0.4547 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39023A | 11319 | 061319O | 13 | 0.02 | 0 | 0.8733 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39040A | 11319 | 061319O | 13 | 0.02 | 0 | 0.6108 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39398B | 11319 | 061319O | 12 | 0.02 | 0 | 0.9514 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39530B | 11319 | 061319O | 11 | 0.02 | 2 | 0.8099 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39540B | 11319 | 061319O | 13 | 0.02 | 0 | 0.6365 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39570B | 11319 | 061319O | 13 | 0.04 | 0 | 0.2609 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39600B | 11319 | 061319O | 12 | 0.02 | 0 | 0.1388 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
39786B | 11319 | 061319O | 13 | 0.02 | 0 | 0.8036 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
82614C | 11319 | 061319O | 13 | 0.02 | 0 | 0.9577 | Normal