## ECAR
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Summer (Part A.) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | ECAR
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 95300 | 103679 | 106753 | 108749 | 110942 | 112867 | 114598 | 116432 | 118241 | 119880 | 121783
02 | Standby Demand |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 95300 | 103679 | 106753 | 108749 | 110942 | 112867 | 114598 | 116432 | 118241 | 119880 | 121783
04 | Direct Control Load Management |  |  | 198 | 229 | 261 | 288 | 305 | 321 | 336 | 340 | 340 | 340
05 | Interruptible Demand |  |  | 2310 | 2294 | 2238 | 2231 | 2215 | 2154 | 2059 | 2063 | 2067 | 2071
06 | Net Internal Demand (03-04-05) |  | 95300 | 101171 | 104230 | 106250 | 108423 | 110347 | 112123 | 114037 | 115838 | 117473 | 119372
07 | Total Net Operable Capacity |  | Actual 2004: 129636
07a | Uncommitted Capacity | 2 |  | 0 | 780 | 2014 | 2555 | 2555 | 3287 | 3287 | 3287 | 3287 | 3287
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1 | Actual 2004: 3187
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 126449 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW
08b | Other Capacity < 1 MW
09 | Total Net Generator Capacity (7d+8) |  | 126449 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943 | 126943
9b | Distributed Generator Capacity >= 1 MW |  | Projected 2005: 0
10 | Capacity Purchases - Total | 3 | 1470 | 3419 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445
10a | Full Responsibility Purchases
11 | Capacity Sales - Total | 3 | 0 | 1662 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62
11a | Full Responsibility Sales
12 | Net Capacity Resources (9+10-11) |  | 127919 | 128700 | 128326 | 128326 | 128326 | 128326 | 128326 | 128326 | 128326 | 128326 | 128326
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.
3 | The After-the-Fact data collection is only capable of determining net sales or purchases.

## FRCC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5a. Summer (FRCC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | FRCC
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 42383 | 43495 | 44680 | 45962 | 47108 | 48344 | 49556 | 50796 | 52055 | 53270 | 54524
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 42383 | 43495 | 44680 | 45962 | 47108 | 48344 | 49556 | 50796 | 52055 | 53270 | 54524
04 | Direct Control Load Management |  | 79 | 1902 | 1892 | 1890 | 1893 | 1902 | 1912 | 1928 | 1946 | 1966 | 1992
05 | Interruptible Demand |  | 61 | 1088 | 854 | 853 | 851 | 852 | 841 | 847 | 851 | 855 | 859
06 | Net Internal Demand (03-04-05) |  | 42243 | 40505 | 41934 | 43219 | 44364 | 45590 | 46803 | 48021 | 49258 | 50449 | 51673
07 | Total Net Operable Capacity | 1 | Actual 2004: 46987
07a | Uncommitted Capacity | 2 | 2082 | 2082 | 2082 | 2082 | 2082 | 2082 | 2082 | 2082 | 2082 | 2082 | 2082
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004: 0
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004: 0
07c | Other Generation | 1 | Actual 2004: 0
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 46987 | 48917 | 49554 | 50232 | 51357 | 52697 | 54559 | 56098 | 58561 | 60672 | 61640
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 46987 | 48917 | 49554 | 50232 | 51357 | 52697 | 54559 | 56098 | 58561 | 60672 | 61640
9b | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Capacity Purchases - Total |  | 1592 | 1577 | 1552 | 1552 | 1552 | 1552 | 1355 | 1355 | 1355 | 1355 | 1355
10a | Full Responsibility Purchases |  | 1592 | 1577 | 1552 | 1552 | 1552 | 1552 | 1355 | 1355 | 1355 | 1355 | 1355
11 | Capacity Sales - Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a | Full Responsibility Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Net Capacity Resources (9+10-11) |  | 48579 | 50494 | 51106 | 51784 | 52909 | 54249 | 55914 | 57453 | 59916 | 62027 | 62995
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## MAAC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5b. Summer (MAAC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | MAAC
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 52049 | 57630 | 58784 | 59909 | 61025 | 62136 | 63244 | 64368 | 65496 | 66619 | 67751
02 | Standby Demand
03 | Total Internal Demand (01+02) |  | 52049 | 57630 | 58784 | 59909 | 61025 | 62136 | 63244 | 64368 | 65496 | 66619 | 67751
04 | Direct Control Load Management |  | 0 | 429 | 429 | 429 | 429 | 429 | 429 | 429 | 429 | 429 | 429
05 | Interruptible Demand |  | 0 | 384 | 374 | 364 | 364 | 364 | 364 | 364 | 364 | 364 | 364
06 | Net Internal Demand (03-04-05) |  | 52049 | 56817 | 57981 | 59116 | 60232 | 61343 | 62451 | 63575 | 64703 | 65826 | 66958
07 | Total Net Operable Capacity | 1 | Actual 2004: 70007
07a | Uncommitted Capacity | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004: 2610
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004: 0
07c | Other Generation | 1 | Actual 2004: 395
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 67002 | 67812 | 69817 | 69168 | 71761 | 71761 | 71761 | 71761 | 71761 | 71761 | 71761
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW
08b | Other Capacity < 1 MW
09 | Total Net Generator Capacity (7d+8) |  | 67002 | 67812 | 69817 | 69168 | 71761 | 71761 | 71761 | 71761 | 71761 | 71761 | 71761
9b | Distributed Generator Capacity >= 1 MW
10 | Capacity Purchases - Total |  | 495 | 488 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38
10a | Full Responsibility Purchases
11 | Capacity Sales - Total |  | 1330 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a | Full Responsibility Sales
12 | Net Capacity Resources (9+10-11) |  | 66167 | 68300 | 69855 | 69206 | 71799 | 71799 | 71799 | 71799 | 71799 | 71799 | 71799
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## MAIN
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5c. Summer (MAIN) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | MAIN
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 53438 | 59153 | 60183 | 61517 | 62607 | 63644 | 64640 | 65643 | 66670 | 67619 | 68631
02 | Standby Demand | bar: Actual 2004 to Projected 2014
03 | Total Internal Demand (01+02) |  | 53439 | 59154 | 60184 | 61518 | 62608 | 63645 | 64641 | 65644 | 66671 | 67620 | 68632
04 | Direct Control Load Management |  | 779 | 831 | 832 | 836 | 839 | 842 | 845 | 848 | 851 | 856 | 859
05 | Interruptible Demand |  | 2161 | 2598 | 2621 | 2630 | 2632 | 2634 | 2634 | 2635 | 2637 | 2638 | 2639
06 | Net Internal Demand (03-04-05) |  | 50499 | 55725 | 56731 | 58052 | 59137 | 60169 | 61162 | 62161 | 63183 | 64126 | 65134
07 | Total Net Operable Capacity | 1 | Actual 2004: 72065
07a | Uncommitted Capacity | 2 | 3661 | 2121 | 2130 | 2090 | 2060 | 3480 | 3437 | 3380 | 3323 | 3286 | 3286
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004: 239
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004: 33
07c | Other Generation | 1 | Actual 2004: 2398
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 65734 | 65567 | 65800 | 66017 | 67260 | 67956 | 69139 | 69507 | 69858 | 69992 | 69992
08 | Generator Capacity, <1MW (8a+8b) |  | 112 | 112 | 112 | 112 | 113 | 113 | 113 | 113 | 113 | 113 | 113
08a | Distributed Generator Capacity < 1 MW |  | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104 | 104
08b | Other Capacity < 1 MW |  | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | 9
09 | Total Net Generator Capacity (7d+8) |  | 65846 | 65679 | 65912 | 66129 | 67373 | 68069 | 69252 | 69620 | 69971 | 70105 | 70105
9b | Distributed Generator Capacity >= 1 MW |  | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360
10 | Capacity Purchases - Total |  | 2080 | 1876 | 2279 | 2460 | 2540 | 2867 | 2963 | 3242 | 3705 | 4794 | 4530
10a | Full Responsibility Purchases |  | 188 | 216 | 216 | 216 | 141 | 141 | 233 | 233 | 233 | 233 | 233
11 | Capacity Sales - Total |  | 2249 | 1485 | 1462 | 1470 | 1623 | 1969 | 1977 | 1984 | 1992 | 1999 | 2007
11a | Full Responsibility Sales |  | 273 | 275 | 277 | 285 | 282 | 284 | 287 | 289 | 292 | 294 | 297
12 | Net Capacity Resources (9+10-11) |  | 65677 | 66070 | 66729 | 67119 | 68290 | 68967 | 70238 | 70878 | 71684 | 72900 | 72628
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## MRO
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5d. Summer (MRO) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | MRO
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 29351 | 30134 | 30712 | 31288 | 31939 | 32492 | 33070 | 33722 | 34385 | 34946 | 35557
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 29351 | 30134 | 30712 | 31288 | 31939 | 32492 | 33070 | 33722 | 34385 | 34946 | 35557
04 | Direct Control Load Management |  | 74 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 85 | 86
05 | Interruptible Demand |  | 183 | 191 | 191 | 191 | 191 | 191 | 191 | 191 | 191 | 191 | 191
06 | Net Internal Demand (03-04-05) |  | 29094 | 29865 | 30442 | 31017 | 31667 | 32219 | 32796 | 33447 | 34109 | 34670 | 35280
07 | Total Net Operable Capacity | 1 | 35960 | 33967 | 34130 | 34959 | 35342 | 36066 | 36067 | 36095 | 36145 | 36090 | 36090
07a | Uncommitted Capacity | 2 | 0 | 0 | 0 | 75 | 75 | 75 | 75 | 107 | 107 | 107 | 107
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | 74: 0
07b2 | Reliability Derating Group Subtotal | 1 | 74: 0
07c | Other Generation | 1 | 3590 | 619 | 619 | 544 | 544 | 544 | 544 | 512 | 512 | 512 | 512
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 32370 | 33348 | 33511 | 34340 | 34723 | 35447 | 35448 | 35476 | 35526 | 35471 | 35471
08 | Generator Capacity, <1MW (8a+8b) |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 50 | 50 | 50
08a | Distributed Generator Capacity < 1 MW |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
08b | Other Capacity < 1 MW |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 44 | 44 | 44
09 | Total Net Generator Capacity (7d+8) |  | 32421 | 33399 | 33562 | 34391 | 34774 | 35498 | 35499 | 35527 | 35576 | 35521 | 35521
9b | Distributed Generator Capacity >= 1 MW |  | 19 | 18 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
10 | Capacity Purchases - Total |  | 4584 | 3286 | 3403 | 3189 | 3170 | 3085 | 3046 | 3018 | 3001 | 3012 | 3022
10a | Full Responsibility Purchases |  | 1765 | 1714 | 1707 | 1688 | 1684 | 1679 | 1691 | 1703 | 1716 | 1727 | 1737
11 | Capacity Sales - Total |  | 1175 | 1052 | 1000 | 920 | 845 | 934 | 934 | 834 | 834 | 834 | 759
11a | Full Responsibility Sales |  | 614 | 556 | 556 | 556 | 481 | 481 | 481 | 481 | 481 | 481 | 481
12 | Net Capacity Resources (9+10-11) |  | 35830 | 35633 | 35965 | 36660 | 37099 | 37649 | 37611 | 37711 | 37743 | 37699 | 37784
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## NPCC-NE
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5e. Summer (NPCC_NE) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | NPCC
Subregion | NE
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand | 3 | 24116 | 26355 | 26970 | 27350 | 27750 | 28145 | 28565 | 29050 | 29500 | 29845 | 30180
02 | Standby Demand
03 | Total Internal Demand (01+02) | 3 | 24116 | 26355 | 26970 | 27350 | 27750 | 28145 | 28565 | 29050 | 29500 | 29845 | 30180
04 | Direct Control Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05 | Interruptible Demand |  | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317
06 | Net Internal Demand (03-04-05) |  | 23799 | 26038 | 26653 | 27033 | 27433 | 27828 | 28248 | 28733 | 29183 | 29528 | 29863
07 | Total Net Operable Capacity | 1 | Actual 2004: 31095
07a | Uncommitted Capacity | 2
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 31064 | 30881 | 31070 | 31714.5 | 32250 | 32250 | 32250 | 32250 | 32250 | 32250 | 32250
08 | Generator Capacity, <1MW (8a+8b) |  | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
08a | Distributed Generator Capacity < 1 MW | 5
08b | Other Capacity < 1 MW |  | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
09 | Total Net Generator Capacity (7d+8) |  | 31095 | 30912 | 31101 | 31745.5 | 32281 | 32281 | 32281 | 32281 | 32281 | 32281 | 32281
9b | Distributed Generator Capacity >= 1 MW | 5
10 | Capacity Purchases - Total |  | 671.7 | 562.6 | 462.6 | 462.6 | 462.6 | 462.6 | 455.6 | 455.6 | 455.6 | 455.6 | 455.6
10a | Full Responsibility Purchases
11 | Capacity Sales - Total |  | 623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a | Full Responsibility Sales
12 | Net Capacity Resources (9+10-11) |  | 31143.7 | 31474.6 | 31563.6 | 32208.1 | 32743.6 | 32743.6 | 32736.6 | 32736.6 | 32736.6 | 32736.6 | 32736.6
|  |  | 48.7 | 562.6 | 462.6 | 462.6 | 462.6 | 462.6 | 455.6 | 455.6 | 455.6 | 455.6 | 455.6
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.
3 | U.S., Canadian, and Mexican systems, and subregions of NPCC, SERC, SPP, and WECC summarized separately.
4 | Should correspond to peak hour demands reported in EIA-411 report, Item 1, line 07 (summer).
5 | These values will be available with the June 1st update.

## NPCC-NY
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5f. Summer (NPCC_NY) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | NPCC
Subregion | NY
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 28433 | 31960 | 32400 | 32840 | 33330 | 33770 | 34200 | 34580 | 34900 | 35180 | 35420
02 | Standby Demand
03 | Total Internal Demand (01+02) |  | 28433 | 31960 | 32400 | 32840 | 33330 | 33770 | 34200 | 34580 | 34900 | 35180 | 35420
04 | Direct Control Load Management
05 | Interruptible Demand |  | 652 | 975 | 975 | 975 | 975 | 975 | 975 | 975 | 975 | 975 | 975
06 | Net Internal Demand (03-04-05) |  | 27781 | 30985 | 31425 | 31865 | 32355 | 32795 | 33225 | 33605 | 33925 | 34205 | 34445
07 | Total Net Operable Capacity | 1 | 38110.8 | 37547.6 | 38578.2 | 39402.9 | 38686.6 | 38206.1 | 37320.8 | 37320.8 | 37320.8 | 37320.8 | 37320.8
07a | Uncommitted Capacity | 2
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 38110.8 | 37547.6 | 38578.2 | 39402.9 | 38686.6 | 38206.1 | 37320.8 | 37320.8 | 37320.8 | 37320.8 | 37320.8
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW
08b | Other Capacity < 1 MW
09 | Total Net Generator Capacity (7d+8) |  | 38110.8 | 37547.6 | 38578.2 | 39402.9 | 38686.6 | 38206.1 | 37320.8 | 37320.8 | 37320.8 | 37320.8 | 37320.8
9b | Distributed Generator Capacity >= 1 MW
10 | Capacity Purchases - Total |  | 2583 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10a | Full Responsibility Purchases |  | 2583 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Capacity Sales - Total |  | 306 | 305 | 305 | 305 | 305 | 305 | 298 | 298 | 298 | 298 | 298
11a | Full Responsibility Sales |  | 306 | 305 | 305 | 305 | 305 | 305 | 298 | 298 | 298 | 298 | 298
12 | Net Capacity Resources (9+10-11) |  | 40387.8 | 37322.6 | 38353.2 | 39177.9 | 38381.6 | 37901.1 | 37022.8 | 37022.8 | 37022.8 | 37022.8 | 37022.8
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year. | bar: Actual 2004 to Projected 2006
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## SERC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5g. Summer (SERC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | SERC
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 157615 | 165144 | 168565 | 173410 | 176862 | 180305 | 183647 | 187627 | 191673 | 195942 | 199047
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 157615 | 165144 | 168565 | 173410 | 176862 | 180305 | 183647 | 187627 | 191673 | 195942 | 199047
04 | Direct Control Load Management |  | 487 | 900 | 901 | 902 | 902 | 902 | 899 | 897 | 894 | 894 | 892
05 | Interruptible Demand |  | 4104 | 4145 | 4085 | 3906 | 3902 | 3908 | 3904 | 3915 | 3921 | 3938 | 3954
06 | Net Internal Demand (03-04-05) |  | 153024 | 160099 | 163579 | 168602 | 172058 | 175495 | 178844 | 182815 | 186858 | 191110 | 194201
07 | Total Net Operable Capacity | 1
07a | Uncommitted Capacity | 2 | 38574 | 42022 | 41027 | 41740 | 42438 | 38392 | 32993 | 33504 | 29868 | 28083 | 26553
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 170220.5 | 172716.5 | 172935.5 | 176152.9 | 177308.9 | 179040.9 | 180022.9 | 183221.9 | 184968.9 | 186644.9 | 187868.9
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 170220.5 | 172716.5 | 172935.5 | 176152.9 | 177308.9 | 179040.9 | 180022.9 | 183221.9 | 184968.9 | 186644.9 | 187868.9
9b | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Capacity Purchases - Total |  | 15080 | 13939 | 12911 | 11632 | 12480 | 14313 | 16774 | 17898 | 19332 | 20707 | 22083
10a | Full Responsibility Purchases |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Capacity Sales - Total |  | 2440 | 3504 | 3278 | 3263 | 3078 | 3079 | 2888 | 2888 | 2889 | 2889 | 2890
11a | Full Responsibility Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Net Capacity Resources (9+10-11) |  | 182860.5 | 183151.5 | 182568.5 | 184521.9 | 186710.9 | 190274.9 | 193908.9 | 198231.9 | 201411.9 | 204462.9 | 207061.9
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## SPP
Form EIA-411 for 2005
Released: February 7, 2008
Next Update: October 2007
Table 5h. Summer (SPP) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | SPP
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 40105.5 | 41368.5537 | 42195.8152 | 42893.2846 | 43464.8848 | 44312.1456 | 45273.8262 | 45578.6433 | 45995.2028 | 46842.2846 | 47658.6124
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 40105.5 | 41368.5537 | 42195.8152 | 42893.2846 | 43464.8848 | 44312.1456 | 45273.8262 | 45578.6433 | 45995.2028 | 46842.2846 | 47658.6124
04 | Direct Control Load Management |  | 13 | 32 | 36 | 40 | 48 | 60 | 61 | 61 | 61 | 61 | 61
05 | Interruptible Demand |  | 710 | 888 | 898 | 903 | 919 | 947 | 943 | 944 | 945 | 946 | 947
06 | Net Internal Demand (03-04-05) |  | 39382.5 | 40448.5537 | 41261.8152 | 41950.2846 | 42497.8848 | 43305.1456 | 44269.8262 | 44573.6433 | 44989.2028 | 45835.2846 | 46650.6124
07 | Total Net Operable Capacity | 1 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5 | 54556.5
07a | Uncommitted Capacity | 2 | 9271 | 9271 | 9271 | 9271 | 9271 | 9271 | 9271 | 9271 | 9271 | 9271 | 9271
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
07b2 | Reliability Derating Group Subtotal | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
07c | Other Generation | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 45238.5 | 45933.8 | 46190.8 | 47037.8 | 47450.7 | 47778.8 | 49083.8 | 49684.8 | 50649.8 | 50799.8 | 51314.8
08 | Generator Capacity, <1MW (8a+8b) |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
08a | Distributed Generator Capacity < 1 MW |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 45241.5 | 45936.8 | 46193.8 | 47040.8 | 47453.7 | 47781.8 | 49086.8 | 49687.8 | 50652.8 | 50802.8 | 51317.8
9b | Distributed Generator Capacity >= 1 MW |  | 358.2 | 370.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3
10 | Capacity Purchases - Total |  | 4958.2 | 4318 | 4659 | 4282 | 4264 | 4067 | 4245 | 3999 | 4095 | 4317 | 4228
10a | Full Responsibility Purchases |  | 3152 | 2313 | 2425 | 2397 | 2356 | 2231 | 2263 | 2161 | 2174 | 2136 | 1999
11 | Capacity Sales - Total |  | 2200 | 2283 | 2143 | 2080 | 2119 | 2082 | 2473 | 2398 | 2730 | 2852 | 2788
11a | Full Responsibility Sales |  | 2010 | 2093 | 1975 | 1912 | 1914 | 1912 | 2214 | 2201 | 2204 | 2206 | 2209
12 | Net Capacity Resources (9+10-11) |  | 47999.7 | 47971.8 | 48709.8 | 49242.8 | 49598.7 | 49766.8 | 50858.8 | 51288.8 | 52017.8 | 52267.8 | 52757.8
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection
accordingly. Otherwise continue to report that capacity as uncommitted.

## ERCOT
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5i. Summer (ERCOT) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | ERCOT
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 58531 | 60475 | 62148 | 63132 | 64245 | 65097 | 66201 | 67351 | 69053 | 70214 | 71113
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 58531 | 60475 | 62148 | 63132 | 64245 | 65097 | 66201 | 67351 | 69053 | 70214 | 71113
04 | Direct Control Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05 | Interruptible Demand |  | 0 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
06 | Net Internal Demand (03-04-05) |  | 58531 | 59325 | 60998 | 61982 | 63095 | 63947 | 65051 | 66201 | 67903 | 69064 | 69963
07 | Total Net Operable Capacity | 1 | Actual 2004: 78547
07a | Uncommitted Capacity | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004: 0
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004: 1081
07c | Other Generation | 1 | Actual 2004: 3881
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 73585 | 69377 | 69284 | 70271 | 72460 | 72482 | 72457 | 72957 | 72957 | 72957 | 72957
08 | Generator Capacity, <1MW (8a+8b) |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
08a | Distributed Generator Capacity < 1 MW |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 73588 | 69380 | 69287 | 70274 | 72463 | 72485 | 72460 | 72960 | 72960 | 72960 | 72960
9b | Distributed Generator Capacity >= 1 MW |  | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91
10 | Capacity Purchases - Total |  | 262 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136
10a | Full Responsibility Purchases |  | 262 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136
11 | Capacity Sales - Total |  | 0 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189
11a | Full Responsibility Sales |  | 0 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189
12 | Net Capacity Resources (9+10-11) |  | 73850 | 69309 | 69218 | 70207 | 72398 | 72422 | 72399 | 72901 | 72903 | 72905 | 72907
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## WECC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5j. Summer (WECC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | WECC
Subregion
Country | U
SUMMER
|  |  | Actual | Projected
Line# | Category | Notes | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
01 | Internal Demand |  | 123136 | 127935 | 131128 | 134784 | 138117 | 141518 | 144887 | 148302 | 151583 | 155137 | 158698
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 123136 | 127935 | 131128 | 134784 | 138117 | 141518 | 144887 | 148302 | 151583 | 155137 | 158698
04 | Direct Control Load Management |  | 167 | 514 | 526 | 538 | 548 | 549 | 548 | 548 | 548 | 549 | 549
05 | Interruptible Demand |  | 1764 | 1946 | 1910 | 1912 | 1914 | 1922 | 1922 | 1923 | 1924 | 1925 | 1926
06 | Net Internal Demand (03-04-05) |  | 121205 | 125475 | 128692 | 132334 | 135655 | 139047 | 142417 | 145831 | 149111 | 152663 | 156223
07 | Total Net Operable Capacity | 1
07a | Uncommitted Capacity | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 154804 | 160893 | 166596 | 170807 | 175929 | 177263 | 179099 | 179807 | 179855 | 180200 | 180929
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 154804 | 160893 | 166596 | 170807 | 175929 | 177263 | 179099 | 179807 | 179855 | 180200 | 180929
9b | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Capacity Purchases - Total |  | 855 | 656 | 571 | 573 | 571 | 567 | 576 | 434 | 441 | 447 | 506
10a | Full Responsibility Purchases |  | 855 | 656 | 571 | 573 | 571 | 567 | 576 | 434 | 441 | 447 | 506
11 | Capacity Sales - Total |  | 204 | 221 | 221 | 221 | 195 | 195 | 195 | 195 | 195 | 195 | 195
11a | Full Responsibility Sales |  | 204 | 221 | 221 | 221 | 195 | 195 | 195 | 195 | 195 | 195 | 195
12 | Net Capacity Resources (9+10-11) |  | 155455 | 161328 | 166946 | 171159 | 176305 | 177635 | 179480 | 180046 | 180101 | 180452 | 181240
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.