IflowsMonitor (IMON) version 3.0

Released February, 2006

Ron Holmes (ITO State College, PA)

814-231-2435

Overview

IMON 3.0 is a Java program to monitor Iflows Precipitation gauges and Stream Gauges.  It alerts forecasters if any of the gauges reach close to Flash Flood Guidance category for a particular county or any Stream Gauge reaches some critical percentage of flood stage.  IMON is composed of separate programs: a Decoder and a GUI.  The Decoder exists outside of AWIPS and is used to download Iflows web pages and calculate various alerting criteria.  The GUI runs inside of AWIPS so forecasters can monitor Iflows gauges and be alerted when a particular gauge reaches criteria.  LDAD also needs to be set up to recognize the files brought across the firewall into AWIPS.  The program will handle up to 1000 rain gauges and 200 stream gauges. Below is a screen shot showing the monitoring and alert feature.

In all instructions the application directory is the directory where you untar the various .tar.gz files.

Download IMON files from the ER FTP Server

The LAD does not support large files so you must go the ER FTP server to get the distribution. You will be downloading 2 additional .tar.gz files:  Decoder.tar.gz and GUI.tar.gz and some LDAD related files:

- ftp to ftp.werh.noaa.gov  User is anonymous and Password is your email address.

- cd /share/ctp/IflowsMonitor

- get the following files:

Decoder.tar.gz

GUI.tar.gz

LDADinfo.txt

The Decoder.tar.gz file is for the machine external to Awips and the GUI.tar.gz file is the program for inside Awips.  Move the Decoder.tar.gz file to your external machine and the GUI.tar.gz file inside of AWIPS.  Your GUI.tar.gz will also contain some LDAD-related files to transfer the Decoded files from outside AWIPS through the firewall.

PROGRAM UPDATES

If there are updates to the program it is recommended that you untar any of the .gz files  you downloaded from ER FTP Server into a scratch directory and NOT your operational application directory.  You don’t want to overwrite any configuration files you’ve already spent time editing.  Typically, if there are no major changes, all you would have to do is replace the compiled .jar file in your application directory with the new .jar file in the scratch directory.  But there may be changes/additions to some of the configuration files too.  You may have to compare some of the files to see what’s changed or simply email the author.

IFLOWS WEB SITE AND SRH TEXT DATABASE WEB SITE

To find out which Iflows Rain and Stream gauges for IMON to monitor and to download the Iflows Map images for your CWA visit:  http://afws.net/

The FFG files you wish to download to compare Iflows gauges with are located at: http://www.srh.noaa.gov/data/XXX/ where XXX is CWA that has the FFG files.

Setup:

External to AWIPS – the Decoder

In order to run the IMON Decoder it must run on a machine external to AWIPS that has ssh connectivity to your LDAD.  The decoder program uses WGET so it can retrieve the Iflows web pages from the Internet.  Unfortunately since LDAD is still an HP system it does not have WGET so you cannot run the decoder on LDAD.  Also you will need to set up the ssh public/private keys in order for your external machine to SCP the decoded files to LDAD.  See the end of this document to learn how to do this.

- Download the Decoder.tar.gz file from the ERH FTP server in the /share/ctp/IflowsMonitor directory and untar this in your application directory.  Ex: tar –xzvf Decoder.tar.gz

- Edit getIflows.sh  This is used to download the Iflows web pages for the states encompassing your CWA and download the FFG from the Southern Region text database web site.  There is a configuration section at the top.

  - Change the appdir variable to the path of your application directory.  Make sure the path ends with a slash (/)

  - Change the state variables (state1 and state2) for those states you wish to download Iflows web pages for.  Up to 2 states are supported but you can always change the code further down to add more.

  - Change the FFG variables (ffg1,etc) and the base URL variables (ffg_url1,etc) to point to the particular FFG products you wish to use to compare county FFG values with the Iflows gauges.  Ultimately you want to construct a path to the FFG files on the SRH text database web site that cover the states you configured in step c.

  - If you are going to monitor and alarm for Stream Gauges set up the portion of the URL in variables sg1,sg2,etc that point to the Iflows web pages which contain the Stream Gauge Information.  Typically these will end in a .HTM extension. Ultimately we are trying to construct a path that points to that URL.  Again see the Iflows web site for these URL’s in your state.

- Edit countylist.txt

  - This is the main configuration file that describes which Iflows gauges to monitor and alarm for.  Visit the Iflows web site link (above) to get the gauge ID number for each county in your CWA.  Currently the decoder does not decode the River Stage Data, it just does the Current Rainfall Data.  Each CWA listing starts with a header listing 

WFO,<CWA>,<FLAG>,<THRESHOLD> 

where <CWA> is a CWA that you wish to monitor.  The <FLAG> (YES or NO) determines which CWA you wish to be alerted for when Iflows gauges reach FFG criteria.  For your CWA the <FLAG> should be YES.  Set the other CWA’s to NO.  The <THRESHOLD> flag is only used for your CWA and is the percentage used to calculate your FFG alarm criteria.  This could be 70,85,90 percent...whatever you want.  You will not put a threshold flag in for the other CWA’s.  Also, the order of the CWA’s in the left-hand expandable tree is determined by the order of each CWA block in this file so if you would like to see your CWA at the top of the expandable tree put your CWA listing of gauges at the top of this file.

Example: Your CWA:      WFO,XXX,YES,90

Other CWAs:   WFO,YYY,NO

  - Following the CWA header is a listing of Iflows gauges in the CWA which consists of the <COUNTY NAME>,<UGC CODE>=<LIST OF GAUGES>  format where <LIST OF GAUGES> is a list of the Iflows gauges in a particular county, in comma delimited form.  Up to 1000 gauges are supported.  This <COUNTY NAME> should be in the same form (case and spelling) as that listed in the FFG guidance you are downloading.    If the FFG you are using  breaks a county up like: 
 N. Centre and S. Centre then there should be a line describing that break-up and a list of gauges that pertain to that section of the county.  For example:

N. Centre,PAZ018=2887,2852

S. Centre,PAZ019=2871,2881

The UGC code is needed because sometimes counties in a CWA in      different states next to each other can have the same names.

- Edit streamgauge.conf.  This is a list of stream gauges that are contained in the Stream Gauge HTM files you are downloading.

  - Each line is a CSV list

GAUGE_NAME,ID,COUNTY,STATE,THRESHOLD,FLOOD_STAGE

The THRESHOLD is some percentage of the Flood Stage you wish to be alarmed for.  This could be set to anything (and different) for each individual gauge.  The  FLOOD_STAGE is determined by you.  If a stream gauge does not have a flood stage set it to some big number, like 100, so that an alarm will never trip.

- Set up a cron on your external machine to run getIflows.sh every 15 minutes since the data updates every 15 minutes on the Iflows web site.  EX:

15 * * * * /home/ron/IflowsDecoder/getIflows.sh > /home/ron/IflowsDecoder/getIflows.log

- You’ll need to generate your Public/Private ssh keys on the external machine and give your Public key to LDAD so that these files can be transferred to LDAD without a password.  See the end of this document on how to set this up.

- Run the getIflows.sh script by hand to see if it downloads the various web pages and decodes them properly.  If successful, you should see your FFG* files and 4 CSV files that the GUI needs to monitor and alarm for:

  - iflows_readings.txt

  - iflows_alarmdata.txt

  - strguage_readings.txt

  - strgauge_alarmdata.txt

Setup - AWIPS LDAD

Setup LDADInfo.txt to recognize the files that your external machine downloads and scp’s them into /data/Incoming.  Upon receipt of these files a preProcessIflows.pl  (included) script will run which then copies them across the firewall into your application directory on AWIPS.  Follow the steps below:

- As user ldad modify /data/fxa/LDAD/data/LDADinfo.txt on DS1 with the following lines below to let LDAD know what to do with the files you are SCP’ing  into /data/Incoming from the external machine that runs the decoder.  Most likely you will only need to change the FFG filenames to match those you are downloading from the SRH text web site: http://www.srh.noaa.gov/data/XXX/.  Each time the decoder runs on the external machine these files will be SCP’d to /data/Incoming and then the preProcessIflowsAlarm.pl file will copy them into your application directory inside of AWIPS.  The .txt filename extension is not needed.  Ex: iflows_readings.txt and iflows_alarmdata.txt get created by the decoder and scp’d to /data/Incoming but you don’t need the .txt extension in the LDADInfo.txt file.

### example lines to add to LDADinfo.txt on DS1 (under data/fxa/LDAD/data)

### to get various IflowsMonitor files from LS1 to DS1

### make sure you stop/start LDAD after you make changes to LDADInfo.txt

###

iflows_readings        | | | | | | preProcessIflowsAlarm.pl   |

iflows_alarmdata      | | | | | | preProcessIflowsAlarm.pl   |

strgauge_readings     | | | | | | preProcessIflowsAlarm.pl   |

strgauge_alarmdata   | | | | | | preProcessIflowsAlarm.pl   |

FFGPA2                    | | | | | | preProcessIflowsAlarm.pl  |

FFGPA3                    | | | | | | preProcessIflowsAlarm.pl  |

- Edit preProcessIflowsAlarm.pl.

  - Change the $appdir variable at the top to the application directory where you will untar the GUI.tar.gz file (this is where you will be running the GUI from on the AWIPS side).  Place the preProcessIflowsAlarm.pl file in /awips/fxa/ldad/bin on DS1.

- Stop and Start LDAD on DS1 because you’ve changed LDADInfo.txt

  - /awips/fxa/ldad/bin/stopLDAD.sh

  - /awips/fxa/ldad/bin/startLDAD.csh

4) Run the getIflows.sh script on your external machine again and see if the files listed in LDADinfo.txt above are making it into your GUI application in AWIPS. Hopefully they will get SCP’d to your LDAD without being challenged for a password.  If it prompts you for a password then your ssh keys are not set up properly

Internal to Awips – the GUI

- On DS1 first uncompress the GUI.tar.gz file in your application directory (any user can set this up), then untar the .tar file. You cannot use tar -xzvf all in one shot....unfortunately we are still dealing with an HP system.  Ex:

gunzip  GUI.tar.gz

tar –xvf GUI.tar

- Copy the countylist.txt file you modified on your external machine into this directory.  They must be the same.

- Edit GUI.cfg

  - Set the GUI Refresh to the number of minutes you wish the GUI to refresh.  Since the Iflows web site updates the data every 15 minutes the default is 15 minutes.  You probably don’t need to change this.

  - Change the Menu=<MENU LABEL>,<FFG FILE NAME> line where <MENU LABEL> is the Menu label text you wish the GUI to display and <FFG FILENAME>  is the name of the file that gets stored into the application directory  passed in from LDAD.  In operation when you click on the <MENU LABEL> that is displayed it will show you the contents of the <FFG FILE NAME> in a separate window.

Ex: Menu=MARFC FFG,FFGPA2.txt 

means when the user clicks on the MARFC FFG menu label it will display the contents of FFGPA2.txt that gets transferred into AWIPS from LDAD.

  - Change the Gif Image flag to Yes or No if you downloaded the images for each county from the Iflows web site, or not.  If you have downloaded gif images they should be in the gifs directory with a filename of <COUNTY NAME_XX>.gif where <COUNTY NAME> is the same county names listed in countylist.txt and _XX is the 2 letter state identifier for that county.  If you have a few counties split up, ex N. Centre and S. Centre, just leave the N. or S. off of the filename).

EX.  Centre_PA.gif

  - Change the Wav Files flag to Yes or No if you’ve created .wav files (you could record your voice, or just play some chime sound)  to be played on Awips when a particular gauge reaches FFG values for a county.  You can create these .wav files yourself…just name them as in step .c above with a  _XX.wav extension.

EX.  Centre_PA.wav

e. Change the Stream Gauge flag to Yes or No if you are decoding and monitoring Stream Gauges

- Edit already_alarmed.txt

This file describes which counties in your CWA have already tripped alarms.  The idea is that once a particular gauge causes a county to be alarmed, that county will not show another pop-up alarm window.  This could get annoying with gauge data refreshing every 15 minutes.  Therefore this file keeps track of which counties have already been alarmed.  It consists of <COUNTY NAME>:<FLAG> where <COUNTY NAME> has the same format of your County name described in countylist.txt and <FLAG> is either YES or NO.  Initially you will set this to NO for all counties in your CWA.  If gauges do trip for a county, this file gets updated to YES for that county.  In this way when forecasters log out and the next shift comes in and starts the program they can see which counties have reached FFG criteria by choosing the “Show Current Alarms” Menu item.  Note: In order for the program to determine when a “rain event” ends so that any existing alarms can be cleared out in preparation for the next event the program will check the 3 hour interval rainfall amounts for all Iflows gauges being monitored.  If all of those readings are 0.00 then the program “thinks” the event is over and will set all counties to NO in the already_alarmed.txt file.  However, you can manually override this feature at any time and choose the Reset Alarms menu item from the Admin menu and everything will be re-set to NO for all counties in your CWA.

- Edit RunIflowsGUI.sh

  - Change the variable appdir to point to your application directory. Make sure the path ends with a slash (/)

  - Create a menu option on AWIPS that will run this.  Edit local.conf in your /awips/fxa/data/appLauncher directory.

Setup

Program Testing

After setting up the external machine, AWIPS, and LDAD test the decoder on the external system  by running it at a shell prompt and noting any errors.  You should see  4 new  iflows related files and your FFG files and hopefully they will get SCP’d to your LDAD without being challenged for a password.  If it prompts you for a password then your ssh keys are not set up properly.  See the ssh notes below on how to set this up.

Once the files are transferred to LDAD they should end up in your GUI directory you set up.  If not check your preProcessIflowsAlarm.pl and make sure that perl path

(type: “which perl” at a command line to determine this) is correct and the path to your application directory is correct.  Make sure the permissions on this directory have group (fxalpha) writable because the user that transfers them over into the GUI directory is user ldad and user ldad belongs to group fxalpha.  Also it is important that the file already_alarmed .txt has group fxalpha writeable permissions because any user that runs the program must be able to update that file.

Program Operation

Monitoring Stream Gauges

Verison 3.0 supports monitoring and alarming for Stream Gauges.  A separate window will display showing these gauges.  This window can be hidden at any time and will continue to monitor gauges and pop an alarm if a gauge reaches criteria.  You can redisplay the window at any time by choosing the Monitor Stream Gauge menu item.

Sorting Iflows Gauges

The GUI has a few features that make monitoring Iflows gauges easy.  The main feature is the ability to sort any of the gauges in ascending or descending mode simply by clicking on the column header, successively.  An arrow will indicate which way it is sorting.  For example, this makes it easy to see which gauges show the highest amounts in your CWA.   In addition you can drill down through the expandable tree on the left side of the GUI to monitor gauges based on a CWA, a county, or a particular gauge.

Receiving Alarms

Rain Gauges

When a particular rain gauge reaches the threshold you set up (70%,85%,90%) of FFG for the county it will trip an alarm.  This alarm will be a pop-up window showing the information for the gauge along with a .gif image of the gauge location (if you’ve downloaded the .gif images from the Iflows web site).  Also a .wav file will play if you’ve created one for this county.  This pop-up alarm will only display once for a particular county in automatic mode during program operation.  After this county is flagged as having been already alarmed it will not show a pop-up window for any other gauge in this county...even if more gauges reach FFG criteria in that county.  With iflows reading coming in every 15 minutes this could get annoying.  So forecasters do not get annoying pop-up windows every time the GUI refreshes.  However, forecasters can manually choose to view all counties that have been previously alarmed by clicking on the “Show Current Alarms” menu item.  The program will automatically “reset” this list of counties that have already been alarmed when all iflows gauges report 0.00 precipitation in the 3 hour column.  This is done so that the program can reset itself for a new event after an event has ended and there is a window of dry weather.   Of course the forecaster can also manually override this feature at any time and reset the list by choosing the “Reset Alarm” menu item under Admin

Stream Gauges

This feature works in much the same manner.  When a stream gauge reaches some threshold of the Flood Stage that you’ve set a pop-up alarm will display showing you the information.  An internal list is kept which lets the program know this stream gauge has already reached criteria and will not display again, for that gauge only.  However, unlike the rain gauges, other stream gauges in the same county will trip alarms as they reach criteria.  Also, unlike with the rain gauges, the status of whether the stream gauge has been tripped is not saved to disk, only in memory, so that when you close the program  and open it again, you will be re-alerted that those gauges have gone above criteria.

Displaying FFG Guidance

Current FFG guidance downloaded can be displayed for comparison using Show FFG menu item.

Displaying Locations of Iflows Gauges

Locations of Iflows gauges can be displayed by clicking on the Maps menu item.  If you’ve downloaded the .gif images from the Iflows web site for each county in your CWA and placed them in the gifs directory then you should be able to display them.

Setting up Secure, Password-less communication between your external machine and LS1 (LDAD)

In order to get the decoded Iflows files from your external machine to LDAD without passwords you need to generate a pair of public/private ssh keys.  Here’s what you do:

1) On the external machine as the user who will be running the program via cron, change to your home directory.  Type:

ssh-keygen –t rsa

If it then prompts you to enter a passphrase, just hit return.

When it asks you what file you would like to save your key as, just hit return.

2) From your home directory cd to the .ssh hidden directory.  You will see a pair of keys that was just generated.  The id_rsa file is the Private key and  id_rsa.pub key is the Public key.  You want to leave the Private key here.

3) Next you will be appending the contents of the Public key you just generated to user ldad’s authorized keys file on LDAD.  Rename your newly generated public key to something like your_machine_name.public.  Then transfer the your_machine_name.public file over to LS1 to the /ldad/.ssh hidden directory.

Run:

cat your_machine_name.public >> authorized_keys2

Delete the your_machine_name.public  file when you are done.  Your public encrypted key should now be at the end of whatever was in the authorized_keys2 file on LS1.  This tells LDAD to let your external machine in via the secure ssh or scp communication standard.  For this program you will be SCP’ing the decoded files to LS1.