# Emergency Management Program

DATE:     SAMPLE

OPERATING UNIT:		Police and Security Service			  OPERATING UNIT MANAGER:

| Mission Critical System | Potential Problems | Contact for Assistance in Preparing for Potential Problems | Preparations to Make to Minimize Potential Problems | If there is an interruption in operations due to loss of the Critical System, then: Assess the situation for: Action required: |
| --- | --- | --- | --- | --- |
| 1. Lighting (Emergency Lights Available) | Without lighting staff can not carry out their duties in dispatch operation section. | Facilities Management/ Safety office | Staff should be informed of areas that are not properly illuminated. Main hallways should be free and clear of anything staff may trip over in dim lighting. | Determine extent of outage- is it confined or throughout department or medical center. | Relocate staff to an area with emergency power (lighting) if needed. Main phone line should be transferred to an area with emergency power. Confer with the Associate Director for further guidance. |
| 2. Electrical Power (Generator Power Available) | Without power staff can not carry out their duties. | Facilities Management / Engineering | If emergency power outlets are available, key electrical systems should be plugged into these outlets. A supply of note pads and manual forms should be kept readily available. | Determine the extent of the outage and the projected length of the outage. | VA FORMS –1393 and Daily Operation Journal will be hand written or typed. Confer with the Associate Director for further guidance. |
| 3. Steam Distribution | No direct impact |  |  |  |  |
| 4. Heating, Ventilation & Air Conditioning (HVAC) | Loss of heat could impact operations to the point that staff will be no longer to carry out duties | Chief, Facilities/ Engineering | None | Assess ability to continue safe and efficient operations. | If loss of heat leads to unbearable conditions, staff to be released. Some staff may be asked to report to the labor pool. Call the control center to report the loss of heat and to obtain a report of the extent of the problem. |
| 5. Room or Hood Exhaust | No direct impact |  |  |  |  |
| 6. Water Delivery | No drinking water | Chief Engineer | Stock bottles water | Ability of staff to continue operations | Have bottles water installed if deemed necessary. |
| 7. Water Conditioning Or Drinkability | No direct impact. See above (water delivery) |  |  |  |  |
| 8. Waste Stream (Sanitary, Solid, Liquid, & Biohazard) | No trash pickup. | Environmental management | Stock extra trash bags and receptacles | Ability to continue operations | C all environmental management for trash pickups |
| 9. Critical Supplies | No critical supplies identified. |  |  |  |  |
| 10. Communi- cations (Telephone, Radio, Intercom, Nurse Call; etc.) | Loss of phones will impede the departments ability to communicate with medical center staff and external contacts Loss of Base Radio Communication could impact the communication between staff performing on duty. | Chief, IRM AOD Nursing supv. Facilities Management / Engineering. | Police and Security Service supervisor is responsible for ensuring that hand held radios are available for use in all critical areas. Have back-up two-way radios and mobile phones available for dispatchers and officers. | Determine the extent of the radio failure by contacting Facilities and Engineering for radio checks. | Continue operations on a limited basis with two-way radios and request for mobile phones. If needed, request addition radios from Facilities Management. Police supervisor will assign a radio to charge person in the following area: SICU, MICU, ER, command center & nursing supervisor |
| 11. VISTA & Other Computer Applications | An interruption in VISTA/DHCP would interrupt report writing, and impact key requests. | IRMS, Information Security Officer | Establish back-up systems for processing vouchers, time cards, etc. | Wait for IRM for information on estimated downtime | If warranted, activate manual systems. |
| 12. Alarms (Fire, Code Blue, Security, Medical Gases, Nurse Call, Refrigeration; etc.) | With out an active alarm key areas are at risk for theft: agent cashier, canteen, Silver recovery room, and Pharmacy are at risk for theft. Fire alarms needed to alert staff of fire. | Chief, of Pharmacy Chief of IRM Facilities Management/Engineering Safety Officer | Police and Security Service plans foot patrol in these areas. Discuss alternate alarm procedures with affected areas. Review Fire Watch Procedures. | By observing the monitors, determine whether alarm systems are working. Remain alert for notification on the fire alarm. | Maintain a 24 hrs. Post and patrol at key locations until alarm system is back in proper working condition. If fire alarm is non-operational, notify staff and establish a fire watch. |
| 13. Elevators & Other Vertical Transport | Minimal impact on operations. Handicapped staff may be affected. | Facilities Management/ Engineering | Identify physically handicapped staff and patients. Review procedures to assist Engineering service when persons get trapped in the elevators | If the elevators are not operational determine if wheelchair-bound staff members or patients need assistance in navigating stairs. | Assist Engineering Service with transporting patients and employees and assist in getting them out of elevators if trapped. |
| 14. Transport Systems (Robotic, Pneumatic Tube, Tracked Vehicle; etc.) | Administrative only. Mail service delayed. | Mailroom | Establish Human Resources on runner system for pickup and delivery. | Ability of mail to be received and delivered. | Contact mailroom and command center to insure that administrative needs are included in current operations. |
| 15. Central Medical Gases | No impact. |  |  |  |  |
| 16. Parking Gate System | Will be unable to control parking in the carpool and doctors parking lots. | Facilities Management/ Engineer | Police and Security Service would request personnel from Facilities management /Engineering for assistance. | Check to see if gates are functional. | Police and Security Service would post personnel at gates to monitor vehicle for proper decals. |
| 17. External Door Locking System | With out Locknetics system operating on doors the building will not be secured. | Facilities Management/Engineer | Police and Security Service will identify and secure doors that are on the Locknetics system. | Check to see if system is functional | Police and Security Service will request service personnel to assist in securing doors. |
| 18.Telephone Panic Alarm System | Without panic alarms Officer will not be able to respond in a timely manner. | Chief, IRM/System | Police and Security Service will contact personnel in this area and review alternate alarm procedures and systems. | Check to see if panic alarms are functional. | Police and Security Service would request additional personnel from Facilities for assistance until system is fully operational |