Instrumentation for In Situ Sampling and Analysis of Compounds of Interest to Astrobiology in the Lower Atmosphere and Surface of Titan

Paul M. Holland

Thorleaf Research, Inc.

5552 Cathedral Oaks Road

Santa Barbara, CA 93111-1406

USA

pholland@thorleaf.com

Daniel R. Kojiro

# NASA Ames Research Center

USA

Robert Stimac

William Kaye

Ion Applications, Inc.

USA

Nori Takeuchi

EASI, Inc.

USA

Instrumentation for exploration of the solar system will require new enabling technology for in situ sample acquisition and analysis of pre-biotic chemistry in extreme planetary environments, such as that encountered at the surface of Titan.  The potential use of balloon aero-rovers for Titan places special emphasis on the importance of miniaturization, low power and low usage of consumables.  To help meet this need, we are developing a miniature gas chromatograph coupled with a new Mini-Cell ion mobility spectrometer (GC-IMS), and one of us (PMH) has begun development work on a miniaturized cryogenic inlet system with sampling probes for Titan.  This instrumentation, and its approach for meeting measurement needs for the analysis of pre-biotic chemistry on Titan, will be discussed.