December 6, 2005

Andrew C. von Eschenbach, M.D.

Acting Commissioner of Food and Drugs

U. S. Food and Drug Administration

5600 Fishers Lane

Rockville, MD  20857-0001

[Docket No. 2001D-0044]

Draft Guidance for Industry and Food and Drug Administration Staff:  Recommendations for Clinical Laboratory Improvement Amendments of 1988 Waiver Applications; Availability

Dear Dr. von Eschenbach:

On behalf of the American Association of Bioanalysts (“AAB”), we appreciate the opportunity to submit written comments on the Food and Drug Administration’s (“FDA”) Recommendations for Clinical Laboratory Improvement Amendments (“CLIA”) of 1988 Waiver Applications (hereinafter referred to as “draft guidance”).

AAB represents the owners, directors, supervisors, and technologists of community clinical laboratories.  As laboratory professionals, the quality and accuracy of laboratory testing are our top priority, and that is why the high incidence of laboratory errors that occur in waived testing sites seriously concerns us.

This draft guidance is based on the FDA’s interpretation of CLIA, an interpretation that continues to concern AAB, particularly in the definitions and factors that the FDA uses to determine what a “waived” test is. In particular, AAB fears that the FDA’s interpretation of a “waived test” under CLIA, as evidenced by this and previous draft guidances, continues to present a threat to the patient public’s safety and health.

# Comments on Elements of the Draft Guidance

Since the draft guidance is an extension of the proposed regulations of 1995 and the document of March 1, 2001, to which we responded with comments (please see attachment to this comment letter), we are limiting our current comments to the following additional concerns:

- The statutory intent and definition of "waived test" as a basis for the conclusions of the draft guidance;

- The continued reference to the 1995 regulatory proposal without nullification of its defects that fail to provide a more restrictive consideration of the waived test category;

- The relationship of the waived test category to other levels of test categories and the need for greater restriction on the former;

- The potential adverse effect of the waived test definition as indicated and the use of products derived therefrom on public health;

- Public health and safety; and the

- Differentiation between FDA tests approved for over-the-counter sale and waived tests.

In order to accurately appreciate the purpose of the inclusion of waived tests and to understand the intent of that specific section of the law, it is necessary to review the history of the legislation.  The original CLIA Act of 1967 was considered too limited and not sufficiently inclusive of all clinical laboratories.  Laboratory errors subsequently occurred due to the lack of full inclusion.  The 1988 Amendments to the Act were site neutral and inclusive of any laboratory conducting tests on materials from the human body for assessment of disease.  The obvious intent was to place all laboratory testing into regulated laboratories with only minor exceptions.

A close examination of the history of the 1988 legislation does not suggest an intent to separate any significant amount of testing from regulations as applied to clinical laboratories.  In seeking a prototype, Congress turned to the few states that had comprehensive clinical laboratory legislation.  Hearings were held in both the House and Senate with experienced state personnel testifying.  At that time, there was a state regulation that permitted the use of qualitative testing of limited types, and this prototype was considered as suitable for inclusion in the Act.  The specific list of tests is included in the initial 1992 regulations, and these clearly define the legal meaning of “simple,” as well as the requirement that regardless of result, there will not be an adverse medical effect.  The intent in both the state laws of origin and the Federal Act are identical in that waived tests are “simple” in operation and do not include automated or electronic systems or other instrumentality.

Since the overall intent of the Act is to regulate equally all laboratory facilities, personnel, and testing operations and controls, we believe that the FDA has misinterpreted the law, misstated its purpose, and incorrectly defined "waived.”  There is clear evidence to suggest that the draft guidance incorrectly expands the waived concept beyond truly simple, manual processes, permitting operation and control by those other than experienced and educated laboratory professionals, in violation of the original purpose of the CLIA legislation.

Definition of “Simple”

The draft guidance attempts to define “simple” with the criteria in Section II. “Simple” in the statute certainly does not mean that a self-contained, electronically complex process is "simple" by definition, even though only a drop of blood is added.  It should be noted that such complex processes and equipment are common in well managed and supervised laboratories, and that these processes and equipment frequently need attention and repair by well-trained laboratory personnel.  Such equipment may only involve adding a drop of material to a complex system, but elements of proficiency and quality control require expert supervision.  Moreover, the original purpose of clinical laboratory quality legislation at both state and federal levels was to assure that all laboratory testing is performed and under the control of trained clinical laboratory personnel.

The statement in the 1995 proposal, which is reiterated in the draft guidance, that quick reference instruction sheets be written at no higher than a 7th grade reading level presents a potentially serious threat to patient safety and health.  We are confident that the majority of patients would object to this low standard for the processing of their tests. In addition, the characteristics of tests described in the draft guidance indicate that their complexity and understanding require instructions that may need to be written at a level well beyond the 7th grade in order for the tests to be conducted properly and without error.

Definition of “Insignificant Risk”

The draft guidance misinterprets the meaning of “insignificant risk.” The reference to waived tests needing to be “more robust” than non-waived tests skirts the real issue, which is that very few, if any, laboratory tests worth performing have an “insignificant risk of an erroneous result.”

Even tests that were automatically waived in the 1992 CLIA regulations, or which have been approved for over-the-counter (OTC) sales, have a significant risk of an erroneous result. According to former HCFA administrator Gail Wilenksy, Ph.D.:

“Although a test in which glucose is measured by a meter may be a simple procedure to 	perform accurately, an incorrect test result could pose a reasonable risk of harm to a 	patient…” (New England Journal of Medicine, Vol. 234, No. 9, February 28, 1991, p. 	636).”

Problems with “waived” blood glucose meters continue to be encountered, from the 1991 deaths of several diabetic patients at Maryland’s Seton Hill Manor nursing home, to mass recalls of a number of blood glucose meters, to recent Alerts issued by the FDA’s office of In Vitro Diagnostic Device Evaluation and Safety, which

“recently received a report of a patient who suffered irreversible brain damage following 	an aggressive insulin treatment that was given for elevated glucose readings. 	Unfortunately, the elevated glucose readings were incorrect because the glucose 	monitoring device, which was unable to distinguish between glucose and maltose, was 	reacting to the maltose in the intravenous immunoglobulin solution that the patient was 	receiving.”  (November 9, 2005)

On October 26, 2005, the FDA notified health care providers and patients of a problem with another company’s blood glucose meters.  The meters can be switched unintentionally from one unit of measurement to another, resulting in an inaccurate blood glucose interpretation by the reader, which could lead to an improper patient dosage of insulin.  The patient then could develop hyperglycemia, which is a serious and sometimes life-threatening condition.

Moreover, Consumer Reports reported in August 2005 that although most of the blood glucose monitors they tested were reasonably accurate, the readings varied in consistency, which Consumer Reports says is more important than accuracy.

In addition, the confusion resulting from the description of “insufficient risk of an erroneous result” as part of insignificant risk as applied to “waived” tests becomes most important in the area of infectious disease.  In this case, a definitive result is nearly diagnostic.  Also, it is an area in which the issue of erroneous results is immediately detrimental to the patient.  Assume, for example, that an HIV test is included in the waived category.  In this case, there may be multiple causes that affect the proper operation of this test kit as well as variability among patients. If the result is a false positive or false negative, there will definitely be an adverse effect on the patient.  And if a test for Streptococcus agalactiae is falsely negative, is there no adverse effect on the newborn?  In short, AAB believes that it is an incorrect interpretation of the statute to assume that a waived test in the hands of persons not trained in laboratory science is acceptable, given that the statute provides for the public benefit of well trained persons for all clinical laboratory examinations.

Finally, we note that the determination of a method posing unreasonable risk of harm to the patient if performed incorrectly should not only be made by the Secretary, but also with the advice of a board of qualified practitioners.

“Hazard” Factors

Although controls can be suggested, there is no way to prevent the potential hazards from use in the uncontrolled sites of use in the marketplace.

Fail-Safe and Failure Alert Mechanisms

These concepts are interesting but only on very theoretical grounds.  It seems doubtful that these non-regulatory "suggestions" will receive serious attention by manufacturers.

“Waived” Tests and Public Health

There is significant concern among public health workers about the effect of waived tests for screening of infectious disease.  Consider the use of a waived test by a person with a 7th grade reading level for the determination of a causative agent of a communicable disease that can cause an epidemic.  Certainly no public health official would rely on such a test used by such personnel for determining control procedures.  Yet, this information from one source compared to data derived from moderate or high complex testing facilities could result in significant confusion and increase costs.

We also question whether the FDA may be abdicating its responsibility for assuring that safety is a primary consideration for all devices, not just certain categories of them.  In the field of

laboratory devices and methods, the maximum in safety assurance is achieved when all testing is performed in qualified laboratories.  (Some exceptions are recognized when health screening is performed by trained laboratory personnel, since such procedures are not used for final evaluation of patient health.)

In spite of the proposed complex procedures for developing waived tests, the two elements necessary for safety in patient testing are missing:  1) competent laboratory personnel, and 2) control and regulation based upon the complexity of the process inherent in the test procedure.  There is no doubt that if the lack of adequate regulation by FDA continues, potential errors of public health significance will occur.

The draft guidance states that “simple” precludes any test in which results must be reported to a public health department.  Therefore, it must be concluded that no waived test can be applied to infectious disease, such as screening for HIV, Lyme disease, Streptococcus, or other infectious diseases.  We are concerned, however, that some tests for such purposes may be approved by the FDA, due in part to pressure from manufacturers.  In the 1995 proposed regulations for waived testing, the agency stated that, “…manufacturers and producers ultimately will benefit in the form of increased sales and distribution of tests categorized as waived.”  Despite this recognition by the FDA, we sincerely hope that the agency will focus first and foremost on the potential detriment to public health and safety inherent in waived tests.

Differentiation between FDA tests approved for over-the-counter (OTC) sale and waived tests

The interpretation and assumption based on this part of the statute requires some clarification.  It does not mean that OTC tests are the same as waived tests.  There is a dichotomy of interpretation that must be considered.

It is clear that the OTC test does not have to meet the requirements of non-waived laboratory tests.  However, it also must be assumed that OTC tests are intended for use by the purchaser as a means of self-test for his or her medical problem, such as glucose testing for diabetes.  There is no implication, however, that such tests can be used by the purchaser to test others.  In other words, no such test can be applied as a waived test for screening patients unless it is separately and individually defined for this purpose.  The responsibility and liability relevant to an OTC test applies to the purchaser, as it is to only be used upon him or her.

The waived test, on the other hand, is made for sale in the marketplace for use by those in “Certificate of Waiver” laboratories who apply the tests to others for medical diagnostic purposes.  The relationship is not between manufacturer and patient, as in OTC tests, but rather between the manufacturer and the “Certificate of Waiver” laboratory.

This guidance specifically points out that it does not address test systems cleared or approved by the FDA for over-the-counter or prescription home use, “since these automatically qualify for CLIA waiver [42 USC 263a(b)(3).]”

The implication made here is that the FDA’s hands are tied when it comes to establishing the criteria for waiving tests approved for over-the-counter use. But that is not true. The FDA has full control over these criteria, but chooses to maintain two sets of criteria for waiving tests: One for approving OTC tests and one for other tests as described in this draft guidance.

This bifurcated system is unnecessary and not in the best interest of the patient public. This guidance, if it has any merit at all, should be applied to all applications for waiver, including those applying for over-the-counter approval.

Summary of Specific Recommendations

1.	Return to the original intent of CLIA and its amendments by bringing all laboratory 	testing activity into an environment of control, standardization, and operation by skilled 	and experienced medical laboratory personnel.  Recognize that the waived category was 	intended as a limited classification for a few, simple, manual tests for qualitative 	purposes only;

2.	Return the large majority of waived tests to their proper complexity category;

3.	Assure that the performance of all tests, including waived tests, are documented and 	recorded;

4.	Provide evidence that all decisions regarding waived testing have been referred to 	appropriate personnel at the Centers for Disease Control and Prevention (“CDC”) and the 	Clinical Laboratory Improvement Advisory Committee (“CLIAC”) for opinion and 	discussion;

5.	Provide labels on all waived tests that indicate in large type that the results of the test do 	not establish a diagnosis of a specific disease. Only a physician can make the diagnosis;

6.	Establish a separate advisory committee consisting of a board of qualified, non-	government participants that will review and approve any test procedure brought forward 	under the classification of “waived.”  This includes the various factors regarding approval 	of each analyte;

7.	While the draft guidance now provides greater detail as to what manufacturers should do, 	there are no defined criteria to be used by the FDA in judging whether a method is 	acceptable.  In order to make the approval process more objective, there should be a 	subdocument defining allowable error, precision, etc., which differs for each analyte.  	These elements should be outlined in a publicly available document so that there is no 	doubt as to a method's acceptability or failure.

As a professional association that cares deeply about the quality and accuracy of laboratory testing, AAB welcomes the opportunity to comment on your agency’s guidance.  We look forward to hearing your responses and we are willing to discuss these issues with you in greater detail.

Sincerely yours,

Mark S. Birenbaum, Ph.D.

Administrator

Attachment:  AAB’s Comments on the 2001 Draft Guidance

# Text boxes

## AMERICAN ASSOCIATION OF BIOANALYSTS

906 Olive Street, Suite 1200 ( St. Louis, Missouri 63101-1434 ( Phone: (314) 241-1445

Fax: (314) 241-1449 ( Email: aab@aab.org ( Web: www.aab.org