Fire Prevention Plan

NCI-Frederick

Fort Detrick, Maryland

This Fire Prevention Plan is intended to provide employees with basic information on the major fire hazards and control methods at the NCI-Frederick in accordance with 29 CFR 1910.39.  For more information, contact the Environment, Health & Safety Program in Building 426 at 301-846-1451.

1.) Major fire fuel sources hazards, their proper storage and handling, and available fire control equipment:

# Fuel Source Hazard		Proper Storage & Handling		Fire Control Equipment

Accumulation of ordinary		Daily housekeeping activities to		Multipurpose dry chemical

combustibles, such as paper,	remove these items from the		fire extinguisher;Automatic

cardboard, office trash, other	workplace; Periodic inspections		sprinkler systems in many

combustible wastes.		to ensure adequate housekeeping.	buildings.

Flammable and combustible	Store in approved containers in 		Multipurpose dry chemical

liquids – reagents in laboratory	flammable storage cabinets or		fire extinguisher; Installed

areas, gasoline and diesel fuel	flammable storage rooms.			dry chemical or inert gas

in maintenance areas.			extinguishing systems in

flammable storage rooms.

Flammable solvent waste.		Store in approved waste containers;	Multipurpose dry chemical

Periodic satellite accumulation area	fire extinguisher.

inspections and weekly removal by

Waste Management staff.

2.) Major potential fire ignition sources and their control procedures:

# Ignition Source			Control Procedure

Energized electrical			Do not store flammable and combustible materials in close

equipment.				proximity to energized electrical equipment.

Hot Work, such as welding,	Follow the NCI-Frederick Hot Work Permit Procedure, Chapter

grinding, soldering, similar		C-18 in the Safety Operations Manual.

operations producing heat,

spark, or flame.

Laboratory operations		Follow the manufacturer’s recommendations for equipment use and

involving heat or flame		maintenance.  Keep flammable and combustible materials away

producing equipment.		from heat or flame producing equipment.

## Ignition Source (continued)		Control Procedure

Cooking and food warming		Potential fires in the food preparation area of the Building 549 are

equipment.	controlled by installed wet chemical suppression systems.  Building 549 is also protected by an automatic sprinkler system.

Portable space heaters	Space heaters must meet certain design requirements to be used at the NCI-Frederick.  An inspection and tagging program ensures that approved heaters are used safely.

Coffee makers and hot plates.	These items must be placed on surfaces that are not easily combustible.  Additionally, these items must be turned off or disconnected at the end of the day.

Smoking	No smoking is allowed on the NCI-Frederick campus.  Dispose of smoking trash (e.g., matches, cigarette butts) in designated receptacles.

3.) Personnel responsible for maintenance of fire suppression systems:

Testing and maintenance of portable fire extinguishers, fire detection and alarm systems, and fire suppression systems is performed through a sub-contract with a vendor specializing in these activities.  The Environment, Health & Safety Program, conducts fire extinguisher inspections and periodic fire prevention inspections.

4.) Personnel responsible for controlling fire fuel source hazards:

Supervisors at all levels are responsible for the control of fuel source hazards in their area of responsibility.  Employees are also responsible for maintaining a fire-safe work environment and reporting any unsafe conditions to their supervisor.  In addition, periodic fire prevention inspections are performed by EHS to assist supervisors and employees in identification of potential fuel source hazards.

Ref: Fire Prevention Plan March 2005