Letter of Intent

for the Inclusive

Forward Silicon Vertex Detector (iFVTX)

25 April 2008

Letter of Intent of the iFVTX for the PHENIX Experiment

M.L. Brooks, S. Butsyk, G. Grim, H.W. van Hecke, J. Kapustinsky, A. Klein, G.J. Kunde, D.M.  Lee, M.J. Leitch, M.X. Liu, P.L. McGaughey, W.E. Sondheim

Los Alamos National Laboratory, Los Alamos, NM 87545, USA

Hisham Albataineh, G. Kyle, H. Liu, S. Pate, X.R. Wang

New Mexico State University, Las Cruces, NM, USA

B. Bassalleck, D.E. Fields, M. Hoeferkamp, M. Malik, J. Turner

University of New Mexico, Albuquerque, NM, USA

E.Mannel

Nevis Laboratories, Columbia University, NY, USA

1	Executive Summary	7

2	Physics Goals of the Inclusive Forward Vertex Detector	12

2.1	Heavy Flavor Production and the Quark Gluon Plasma	13

2.1.1	Energy Loss and Flow of Heavy Quarks	13

2.1.2	Charm and Bottom Measurements with the iFVTX	16

3	iFVTX Detector Performance	21

3.1	Simulation Code	21

3.2	Distance of Closest Approach Measurement	23

3.3	Heavy Quark Measurements with the iFVTX Using D, B(  X	25

3.4	Expected Count Rates	27

3.5	Occupancy in Central AuAu Events	27

3.6	Matching Tracks from the Muon Spectrometers to the iFVTX/FVT	29

3.7	Data Analysis for iFVTX/FVTX	30

3.8	Luminosity Assumptions	32

3.9	Physics Performance	33

4	iFVTX Detector System	33

4.1	Overview	33

4.2	Detector Description	37

4.2.1	The Readout Chip FPX 2.1	37

4.2.2	The Silicon Sensor	43

4.2.3	The High Density Interconnect	45

4.2.4	The Module and Assembly	47

4.2.5	Detector Plane	47

4.2.6	The Cooling Concept and Design	49

4.2.7	Cable Assembly	50

4.2.8	Station Layout and Cage Mount	51

4.3	Readout Electronics Description	51

4.3.1	ROC Design Specifications	53

4.3.2	FEM Design Specifications	54

4.3.3	ROC and FEM Prototype Performance	55

4.4	Radiation Environment and Component Selection	59

5	Mechanical Structure and Cooling	59

5.1	Structural Support	59

5.2	iFVTX Stations	60

5.3	FEA Calculations for modules	61

5.4	FEA Calculations of the support cage	64

5.5	Analysis of the Full VTX/FVTX Structure	65

5.6	iFTVX Analysis Summary	67

5.7	Assembly and Integration	67

5.7.1	Assembly	67

5.7.2	Integration	69

5.8	Q/A procedures	72

5.8.1	Silicon Sensor Q/A	72

5.8.2	FPIX Readout Chip Q/A	72

5.8.3	High Density Interconnect (HDI)	72

5.8.4	TPG Support/Heat Spreader	72

6	Infrastructure Requirements from PHENIX	73

6.1.1	Detector layout in cage	73

6.1.2	Cable plant inside enclosure (size, location)	73

6.1.3	Big wheel space, board configuration	74

6.2	Cable Plant from IR, i.e. the Big Wheel to Racks	74

6.2.1	LV bundle size	74

6.2.2	HV bundle size	75

6.2.3	Fiber bundle size	75

6.2.4	Cable tray needs	75

6.3	PHENIX Hall Rack Requirements	75

6.3.1	LV crate specification	75

2 PHENIX LV crates will be required with 9 modules each for the planes. These will deliver 3.2 V digital and 3.0 V analog for 68 channels. This requirement is iFVTX specific.	75

6.3.2	HV crate specification	75

6.3.3	Fiber patch panel specification	75

6.3.4	Other?	76

6.4	Cooling System Requirements	76

6.4.1	Wattage that must be removed from within the enclosure, number and size of cooling lines that must be provided to do this, specify volume/rate of coolant.	76

6.5	PHENIX Counting House Rack Requirements	76

6.5.1	FEM crate specification	76

6.5.2	Number of DCMs required	76

6.5.3	Slow control interface requirements	76

6.6	Technician Needs for Infrastructure and Installation	76

6.6.1	Cable tray installation	76

6.6.2	Fibers run from CH to IR	77

6.6.3	Wiring up of rack (need to put in rack monitoring, power to each crate…)	77

6.6.4	Steve Boose for LV system (?)	77

6.6.5	Cooling system support (plumbing and integration to PHENIX monitoring, etc.)	77

6.6.6	Monitoring help from Frank T/ John H	77

6.7	Detector installation	77

7	Schedule, Responsibilities	77

7.1	Schedule	77

List of Figures

Figure 1 Schematic of the distance of closest approach (DCA) measurement for a secondary particle produced in front of the iFVTX detector.	8

Figure 2 Invariant cross section for heavy flavor muons (blue), hadron decay muons (red) and hadron punch-throughs (pink) contributing to the single particle spectra in the muon arms.  Data are derived from real data measurements at RHIC, using the PHENIX muon arms.	8

Figure 3  Conceptual layout of the PHENIX iFVTX showing the four stations (shown in green) of the iFVTX, see Figure 1 for the schematic layout of the four stations.	10

Figure 4 - Suppression of high-pT hadrons and pions as seen in Au+Au vs d+Au collisions, measured by PHENIX and published in PRL.	14

Figure 5 – High-pT suppression of (0’s and (’s – indicative of large partonic energy loss in high density matter; compared to no suppression of direct photons which indicates that the initial-state is not modified.	14

Figure 6 – Heavy quark suppression and flow vs pT from PHENIX measurements using electrons in 200 GeV Au+Au collisions at mid rapidity.	15

Figure 7 Heavy flavor cross section measurements, at forward rapidity and versus pT, that can be made with (blue) and without (red) the iFVTX detector.	17

Figure 8 Decay length of muons from the semi-leptonic decay of D (red), B (blue), K and  are shown on the left and the decay angle of the muon with respect to the parent meson is shown on the right for the same particle types.	18

Figure 9 Muons from thrown charm events (black dots) and beauty (red crosses) are shown on the left.  The x axis is the pT of the reconstructed muons and the y axis is the total number of counts.  The same simulated spectra are shown on the right, overlaid with the reconstructed spectra (blue dots are reconstructed charm and blue crosses are reconstructed beauty).	19

Figure 10 Fractional error in extracted D component (black dots) and B component (red crosses).	19

Figure 11 Heavy flavor RCP measurement that can be achieved with 1.1 inverse picobarn AuAu collisions, with the iFVTX detector (blue error bars) and without the iFVTX detector (red error bars). Theory predictions which include radiative energy loss (green band), radiative energy loss plus elastic scattering energy loss (blue band) and radiative energy loss plus dissociation (yellow band) are shown for comparison.	20

Figure 12 Layout of stations in the Geant simulation on the left and the close-up view to the right.	22

Figure 13 - Principle of operation of the iFVTX   detector in the r-z plane. A D meson is produced at the collision point. It travels a distance proportional to its lifetime (purple line), then decays to a muon (green line). The muon’s trajectory is recorded in the four stations of the iFVTX. The reconstructed muon track (dashed line) has a small, but finite distance of closest approach (dca) to the primary collision vertex (black line). The primary background is muons from pion and kaon decays, which have a much larger average DCA because of their longer lifetime.	23

Figure 14 DCA resolution along the small and long dimension of the pixel as function of the muon momentum.	24

Figure 15 Z-vertex resolution of ~180 micron with the iFVTX for 5 GeV/c muons in the North arm acceptance.	24

Figure 16 - pT distribution of negative prompt muons (muons from heavy quarks), decay muons from  and K and punch-through hadrons at pseudo rapidity (() = -1.65. The punch-throughs become the dominant background for pT values above 3 GeV. The curves are simulations, based on real data extrapolations, while the data are PHENIX measurement.	25

Figure 17 – Signal to background improvement for Ds (left) and Bs (right) which decay to + for no vertex cut and successive iFVTX cuts.  Cuts applied are 2 cut, DCA cut in the phi direction, and DCA cut in the r direction.	26

Figure 18 - Signal to background improvement for Ds (left) and Bs (right) which decay to - for no vertex cut and successive iFVTX cuts.  Cuts applied are 2 cut, DCA cut in the phi direction, and DCA cut in the r direction.	26

Figure 19 Count rates for open heavy flavor reconstruction assuming 1.1 pb-1 AuAu collisions.	27

Figure 20 Hit display for a central Au Au collision on the first layer. The maximum occupancy is smaller than 0.1 percent.	28

Figure 21 Distribution of numbers of hit pixels in the  module closest to the beam for central AuAu collisions. An average of  23 pixels out of 2816 respond in this maximum occupancy example. For average numbers see main text.	28

Figure 22 Chi-square distribution for tracks which are correctly matched and fitted between the muon and FVTX systems (red) and ones which are incorrectly matched (black).	29

Figure 23  Fraction of reconstructed muon tracks which are correctly matched to an FVTX track versus momentum.  Muons from heavy flavor decay were embedded in minimum bias Au+Au events.	30

Figure 24 Expected performance of the iFVTX for the RCP measurement.	33

Figure 25 - 3-D model of the full vertex detector showing the barrel portion and the iFVTX on the right.	34

Figure 26 Side view of the iFVTX detector system, all measurements are in mm.	35

Figure 27 Block diagram of the readout system required for the iFVTX (prototype and therefore very similar to the FVTX).  The read out cards and the front end module are boards which will reside between the FPIX readout chip and the DCM and are currently under development.	36

Figure 28: FPIX2.1 block diagram; arrows represent control and data flow.	37

Figure 29: Pixel unit cell, the analog section is to the left, the digital section to the right.	39

Figure 30: Data Output Interface block diagram.	40

Figure 31  Picture of the FPIX 2.1 chip with an overlay of the areas of power production.	42

Figure 32 Pixel layout at the edge of the detector with  600µm instead of 400µm length long pixels.	43

Figure 33 Photograph of the CIS produced sensors after their arrival at LANL.	44

Figure 34 Close-up of the wafer, the eight chip sensors are the 6 long structures in the center. The wafer holds in addition 2 four and 4 one chip sensors plus several test structures.	45

Figure 35 Cross section of the detector stack up, the flip chip assembled readout is glued to the HDI which is glued on the TPG carrier. While the sensor-readout chip connection is achieved via bump bonds, the chip itself is connected to the HDI via wire bonds.	46

Figure 36 CAD drawing of pixel plane with 10 modules. The three mounting flexures and the two stiffer bars are visible.	47

Figure 37 Picture of the prototype printed circuit board for a plane, the dark area is the TPG insert for the cooling of the modules.	48

Figure 38 Photograph of the prototype plane with various test modules. The extra board mounted in the lower picture was a clock distribution test board, for the production layout these chips are mounted directly on the plane.	48

Figure 39 CAD drawing of a station build by mounting two planes face to face. The two planes are offset by the width of one module. The cooling loop on the TPG is visible. The loop itself is made from PEEK tubing, precision molded to have one flat surface which is glued to the TPG.	49

Figure 40 Drawing of the offset of the two planes, the station is optimized for an average crossing angle of 22 degrees, matching the muon arms.	50

Figure 41 CAD drawing of the four stations mounted in the cage developed for the FVTX. The cooling lines, the cables and the strain relieve is show.	51

Figure 42 iFVTX Detector Readout Diagram	52

Figure 43 ROC Block Diagram	53

Figure 44 The FEM design	54

Figure 45 Scope capture of data synchronization for the ROC prototype	55

Figure 46 Combining data from 8 chips in ROC prototype	56

Figure 47 FEM prototype testing results: Reading back from the correct beam clock bucket (top) and from an incorrect bucket (bottom)	57

Figure 48 Threshold scan for an 8-chiop FPIX module using the ROC channel prototype. Threshold and noise distribution of each pixel (top) and fit to the turn-on curve for on of the pixels (bottom) are shown.	58

Figure 49  CAD drawing of a station, the cooling tube on the FPG is clearly visible; the actual modules are on the inside of the station because the two planes, composing the station, face each other.	60

Figure 50 Module dimensions in the FEA analysis.	61

Figure 51 Results of the thermal FEA. With a coolant temperature of  7 C the gradient between TPG and Sensor is about 8.3 C.	62

Figure 52 FEA stress plot for the bump bond layer at nominal operating temperature. The maximum stress is ~ 2 % if the tensile yield.	62

Figure 53 FEA stress results for the case of a LV power outage while cooling is in operation. The maximum stress is ~ 19 % of the tensile yield.	63

Figure 54 FEA results for the deflection of module during normal operation. The maximum displacement in the Z direction is only ~ 4 microns.	63

Figure 55 iFVTX distortion analysis, details see main text.	64

Figure 56  iFVTX modal analysis; the first modal frequency is at 156 Hz.	65

Figure 57 FEA model of the combined VTX and FVTX.  The first modal frequency is 38.5 Hz	66

Figure 58 Full system FEA; the first frequency mode is 24 Hz.	66

Figure 59 CAD drawing of the mounting jig for the module assembly. The HDI is held with a vacuum jig.	68

Figure 60 Pixel plane with 10 modules on the mounting jig (in red)	69

Figure 61 Grounding schematic for the iFVTX, all supplies are floating. The sensor, digital and analog ground are only connected together at the front end pixel planes. All power lines have PTC fuses.	71

Figure 62 CAD drawing of the four stations mounted in the cage developed for the FVTX. The cooling lines, the cables and the strain relieve is show.	73

List of Tables

Table 1 - Summary of the parameters of the iFVTX stations.	34

# Executive Summary

The study of the properties of the Quark-Gluon Plasma (QGP) predicted by the fundamental theory of strong interactions and created in collisions of heavy nuclei is the main goal of the heavy ion program at RHIC1. Heavy quarks are now becoming the most important source of new insight largely because theory predictions are considered safe because of the large quark masses involved. Current results from single non-photonic electron suppression and flow suggest that quenching and thermalization and flow of heavy quarks are very large. This presents the biggest puzzle so far to heavy ion theory2,3,4.  The best possible measurements are now necessary to make further progress and require a  detector which can directly identify heavy quarks. We propose to add a pixel based vertex tracker to upgrade in front of one muon arm in PHENIX, called the inclusive Forward Vertex Tracker (iFVTX).

A vast increase of theoretical activity in the past couple of years was aimed at understanding the interaction mechanisms of heavy quarks with the plasma. First advances have been made in understanding the collisional component of heavy quarks to parton energy loss in addition to the radiative one. Moreover, novel heavy flavor suppression mechanisms based on heavy flavor dissociation in the QGP have been proposed and shown to be very successful in describing the quenching of the non-photonic electrons. In addition arguments have also been made that insight gained from string theory might be useful in understanding the properties of strongly coupled systems.  It is widely recognized in the theoretical and experimental communities that progress in this area requires direct measurements of the charm and beauty meson quenching and flow with good precision. With the baseline PHENIX detector, these questions cannot be directly addressed because the heavy flavor measurements have very large systematic errors due to large backgrounds and there is no capability for separating charm and bottom. Therefore, the various model predictions cannot be adequately tested.  The iFVTX detector will provide a first, inclusive, experimental capability to answer some of the questions albeit with limited acceptance. The iFVTX will cover one eighth of one muon arm, and is the precursor to a complete coverage of the muon arms by the FVTX, approved for DOE funding

The iFVTX detector will allow for precision heavy flavor measurements by adding the capability to identify muons which have a track that doesn’t originate from the primary vertex, i.e. a track originates from the semi-leptonic decay of a heavy quark. The iFVTX  provides precision tracking of a track’s distance of closest approach (DCA) to the primary vertex.  This DCA will typically be non-zero for secondary particles, as illustrated in Figure 1, and we will use this to tag muons from B and D decays. Prompt background will have DCA’s near zero while long lived backgrounds will have much larger DCA’s.

Figure 1 Schematic of the distance of closest approach (DCA) measurement for a secondary particle produced in front of the iFVTX detector.

The single particle spectra that are accepted by the muon spectrometers, measured using real data, are shown in Figure 2.  Currently, the hadron backgrounds dominate over the heavy flavor components, especially at low transverse momentum. The hadron backgrounds are comprised of pions and kaons that decay to muons before the absorber material, and those that punch through the absorber material (and may or may not decay in the muon tracker volume). The idea of the iFVTX is to positively identify those tracks which come from heavy flavor decay.

Figure 2 Invariant cross section for heavy flavor muons (blue), hadron decay muons (red) and hadron punch-throughs (pink) contributing to the single particle spectra in the muon arms.  Data are derived from real data measurements at RHIC, using the PHENIX muon arms.

Heavy-quark production in the forward and backward directions has been measured in PHENIX indirectly via the observation of single muons in p+p and d+Au collisions. The current measurements are limited in accuracy by systematic uncertainties resulting from two large contributions to the single muon spectra:  prompt pion and kaon semi-leptonic decays and pion and kaons which punch through the entire muon system and are mistakenly tagged as muons  The iFVTX detector will provide vertex tracking with a distance of closest approach (DCA) resolution in r-z that is better than 100 (m over a large coverage in rapidity (1.2 < |(| < 2.2).  This will allow for vertex cuts which separate prompt particles from decay particles and short-lived heavy quark mesons from long-lived light mesons (pions and kaons).  Therefore, with this device several fundamentally new measurements can be made and current muon measurements will be significantly enhanced.

  - Study of energy loss and flow of heavy quarks into forward and backward rapidity regions using robust charm and bottom measurements over a broader x range than available with the barrel VTX detector alone and with greater precision than is possible with the muon detectors alone. This allows the extension of studies of the geometrical and dynamical effects of the hot-dense matter created in high-energy heavy ion collisions into the forward and backward rapidity regions and will allow us, for the first time, to separate measurements for charm and bottom.

  - Precise open charm and bottom measurements will provide a solid reference for comparison with production of bound states of heavy quarks (J/ψ and (). These will allow for the isolation of several physics aspects, e.g. initial-state effects such as gluon shadowing and physics that only affects the bound states, for example final-state absorption. The new measurements will also provide strong constraints on production of J/ψs from recombination by determining a precise open-charm cross section over a broad rapidity range.

The iFVTX will be composed of 4 stations with silicon pixel detectors, covering rapidities (1.2 < |(| < 2.2) that match a muon arm, and provide precision tracking for one octant. The pixel size is 50 by 400 micron and therefore has the resolution for displaced track measurements. The iFVTX consists of approximately 450,000 pixels per station that are read out via FPIX2.1 readout chips designed by Fermilab for the BTeV experiment. Eight of these chips are flip chip assembled to one silicon pixel sensor. Each station is build from 2 identical planes with 10 modules each (6 for the smaller first station) that are mounted to achieve hermetic coverage for an average incident angle of 22 degrees. Figure 3 shows the layout of the iFVTX, where four stations are mounted in the cage developed for the FVTX.

Figure 3  Conceptual layout of the PHENIX iFVTX showing the four stations (shown in green) of the iFVTX, see Figure 1 for the schematic layout of the four stations.

.

The FPIX readout chip provides analog and digital processing with zero-suppression and produces a digital output which is "data-pushed" at 150 Mbps to intelligent readout boards (FVTX prototypes) containing FPGAs. The data is then translated into the standard PHENIX format and transmitted to the PHENIX DAQ system via fiber optics. For central Au-Au events an event size of 4.4 KByte is anticipated, where the minimum bias event size is on average 2.4 Kbyte.

Based on an LDRD Exploratory Research (ER) grant from LANL during FY02-FY04 we were able to develop a conceptual design of forward silicon tracking in PHENIX and to settle many of the R&D issues. The current LDRD Directed Research (DR) project at LANL (FY06-FY08) will produce 4 stations of the pixel detector covering approximately 1/8 of one muon arm, to be installed in the RHIC beam at the same time as the barrel pixel detector. As part of this effort we have advanced the R&D for the FVTX by fully designing the interface electronics that connects the FPIX read-out chip to the PHENIX Data Collection Modules (DCMs) so that it will seamlessly provide data to the existing PHENIX DAQ. In addition, the LDRD DR project will support part of the design of the cooling system and support structure.

This letter of intend has the following structure:

- The physics motivation for the iFVTX and the simulated physics performance are given in Section 2

- The general detector simulations and its performance are documented in Section 3.

- Section 4 gives a detailed description of the inclusive forward vertex tracker and the technical aspects of the proposed project.

- Section 5 describes mechanical aspects of the iFVTX.

- Section 6 describes the infrastructure impact on PHENIX.

- Section 7 discusses schedule and responsibilities.

# Physics Goals of the Inclusive Forward Vertex Detector

Our motivations for installing the iFVTX detector into PHENIX prior to installation of the FVTX detector are two-fold:

(1) Since the iFVTX detector will provide the same physics measurement capabilities as the FVTX and shares much of the same readout design, commissioning of the iFVTX in PHENIX will give us significant learning experience for commissioning the FVTX detector thereby reducing the overall time needed to commision the FVTX detector when it is ready to install in PHENIX.

(2) Although the acceptance of the iFVTX detector is significantly smaller than the FVTX detector, we will still be able to make an early, significant, heavy flavor physics measurement using single muons, for any species of collisions.  Since heavy flavor measurements have only been made at forward rapidity with large systematic error bars in p+p and d+Au collisions, and not at all in Au+Au collisions, a precision measurement from the iFVTX detector could allow for us to make important statements about heavy flavor production an in-medium modification at an earlier stage than when the FVTX detector is available.

The primary physics measurements that the iFVTX detector will be capable of making are forward rapidity heavy flavor cross section measurements in p+p collisions, including a decomposition of the D and B contributions and the first ever heavy flavor Rcp measurement in Au+Au collisions at forward rapidity.  The heavy flavor cross section measurements are quite important to the RHIC program as there is currently a significant discrepancy between PHENIX and STAR cross section measurements, which has not been resolved to date.  A less ambiguous measurement made with much less background contributions should help resolve this issue.  We will also be able to make the first statements about the decomposition of the charm and beauty contributions – a decomposition which is critical for the interpretation of heavy ion flow measurements, for example.  In addition, we will be able to make the first ever forward rapidity heavy flavor measurement in Au+Au collisions.  To date, this has not been possible because the uncertainty in the single muon background components yielded very large systematic errors in the heavy flavor measurement.

The PHENIX inclusive Forward Vertex Detector (iFVTX) complements the barrel vertex detector (VTX) already being built for PHENIX by providing increased coverage in rapidity (adding one additional unit of rapidity), providing a broad reach in transverse momentum, and allowing a larger portion of the dynamical geometry of the hot dense matter created in heavy ion collisions to be explored.

## Heavy Flavor Production and the Quark Gluon Plasma

The main goal of the RHIC heavy ion program is the identification and study of the hot high-density matter created in heavy ion collisions, i.e. the Quark Gluon Plasma (QGP).  The energy loss of fast quarks or gluons traversing this dense matter is very large, leading to the observed suppression of high transverse momentum light hadrons.  This, along with large elliptic flow, large suppression of J/, and other signatures observed by the RHIC experiments point to rapid thermalization, extremely high energy density, and partonic rather than hadronic interactions. The iFVTX detector coupled with a muon detector system will allow for precision measurements of open charm and bottom versus rapidity, pT and reaction plane in an inclusive data sample. We expect that these precision measurements will help solve the uncertainty in the total heavy flavor cross section at RHIC energies, provide a mechanism for separating the charm and beauty components in the single lepton spectra, and allow a first understanding of  heavy quark energy loss and flow in heavy ion collisions.

### Energy Loss and Flow of Heavy Quarks

One of the most significant physics results produced in the first several years of RHIC operations was the measurement of strong suppression of high-pT light particle production in Au+Au collisions.  This is illustrated by measurements with the PHENIX detector, shown in Figure 4 and Figure 5. Figure 4 shows the suppression factor for charged and neutral pion production in Au+Au and d+Au collisions, with respect to p+p collisions.  The suppression factor for d+Au is typically greater than 1 while the suppression for  Au+Au collisions is approximately 0.2, indicating that the large suppression seen in Au+Au collisions comes from final state interactions with the produced medium and is not due to initial state interactions or interactions within the Au nuclei. This statement is further supported by the data shown in Figure 5 where the light meson suppression factor for Au+Au collisions is shown compared to a direct photon measurement.  The direct photons, which do not interact with the medium, show no suppression with respect to p+p collisions.    The strong suppression observed for the light mesons is interpreted as energy loss of the outgoing particles or jets,, in dense matter, with densities up to 15 times normal nuclear matter inferred. This energy loss shifts the produced particle spectra to lower energy, effectively suppressing the production at a given pT.   These densities are much larger than what is needed to dissociate nuclear matter into quarks and gluon.

Figure 4 - Suppression of high-pT hadrons and pions as seen in Au+Au vs d+Au collisions, measured by PHENIX and published in PRL.

Figure 5 – High-pT suppression of (0’s and (’s – indicative of large partonic energy loss in high density matter; compared to no suppression of direct photons which indicates that the initial-state is not modified.

More recent measurements of heavy flavor measured via single leptons at central rapidity4 indicate that heavy quarks (charm and bottom) also suffer substantial suppression (see top half of Figure 6). The heavy quarks even appear to flow, though the flow measurements at high pT are rather imprecise (see bottom half of Figure 6).

Figure 6 – Heavy quark suppression and flow vs pT from PHENIX measurements using electrons in 200 GeV Au+Au collisions at mid rapidity.

The measurement of large suppression of heavy flavor production came as a surprise because theoreticians predicted that heavy quarks would not lose much energy in the hot-dense matter due to the "dead-cone" effect -- seemingly inconsistent with the recent results. This dead-cone effect refers to the reduction in phase space that is available for radiated gluons as you move to higher quark mass, thus resulting in less predicted radiative energy loss for heavy quarks than for light quarks.  A number of different theoretical models now attempt to explain the unexpected large suppression of heavy quarks:

- Some studies suggest that the magnitude of the dead-cone,,  may be similar between heavy quarks and light quarks, unlike the predictions in reference 5, which would lead to an energy-loss for heavy quarks closer to that for light quarks.

- M. Djordjevic11 suggests that collisional energy loss accounts for the extra suppression that is seen in the measurements.  In this model, the charm suppression reaches approximately the levels of the measured inclusive heavy quark suppression and the bottom suppression would be much less than the charm suppression.

- A. Adil, I. Vitev  take into account the formation time which is long for light quark mesons (relative to the lifetime of the medium) but short for heavy quark mesons. Because of the short formation time, dissociation of the heavy quark mesons formed inside the medium is calculated to contribute to suppression of heavy meson production in addition to the heavy quark energy loss.  In this model, the bottom component suffers less suppression than the charm component at low pT, but the two become comparable at as low as 10 GeV.

- Cold nuclear matter (CNM) effects will provide additional suppression of heavy flavor production, especially at forward rapidity. A rapidity dependence measurement helps allow separation of CNM effects and dense medium effects.

The predictions of these models for charm plus bottom production, relative to p+p production, are indicated in Figure 11 and will be described in the next section.  To distinguish among these various models higher precise measurements of heavy quark production are required. Separation of charm and bottom will allow the collisional energy loss and formation time models to be clearly distinguished, and a measurement across a large rapidity range further distinguishes the models and helps understand the cold nuclear matter effects.  We will now show the heavy flavor measurement precision that we expect to obtain with the iFVTX detector.

### Charm and Bottom Measurements with the iFVTX

The signal to background improvements in charm and bottom that are obtained with the iFVTX are discussed in Section 3.3.  These improvements will allow for a clean heavy flavor cross section measurement in p+p collisions, a heavy flavor Rcp measurement in Au+Au collisions, and separation of the charm and beauty components from the single muon spectra.  We discuss these iFVTX capabilities below.

#### Cross Section Measurements in p+p

The cross section measurements that can be made with the iFVTX detector (compared to without the iFVTX) in p+p collisions are shown in Figure 7 for an integrated luminosity of __________.  As can be seen, the iFVTX provides a significant improvement in the error bars compared to a measurement without the iFVTX.

Figure 7 Heavy flavor cross section measurements, at forward rapidity and versus pT, that can be made with (blue) and without (red) the iFVTX detector.

***MAKE ABOVE PLOTS WITH IFVTX STATISTICS***

#### Separating Charm and Bottom with the iFVTX Detector

To date, there has been no way to separate the charm and beauty components contributing to the single lepton spectra.  With the iFVTX detector, the charm and beauty components in the single muon spectra can be separated from each other by using the measured distance of closest approach of the tracks. The DCA distributions for muons from the semi-leptonic decay of D and B mesons differ not only because the lifetimes for the different D and B particles are on average different, but also because the decay angle of the muon coming from D particles is on average smaller than the decay angle of muons coming from Bs.  This increases the measured difference in DCAs for the two sources of muons.  These differences are illustrated in Figure 8 where the decay distance of D and B decay muons and the decay angle of the muons are shown (along with the same distributions for  and K mesons).

Figure 8 Decay length of muons from the semi-leptonic decay of D (red), B (blue), K and  are shown on the left and the decay angle of the muon with respect to the parent meson is shown on the right for the same particle types.

The method of evaluating DCA distributions to separate the D and B components from the single muon spectrum is outlined in the following:  a) in a Monte Carlo individual D and B events are generated and the reconstructed DCA values and pT for each reconstructed decay muon are recorded.  For each set of events, for different pT bins,  one records the fraction of decay muons that are kept (out of the total thrown) for N different DCA bins.  These fractional amounts (,) are recorded for use in separation of D/B within a single muon spectrum.  b) a mixed sample of D and B events is generated, and for the same pT and DCA bins as in (a) on obtains:

where  is the total number of counts you have in a given DCA, pT bin,  and are the fraction of Ds and Bs you previously found (in a) to be retained when a DCA bin cut was placed on the full set.and  are the values one is interested in determining: the total number of D and B events in a given pT bin.  This gives N equations (number of DCA bins) and if one can minimize (Ntotal-fD*D+fB*B)2, with respect to the two desired unknowns, and , one can extract the number of D and B mesons versus pT from your spectra.  The analysis was carried out using our multi-million event samples of fully simulated and reconstructed D, B events.  The results are shown in Figure 9 (left) where generated D and B spectra are shown, and in Figure 9 (right) where the same spectra are presented, overlaid with the extracted D and B components, based on the method described above.

Figure 9 Muons from thrown charm events (black dots) and beauty (red crosses) are shown on the left.  The x axis is the pT of the reconstructed muons and the y axis is the total number of counts.  The same simulated spectra are shown on the right, overlaid with the reconstructed spectra (blue dots are reconstructed charm and blue crosses are reconstructed beauty).

The next figure, Figure 10, shows the fractional error one obtains when taking the difference between the thrown and reconstructed spectra, divided by the thrown spectra.

Figure 10 Fractional error in extracted D component (black dots) and B component (red crosses).

As can be seen from the figures, one can extract the relative amounts of charm and beauty yields to better than 10% over most of the pT range.

#### Heavy Flavor Rcp in AuAu Collisions

Heavy flavor RAA measurements can only be made if both p+p and Au+Au running take place while the iFVTX detector is installed.  Since we do not know if this will be possible, we look at the capabilities of making RCP (peripheral to central collision ratios) in Au+Au collisions.

Figure 11 Heavy flavor RCP measurement that can be achieved with 1.1 inverse picobarn AuAu collisions, with the iFVTX detector (blue error bars) and without the iFVTX detector (red error bars). Theory predictions which include radiative energy loss (green band), radiative energy loss plus elastic scattering energy loss (blue band) and radiative energy loss plus dissociation (yellow band) are shown for comparison.

Taking our improved signal:background ratios that we achieve with the iFVTX detector, and the expected luminosity (____), we get the predicted measurement capabilities shown in Figure 11.  The red error bars indicate the measurement precision that can be obtained without the iFVTX detector, using RHIC Run 5 p+p statistics and the blue error bars indicate the precision that can be obtained with the same integrated luminosity run but using the iFVTX in the analysis.  Also shown are theory predictions which include radiative energy loss (green band), radiative energy loss plus elastic scattering energy loss (blue band) and radiative energy loss plus dissociation (yellow band).

SUMMARY

# iFVTX Detector Performance

In this section we will discuss the general performance of the iFVTX and its simulation.

The requirements in designing the iFVTX were:

- Sufficient position accuracy so that the displacement resolution of a track with respect to the collision point is significantly less than the displacement produced by the c of charm and bottom decays

- Low enough occupancy to allow accurate track finding in Au+Au central collisions.

- Ability to match tracks from the muon arm (muon tracker and muon identifier) to those in the iFVTX silicon mini-strips, even in Au+Au central collisions.

- 2 values for tracks passing through the silicon will be large if the momentum is small and has been mis-reconstructed to a large value.  Therefore, cutting on the 2 should discriminate against mis-reconstructed tracks.

The discussion of the above requirements and the simulations that establish the iFVTX performance to satisfy these requirements follows.

## Simulation Code

The iFVTX detector sensitive and non-sensitive volumes have been simulated in the PHENIX GEANT framework, PISA. The simulation includes the beam pipe, the central silicon barrels, support structures, and the forward silicon tracker. The radiation length per station in the forward region is 0.96% of Silicon and 0.65% of Graphite and 0.42 % for the Copper from the HDI traces. This includes sensor, readout chips, readout bus, and support TPG panels. This small radiation length is achievable because we are implementing a design that has minimized the readout bus and the mechanical structure and have moved the support structure outside of the active area. The output of the PISA simulation includes a description of the materials and detector volumes in the GEANT simulation (to be used by the offline code) and the x, y and z positions of simulated tracks that hit sensitive silicon volumes.

Figure 12 Layout of stations in the Geant simulation on the left and the close-up view to the right.

The left side of Figure 12 shows a close-up view of the iFVTX implementation in Geant. The right side of the figure shows the first station,  2 layers of six staggered modules, each 73.6 by 6.4 mm, 250um thick, with 5.6 mm gaps in between. The center-to-center spacing of the front 6 and back 6 modules is 2mm. The bottom edge of the Silicon is 35mm from the nominal beam axis. Each pink rectangle depicts an '8-chip module', which consists of a Si sensor and 8 FPIX2.1 readout chips

The detector volume description and the x,y,z positions are fed into the offline code (Fun4All) where the detector response is simulated and track reconstruction takes place.  The simulation includes a full digitization of the PISA hits into hit silicon strips. The cluster finding of strips which belong to one hit, and a centroid fit is applied to each cluster.  The centroid positions of the clusters belonging to a given track are then used in a Kalman Filter track fit.  The parameters from the track fit are used to project the track to the event vertex and extract the distance of closest approach (DCA) of the track to the primary vertex.  This DCA value is then used to discriminate among tracks which originate from the primary vertex and tracks which come from a displaced secondary vertex.  In the simulations that include the muon spectrometers, tracks are found in the muon system and matched with tracks in the iFVTX and a complete Kalman Filter track fit is applied to get the correct track in the iFVTX.  Missing in this full track reconstruction is a track finding  algorithm for the iFVTX tracks.  While this algorithm will most likely be patterned after the MuTR track finding algorithm, we have not implemented this yet primarily because the occupancy in the iFVTX is much less than that in the MuTR, so iFVTX track finding should be much easier.  At this point, we use Monte Carlo information to combine hits together into tracks.

## Distance of Closest Approach Measurement

Figure 13 shows again the basic principle of using the iFVTX endcap silicon detector to detect secondary tracks which have been produced at a displaced vertex. A D meson is created at the primary vertex where the two beams collide. It travels a distance proportional to its lifetime and then decays semi-leptonically into a muon. The muon travels off at a modified angle (due to the decay process), passing through four silicon detector stations. The reconstructed muon track has a small but non-zero distance of closest approach (DCA) to the primary vertex – typically 200-300μm - unlike particles from pion and kaon decays, which have a much larger average DCA and prompt particles which have a DCA that is nominally zero.

Figure 13 - Principle of operation of the iFVTX   detector in the r-z plane. A D meson is produced at the collision point. It travels a distance proportional to its lifetime (purple line), then decays to a muon (green line). The muon’s trajectory is recorded in the four stations of the iFVTX. The reconstructed muon track (dashed line) has a small, but finite distance of closest approach (dca) to the primary collision vertex (black line). The primary background is muons from pion and kaon decays, which have a much larger average DCA because of their longer lifetime.

Reconstructed DCA distributions have been produced for prompt, single muons of various momenta using our simulation code, to establish the DCA resolution of the detector.  Figure 14 shows the resolution along the short and long dimension of the pixel. The top part shows that the resolution is better than 100 micron above a momentum of 2 GeV/c while the resolution along the long dimension stays around 300 micron.  Figure 15 shows the z-vertex resolution for 5 GeV/c muons in the North arm acceptance, the fit shows a resolution of approximately 180 micron, appropriate for heavy quark measurements.

Figure 14 DCA resolution along the small and long dimension of the pixel as function of the muon momentum.

Figure 15 Z-vertex resolution of ~180 micron with the iFVTX for 5 GeV/c muons in the North arm acceptance.

## Heavy Quark Measurements with the iFVTX Using D, B(  X

Charm and bottom measurements can be made with the iFVTX and muon arms using the semi-leptonic decay channels D(X, B(X.  Figure 16 shows the contributions from  charm+bottom decays (“Prompt” in the figure), light meson decays, and punch through hadrons to the single muon spectrum (based on real Run 2 p+p data).  The light meson decays dominate the spectrum below pT of 2 GeV/c and the punch-throughs become comparable to the heavy quark meson decays at ~3 GeV/c. These light meson contributions to the single muon spectrum must be rejected if a precision charm or bottom measurement is to be made.  A DCA cut requiring DCA<DCAmax will reduce the muons from light meson decays, making a charm measurement possible at low pT. A DCA cut requiring DCA>DCAmin will reduce the punch-throughs since the punch-throughs come from the primary vertex, allowing a heavy flavor measurement at moderate to high pT.

Figure 16 - pT distribution of negative prompt muons (muons from heavy quarks), decay muons from  and K and punch-through hadrons at pseudo rapidity (() = -1.65. The punch-throughs become the dominant background for pT values above 3 GeV. The curves are simulations, based on real data extrapolations, while the data are PHENIX measurement.

We have looked at the signal to background improvement for D and B measurements by running full D, B and minimum bias PYTHIA events through our simulation and seeing what fraction of each particle type  survives DCA cuts.   Figure 17 and Figure 18 show how the signal to background for charm (D) and bottom (B) measurements improves when DCAmin<DCA<DCAmax cuts are applied.  Figure 17 shows the signal to background improvement for particles decaying to + and Figure 18 shows the improvement for particles decaying to -.  There are more background muons for + signals than for - signals.

Figure 17 – Signal to background improvement for Ds (left) and Bs (right) which decay to + for no vertex cut and successive iFVTX cuts.  Cuts applied are 2 cut, DCA cut in the phi direction, and DCA cut in the r direction.

Figure 18 - Signal to background improvement for Ds (left) and Bs (right) which decay to - for no vertex cut and successive iFVTX cuts.  Cuts applied are 2 cut, DCA cut in the phi direction, and DCA cut in the r direction.

For both charm and bottom, an improvement in the signal to background of about a factor of 10 is attained over most of the pT range accessible by the iFVTX and muon systems when DCA cuts are employed.  These figures will enable us to determine which pt ranges we can use to enhance either B or D.  Generally, D’s dominate below 2 GeV and B’s dominate above 3 GeV.

## Expected Count Rates

We performed generator level simulation talking into account RHIC-I luminosities and the acceptance of the iFVTX for 1.1 pb-1 WHY is B>D ?

Figure 19 Count rates for open heavy flavor reconstruction assuming 1.1 pb-1 AuAu collisions.

## Occupancy in Central AuAu Events

The iFVTX silicon pixels have a dimension of 50 m by 400 (600) m  The simulated hit density at the first silicon layer for central AuAu collisions, simulated by PISA, is shown in Figure 20    Accounting for charge sharing and the total yield of soft charged particles, the maximum occupancy for the innermost module expected to be 0.1 % for Au+Au central collisions which can be inferred from Figure 20. The average number of hits in the whole detector for a central event is about 540, resulting in 1100 pixels sending their data. The average number pixels above threshold for a minimum bias event is 580 out of a total of ~ 1,600,000 pixels. We expect this occupancy to be low enough to allow accurate track finding even in the central-most AuAu collisions.

Figure 20 Hit display for a central Au Au collision on the first layer. The maximum occupancy is smaller than 0.1 percent.

Figure 21 Distribution of numbers of hit pixels in the  module closest to the beam for central AuAu collisions. An average of  23 pixels out of 2816 respond in this maximum occupancy example. For average numbers see main text.

## Matching Tracks from the Muon Spectrometers to the iFVTX/FVT

The following section describes the track matching between the forward vertex detector and the muon arms. The study was performed for the FVTX but holds for he iFVTX as the two forward detectors have s similar resolution and the occupancy for the iFVTX is rather small.

Track matching between the FVTX and muon systems is done by taking all reconstructed tracks in the muon system, projecting them forward to the last station of the FVTX system, and gathering any reconstructed FVTX tracks which fall within a search window determined by the muon tracker track.  The window is nominally 3 cm radius to allow for scattering in the absorber material between the FVTX and the muon tracker system.  All candidate FVTX tracks are fit together with the muon hits from the track of interest and the FVTX track that produces the best combined 2 is selected as a correct match.   Figure 22 shows the chi-square distributions for correctly matched candidates (red) and incorrectly matched candidates (black) in central Au+Au events.

Figure 22 Chi-square distribution for tracks which are correctly matched and fitted between the muon and FVTX systems (red) and ones which are incorrectly matched (black).

The number of tracks which are correctly matched to FVTX tracks, in Au+Au events, is shown in Figure 23.  As can be seen, we have reasonably high efficiency for correctly matching the FVTX and MuTr tracks, with an efficiency of approximately 85% achieved over most of the signal region of interest.

Figure 23  Fraction of reconstructed muon tracks which are correctly matched to an FVTX track versus momentum.  Muons from heavy flavor decay were embedded in minimum bias Au+Au events.

## Data Analysis for iFVTX/FVTX

For a heavy flavor analysis, we assume the following analysis steps must be taken for real data. The physics plots presented in the proposal are derived from scaling the simulations performed for the full FVTX by the expected statistics for the inclusive sample of the iFVTX. This approach was chosen to take full advantage of the time that went into the production of the DOE proposal and is valid since the intrinsic resolutions of the two detectors are the same although they dramatically differ in size. For each analysis step, we will note how this step is handled for the FVTX detector in our simulations of physics performance.  For all simulations one runs the full reconstruction chain for the muon arms that is already in use for real data analyses.  We used the PYTHIA event generator for simulating p+p collisions and the HIJING generator for simulating Au+Au collisions.

- A single muon trigger is implemented online to get a reduced data set which has an increased level of events that have at least one particle which penetrates to the deepest layer of the muon identifier system.  The same trigger that is currently used in PHENIX is assumed, and the efficiency losses are automatically included in our simulations, since our particle spectra are normalized based on real data signal and background counts that have been obtained with this trigger.

- For simulation data, the digitization of Monte Carlo hits into hit pixels and clusters is performed. For both simulation and real data, cluster finding, track finding (pattern recognition), track matching between the muon tracker (MuTr) and FVTX, and track reconstruction are applied to the data and all reconstructed single particles and their reconstructed track parameters are stored.  The DCA, chi-square of the track fit with the FVTX alone and the chi-square for a combined MuTR and FVTX fit are stored to allow for later track selection cuts. In the simulations the full reconstruction analysis for the FVTX system is implemented, from cluster formation to track reconstruction. This was done separately for a sample of signal events embedded in HIJING events and for very high statistics (of order four billion events) sets of PYTHIA-generated and single particle generated signals and backgrounds which are not embedded in HIJING events. Efficiency and background corrections were determined from the full multiplicity sample. These corrections are then applied to the high statistics simulation in order to evaluate the physics sensitivity. As the simulation time and the reconstruction time are long, it is not feasible to simulate billions of HIJING events. [Note that the multiplicity dependence of the reconstruction efficiency and purity in PHENIX real data analyses are evaluated by embedding simulated signals into real Au+Au collision hit data.]

- Cuts are placed on the reconstructed single particles to reduce background components and thus enhance signal to background for a given signal of interest – in this case, to reduce hadron punch-throughs and hadron decay muons with respect to muons from heavy flavor decay.  The same cuts have been applied to the mixed events and to the cleaner PYTHIA events, to understand whether additional corrections should be applied to the PYTHIA event samples to account for lower efficiency for the signal and/or increased background tracks in higher-occupancy events

.

- After the above reconstruction steps and single track cuts, the remaining single particle spectra now include mainly heavy flavor decay muons rather than background particles, and not vice versa as is the case without the iFVTX/FVTX. The magnitude of the signal and the remaining background in simulations is calculated as follows: First, the input distributions for punch-through hadrons, decay muons from hadrons, and decay muons from heavy flavor are normalized to the real spectra from each source that have already been measured with the PHENIX muon arms.  (Note that we assume that the relative normalization of each component is the same for Au+Au events and p+p events.  Hadrons have been measured to be suppressed in Au+Au collisions with respect to binary scaling, but heavy flavor production also appears to be suppressed at a similar level.  Therefore the fractional amounts of each should be similar in Au+Au events and p+p events.)  Next, the sum of these components is passed through the reconstruction steps described above. After applying all cuts, we calculate how much of each type of background and how much signal remain.  The total signal counts from these simulations are corrected for efficiency losses due to the background rejection cuts and efficiency losses due to imperfect track finding in HIJING events.  The background rates are also corrected for any additional background which is created from imperfect track finding in HIJING events and/or reduction in rejection.  We then calculate a signal to background ratio and the remaining signal counts. From these the statistical and systematic errors for the extracted signal can be calculated

- Any remaining background is handled with the same background subtraction techniques used in analysis of the current muon arm data. The number of muons from  and K decay is determined from the vertex distribution of single particles—more decay muons are produced far from the absorber than close to the absorber so the vertex distribution can be fit to extract the amount of long-lived decay muons contributing to the single particle spectra.  The punch-through hadrons are estimated by looking at the distribution of particles that reach each depth of the muon identifier—muons that stop in a given muon identifier layer produce a relatively narrow momentum peak (measured by the muon tracker system) for each layer, but punch-through hadrons populate a long tail in the momentum distribution in a given muon identifier layer since the hadrons can shower within the muon identifier.  Therefore, the momentum distribution at each muon identifier layer can be used to extract a relatively clean sample of punch-throughs that are reaching each layer.  The fraction of these hadrons in the total muon sample is extrapolated to beyond the last plane and to higher momenta using Monte Carlo. This procedure is significantly improved with the introduction of the iFVTX/FVTX, since cuts on the iFVTX/FVTX substantially reduce the background. Significantly smaller statistical errors are incurred in the signal extraction because the background subtracted is smaller. Furthermore, the uncertainty in the normalization of the background contributes less systematic uncertainty in the extracted signal.

- Physics plots are produced by scaling the FVTX results with the statistical expectations for the inclusive measurements with the iFVTX. The physics plots are based on the number of calculated heavy flavor muons accepted by the cuts, with error bars taking into account the background that must be subtracted (giving an additional statistical error component) and the uncertainty in this background (giving a systematic error component)

## Luminosity Assumptions

For the plots generated in this document, we have assumed one year running at RHIC I.

We assumed 2 nb-1 delivered luminosity for one year of Au+Au running, and 70 pb-1 for one year of p+p running the following efficiency factors:

- 55% for |z vertex| < 10 cm

- 60% PHENIX duty factor

- 79% min-bias p+p trigger efficiency, 90% for Au+Au trigger efficiency

- 90% trigger efficiency

- 90% for p+p reconstruction efficiency, 70% for Au+Au efficiency

- 1/16 for the iFVTX active area with respect to the FVTX

Multiplying these together gives for the iFVTX, for instance, the equivalent of ~1 pb-1 for one year of p+p for RHIC I and  ~0.02 nb-2 for Au+Au  Some double-counting of inefficiencies are in place since we also separately correct our simulated data for reconstruction efficiency of the specific signal of interest.

## Physics Performance

Figure 24 Expected performance of the iFVTX for the RCP measurement.

We performed an analysis on the expected performance of the iFVTX for the measurement of the nuclear modification factor RCP .The result is shown in Figure 24. This has to be checked and discussed !

# iFVTX Detector System

## Overview

The iFVTX detector consists of 4 stations in a cage mounted in the FVTX space frame in front of the north muon spectrometer. Figure 25 shows a three dimensional model of the two detectors, the geometrical parameters are shown in Table 1. The VTX detector and the iFVTX share an environmental enclosure.  The environmental enclosure is needed because the barrel strip detectors must be operated below room temperature.  The enclosure radius is 25 cm except close to the absorbers (the nose-cone surface) where the enclosure extends out to at least 45 cm.  The larger radius ends are used for the barrel pixel layer transition electronics and all of the barrel bus cables, power and cooling lines plus all of the utilities and cables for the forward vertex system. An ongoing integration study of these utilities and cable routing is being pursued for the VTX barrel upgrade. The design of the enclosure and mechanical structure will include the needs of both the barrel and the FVTX forward upgrades.

The four iFVTX stations are compatible with the FVTX supports and are mounted at the same z-positions along beam line. Each station consist of two identical planes mounted vertically offset to each other to allow for complete tracking coverage. Each plane has ten 8chip hybrids mounted on a cooled thermal pyrolytic graphite (TPG) support plane. The TPG is supported via a printed circuit board made from FR4. The technology for the pixel sensors is n-on-n detectors, originally developed for the ATLAS experiment at the LHC. Eight FPIX2.1 readout chips are bump bonded on sensor. The readout chips are wired bonded to a high density interconnect (HDI) produced by Dyconex. The total number of readout pixels in the iFVTX is ~ 1,500,000, the total chip count is 528.

Figure 25 - 3-D model of the full vertex detector showing the barrel portion and the iFVTX on the right.

Table 1 - Summary of the parameters of the iFVTX stations.

| iFVTX | Station | Z1 | Z2 | Z3 | Z4 |
| --- | --- | --- | --- | --- | --- |
| Geometrical | z (mm) | 197.7 | 254.7 | 309.7 | 364.2 |
| Dimensions | R (mm) inner | 3.5 | 3.5 | 3.5 | 3.5 |
|  | R (mm) outer | 10.6 | 17.0 | 17.0 | 17.0 |
| Unit Counts | # of planes | 2 | 2 | 2 | 2 |
|  | hybrids/station | 2*3 | 2*10 | 2*10 | 2*10 |
|  | readout chips | 2*24 | 2*80 | 2*80 | 2*80 |
|  | Readout Channels 135k | 450k | 450k | 450k |

In Figure 26 a side view of the detector is show with an indication of the z position of the 4 stations; all measurements are with respect to the nominal interaction point. The brownish structures are the 3M connectors for the readout system.

Figure 26 Side view of the iFVTX detector system, all measurements are in mm.

Figure 27 Block diagram of the readout system required for the iFVTX (prototype and therefore very similar to the FVTX).  The read out cards and the front end module are boards which will reside between the FPIX readout chip and the DCM and are currently under development.

The data from the readout chips will go through two successive boards at large radius on the ‘big wheel’ before going into the PHENIX DCMs, as indicated in Figure 27. The first board, the ROC, will reside inside the enclosure and will perform the functions of:  stripping the sync words out of the data, collecting the data of several FPIX chips together, serializing it and sending it out on optical fiber to the FEM.  Additionally, the ROC will provide calibration pulses for the FPIX chips and route download and read back lines to and from the chips

The second board, the FEM will reside inside the counting house and will receive data from the ROC(s), buffer it until a Lvl-1 accept is received, retrieve the data of interest for the Lvl-1 accepts and package the data for the DCMs.  It will also perform the function of an overall slow-controls manager: passing data to and receiving data from the ROCs/FPIXs and the PHENIX DAQ system

## Detector Description

In the following we discuss the readout chip, the sensor, the module, the detector plane and the full station.

Figure 28: FPIX2.1 block diagram; arrows represent control and data flow.

### The Readout Chip FPX 2.1

The iFVTX uses the FNAL developed chip FPIX 2.1, the result of an R&D project for the now defunct BTeV experiment. It was designed to readout ATLAS developed modified p-spray n-on-n silicon pixels with a cell dimension of 50 micron by 400 micron (600 micron on the chip edge).

The FPIX features a ‘data push’ architecture. It incorporates simultaneous read/write in a dead time free configuration. The FPIX output provides a 7 bit address, a 6 bit time stamp, and 3 bits of ADC for each hit. The chip will also output sync words comprised of 19 zeros followed by a one, which are used by the downstream acquisition to synchronize word boundaries. The functionality of the chip is separated into four distinct phases; analog process the hit, zero suppress, serialize1 and serialize2. The four-phase architecture assures that up to four hits from a single event can be processed and delivered within four beam crossing periods.

FPIX2.1 consists of four logical sections: the core, the programming interface, the programmable registers and digital to analog converters, and the data output interface.  A block diagram of the chip is shown in Figure 28.

The core consists of the pixel unit cells, each of which contains an amplifier and a flash ADC, end-of-column logic associated with each column of pixels, and core logic, which controls the flow of data from the core to the data output interface.  The programming interface accepts commands and data from a serial input bus, and, in response to commands, provides data on a serial output bus.

The programmable registers are used to hold input values for the DAC’s that provide currents and voltages required by the core, such as the discrimination threshold and the threshold levels for each of the FADC bits.   The data output interface accepts data from the core, serializes the data, and transmits it off chip using a point-to-point protocol.  All I/O (except the test signal inject and the analog output signal from pixel 0,0) is differential and uses Low Voltage Differential Signaling (LVDS). The drivers are designed to drive 10 m of twisted pair cable.

#### FPIX Core

The FPIX Core consists of an array of 22 columns of 128 rows of pixel unit cells.  Each column has associated end-of-column logic. The flow of data out of the core is controlled by core logic.  The BCO (beam crossing) clock is used to synchronize changes of state in the end-of-column logic and to provide a time stamp for pixel hits.  The read out of data is controlled by a separate clock. These two clock domains are logically separate; there is no requirement on the relative phase or frequency of the BCO clock and the readout clock.

#### Pixel Unit Cell

Figure 29 shows the pixel unit cell with the analog part of the pixel to the left and the digital part to the right.

Figure 29: Pixel unit cell, the analog section is to the left, the digital section to the right.

##### Analog Section

The FPIX2.1 amplifier is a two-stage amplifier.  The first stage provides most of the amplification, and the pulse shaping.  Charge is integrated on a 7.5 fF capacitor.  For small signals, the transistor in feedback acts like a large resistor, with resistance controlled by Vfb.  When the voltage from source to drain of the feedback transistor gets large enough (either due to leakage current or in response to a large signal), the transistor goes into saturation and becomes a constant current source, whose value depends on Iff and the ratio of W/L (channel width W to the channel length L) of the two FET’s.  This provides both a sink for sensor leakage current and a “continuous time reset” for large signals.  The output of the preamplifier is buffered by an approximately unity gain stage, and is AC coupled to the second amplifier stage. With nominal settings, the rise time (to 90%) of typical signals is about 40 ns.

The second stage of the amplifier is intended as a gain stage only, with a gain of four, determined by the ratio of the feedback capacitor to the coupling capacitor. The threshold of each of the eight comparators is determined by the voltage difference between Vref and Vth0 – Vth7.  A hit is registered whenever the output of the second stage (a negative-going signal) goes below Vth0.  The seven other comparators, together with an encoder, form a three bit flash ADC.

#### Programming Interface

The programming interface provides a means for the user to control the operation of FPIX2, and to load and read back the contents of any of the programmable registers.  Serial commands are input to the programming interface using the “shift control” and “shift in” lines.  The programming interface will respond to all broadcast (wild chip address = 10101) commands, and to all commands in which the chip address matches the contents of the “chip address register”.

#### Kill and Inject Registers

Kill and Inject are serpentine registers running up and down the pixel columns.  Each register has one bit in each pixel unit cell (22 x 128 = 2816 bits in each register).  Kill=1 opens a switch at the output of the pixel discriminator, effectively killing the pixel.  Inject=1 closes a switch connecting the Test Signal Inject line to the charge injection capacitor associated with a pixel.

#### Data Output Interface

There are four functional blocks in the data output interface: the clock control logic, the next word block, the word serializer, and the steering logic.  The relationship between these blocks are shown in Figure 30 .

Figure 30: Data Output Interface block diagram.

The (nominally 140 MHz) Serial Clock is used for data read out and transmission. The clock control logic block uses the serial clock to derive the two clocks used internally to control read out (RCLK and SCLK), as well as the output Data Latch Clock (DLCLK), which is output along with the serialized data.

.

The word serializer block serializes the data for output.  On the falling edge of RCLK, the word held in the flip flops at the output of the next word block is latched into the serializer flip flops.   This data is output serially to the steering logic in 1, 2, 4, or 6 parallel paths depending on the status of the “active lines” register (Alines), which controls the data output configuration.

#### Resets

The FPIX2 has one hardware reset (“fire fighter reset”) and two software resets (“smart core reset” and “smart programming reset”).  It is expected that all chips on a sensor module will share the hardware reset lines, so that all chips will be reset at once.   The software reset commands may be broadcast to all chips on a module, or sent to one chip only. If an FPIX2 loses BCO synchronization, then a ‘smart core reset’ will recover synchronization without requiring the DOI or programmable registers to be reset.

#### Thresholds

The readout chip can have the threshold set in a collective mode were all chips in the module are set to the same threshold our in an individual mode were each chip can have a different threshold set. The minimal collective threshold achieved is 2000 electrons while the minimal individual threshold achieved is 1700 electrons.

#### Power Consumption

Figure 31 show the power budget for the FPIX 2.1 and the areas of heat load on the chip surface. The power per chip is about 500 mW, i.e. about 12 micro Watt per pixel on average.

Figure 31  Picture of the FPIX 2.1 chip with an overlay of the areas of power production.

### The Silicon Sensor

The silicon detector used in the iFVTX is the BTeV silicon pixel sensor that is based on rectangular 50µm x 400µm pixel elements, and it is connected via bump bonds to the read out FPIX chip, developed at Fermilab. The pixel is n+-diffusion on an n-type substrate having p+-diffusion on the other side. This structure allows pixel operation under partial depletion after substrate type inversion, thus increasing the detector’s lifetime. However, a special isolation technique between pixels must be used in order to avoid electrical shorting of n+/n pixels due to the electron accumulation layer induced by the oxide charge. ATLAS developed the moderated p-spray isolation technique,   which improves the high voltage stability of the device. Here the nitride layer is opened only in the middle of the gap between two pixel implants, leading to a step in effective p-spray dose along the gap since the nitride layer shadows the region beneath during the p-spray implantation.

The sensors are made on 4 inch diameter, 250µm thickness, <111> orientation, n-type, double side polished, 1-2.5KΩcm resistivity silicon wafers. They were produced by the company CIS Mikrosensorik in Germany.

All tiles contain uniform arrays of rectangular 50µm x 400µm pixel elements. Considering the readout chip dimensions, each group of pixels that is read out by one FPIX chip has the ‘first’ and ‘last’ columns with longer pixels (600µm instead of 400µm length) as can be seen in Figure 32. The bump pad, normally at one end of the pixel, is 12.5 µm in diameter.

Figure 32 Pixel layout at the edge of the detector with  600µm instead of 400µm length long pixels.

The pixel cells have an n+ diffusion width of 30µm, with a distance between diffusions of 20µm. Half of this distance is p-implanted in addition, for better pixel isolation purposes, using a 10µm opening in the nitride mask. This is the so-called moderated implant feature of the design. Since this p implantation has a gap of 5µm to the n+ pixel, the breakdown voltage of pixel’s junction is not decreased too much by the p-type implantation. Each pixel has four n+-metal contacts and the metal covers basically the full pixel’s diffusion area, up to a distance of 2µm from its edge. An 83µm bias ring surrounds all pixels inside a tile, with pad openings for external bias. On the outside of the bias ring a large n+ guard ring is extended to the tile’s scribe line. Both bias and guard rings have pad openings for external bias and bump pads for eventual bias through the readout chip. In the 15µm isolation gap between these rings there is also a 5µm wide opening in the nitride layer for moderated p-spray implantation.

The p-side or junction-side of the sensor consists of one large p+-diffusion aligned with the full matrix of pixels from the other side. A p+-metal contact ring at the periphery is used and the metal is covering all the p+-diffusion area. Laser shining holes aligned with pixels are provided for testing purposes. For high voltage and module assembly reasons, each tile has one large-opening square pad for external bias, located in the center of the first corresponding readout chip. This HV pad has an area of 3 x 3mm2 and will be electrically connected with HDI cable using a wire bond.

In order to increase the breakdown voltage of the sensor and also to minimize the danger of sparks from the edge of p-side to the pixel side, a structure containing 16 guard rings surrounds the p+-junction. The width of all rings is 10µm. For the first 11 guard rings, the gap increases from 10.5µm to 15µm in increments of 0.5µm. The last 5 guard rings have gaps from 41.5µm to 49.5µm in steps of 2µm. The metal line on top of all these rings is wider than the diffusion width and extends more toward the inside of the structure. The full guard ring structure can thus be modeled as a chain of PMOS transistors with the metal gate shorted to source with no overlap over the drain. The breakdown voltage of the bias p+ junction is thus the sum of the drain-source punch through breakdown voltage of each PMOS transistor in the chain.

Figure 33 Photograph of the CIS produced sensors after their arrival at LANL.

Figure 34 Close-up of the wafer, the eight chip sensors are the 6 long structures in the center. The wafer holds in addition 2 four and 4 one chip sensors plus several test structures.

### The High Density Interconnect

The pixel hybrid module shown as a cross section in Figure 35  is composed of three layers (the forth shown is the cooling substrate TPG), the high density interconnects (HDI) flex circuit forms the bottom layer of the module and provides support for the back of the readout IC that is in thermal contact with the ground plane on the top layer of the HDI by means of an 2μm thick silicon based tape, while the other side of the readout IC is flip-chip bonded to the silicon pixel sensor  through spherical solder bumps (PbSn) 12.5 μm diameter. The clock, control, and power pad interfaces of FPIX2.1 readout chip extend beyond the edge of the sensor and are wire bonded to the HDI. The HDI then extends to one end of the module where a set of wire bond pads interfaces to the HDI for the data acquisition system and in the other end a set of pads interfaces with power and high voltage lines through wire bonds.

Figure 35 Cross section of the detector stack up, the flip chip assembled readout is glued to the HDI which is glued on the TPG carrier. While the sensor-readout chip connection is achieved via bump bonds, the chip itself is connected to the HDI via wire bonds.

The large density of signals in this design imposes space constraints and requires aggressive design rules, such as 50μm trace width and pads of 150μm. This module uses a “sandwich” structure HDI with four layers were the two inner layers are signal layers and the external layers are power and ground layers. The data, control and clock signals as well as trigger out signal use the two inner layers, these signal layers are differential and the HDI lines are built with controlled impedance to match 100Ω. The power uses the bottom layer, while a single ground uses the top layer. The power plane is split in two, one analog and one digital. The HDI also carries decoupling capacitors for both analog and digital power and they are sitting in both sides of the HDI, close to the sensor. The trace lengths and vias that connect the capacitors to the chips are minimized to reduce the interconnection inductance. All the traces are copper.

In order to minimize coupling between digital and analog elements signals are grouped together into two different regions. The digital and analog traces are laid out on top of the digital and analog power supply traces, respectively. Furthermore, a ground trace runs between the analog set and the digital set of traces. The high voltage trace has a clearance of 1mm from any other trace and it is connected to a round pad on the top layer of the HDI , which is then wire bonded to the sensor. A high voltage capacitor and a resistor were placed on the PCB plan in order to filter the high voltage line and limit the maximum current.

The pixel module posses testing taps on both ends of the HDI, it is very useful during the certification phase of the module on the later mentioned port card and is only used for the tests of the module, it will be disposed after the testing is done by simply cutting it off before placing the module on the plane.

The HDI is glued to a piece of thermal pyrolytic graphite (TPG) to transport the heat to the cooling lines, see Figure 35.

### The Module and Assembly

The module contains an array of 22528 pixels with a density of around 3000 pixels/cm2, covering an area of approximate 5.6 cm2 and a volume of 0.14 cm3 as the thickness of the sensor is 250 μm. The eight-chip module is an array of 1024 rows and 176 columns and each individual readout chip instruments 128 rows and 22 columns. The pixel size is 400L × 50W × 250T μm3 for the 20 internal columns and 600L × 50W × 250T μm3 for the columns on the edge.

### Detector Plane

Figure 36 CAD drawing of pixel plane with 10 modules. The three mounting flexures and the two stiffer bars are visible.

The detector plan is constructed from a multi layered printed circuit board that carries the connectors for LV, bias, inject and signals plus two LVDS clock repeaters. In the center cutout the TPG is located that carries the 10 modules. Figure 36 shows the CAD drawing of the plane, the first prototype of the pixel plane is shown in Figure 38.

Figure 37 Picture of the prototype printed circuit board for a plane, the dark area is the TPG insert for the cooling of the modules.

Figure 38 Photograph of the prototype plane with various test modules. The extra board mounted in the lower picture was a clock distribution test board, for the production layout these chips are mounted directly on the plane.

### The Cooling Concept and Design

The proposed cooling uses the same coolant as the VTX/FVTX at room temperature. With 1 cooling line per plane made from PEEK tubing, see Figure 39, there is a total of 8 cooling loops total, they will be attached via silicon tubing to a manifold, designed my HYTEC, that is located in the support cage. With a heat load of 4 Watt per module the total heat load will be about 300 W, small compared with the VTX requirements.

Figure 39 CAD drawing of a station build by mounting two planes face to face. The two planes are offset by the width of one module. The cooling loop on the TPG is visible. The loop itself is made from PEEK tubing, precision molded to have one flat surface which is glued to the TPG.

Figure 40 Drawing of the offset of the two planes, the station is optimized for an average crossing angle of 22 degrees, matching the muon arms.

### Cable Assembly

Each plane has a signal, power, Bias and inject connector. The signal cables are made from twisted ribbon cable and connected via 50 pin 3M connectors. They are held via strain relieves that can be seen in Figure 41 in yellow. Hirose connectors for power, bias and injection signals are used. The cables for power are bundled 18 gauge wires, the inject lines will be shielded flat ribbon and we will use a shielded single wire cable per plane to carry the bias voltage. It will be filtered and fanned out on a small board that connects to the Hirose connector.

### Station Layout and Cage Mount

Figure 41 CAD drawing of the four stations mounted in the cage developed for the FVTX. The cooling lines, the cables and the strain relieve is show.

## Readout Electronics Description

The design of the readout electronics for the iFVTX detector is based on three major constraints, imposed by the detector:

- Large instantaneous bandwidth 2(out lines)*150(MHz)*576(chips) =  172 Gb/s

- Radiation hardness of readout components near the interaction point

- Large amount of I/O lines 2.5*576(chips) ( 1,440 LVDS pairs

As a result, the readout electronics are logically divided into two independent blocks 
(see Figure 42 ):

- Read Out Card (ROC) – module which is located close to the detector and:

  - Receives LVDS data over a twisted pair cable

  - Combines and synchronizes data stream from several FPIX chips

  - Sends the data to the counting house (CH) over optical fiber

- Front End Module (FEM) – module, which is located in the counting house and:

  - Receives data from ROC over a fiber link

  - Sorts the incoming data according to the Beam Clock Counter(BCO)

  - Buffers the data from the last 64 Beam Clocks

  - Upon LVL1 trigger decision, ships the data from the Beam Clock of interest to the output buffer which ships data to the PHENIX Data Collection Modules

The output of the FEM connects to the standard PHENIX DAQ board – Data Collection Module (DCM II) and from this point on the data stream becomes a part of the standard PHENIX DAQ.

Figure 42 iFVTX Detector Readout Diagram

Figure 43 ROC Block Diagram

### ROC Design Specifications

The ROC board design utilizes radiation hard FLASH-based ACTEL FPGAs in order to be not susceptible to single-event-upsets. The proposed ROC board diagram is shown in Figure 43. The board contains 4 medium scale ACTEL A3PE1500-FG676 FPGAs, 17 16-bit Serializer/Deserializer chips (TLK2711) and two 12 optical fiber transmitters (HFBR-772BEZ) to send the data to 2 FEM boards. Each FPGA holds two completely independent “ROC channels” which send out 32 bit data at the Serial Clock frequency (135 MHz). The outgoing data is logically split into two hi/lo 16-bit data portions which are each sent to separate Ser/Des chips and one single fiber channel. A separate small scale ACTEL FPGA is dedicated to distribute Slow Control signals to appropriate chips. Slow Control data are being sent by the FEM to the ROC over a single fiber interface.

Figure 44 The FEM design

### FEM Design Specifications

The FEM board is going to be located in the Counting House and thus has no radiation tolerance requirements. As the design of the FEM requires a lot of memory management, we propose to use the VSX series Xilinx Virtex-4 FPGAs for the main FEM logic. Optimization of cost/FPGA suggested us to use one of the largest possible FPGA devises (XC4VSX55) and combine 4 FEM channels onto a single FPGA. An alternative solution of using 4 smaller FPGA devices (XC4VSX35) on a board increases the overall cost of a FEM board by 50%.

One FEM board receives 8 optical fibers (½ of a ROC board). The incoming 16-bit data nibbles from the ROC are aligned and combined into 32-bit data words (“comma” bits are planned to be used in transmission). Data are buffered for 64 Beam Clocks in one of 4 FEM channels.

A separate small-scale FPGA (Spartan3 XC3S200) processes incoming timing signals and slow control commands. Timing in PHENIX is distributed through a specially designed Granular Timing Module (GTM). The GTM signals include a 9.4 MHz Beam Clock, a Level-1 Trigger and Control Mode Bits. These signals are copied to the main FEM FPGA and also sent to the ROC board.

The Slow Control FPGA also controls download of initial register values into each FPIX chip that a given FEM controls. Initial values for registers are stored in a 1Mb EEPROM on the FEM board. The content of the EPROM is transferred to the FPIX chips, as is, upon request and individual values are modified via the slow control interface.

Upon receiving of a Level-1 trigger, the FEM channels start sending the data from a particular “clock bucket” to the output sub-event buffer. This process should be as fast as possible so the data from beam crossing X+64 do not arrive until the bucket for clock X has been emptied. The current speed for the read is set to 300 MHz. The resulting sub-events are combined and packetized in the “Channel Combiner” into 16-bit wide packets. Packets carry fixed data (Event Counter, BCO Counter and Longitudinal Parity) in header and trailer words.

A single FEM channel design has been successfully implemented on an ML402 VSX35 evaluation board and has been proven to work at our specified input and output data rates. The design of a full 4 channel FEM module is coded and ready to be implemented (except for Channel Combiner block).

Figure 45 Scope capture of data synchronization for the ROC prototype

### ROC and FEM Prototype Performance

The design of the FEM and ROC channels was tested using a single FPIX2.1 and an 8-chip FPIX2.1 hybrid module.

Tests of the proposed designs included testing signal propagation throughout the design using “fake” data and real data generated through injection of the test pulse into a particular FPIX pixel, cosmic data. All the components have been optimized and tested to perform at proposed design speed levels. The ultimate test for the ROC and FEM design was a full calibration scan of a particular detector at full speed, which was performed successfully.

The ROC channel data combiner block was tested by implementing a 24-chip combiner (8 input channels were connected) on an ACTEL ProASIC3 Starter Kit board (with A3PE600 FPGA). The serial data word from an FPIX chip consists of 24 bits and we used single line readout for testing. Figure 45 shows the serial output (yellow) from the one of 8 chips, Sync Word detection flag (blue) and “ring counter to 24” threshold  output (green). One can clearly see the Data Word in the data stream and it is identified with 100% efficiency.

Figure 46 Combining data from 8 chips in ROC prototype

Figure 46 shows the data combining from different chips. One can clearly see a packet of 7 hits is being written into an output FIFO at full speed (green). Each chip is sampled only once per 24 clocks and we combine the data correctly (one chip out of 8 had a broken LVDS line and could not be read-out). The yellow line shows those data being read out from the Output FIFO by the NI DAQ card at 20 MHz to the PC memory. The read and write clock are running at 135 MHz, which is close to the limit for FPIX chip. We need to wait for the FPHX chip to test the readout chip operation and data writing at 200 MHz, but for reading, we’ve reached the design goal.

The FEM channel was prototyped on an  ML402 Veirtex-4 evaluation board and only a single FPIX chip was used for testing. The prototype included imbedded deserializer and slow control parts, which will not be present in the final FEM core. In order to run the design, a “fake” trigger signal was created from the “fast OR” of all the pixels analog signals (so called GOT_HIT signal). The GOT_HIT was delayed by a specified number of clocks to simulate PHENIX Level-1 decision latency. The data was requested for read from a calculated Beam Clock bucket. One can see on Figure 47 that we read the data out of the array to the output buffer only if the readout delay is correctly adjusted. Whenever, we are off, the data does not show on the output. One can also see that data does not stay in the bucket forever, but has a 64 Beam Clock expiration time (otherwise we would observe random hits, written way back in time, while reading from an incorrect bucket). The FEM design functioned reliably at up to 150 MHz for writing and 300 MHz for reading.

Figure 47 FEM prototype testing results: Reading back from the correct beam clock bucket (top) and from an incorrect bucket (bottom)

Figure 48 shows the results of full calibration scan of 8 FPIX chip module performed with the ROC prototype. During the scan, fully controlled from slow control FPGA, one pixel is being enabled on the chip and then we send 100 pulses of fixed amplitude, gradually increasing the amplitude in 64 steps. Once the pixel is tested, the next one turns on, etc. As a result, we count the number of recorded hits, with the given amplitude. One can clearly see the threshold behavior of hit detection probability. The results clearly indicate that 100% of the signal propagates through the design and the signal is being transmitted without errors.

Figure 48 Threshold scan for an 8-chiop FPIX module using the ROC channel prototype. Threshold and noise distribution of each pixel (top) and fit to the turn-on curve for on of the pixels (bottom) are shown.

## Radiation Environment and Component Selection

The evaluation of the FPGA technology available for use on the FVTX Read-out Controller (ROC) primarily considers the effects of the radiation on the performance of the overall system.  Additional considerations included I/O configurations, serial communication capabilities and reconfiguration of the device within the system.  The choice of technology is primarily the choice of configuration memory technology as logic implementation and density do not really impact our application.

In consideration of all factors the Actel ProASIC 3 Flash based FPGA provides the best solution to the FVTX ROC FPGA requirements because it is immune to radiation problems, it provides the I/O capabilities required, it allows reprogrammability.

# Mechanical Structure and Cooling

The mechanical structures and cooling are part of the integrated design of the barrel and FTVX endcaps. The iFVTX uses one half cage designed for the FVTX. The majority of the support structure has been designed as part of the barrel effort.  Kinetic flexture mounts are use to precisely place the detector stations in the half cage assembly.

A conceptual design of the silicon vertex detector was commissioned by the LANL group

to HYTEC, Inc. HYTEC provided the mechanical designs for the ATLAS silicon pixel group and has 15 years of design experience with silicon vertex detectors. For PHENIX they have also designed the station-1 muon detectors and the station-2 spider and they also did the finite element analysis for the station-3 octants. The VTX/FVTX mechanical conceptual design was completed and a report written.

http://p25ext.lanl.gov/~hubert/phenix/silicon/HTN-111003-0001.pdf

In September 2005, the original concept was reanalyzed to incorporate changes that have occurred over the intervening 2-½ years, a report was issued in October 2005.

http://pvd.chm.bnl.gov/twiki/pub/VTX/HYTEC/HTN-111004-0001.pdf

## Structural Support

The selection of materials for the support structure is based upon the above criteria where the most important material properties are low radiation length, low density, high stiffness, and availability. Out of three candidates (i) beryllium, (ii) graphite fiber reinforced plastic (GFRP), and (iii) Carbon-Carbon, GFRP was chosen for the study because of its wide availability. It works well in sandwich composites, and has good radiation length and strength properties.

Structural Analysis

The structural analysis includes two studies, a first study using finite element analysis models and the resulting modal frequencies to look at dynamic stiffness of tracker concepts and a second study to look at the static stiffness with mass loaded structures. The lower modal frequency limit is set at 70 Hz on a fully loaded structure so that the natural frequencies due to environmental conditions such as pumps, traffic, etc. do not couple into the structure and cause instabilities greater than 25 microns.

## iFVTX Stations

The forward regions consist of 4 stations constructed of 8-chip of modules oriented normal to the beam pipe. Conceptually, we have chosen a PCB ‘picture frame’ structure that holds the TPG structure for mounting and cooling of the modules.

Figure 49  CAD drawing of a station, the cooling tube on the FPG is clearly visible; the actual modules are on the inside of the station because the two planes, composing the station, face each other.

The CAD drawing of a station depicting its cooling lines is shown in Figure 49. The FPIX chip has a heat load of about 0.5 Watt per hybrid so the total for each plane is 40 W. In comparison to the barrel this is a very small heat load and greatly simplifies the removal of heat.  The support/cooling panel structure consists of TGP with cooling tubes mounted on 3 of the outer edges.  Heat generated by the hybrids is conducted through the graphite to the outer edges cooling tubes. The difference in CTE between the station panels and the support cage is absorbed by mounting each station on three flexures. The flexures are arranged so that the center of expansion (zero motion point) is the center of the detector plane. The flexures are machined as one piece from G10 stock.

## FEA Calculations for modules

In order to understand the thermal behavior a series of FEA calculations was completed. We addressed the thermal gradients, the stress on bump bonds due to flexing and the worst case scenario of thermal stress induced under power failure and the z-displacement. The module dimensions are as shown in Figure 50.

Figure 50 Module dimensions in the FEA analysis.

Figure 51 shows the temperature gradients for nominal running at a cooling temperature of 7 degrees C. This temperature was chosen to minimize the flex of the module due to ct mismatch by stetting the operating point of the system such, that the HDI is at assembly temperature. It results in a maximum temperature of the module, in the center, of 29 degrees C. These results in a maximal stress for the bump bonds of 0.9 Mpa, which is about 2 percent of the maximum tensile stress, see Figure 52.

Figure 51 Results of the thermal FEA. With a coolant temperature of  7 C the gradient between TPG and Sensor is about 8.3 C.

Figure 52 FEA stress plot for the bump bond layer at nominal operating temperature. The maximum stress is ~ 2 % if the tensile yield.

The case of the highest stress on bump bond is occurring in the scenario in which there is a power outage, i.e. no head load of the chips, but continuing cooling. The FEA calculations show that in this situation there is a stress of about 8.2 Mpa maximum at the bump bonds closest to the chip edge, still only about 20 percent of the maximum tensile stress and therefore save.

Figure 53 FEA stress results for the case of a LV power outage while cooling is in operation. The maximum stress is ~ 19 % of the tensile yield.

The displacement (or bow) of a module under normal operating conditions is about 4 microns in z (beam) direction, see Figure 54.

Figure 54 FEA results for the deflection of module during normal operation. The maximum displacement in the Z direction is only ~ 4 microns.

## FEA Calculations of the support cage

A finite element model of the support cage was built to calculate the stiffness of the support cage with the iFVTX detector stations installed. The support cage was modeled using plate elements that simulate the stiffness and mass of the laminate. The detector stations were modeled as lumped masses. The mass of a detector station was estimated as 500g, and another 500g was added to each station to account for the portion of the cabling that would be supported by each station. The first station with cabling was assumed to be 600g. The flexures were modeled as spring elements using equivalent stiffness generated from Cosmosworks models of the individual flexures.

Figure 55 iFVTX distortion analysis, details see main text.

The static deflections of each station were calculated at the center point of the detector area for a 1 G gravity load, and were found to be relatively small as compared to the desired positional stability of 30 μm or better.

Figure 55 shows the deformations of the support cage due to gravity sag.  The first station has a deformation of 6.3 μm, the other three stations sag around 4 μm.

Figure 56  iFVTX modal analysis; the first modal frequency is at 156 Hz.

The natural frequency of the detector was calculated, assuming the stations behaved as rigid bodies. The first mode is a drum shaped mode with most of the strain energy in station 1 as shown in Figure 56. The frequency for this mode is 156 Hz. Based on vibration measurements taken from the PHENIX experiment (see Vibration Test Report HTN-111008-0002) this should be stiff enough to prevent any significant deformations due to the vibration environment.

## Analysis of the Full VTX/FVTX Structure

Finite element analysis of the combined VTX and iFTVX has not been performed. However, the iFVTX has been designed to obey the space restrictions imposed on the FVTX and it has less masse. The following VTX/FVTX analysis should be valid for the VTX/iFTVX.

Since the VTX design effort has been proceeding and construction is now beginning, it was important for the FVTX to keep pace with its design so that we could insure that the two projects could coexist in the same enclosure without interference.  A complete mechanical study has been completed.  The results of the FEA of the complete structure demonstrate that the FVTX introduces no change in the VTX first mode and does not change the VTX deformation.  The FEM model is shown in Figure 57

Figure 57 FEA model of the combined VTX and FVTX.  The first modal frequency is 38.5 Hz

A full system level analysis has also been finished for the combined system.  The model is shown in Figure 58.

Figure 58 Full system FEA; the first frequency mode is 24 Hz.

## iFTVX Analysis Summary

The conceptual design studies revealed the following:

- Single phase cooling is well suited to the iFVTX.

- One cooling tube is used per plane; the planes are operated in parallel.

- 3mm PEEK cooling tubes and panel thickness are adequate.

- The iFVTX and VTX coexist in the enclosure without interference.

## Assembly and Integration

### Assembly

We can categorize the assembly into a several distinct categories: flip chip assembly, module & wire bonding, plane & wire bonding, station, cage, electronics.

#### Flip Chip Assembly

After the QA for the readout chips and the silicon sensors is completed, they are flip chip assembled by the vendor VTT in Finland. Each sensor will carry 8 bump bonded read out chips FPX2.1. The yield achieved in the pre-production run and the production so far is close to 100 percent. In the following this assembly will be call hybrid.

#### Module Production and Wire Bonding

Figure 59 show the assembly jig for the module production. In order to produce a detector module the 8-chip hybrid needs to be glued to the HDI after the passive components have been mounted. The assembly jig is designed to use a vacuum to hold the HDI in place while the hybrid is placed. The alignment is done with an optical alignment system utilizing marks on both the HDI and the silicon sensor. We achieve a precision of about 4 microns. The next step is placing the module on a port card which is used as carrier and test bed. The ends of the HDI are glued to the port card. After that the port card is transferred to Silicon Detector Facility at FNAL, where the wire bonding is performed. Four wire bonding tasks have to be completed, the control lines of the readout chips have to be wire bonded to the HDI, the chip ids have to be set, the sensor bias has to be connected and then the HDI ends are wire bonded to connect to the port card. After that the port card is placed in a plastic box for further QA.

Figure 59 CAD drawing of the mounting jig for the module assembly. The HDI is held with a vacuum jig.

#### Plane Production and Wire Bonding

In order to produce a readout plane the printed circuit board (PCB) needs to be machined, to allow for the mounting of the TPG cooling plate and the cooling lines. After completion of the cooling system the passive and active components and connectors are mounted on the PCB. The modules are then transferred from their individual port cards by cutting the tabs near the ends of the HDIs and then using the assembly jig, depicted in Figure 60, is used to precisely mount the modules with the aid of an optical alignment system. After placing the modules the HDI end taps are wire bonded to the pixel plane traces. We are considering encapsulating the wire bonds between the HDI and the PCB in order to protect them. Current experience with testing transparent compounds is very promising.

Figure 60 Pixel plane with 10 modules on the mounting jig (in red)

#### Station Assembly

Two planes will then be assembled into a station by mounting the stiffener bars and using precision pins to bring the two TPG planes into a known position better that 25 micron accuracy. Finally the flexures are attached to allow for mounting into the cage. After that the station assembly will be optically surveyed to accurately locate the sensors to ~10 micron.

#### Cage

The assembly of the stations into the cage is started at the largest z location.  The stations have three tabs at the outer boundary for attachment to the cage assembly.  The general procedure for the cage assembly will be to attach the stations in the order 4,3,2 and finally 1. As each station is mounted the cable are routed via the strain reliefs to the rear of the cage and fixed in their respective cable mounts. It has not been determined whether the cage and back plate will be assembled as a unit (preferred) and then inserted into the VTX enclosure or if the cage is first inserted into the VTX enclosure and then the back plate is attached.

### Integration

Integration involves coordinating the mechanical and electronic activities within the iFVTX/FVTX project and across subsystem boundaries with the VTX, NCC, and the rest of PHENIX.  We have put in place integration engineers who are responsible for ensuring that the iFTVX/FVTX integrates seamlessly into the VTX and other subsystems.  The two integration engineers, Eric Mannel and Walt Sondheim, have identical responsibilities in the VTX and the FVTX projects.  In addition, Robert Pak is working with both projects as the responsible person for infrastructure and mechanics and provides the interface to the BNL engineering team and the external subsystems.

#### Mechanical Integration

The mechanical integration has been an ongoing task for the iFTVX/FVTX since FY2006.  Two concurrent contracts (iFTVX/FVTX) with HYTEC ensured that while the FVYX was designed, the iFTVX was conforming to the requirements set for the FVTX. The FVTX design has matured to the point where we have been able to do the thermal and finite element analysis of the entire VTX-FVTX system to ensure that the two projects coexist without interference.  The iFTVX  is housed in the FVTX support structure.

#### Electronic Integration

Electrical Integration:

The tight space constraints of the VTX enclosure and the close proximity of the electronics for the VTX detector requires that close attention be paid to the electrical integration of the detector.  To facilitate this, the project electrical engineer Eric Mannel will develop a set of plans, with the assistance of the subsystem managers from both the VTX and FVTX projects, along with members of the PHENIX experimental team responsible for overall electronics at PHENIX.  The integration can be broken into three separate sub-tasks; power and ground, systems control, and electrical design review.

Power and Ground:

The power for the iFVTX will be distributed via the ROC cards. The input to that card will be standard PHENIX LV supplies which allow the measurement of voltage and current and have a slow control infrastructure in place. Each module has a regulator for VDDD (2.5 V) and VDDA (2.3V) on the PCB plane, the current plan foresees routing power to each of those regulators separately to  allow for a sequenced power-on to ensure stable initialization of the detector. A total of 68 lines are required for VDDA and VDDD respectively. The connector count is rather modest; each ROC slice will have two sets of 8 Hirose 20 pin-connectors for the power distribution. One set outside the enclosure for input and one set inside for the actual distribution. The voltages required after IR losses are 2.8 V for VDDD and 2.6 V for VDDA.

The grounding plan for the VTX and iFVTX projects requires that the three sub detectors, VTX pixels, VTX stripixels, and iFVTX be electrically isolated from each other to minimize crosstalk and noise. Each of the three systems will provide the means for all grounds to be tied together at a single point, most likely at the power supplies. It is envisioned that the detectors will have several independent grounds within the detector - digital, analog, and shield - which will be specific to each of the detectors and requirements of the electronics chosen in the design.  During the design phase of the electrical components, each detector system needs to insure that their grounding plans are appropriate and provide the flexibility to connect or isolate grounds at different points to allow for studies of crosstalk and noise issues, if necessary.

Current discussion include how to efficiently ground carbon structures, prior solutions at FNAL indicate that one best incorporates a cupper layer in the carbon assembly which is the grounded.  The grounding scheme for the stations is illustrated in Figure 61. All supplies are floating. The figure shows that digital, analog and sensor grounds are separated throughout and only connected to the pixel plane ground at the front end of the system. The chassis ground will probably connected to the cage and the planes directly.

Figure 61 Grounding schematic for the iFVTX, all supplies are floating. The sensor, digital and analog ground are only connected together at the front end pixel planes. All power lines have PTC fuses.

Systems Control and PHENIX Integration:

Overall electrical integration into PHENIX requires the coordination of the VTX and iFVTX and FVTX design teams and various teams from PHENIX responsible for the overall operations of PHENIX.  The project electrical engineer will be responsible for coordinating with the electrical group responsible for power and ground within PHENIX, the DAQ group responsible for data readout of all PHENIX detectors, and the Online Computing Group (ONC) that oversees the slow control and monitoring systems.  The project engineer will work with each of these groups to ensure that when the FVTX detector is ready for installation, the detector can be quickly integrated into the PHENIX DAQ and Control systems.

## Q/A procedures

The iFVTX is a complex assembly of silicon sensors, electronics, mechanical support and thermal management components. The individual pieces that comprise the final complete assembly will be designed, tested and produced at different stages of the project. The Q/A plan will contain a detailed set of test procedures, along with specific pass/fail criteria, to guide the various stages of the project from prototype to Q/A test, from Q/A test to production, and from production to Q/A acceptance for assembly.

### Silicon Sensor Q/A

The acceptance criteria given to the vendor CIS for each sensor are included in the appendix.

All the acceptance criteria tests that the vendor performs have been repeated at UNM. The sensor depletion voltage and breakdown voltage has been measured on each individual sensor. The overall sensor leakage current/voltage characteristic has also been measured for each sensor.

### FPIX Readout Chip Q/A

The Q/A of the readout chips started with basic vendor test. After that we performed extensive automated probe station test before the dicing of the wafers. These tests included the measurement of the analog and digital current, writing and reading the control register and a inject scan of the chips. The results are stored in a data base and the vendor for the flip chip assembly was given ‘known good die’ tables to select the right chips for module assembly.

### High Density Interconnect (HDI)

The Dyconex produced HDIs are tested by the vendor with a flying probe test. This has been a sufficient Q/A to ensure their quality prior to assembling the modules. The conclusive HDI test is done by testing the hybrid on the port card.

### TPG Support/Heat Spreader

The production of the 8 TPG boards will be done at FNAL and will include a measure of their planarity.

# Infrastructure Requirements from PHENIX

Figure 62 CAD drawing of the four stations mounted in the cage developed for the FVTX. The cooling lines, the cables and the strain relieve is show.

### Detector layout in cage

We repeat here Figure 41, now labeled Figure 62, to summarize the layout. The iFVTX is using a half cage identical to the FVTX half cage and the four stations are mounted on identical tabs. The mounting of the half cage to the VTX cage and the support structure is identical to the FVTX scheme.

### Cable plant inside enclosure (size, location)

.

Figure 61 shows the connection to and from the ROC cards (4 of them will be used) for the iFVTX.

There are 6 signal cables per plane with 50 0.025’’ twisted pair cables (tray rated), they connect the planes to the ROC card, they are depicted in blue in Figure 62. The cables are strain relieved via clamps, depicted in yellow. There is a bundle above and below the beam pipe respectively, each holding a total of 24 cables.

There are 8+8 cable bundles (VDDA and VDDD ~ 3V, 0.25 A) of tray rated 22 gauge cables (one pair per plane). Each bundle uses a Hirose connector with 20 pins to connect to the plane and ROC card respectively.

There are 8 tray rated HV cables with SMA connectors for the Bias (<125 V) that connect from the planes to the ROC cards.

There are 8 cables (one per plane) with 10 .025" twisted pair cables (tray rated), flat and shielded to the ROC cards (2 per card), Hirose connectors. The signal is generated on the ROC cards.

### Big wheel space, board configuration

There are 4 ROC cards (45 degree wide) on the big wheel. The FPGA section of these boards is identical to the FVTX, the connector section is modified for the bigger 3M connectors.

Big wheel connections to outside world (outside enclosure seal)

The connections from the big wheel to the racks on top of the magnet are discussed in the next section, all low voltage and hv connections for the planes are routed straight through the ROC card and therefore through the enclosure. The ROC cards require 8 LV supply lines each, see Figure 61. Each ROC card requires 2 lines of 5V 1 A max, one line 3.3 V 4 A max, and 5 lines for the FPGAs with 4 A max. The data will be sent from the ROC via two 12x fiber bundles of which 8 fibers will be used.

## Cable Plant from IR, i.e. the Big Wheel to Racks

### LV bundle size

There is a total of 160 low voltage lines for the planes plus 32 lines of LV for the four ROC cards.  They will be bundled in groups of 10 to match the LV supplies, there will be 20 bundles of tray rated 16 gauge wire (because of the greater length).

### HV bundle size

There will be on HV bundle of  8 shielded, tray rated HV cables going to the HV supplies.

### Fiber bundle size

There will be a total of eight 12x fiber bundles connecting the ROCs with the fiber patch panel on the magnet. Each fiber bundle has a diameter of approximately 3 mm. In addition there will be four 2x fibers and two 1x fibers for slow control I./O, beam clock and sync start.

### Cable tray needs

The above mentioned connections from the Big Wheel require the use of a cable tray from the Big Wheel up to the rack space on the magnet. The FVTX trays will suffice.

## PHENIX Hall Rack Requirements

### LV crate specification

### 2 PHENIX LV crates will be required with 9 modules each for the planes. These will deliver 3.2 V digital and 3.0 V analog for 68 channels. This requirement is iFVTX specific.

The 4 ROC cards will require 4 modules in an additional crate, this requirement is a subset of the FVTX requirement.

### HV crate specification

The IFTV will require for the bias only one bias module (negative 8 channel <125vV) in a rack that is designated for VTX/FVTX.

### Fiber patch panel specification

8 connectors for a 12x fiber patch panel will be required, this is a subset of the FVTX requirement of 24 connectors.

Four 2x fibers patch panels and two 1x panels are required for slow control I/O, beam clock and sync start.

### Other?

## Cooling System Requirements

### Wattage that must be removed from within the enclosure, number and size of cooling lines that must be provided to do this, specify volume/rate of coolant.

The iFVTX requires a cooling power of 300 W at 7 C plus 300 W for the ROC cards.

The cooling system for the three proposed upgrade detectors that will be in the PHENIX vertex region will be cooled off the same system. This system will have the capacity to cool the four layers of silicon detectors in the VTX barrel, two pixel layers followed by two strip-pixel layers – which need to operate at zero degrees Centigrade in order to prevent increase in leakage current. This system will also be sized to cool the two forward vertex detector systems (FVTX). Each of the forward vertex detectors has four double sided planes of silicon mini-strip detectors. In place of the FVTX, during the initial year of operation – the cooling system will provide coolant to the iFVTX detector. This detector will only occupy one half of one end region and have a heat load of 40.0 watts. It will be operated at room temperature or slightly below.

The coolant used, in this closed loop system, is 3M NOVEC 7000. It has similar heat transfer properties as C5F12, which has been used in several collider detector vertex systems.

## PHENIX Counting House Rack Requirements

### FEM crate specification

The iFVTX requires one 6U VME create for 8 FEM boards and one FEM interface board.

### Number of DCMs required

The iFVTX requires one DCM II board, assuming it has 8 DCM channels.

### Slow control interface requirements

The iFVTX requires one 100 Mb Ethernet node for slow control

## Technician Needs for Infrastructure and Installation

### Cable tray installation

These will be installed for the  FVTX, see needs there.

### Fibers run from CH to IR

These will be installed for the  FVTX, see needs there.

### Wiring up of rack (need to put in rack monitoring, power to each crate…)

These will be installed for the  FVTX, see needs there.

### Steve Boose for LV system (?)

These will be installed for the  FVTX, see needs there.

### Cooling system support (plumbing and integration to PHENIX monitoring, etc.)

This will be installed for the  VTX/FVTX, see needs there.

### Monitoring help from Frank T/ John H

This is under discussion.

## Detector installation

In discussion with W.Sondheim we anticipate 40 hours of tech time needed.

# Schedule, Responsibilities

## Schedule

The LDRD grant started in FY06 and ends in FY08 with the delivery of 4 detector stations, completely tested and internally surveyed by 9/30/08. The installation of the iFVTX is coupled to the VTX and not driven by the project, see below. The completed iFVTX will be stored at BNL until installation into the IR.

Since the iFVTX is the prototype for the  FVTX and  will be added to the existing barrel vertex detector, VTX, much of the needed infrastructure, cooling, enclosure, cable routing, installation procedures, etc. will already have been done and be in place.

The current installation schedule for the VTX pixel planes shows a milestone in Summer 09  for the infrastructure completion and installation in the IR , requiring 10 days. One week of a tech for installation and one week of survey. The iFVTX will add approximately 30 percent.

Institutional Responsibilities

Los Alamos National Laboratory

LANL coordinate work to design and procure the silicon sensors and readout chips, work with FNAL on the construction of the stations, development of the interface to PHENIX DAQ, and on the simulation effort with NMSU.   Los Alamos is currently leading the mechanical engineering and the integration effort for the barrel detector, and will continue those efforts for the FVTX and iFVTX.

Columbia University

Columbia is responsible for the overall electronic integration.

New Mexico State University

NMSU will work on comprehensive simulations for the iFVTX effort and participate in the QA of  hybrids and modules.

University of New Mexico

UNM has experience in testing, Q/A and has laboratory for characterization of sensors. They will assist with sensor and module QA and testing.

# Endnotes

REFERENCES

A. Adare et al. (PHENIX Collaboration), ”Energy Loss and Flow of Heavy Quarks in Au+Au Collisions at √sNN = 200 GeV”, nucl-ex/0611018 and submitted to Phys. Rev. Lett.

2 I. Vitev, Phys. Lett. B 562, 36 (2003).

3 M. Djordjevic, M. Gyulassy nucl-th/0305062.

4 M. Djordjevic, M. Gyulassy, Phys. Lett. B560, 37 (2003).

5 X-N Wang, M. Gyulassy, Phys. Rev. Lett. 68, 1480 (1992).

6 M. Gyulassy, P. Levai, I. Vitev, Phys. Rev. Lett. 85, 5535 (2000).

8 Yuri L. Dokshitzer, D.E. Kharzeev  Phys. Lett.B519:199-206,2001

B. H. Zhang, E. Wang, X-N. Wang, nucl-th/0309040

A. Adil, I. Vitev, hep-ph/0611109.

# Text boxes

Programming Interface

Clock

Control

Logic

0.15mm

3.2mm

2.3mm

0.8mm

DLCLK

Serial Data on 1,2,4, or 6 Output Pairs

Steering Logic

BCO Clock

DLCLK

SCLK

Sync/Status Word

SCLK

SCLK

Operation

Reset

Word Serializer Block

Alines

24-bit Word

Clock Control Logic

Next Word Block

Serial Clock

RCLK

Area 1 (8.8mm x 6.4mm): 300 mW

Area 2 (8.8mm x 0.8mm): 125 mW

Area 3 (2.5mm x 0.8mm):   35 mW

Area 4 (2.8mm x 0.4mm):   90 mW

Total = 550 mW = 220 mA @ 2.5 V

(actual is slightly under 200 mA)

Programmable Registers

RCLK to Core

23-bit Data from Core

Core Logic

End-of-Column logic (22 copies)

Pixel Unit Cells (22 columns of 128 rows each)

4

3

2

High Speed Output

Serial Clock

Total 2.6e4

Total  2.4e5

D-->(X

B-->(X

Need new figure for RCP  here …..

Bump Bonds

DAC’s

Nothing

Reading from FIFO array

42 BCO clocks delay

Trigger

Input/Output

Steering Logic

Word Serializer

Next

Word

Block

1.2mm

1

Wire bonds

Thermal Pyrolytic Graphite

High Density Interconnect

Silicon Sensor

Writing into FIFO array

FPIX2

0.7mm

GOT_HIT

Write and Read Clocks run at 135 MHz

Sync Word Flag

Write Enable to Output FIFO

Data Out of Output FIFO at 20 MHz

Writing block of data from 7 out of 8 chips

Reading block of 7 hits

24 CLK

Serial Output from FPIX

Sync Word Flag

Ring Counter to 24 Threshold

Sync Word

Data Word