SPECIAL SPECIFICATION

SECTION 08410

ALUMINUM ENTRANCES

Page

PART 1 - GENERAL

1.01	Related Documents ...............................................................................	2

1.02	References .........................................................................................	2

1.03	Summary ..........................................................................................	3

1.04	System Performance Requirements ............................................................	4

1.05	Submittals .........................................................................................	5

1.06	Quality Assurance ................................................................................	6

1.07	Delivery, Storage and Handling ................................................................	7

1.08	Project Conditions ...............................................................................	7

1.09	Warranty ..........................................................................................	8

PART 2 - PRODUCTS

2.01	Manufacturers ....................................................................................	8

2.02	Materials ..........................................................................................	9

2.03	Hardware .........................................................................................	10

2.04	Components ......................................................................................	11

2.05	Fabrication .......................................................................................	11

2.06	Finishes ...........................................................................................	12

PART 3 - EXECUTION

3.01	Examination ......................................................................................	13

3.02	Installation ........................................................................................	13

3.03	Adjusting .........................................................................................	14

3.04	Cleaning ..........................................................................................	14

3.05	Protection ........................................................................................	15

SPECIAL SPECIFICATION

SECTION 08410

ALUMINUM ENTRANCES

PART 1 - GENERAL

1.01	RELATED DOCUMENTS

A.	Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.02	REFERENCES

A.	Aluminum Association (AA)

C12C42Rx1

B.	American Architectural Manufacturers Association (AAMA)

605.2

701.2

1503

C.	American National Standards Institute (ANSI)

A156.4

A156.5

A156.16

D.	American Society of Testing and Materials (ASTM)

A36	Specification for Structural Steel

A 123	Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products

A 570	Specification for Steel, Sheet and Strip, Carbon, Hot-Rolled, Structural Quality

A 611	Specification for Steel, Sheet, Carbon, Cold-Rolled, Structural Quality

B 209	Specification for Aluminum and Aluminum-Alloy Sheet and Plate

B 211	Specification for Aluminum and Aluminum-Alloy Bar, Rod, and Wire

B 221	Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Shapes, and Tubes

D 2000	Classification System for Rubber Products in Automotive Applications

D 2287	Specification for Nonrigid Vinyl Chloride Polymer and Copolymer Molding and Extrusion Compounds

E 283	Test Method for Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen

E 330	Test Method for Structural Performance of Exterior Windows, Curtain Walls, and Doors By Uniform Static Air Pressure Difference

E 331	Test Method for Water Penetration of Exterior Windows, Curtain Walls, and Doors By Uniform Static Air Pressure Difference

E.	National Association of Architectural Metal Manufacturers (NAAMM)

F.	Underwriter Laboratory (UL)

305

1.03	SUMMARY

A.	This Section includes the following aluminum entrance work to be provided by the same manufacturer as the glazed aluminum curtain wall system:

1.	Exterior entrance doors that are incorporated into curtain wall system.

2.	Vestibule doors matching entrance doors that are incorporated into curtain wall system.

B.	Related Sections:  The following sections contain requirements that relate to this Section:

1.	Automatic door operators are included in Division 8 Section "Automatic Door Operators".

2.	Glazing requirements for aluminum entrances, including entrances specified to be factory glazed, are included in Division 8 Section "Glass and Glazing".

3.	Lock cylinders are included in Division 8 Section "Finish Hardware".

4.	Curtain wall is included in Division 8 Section "Glazed Aluminum Curtain Wall".

1.04	SYSTEM PERFORMANCE REQUIREMENTS

A.	General:  Provide aluminum entrance and storefront assemblies that comply with performance characteristics specified, as demonstrated by testing the manufacturer's corresponding stock assemblies according to test methods indicated.

B.	Thermal Movement:  Design the aluminum entrance and storefront framing systems to provide for expansion and contraction of the component materials.  Entrance doors shall function normally over the specified temperature range.

1.	The system shall be capable of withstanding a metal surface temperature range of 180 deg.F (100 deg.C) without buckling, failure of joint seals, undue stress on structural elements, damaging loads on fasteners, reduction of performance, stress on glass, or other detrimental effects.

C.	Design Requirements:  Provide aluminum entrance and storefront systems that comply with structural performance, air infiltration, and water penetration requirements indicated.

1.	Wind Loads:  Provide aluminum entrance and storefront assemblies capable of withstanding wind pressures of 20 psf inward and 20 psf outward acting normal to the plane of the wall.

D.	Structural Performance:  Conduct tests for structural performance in accordance with ASTM E 330.  At the conclusion of the tests there shall be no glass breakage or permanent damage to fasteners, anchors, hardware or actuating mechanism.  Framing members shall have no permanent deformation in excess of 0.2 percent of their clear span.

1.	Deflection Normal to the Plane of the Wall:  Test pressure required to measure deflection of framing members normal to the plane of the wall shall be equivalent to the wind load specified above.  Deflection shall not exceed 1/175 of the clear span, when subjected to uniform load deflection test.

E.	Air Infiltration:  Provide aluminum entrance and storefront framing system with an air infiltration rate of not more than 0.06 CFM per sq. ft. of fixed area (excluding operable door edges) when tested in accordance with ASTM E 283 at an inward test pressure differential of 1.57 psf.

F.	Water Penetration:  Provide framing systems with no uncontrolled water penetration (excluding operable door edges) as defined in the test method when tested in accordance with ASTM E 331 at an inward test pressure differential of 6.24 lbf. per sq. ft.

G.	Condensation Resistance:  Where framing systems are "thermal-break" construction, provide units tested for thermal performance in accordance with AAMA 1503 showing condensation resistance factor (CRF) of not less than 45.

H.	Thermal Transmittance:  Provide framing systems that have an overall U-value of not more than 0.65 BTU/(hr. x sq. ft. x deg.F) at 15 mph exterior wind velocity when tested in accordance with AAMA 1503.

1.05	SUBMITTALS

A.	General:  Submit the following in accordance with Conditions of the Contract and Division 1 Specification Sections.

1.	Product data for each aluminum entrance and storefront system required, including:

a.	Manufacturer's standard details and fabrication methods.

b.	Data on finishing, hardware and accessories.

c.	Recommendations for maintenance and cleaning of exterior surfaces.

2.	Shop drawings for each aluminum entrance system required, including:

a.	Layout and installation details, including relationship to adjacent work.

b.	Elevations at 1/4-inch scale.

c.	Detail sections of typical composite members.

d.	Anchors and reinforcement.

e.	Hardware mounting heights.

f.	Provisions for expansion and contraction.

g.	Glazing details.

3.	Hardware Schedule:  Submit complete hardware schedule organized into sets based on hardware specified.  Coordinate hardware with doors, frames, and related work to ensure proper size, thickness, hand, function, and finish.  Include item name, name of the manufacturer and complete designations of every item required for each door opening.

4.	Samples for Initial Color Selection:  Submit pairs of samples of each specified color and finish on 12-inch-long sections of extrusions or formed shapes.  Where normal color variations are anticipated, include 2 or more units in each set of samples indicating extreme limits of color variations.

5.	Samples for Verification Purposes:  The Sandia Delegated Representative (SDR) reserves the right to require additional samples, that show fabrication techniques and workmanship, and design of hardware and accessories.

6.	Test Reports:  Provide certified test reports from a qualified independent testing laboratory showing that aluminum entrance and storefront systems have been tested in accordance with specified test procedures and comply with performance characteristics indicated.

1.06	QUALITY ASSURANCE

A.	Installer Qualifications:  Engage an experienced Installer who has completed installations of aluminum storefront and entrances similar in design and extent to those required for the project and whose work has resulted in construction with a record of successful in-service performances.

B.	Manufacturer's Qualifications:  Provide aluminum entrances and storefront systems produced by a firm experienced in manufacturing systems that are similar to those indicated for this project and that have a record of successful in-service performance.

C.	Fabricator Qualifications:  Provide aluminum entrances and storefront systems fabricated by a firm experienced in producing systems that are similar to those indicated for this Project, and that have a record of successful in-service performance.  The fabricator shall have sufficient production capacity to produce components required without causing delay in progress of the Work.

D.	Single Source Responsibility:  Obtain aluminum entrance and storefront systems from one source and from a single manufacturer.

E.	Design Criteria:  The drawings indicate the size, profile, and dimensional requirements of aluminum entrance and storefront work required and are based on the specific types and models indicated.  Aluminum entrance and storefront by other manufacturers may be considered, provided deviations in dimensions and profiles are minor and do not change the design concept as judged by the Sandia Delegated Representative (SDR).  The burden of proof of equality is on the proposer.

F.	All materials used shall not contain asbestos fibers or lead.

1.07	DELIVERY, STORAGE, AND HANDLING

A.	Deliver aluminum entrance and storefront components in the manufacturer's original protective packaging.

B.	Store aluminum components in a clean dry location away from uncured masonry or concrete.  Cover components with waterproof paper, tarpaulin or polyethylene sheeting in a manner to permit circulation of air.

1.	Stack framing components in a manner that will prevent bending and avoid significant or permanent damage.

1.08	PROJECT CONDITIONS

A.	Field Measurements:  Check openings by accurate field measurement before fabrication.  Show recorded measurements on shop drawings.  Coordinate fabrication schedule with construction progress to avoid delay of the work.

1.	Where necessary, proceed with fabrication without field measurements, and coordinate fabrication tolerances to ensure proper fit.

1.09	WARRANTY

A.	Warranty:  Submit a written warranty, executed by the manufacturer, agreeing to repair or replace units that fail in materials or workmanship within the specified warranty period.  Failures include, but are not necessarily limited to:

1.	Structural failures including excessive deflection, excessive leakage or air infiltration.

2.	Faulty operation.

3.	Deterioration of metals, metal finishes and other materials beyond normal weathering.

B.	Warranty Period:  3 years after the date of Substantial Completion.

1.	The warranty shall not deprive the Owner of other rights or remedies the Owner may have under other provisions of the Contract Documents, and is in addition to and runs concurrent with other warranties made by the Contractor under requirements of the Contract Documents.

PART 2 - PRODUCTS

2.01	MANUFACTURERS

A.	Manufacturer:  Subject to compliance with requirements, provide entrance and storefront systems manufactured by one of the following:

Amarlite Architectural Products

Atlas Architectural Metals, Inc.

CMI-Cronstroms Mfg. Inc.

Dawson Metal Company, Inc.

EFCO Corporation

Kawneer Company, Inc.

Portal, Inc.

PPG Industries

Rebco, Inc.

Tubelite Division of Indal, Inc.

United States Aluminum Corp.

Vistawall Architectural Products

2.02	MATERIALS

A.	Aluminum Members:  Alloy and temper recommended by the manufacturer for strength, corrosion resistance, and application of required finish; comply with ASTM B 221 for aluminum extrusions, ASTM B 209 for aluminum sheet or plate, and ASTM B 211 for aluminum bars, rods and wire.

B.	Carbon steel reinforcement of aluminum framing members shall comply with ASTM A 36 for structural shapes, plates and bars, ASTM A 611 for cold rolled sheet and strip, or ASTM A 570 for hot rolled sheet and strip.

C.	Glass and Glazing Materials:  Comply with requirements of "Glass and Glazing" section of these specifications.

D.	Fasteners:  Provide fasteners of aluminum, nonmagnetic stainless steel, zinc plated steel, or other material warranted by the manufacturer to be noncorrosive and compatible with aluminum components, hardware, anchors and other components.

1.	Reinforcement:  Where fasteners screw-anchor into aluminum members less than 0.125 inches thick, reinforce the interior with aluminum or nonmagnetic stainless steel to receive screw threads, or provide standard noncorrosive pressed-in splined grommet nuts.

2.	Exposed Fasteners:  Do not use exposed fasteners except for application of hardware.  For application of hardware, use Phillips flat-head machine screws that match the finish of member or hardware being fastened.

E.	Concealed Flashing:  0.0179-inch (26 gage) minimum dead-soft stainless steel, or 0.026-inch-thick minimum extruded aluminum of alloy and type selected by manufacturer for compatibility with other components.

F.	Brackets and Reinforcements:  Provide high-strength aluminum brackets and reinforcements; where use of aluminum is not feasible provide nonmagnetic stainless steel or hot-dip galvanized steel complying with ASTM A 123.

G.	Concrete and Masonry Inserts:  Provide cast iron, malleable iron, or hot-dip galvanized steel inserts complying with ASTM A 123.

H.	Compression Weatherstripping:  Manufacturer's standard replaceable compressible weatherstripping gaskets of molded neoprene complying with ASTM D 2000 or molded PVC complying with ASTM D 2287.

I.	Sliding Weatherstripping:  Manufacturer's standard replaceable weatherstripping of wool, polypropylene, or nylon woven pile, with nylon fabric or aluminum strip backing, complying with AAMA 701.2.

2.03	HARDWARE

A.	General:  Refer to Division 8 Section "Finish Hardware" for requirements for hardware items other than those indicated to be provided by the aluminum entrance manufacturer.

B.	Provide heavy-duty hardware units as indicated, scheduled, or required for operation of each door, including the following items of sizes, number, and type recommended by manufacturer for service required; finish to match door.

1.	Ball-Bearing Butts:  5-knuckle, 2-bearings, steel ball bearing butts sized to comply with ANSI A156.1, Grade 1.  Provide 2 butts for doors 7 feet 6 inches or less; provide 3 butts for taller and heavier doors.  Provide electric hinges for use with electric strikes.

2.	Single-Acting, independently Hung, Concealed Overhead Closers:  comply with ANSI A156.4, Grade 2.  Provide concealed arm and track.  Comply with manufacturer's recommendations for closer size, depending on door size, exposure to weather and anticipated freauency of use.  Include the following:

a.	Non-hold-open.

3.	Cylinders are supplied under another Division 8 Section for keying into the building system.

4.	Electric Strikes:  Mortised electric strike and stainless steel strike box; comply with ANSI A156.5, Grade 1.  Provide open back electric strikes for use at pairs of doors with panic devices.  Electric Strikes shall be compatible with the Hirsch access system specified in specification Section 16719 (24 volt DC).

5.	Panic Hardware:  Mortise-type, center latch bolt type panic exit device activated by a full-width crash bar.  Comply with UL 305.

6.	Panic Hardware:  Concealed-rod type panic exit devices activated by full-width crash bar.  Comply with UL 305.

7.	Flushbolts:  Standard edge mortised lever extension type flushbolts for inactive leaves of pairs of doors.  Provide flushbolts at both the top and bottom of doors.  Comply with ANSI A 156.16.

8.	Thresholds:  Extruded aluminum threshold of size and design indicated in Section "Finish Hardware" in mill finish, complete with anchors and clips.

2.04	COMPONENTS

A.	Stile-and-Rail Type Entrance Doors:  Provide tubular frame members, fabricated with mechanical joints using heavy inserted reinforcing plates and concealed tie-rods or j-bolts.

1.	Glazing:  Fabricate doors to facilitate replacement of glass or panels, without disassembly of stiles and rails.  Provide snap-on extruded aluminum glazing stops, with exterior stops anchored for nonremoval.

2.	Design:  Provide 1-3/4-inch-thick doors of design indicated.

a.	Medium stile (3-1/2-inch nominal width).

2.05	FABRICATION

A.	General:  Fabricate aluminum entrance components to designs, sizes and thicknesses indicated and to comply with indicated standards.  Sizes and profile requirements are indicated on the drawings.  Variable dimensions are indicated, with maximum and minimum dimensions required, to achieve design requirements and coordination with other work.

B.	Prefabrication:  Complete fabrication, assembly, finishing, hardware application, and other work to the greatest extent possible before shipment to the Project site.  Disassemble components only as necessary for shipment and installation.

1.	Perform fabrication operations, including cutting, fitting, forming, drilling and grinding of metal work to prevent damage to exposed finish surfaces.  Complete these operations for hardware prior to application of finishes.

2.	Do not drill and tap for surface-mounted hardware items until time of installation at project site.

3.	Preglaze door and frame units to greatest extent possible.

C.	Welding:  Comply with AWS recommendations.  Grind exposed welds smooth to remove weld spatter and welding oxides.  Restore mechanical finish.

1.	Welding behind finished surfaces shall be performed in such a manner as to minimize distortion and discoloration on the finished surface.

D.	Reinforcing:  Install reinforcing as required for hardware and as necessary for performance requirements, sag resistance and rigidity.

E.	Dissimilar Metals:  Separate dissimilar metals with bituminous paint, or a suitable sealant, or a nonabsorptive plastic or elastomeric tape, or a gasket between the surfaces.  Do not use coatings containing lead.

F.	Continuity:  Maintain accurate relation of planes and angles with hairline fit of contacting members.

1.	Uniformity of Metal Finish:  Abutting extruded aluminum members shall not have an integral color or texture variation greater than half the range indicated in the sample pair submittal.

G.	Fasteners:  Conceal fasteners wherever possible.

H.	Weatherstripping:  For exterior doors, provide compression weatherstripping against fixed stops.  At other edges, provide sliding weatherstripping retained in adjustable strip mortised into door edge.

1.	Provide EPDM or vinyl-blade gasket weatherstripping in bottom door rail, adjustable for contact with threshold.

2.	At interior doors and other locations without weatherstripping, provide neoprene silencers on stops to prevent metal-to-metal contact.

2.06	FINISHES

A.	General:  Comply with NAAMM "Metal Finishes Manual" for recommendations relative to application and designations of finishes.

B.	Finish designations prefixed by "AA" conform to the system established by the Aluminum Association for designating aluminum finishes.

C.	High Performance Organic Coating:  AA-C12C42R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  chemical conversion coating, acid chromate-fluoride-phosphate pretreatment; Organic Coating:  as specified below).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with coating and resin manufacturer's instructions.

1.	Fluorocarbon 2-Coat Coating System:  Manufacturer's standard 2-coat thermo-cured system, composed of specially formulated inhibitive primer and fluorocarbon color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight; comply with AAMA 605.2.

2.	Color and Gloss:  Match color and gloss of wall panels as specified in Section "Manufactured Roof and Wall Panels".

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Examine substrates and supports, with the Installer present, for compliance with requirements indicated, installation tolerances, and other conditions that affect installation of aluminum entrances and storefronts.  Correct unsatisfactory conditions before proceeding with the installation.

1.	Do not proceed with installation until unsatisfactory conditions are corrected.

3.02	INSTALLATION

A.	Comply with manufacturer's instructions and recommendations for installation.

B.	Set units plumb, level, and true to line, without warp or rack of framing members, doors, or panels.  Install components in proper alignment and relation to established lines and grades indicated.  Provide proper support and anchor securely in place.

C.	Construction Tolerances:  Install aluminum entrance and storefront to comply with the following tolerances:

1.	Variation from Plane.  Do not exceed 1/8 inch in 12 feet of length or 1/4 inch in any total length.

2.	Offset from Alignment:  The maximum offset from true alignment between two identical members abutting end to end in line sahll not exceed 1/16 inch.

3.	Diagonal Measurements:  The maximum difference in diagonal measurements shall not exceed 1/8 inch.

4.	Offset at Corners:  The maximum out-of-plane offset of framing at corners shall not exceed 1/32 inch.

D.	Separate aluminum and other corrodible metal surfaces from sources of corrosion or electrolytic action at points of contact with other materials.

1.	Zinc or cadmium plate steel anchors and other unexposed fasteners after fabrication.

2.	Paint dissimilar metals where drainage from them passes over aluminum.

3.	Paint aluminum surfaces in contact with mortar, concrete or other masonry with alkali resistant coating.

4.	Paint wood and similar absorptive material in contact with aluminum and exposed to the elements or otherwise subject to wetting, with two coats of aluminum house paint.  Seal joints between the materials with sealant.

E.	Drill and tap frames and doors and apply surface-mounted hardware items.  Comply with hardware manufacturer's instructions and template requirements.  Use concealed fasteners wherever possible.

F.	Set sill members and other members in bed of sealant as indicated, or with joint fillers or gaskets as indicated to provide weathertight construction.  Comply with requirements of Division 7 for sealants, fillers, and gaskets.

G.	Refer to "Glass and Glazing" Section of Division 8 for installation of glass and other panels indicated to be glazed into doors and framing, and not preglazed by manufacturer.

3.03	ADJUSTING

A.	Adjust operating hardware to function properly, for smooth operation without binding, and for weathertight closure.

3.04	CLEANING

A.	Clean the completed system, inside and out, promptly after installation, exercising care to avoid damage to coatings.

B.	Clean glass surfaces after installation, complying with requirements contained in the "Glass and Glazing" Section for cleaning and maintenance.  Remove excess glazing and sealant compounds, dirt and other substances from aluminum surfaces.

3.05	PROTECTION

A.	Institute protective measures required throughout the remainder of the construction period to ensure that aluminum entrances and storefronts will be without damage or deterioration, other than normal weathering, at time of acceptance.

B.	Refer to door schedule on drawings for hardware associated with aluminum entrances.

END OF SECTION