NATURAL RESOURCES CONSERVATION SERVICE

Idaho

CONSTRUCTION SPECIFICATIONS

FOR

### PIPELINE

___________________________________		________________________________

(Owner/Operator)					     (Project Title)

GENERAL

Installation shall be in accordance with an approved design and plan.  Details of construction shown on the drawings, but not included herein, shall be considered as part of these specifications.  Construction activities shall be in accordance with Department of Labor, Occupational Safety and Health Administration (OSHA) regulations.  This construction specification pertains to buried installations.

MATERIALS

Pipe shall be of the type, size and pressure rating shown on the drawings and shall meet the requirements of the appropriate material specifications.

Steel pipe and fittings shall be galvanized and meet the requirements of AWWA Specification C-200.

Plastic pipe shall comply with ASTM Specifications:

- D 1527 or D 2282 for AcrylonitrileButadiene-Styrene (ABS).

- D 2104, D 2239, D 2447, D 2737 or D 3035 for Polyethlene (PE).

- D 1785, D 2241, D 2672 or D 2740 for Polyvinyl Chloride (PVC).

- D 2513 for Thermoplastic Gas Pressure Pipe.

- D3350 and D 2837 for PE3408 HDPE Pipe.

The pressure rating of fittings shall meet or exceed the strength requirements of the pipe.  All fittings shall be of a material that is recommended for use with the type of pipe that is specified.  As appropriate, plastic pressure pipe fittings shall conform to ASTM Specifications: D 2464, D 2466, D 2467, D 2468, D 2609, D 2683, D 3139 and/or D 3261.

Solvents for solvent-welded plastic pipe joints shall conform to one of the following ASTM specifications as appropriate: D 2235, D 2564, or D 2855.  Rubber joints for pipe joints shall conform to ASTM F 477, Elastomeric Seals (Gaskets) for Joining Plastic Pipe.

Pipelines to convey water that may be used for human consumption shall meet the requirements of the Idaho Department of Health and Welfare for material and installation, and plastic pipe shall be marked with NSF approval.

INSTALLATION

The pipe trench shall be excavated at the required location and depth as shown on the drawings and/or staked in the field.  The bottom of the trench shall be reasonably smooth so that pipe will be properly supported.

Trenches for pipelines shall be free of rocks and other sharp edged materials.  Plastic pipe shall be placed in a "snake" like position.  Semi-rigid pipe may require expansion joint couplers.

Plastic pipelines may be placed by "plow-in" equipment where soils are suitable and rocks and boulders will not be detrimental to the pipe.

Pipelines shall be placed so they are protected against hazards imposed by traffic, farm operations, freezing temperatures or soil cracking.

Pipelines shall have a minimum cover of 18 inches.  Other means of protection must be provided where the depth required for protection is impractical due to shallow soils over rock or for other reasons, i.e., mounding of backfill.  Pipelines designated for winter use shall be buried the greater of (1) a minimum of three (3) feet, (2) below the depth of the anticipated frost line or (3) minimum depth shown on the drawings or specified in the ADDITIONAL SPECIFICATIONS.

To minimize thermal stresses, installation should be planned to avoid exposing pipe to high temperatures prior to backfilling.

METAL PROTECTION

Whenever steel tees, ells or risers are used, they shall be adequately protected from corrosion by wrapping with plastic tape, galvanizing or other approved corrosion preventatives.  Clamps and steel fittings may either be stainless steel or steel properly protected from corrosion.

APPURTENANCES

Pipeline appurtenances shall be of the type, size, pressure class and material as shown on the drawings.

TESTING

Before backfilling, the pipe shall be filled with water and at design working head or a minimum-testing head of ten (10) feet, whichever is greater. All leaks shall be repaired and test repeated before backfilling begins.

Plowed in pipelines shall be pressure tested at the working pressure for two (2) hours.  The allowable leakage shall not be greater than one (1) gallon per diameter inch per mile.  Should the test exceed this rate, the defect shall be repaired until retests show that the leakage is within the allowable limits.

BACKFILLING

All backfilling shall be completed before the pipeline is placed into service.

The initial backfill within three (3) inches of the pipe shall be of selected materials, free from debris, rocks or other sharp edged material that could damage the pipe.  The completed trench backfill shall be mounded for settlement. Backfill of plastic pipe should be done after the pipe reaches the same temperature as the water or soil.  This can be done by filling with water or by leaving the trench open overnight prior to starting the backfill operations.  Deformation or displacement of the pipe must not occur during backfilling.

EROSION CONTROL

Disturbed areas shall be treated as listed in ADDITIONAL SPECIFICATIONS to prevent erosion and re-establish protective cover.

ADDITIONAL SPECIFICATIONS