STUDIES OF BASIC ELECTRONIC PROPERTIES OF CdTe-BASED SOLAR CELLS & THEIR EVOLUTION DURING PROCESSING & STRESS.

Quarterly Technical Status Report for the period from June 01, 2004, to September 30, 2004.

Under Prime Contract No. DE-AC36-99-GO1033

Subcontract No. ADJ-2-30630-05

Subcontractor: Colorado School of Mines

Principal Investigators: V. Kaydanov and T. R. Ohno

Contributors:

Professor Reuben T. Collins

Assistant Research Professor J. Beach

Grad. Research Associates: S. Feldman, F. Seymour, J. Yahrbough and L. Mansfield

Contract technical monitor: Kenneth Zweibel

In this report we present some of the results of our continued studies of CdTe/CdS obtained in the past four months in the following areas:

- Studies of electroluminescence intensity and pattern in differently processes and treated cells

- Studies of deep electronic states (DES) with admittance spectroscopy and transient measurements; analysis and classification of the DES signatures

- Mapping photocurrent collection over a cell area with the high resolution near field scanning optical microscopy (NSOM).

Besides, a copy is attached of the paper published at this period: S.D. Feldman, R.T. Collins, and T.R. Ohno, “Effects of Cu in CdS/CdTe solar cells with patterned doping and spatially resolved luminescence”, Appl. Phys. Lett., 85 (9), 1529 (2004).

1.   Effect of Bias Light on the Electroluminescence Intensity and Pattern

Here we present the studies of the electro-luminescence (EL) on CdTe/CdS cells that seem to provide an independent evidence of photoconductivity in CdS and its influence on the cell properties. Measurements also revealed a persistent effect of illumination by “blue” light with long term transients lasting at least for hours.

1.1 Low bias light intensity

The studies were conducted on cells fully processed at First Solar, LLC (FS). Light with wavelength, (, of 400, 500, 550, 600 and 630 nm was provided by using a halogen bulb with narrow-band pass filters in front of it. The light was also filtered out using a high-pass filter that allows the IR EL image to pass to the CCD camera but blocks the visible light. EL images were measured with the nominal current density 140 mA/cm2, which did not damage the cell. To refine the EL data from the effects of stray light, an EL image was taken after taking the image without current (a dark frame), and then the latter was subtracted from the former.

At room temperature the PL signal caused by the bias light was undetectable due to very low excitation level provided by the light passing through a narrow-band filter. However the visible bias light caused a slight but measurable increase, up to 5-6 %, in the mean EL intensity.  More significant changes were observed in the EL nonuniformity (NU) which is defined as the standard deviation of EL intensity normalized by the mean one. The bias light decreased NU value by 20-30 %, most significantly at (= 500 and 550 nm. J-V characteristics were also affected which led to reducing the forward bias voltage applied to keep the current magnitude in light the same as in dark (“constant current” forward bias, CCFB). The CCFB decrease was most significant also at ( (500. It is reasonable to suggest that the observed effects, at least partially, relate to the bias light absorption in CdS. Indeed the most significant changes in the EL NU and in the CCFB take place at ( ( 500 nm (Eph ( 2.5 eV), just above the CdS bandgap.

The problem of a photoconductive CdS layer (PC-CdS) in CdTe/CdS solar cells has been discussed in numerous publications, see, e.g. [1], and at several National CdTe Team Meetings. Based on experimental data it has been suggested that while the films deposited on glass demonstrate free electron density up to 1016-1017 cm-3, the donor states are strongly compensated for the CdS in a cell, supposedly by the Cu-related deep hole traps. Our previous Hall measurements on differently treated CdS films, including the Cu-doped ones, and PL studied both on cells and films [2, 3], strongly support this model. Blue light modulates electron concentration which makes CdS rather conductive and decreases its contribution to the depletion width as well as to the cell “series resistance”. In particular, “The enhanced PC was often correlated with a large light-to-dark crossover“[1]. This effect is probably responsible for the observed CCFB reducing by the bias light. It is reasonable to expect that the high CdS dark resistance is spatially non-uniform, thus causing non-uniformity in current density and hence in EL intensity. If so, one can attribute the observed decrease in the EL NU in the bias light to reducing the CdS contribution to the cell resistance. Thus, the EL pattern could be influenced by nonuniform resistance not only of the back contact [4, 5], but also of the window layer (TCO/CdS). Indeed our recent studies [6] demonstrated a significant effect of the bi-layer front contact (TCO/HRT) on the EL pattern.

1.2	High light intensity

In these experiments an Ar-Ion and a He-Ne lasers were used as sources of the high intensity light. The experimental design was as follows: an EL images before and after exposure to the laser irradiation were taken from a cell displaying visible non-uniformity in the form of high-contrast bright spots. Using a cylindrical lens we could increase the irradiated area and change its shape so that it included several bright EL spots. An image of the laser reflection clearly showed the irradiated area which usually was of about 500(1000 (m2. The mean irradiation power density ranged from 3 to 30 W/cm2. Duration of exposure to laser varied in the range of 1 to 3 minutes.

The experiments were first conducted on the cells grown at CSM with the gas jet deposition (GJD) technique. No significant change in the EL mean intensity and pattern was observed after exposure to the laser beam with the photon energy of Eph=1.92 eV (He-Ne laser) and 2.41 eV (Ar-Ion laser). The situation radically changed for irradiation with Eph=2.54 eV and 2.71eV, both provided with Ar-Ion laser. Fig 1 shows that the mean EL became much brighter in the exposed area than in the surrounding (before irradiation it was practically the same). It is also seen that the brightness of the exposed area decays very slowly: the effect could still be seen many hours later.

(a)			     (b)			        (c)		     (d)

Fig.1.1 Cell exposure to the 2.54 eV laser irradiation. (a) Laser reflection, zero current.

EL images: (b) just after turning laser off, (c) in 1.5 hours, (d) in 2.5 hours.

There is strong evidence that the observed changes in EL are due to the light absorption in CdS and generation of electron-hole pairs. The photons with Eph =1.92 eV (below the CdS bandgap) are not practically absorbed, and for those with Eph =2.4 eV (only a little above the bandgap) the absorption coefficient is so small that the most of these photons pass through CdS and are absorbed in CdTe not significantly contributing to the CdS photo-conductivity. The latter, caused by absorption of the energetic photons, reduces the CdS contribution to the “series resistance” only in the laser-exposed region. Since the total current is maintained constant, the current density redistributes over the cell area becoming higher (along with the EL intensity) in the exposed area at the expense of the current and EL in the un-exposed one. The CdS photoconductivity is usually ascribed to excess electrons (see, e.g., ref. [1]). Based on a slow decay of photoconductivity, one must conclude that the recombination rate is very slow. This is consistent with the idea means that photogenerated holes are deactivated, captured by very slow deep traps (see Sec. 1.1).

The same persistent increase in the EL intensity after exposure to the laser beam was observed on many other differently processed cells. In particular, Fig. 2 shows the data for a cell fabricated at FS that demonstared low EL non-uniformity before exposure to laser.

Fig 1.2. Linear scan of EL across the FS cell irradiated by 2.71 eV laser beam. Black - EL scan 	  	  before irradiation’ red – EL scan after irradiation; green the laser light reflection scan, 		  indicating the irradiated region. Current maintained the same for EL measurements 		  before and after irradiation.

To compare the effects of the laser-induced non-uniformity in the CdS and the back contact non-uniformity, a cell was studied with the CdTe back surface non-uniformly doped with Cu evaporated through a shadow mask [5]. This “Cu dot” cell was made on the FS material with a back contact completed at CSM. Before exposing to the laser, this cell showed EL primarily originating from the Cu dots. The ratio of EL intensity between Cu dots and non-Cu doped regions was about a factor of 2. After exposure to the laser, the EL still showed the Cu dot pattern, but the areas under the laser were much brighter than areas not under the laser. This effect was so large that non-Cu doped regions exposed to laser light showed brighter EL than not exposed Cu dot regions. The results are summarized in the table below with the numbers representing approximate normalized intensities using arbitrary units:

Table 2.1. Influence of irradiation with laser on the EL intensity in Cu dot cell

|  | Exposed Cu region | Exposed non-Cu region | Not exposed Cu region | Not exposed non-Cu region |
| --- | --- | --- | --- | --- |
|  | Approximate normalized EL intensity, arb. units |
| Before laser | 2.5 | 1 | 2.5 | 1 |
| After laser | 6 | 2.5 | 1.5 | 0.8 |

Fig.3 illustrates effect of exposure to laser light on the EL pattern of the Cu dot cell.

(a)			    (b)				 (c)

Fig.1.3. Effect of irradiation with laser on the Cu dot cell. (a) and (c) EL before and after 	irradiation; (b) laser reflection image.

The next experiment was conducted on cells fabricated at CSM with GJD method. The two cells studied differed by the window layer structure: TCO/CdS (single-layer front contact) and TCO/HRT/CdS (bi-layer front contact). A significant difference in the EL pattern between the two before irradiation is seen from images (a) and (b) in Fig. 4: the EL NU is much higher in the single-layer. Exposure to the laser beam increases significantly brightness of the exposed region  in the “single-layer” cell and makes much darker the rest of the cell (image (c)). Changes in the EL pattern after irradiation are much less significant in the bi-layer cell(images (b) and (d)). However, it should be noted that the bi-layer cell also had a CdS layer that was thinner by a factor of ~2 than the single layer cell.

|  | Single layer front contact | Bi-layer front contact |
| --- | --- | --- |
| Before irradiation | (a) | (b) |
| After irradiation | (c) | (d) |

Fig. 1.4. EL pattern in the “single-layer” and “bi-layer” cells and changes caused by irradiation

To explain the data above in the context of the discussion at the end of Sec. 1.1, one may suggest:

(1)  Presence of HRT reduces the CdS dark resistance, both its mean value and non-uniformity 	thus reducing the EL NU.

(2) Contribution of CdS in a cell “series resistance” in the “bi-layer” cell is rather small as 	compared to other components, therefore an additional light-induced decrease of CdS 	resistance due to irradiation cannot significantly change the current’s spatial distribution and 	therefore the EL pattern.

(3) Contrary to what we thought earlier, the effect of the window layer resistance and its non-	uniformity on the EL pattern may be comparable to or even greater than the effects of a	nonuniform back contact.

We are not able now to discuss possible mechanisms of HRT influence on the CdS properties, however we believe that better understanding of the phenomena could provide a significant progress in searching new approaches to improvement of the CdTe/CdS cell performance. Further studies of this problem with a variety of independent experimental methods along with theoretical analysis and modeling are of significant importance.

2.	Detection and Studying Deep Electronic States

Deep electronic states (DES) in CdTe/CdS cells were detected and studied using admittance spectroscopy (AS) and capacitance transient (CTr) measurements. A combination of two methods allowed us to cover a broad range of characteristic times,, ranging from ~ to minutes. Characteristic time was determined from the position on the frequency scale of the peak in  or  functions for the AS method (, C and  are the AC conductance, capacitance and angular frequency of testing voltage, respectively). When measuring transients, the DLTS function, , was analyzed. For the exponential time dependence the peak of this function is located on the time scale at . The origin of the time scale, , corresponds to the bias or light pulse switch on or off. The signatures of the DES: activation energy, , and apparent capture section, , were estimated from the Arrhenius plot vs.  regression slope and y-intercept.

  - Studying of Supposedly Identical Cells

The goal of this study was to reveal and analyze the variances in the detected DES signatures,  and , between the cells fabricated with supposedly identical processing procedures. This was intended to serve as a baseline for determining the statistical significance of measured differences between cells with different processing treatments. The cells for studies were supplied by Dr. D. Albin (NREL). A single large cell was grown on 1mm thick glass with a standard procedure except some changes in the Br-Methanol solution used for the CdTe surface etching. The individual small cells were prepared by selectively scraping the thin film with a razor blade to the TCO layer. The geometry of the cell layout with the surface area for each cell is shown in figure 2.1.

Fig. 2.1.  Plate received from D. Albin with 8 completed cells G, through N and their 	 	    respective surface areas in cm2.  The indium front contact is shown in grey.

Standard J-V measurements performed on CSM equipment indicated efficiencies approximately 2% lower than the readings taken at NREL. With this correction the eight cell efficiencies varied between ~ 8% and ~ 10% with a strong correlation to the variation. The zero bias dark resistance for all cells was above 10 M(-cm2 indicating an absence of significant current shunts. The QE spectra were similar for all cells with some variations in magnitude from cell to cell and crossing of some graphs.

Temperature dependence of capacitance (measured with 100 kHz testing frequency) demonstrated a significant decrease with cooling down from room temperature and saturated below -100o C at the level for all cells. The insulating (depleted) layer thickness was estimated based on the (-110oC) values and it varied between 8.2 and 9.9m with an average of 9.2m. It was notably close to the 9.4 (m average CdTe thickness estimated at NREL with profilometry. Like our estimates, the NREL data show thinner CdTe towards the top and bottom of the large cell in Fig. 2.1.

It is likely that a strong (seven to eight times) decrease in capacitance with cooling from room temperature is mainly due to the holes freezing out meaning that hole concentration is controlled by not too shallow acceptor levels. However, reducing of the trap-related capacitance also might be partially responsible for the effect.

A very significant variation in the signatures of supposedly same DES was detected by AS and CTr measurements performed on all cells. AS was conducted at zero bias with frequencies ranging from 25Hz to 1MHz. CTr was studied by measuring and recording capacitance during a 5 minute 0.5V forward bias (FB) pulse followed by a 5 minute zero bias (ZB) recovery period. Temperatures ranged from –110C to 85C for all cells since (a) preliminary measurements did not reveal any DES manifestations at lower temperatures and (b) heating beyond 85oC leads to irreversible changes in cell characteristics according to our previous studies.

The DES signatures: and  were estimated from the temperature dependence of the characteristic time, . The latter was derived from AS spectra on the frequency scale or peaks of the DLTS function on the time scale for CTr’s. It should be noted that both could be observed in a limited ranges of temperature, different for different DES. Although the determined signatures initially appear to be randomly scattered, we have separated them to four groups based on the technique (AS or CTr), bias applied at TCr measurement (FB or ZB), and the temperature interval where the Arrhenius plots vs.  could be constructed (see Table 2.1).

Table 2.1. The DES groups, methods and temperature interval of detection,

the DES signatures variations

| Group ID | Technique/ Bias | T , oK | Ea, eV | (, cm2 |
| --- | --- | --- | --- | --- |
| AS1 | AS |  |  |  |
| ZB1 | CTr ZB |  |  |  |
| FB1 | CTr FB |  |  |  |
| FB2 | CTr FB |  |  |  |

Groups FB1 and FB2 originated from two distinct peaks in the DLTS function observed in FB capacitance transients. Group ZB1 includes signatures of a single peak we could see in ZB transients in the available temperature range for 5 min. pulse duration. It is seen that the signatures in each group are still widely spread, especially in ZB1 and FB2. Fortunately we had one more criterion helping us to distinguish signatures belonging to different groups. Namely, as seen in Fig. 2.2, the dependencies are linear for each group, while locations and slopes of the linear plots are different.

Fig. 2.2.  The linear dependencies – an additional criterion for the signature 	  	  	    grouping

It is hard to say whether the alignment of the ZB1 and FB2 signatures are due to some physical reason or simply due to coincidence. Note that transients caused by the bias change of different polarity can be dominated by various processes: capture of the injected carriers, emptying of traps (carrier emission). Moreover, more than one trap can be involved in transients. Until the issue is clarified we have to refer to the ZB1 and FB2 signatures as provided by different DES.

  - Discussion

We are prone to believe that signatures within each group correspond to the same defect/DES. If it is true, we have to answer the question, why signatures determined by our measurement and data treatment procedures vary so widely between the eight studied cells. Character of the dependencies can help to propose possible explanation.

Previously we have reported similar linear plots found in CdTe/CdS cells, see [6, 7]. A similar behavior was observed earlier for other materials, in particular on the InGaAsN-based diodes [8]. The similarities of the results in [8] to our data include:

- A significant variation in  and  even for diodes of the same composition.

- While  varied from 0.5 to 0.8 eV, varied by about five orders of magnitude

- The plot is linear following Meyer-Neldel Rule (MNR).

The MNR type behavior observed in Si, GaAS and other materials is usually explained by a considerable change in the system entropy, , associated with the assembly of large number of system excitations [9], phonons in particular [10], at a specific lattice site to produce a thermally activated transition over an energy barrier. The second important point is that  is proportional to the enthalpy of the defect activation process:. It follows from this model that the apparent capture cross section,, is related to the “true” one, , by the expressions:

(

Here  is the temperature at which characteristic time is the same for all studied members of the MNR family, CdTe/CdS cells in our case.

We accepted this explanation in [6, 7], but there remains a question we need to answer: why does the activation energy of the same DES/defect in supposedly identical materials varies so widely, by tenths of eV? The CdTe/CdS cells studied in [6, 7] were fabricated at NREL with intentional variations in several processing steps/procedures. These variations did not change significantly photoelectric characteristics, but one may speculate that for some reasons they might strongly affect the defect structure and DES characteristics caused by interaction with other defects whose concentration and location varied with processing variation. However our new studies presented in this report were conducted on eight cells produced by selective scribing of a single large cell. Thus one may assume that the processing procedure, defect structure and electronic properties should be identical. However a significant variation in the value was observed for the DES belonging to the same group (see Fig. 2.2).

Below we discuss some possible answers to the question formulated above. These suggestions are rather trivial since they are based not on the fundamental physics issues but rather on the instrumental ones.

The first answer could be found in ref. [11]. As applied to our problem of DES the major idea and results in this paper could be formulated as follows. Let us have simultaneously two DES with significantly different activation energies, hence different characteristic times:  for the shallower DES much shorter that for the deeper one, . If so, the characteristic time determined with AS or CTr at lower temperatures is close to even if concentration of shallower DES, , is much smaller than that of the deeper ones, . With increasing temperature  the influence of the deeper state gradually increases and at some temperature range can become dominating so that measured . If the transition from to occurs in the same temperature range where DES could be detected and  measured, the Arrhenius plot has some curvature. When approximating plot with a straight line, the regression slope may vary depending on the relative contributions of deeper and shallower states.

We have conducted modeling of ,  and  with varying ,  and , whereas assumingand - (0.3eV. The ratio  was also varied to put the transition region in the temperature range from 360 K to 260 K close to the real experimental conditions. It was found that the  value determined from the regression slope can vary by tenths of eV due to variation in. Changes in the linear plot slope lead to the proportional changes in the y-intercept (linear dependence between the two). This creates corresponding changes the  value. Since the y-scale is logarithmic on  and , the dependence  is the MNR-like, that is, it is linear and correlates well with our data in Fig 2.2. As mention above, even a very low concentration of shallower states can change significantly the activation energy determined by measurements. It is likely that, along with the “major” deeper state we are studying, there exist in the material small amounts of the “additional” shallower states that vary uncontrollably varying from cell to cell thus providing variations in the apparent activation energy.

Another possible explanation is even more trivial. As we pointed out the temperature range in which we are able to detect and characterize a DES is limited by (a) the DES characteristics, (b) the instrumental limitations, and (c) irreversible changes of a material at enhanced temperature. Because of this we are frequently able to construct the Arrhenius plot in a narrow range of temperatures. As seen from Table 2.1 this was the case for our transient measurements. Taking into account all possible sources of errors when determining characteristic time and its temperature dependence, it is unrealistic to provide a good accuracy for linear approximation of the Arrhenius plot for such a narrow temperature range.

Indeed, the temperature range in which AS detection of DES was available is 4-5 times wider than that for Ctr’s (Table 2.1). Correspondingly the spread in activation energies is (6% for AS while for FB1 it reaches ( 30%.

Thus the MNR-like dependence could be explained in different ways. Explanation based solely on the entropy contribution to the enthalpy of the DES activation process is attractive, but leaves open the question why activation energy of the same state could vary so widely, especially in identically produced materials. Two other explanations allows one to answer this question. All three mechanisms/reasons for MNR-like behavior of DES characteristics may coexist. Their individual contributions should depend on the material properties, nature of DES under investigation, and methods/techniques applied.

One can find in the literature reports on numerous DES in CdTe. Frequently several different DES signatures are attributed to the same defect or, vice versa, the same signatures are ascribed to different defects. We think our classification of DES based on belonging to a specific MNR families (groups like those in Fig.2.2) may bring some order in the widely, sometimes random, distribution of the detected DES signatures. We believe that different MNR families represent different defects/DES’s, while signatures within the family/group belong to the same defect. The discussion above provides possible explanations to the wide spread of  and  within a family.

2.3	  Preliminary Studies of Light Induced Capacitance Transients

Slow light induced capacitance transients have been observed at room temperature at wavelengths below and above the CdTe bandgap (wavelength cutoff ((825nm). Lighting intensities were very low, of the order of 0.1mW/cm2. This excludes any considerable changes in temperature, which was verified by the thermocouple readings that did not change with lighting within the accuracy of ( 0.1o K. Based on preliminary measurements of the temperature coefficient of capacitance, this may lead to thermally induced capacitance variations not exceeding 0.01nF/cm2, whereas the observed light induced changes were in the range of 0.2 to 1 nF/cm2.

Figure 2.3 shows capacitance versus log time for a 30 second initial period with no illumination, a 45 minute (2700s) light pulse, and a 45 minute recovery period on the CdTe/CdS cell 217C supplied by D. Albin. The changes in capacitance indicate changes in depletion width due to changes in net space charge density (SCD).  The SCD variations are inferred to result from net charging and discharging of DES.

A pronounced difference can be seen between the above band gap (680nm) and below band gap (1064nm, 1300nm) wavelengths.  With the above band gap wavelength, following an initial spike, the capacitance drops below the pre-illumination level before gradually increasing.  Both during and following the illumination the capacitance does not reach saturation indicating very long characteristic times (). Differences in starting capacitance during the initial 30 s period prior to lighting are due to remnant trap charges from previous testing. To start with the same capacitance the sample needed to be kept in the dark overnight indicating  hours.

The light source was a 150W halogen bulb with a rheostat control for intensity. The light is conveyed to the cell through a ½ inch diameter optical fiber bundle that is 3 feet long.  One inch diameter narrow band (~20nm) Corian filters were placed at the end of the fiber bundle to select the wavelength incident upon the solar cell. Light intensities for the 680nm (1.82eV) and 1064nm (1.17eV) wavelengths were measured with a silicon based optical power meter.  For the 1300nm (0.95eV) wavelength that is below the 1.1 eV silicon band gap, no direct light intensity measurements were made.  In this instance the rheostat setting was left the same as for the 1064nm wavelength and the light intensity was assumed to be approximately the same.

Fig. 2.3. 	Light induced capacitance transients for 0.1mW/cm2 lighting intensity and            wavelengths of 680nm, 1064nm, and 1300nm. The sample D217C was suppliedby D. Albin. Testing voltage frequency is 100kHz, sequence is 30s dark, 2700s 	light, 2700s dark.

Figure 2.4 shows capacitance versus log time for light intensities of 0.025, 0.050, 0.100, 0.200, and 0.400 mW/cm2.  For each test, the sample was kept in the dark overnight prior to the test so as to start with a comparable capacitance value.  In spite of this, there remained minor starting capacitance differences of up to 0.1 nF.  On a couple of tests the sample was kept in the dark for 60 hrs over a weekend (not shown in figure 2.4) and this caused the starting capacitance to drop by an additional 0.2nF. Even with these offsets, the structure of the light induced CTr curves was essentially the same. Thus, overnight in the dark was determined to be sufficient for these low light CTr tests.

Fig. 2.5.  Capacitance transients induced by the sub-bandgap (1064 nm) light of various 		 	    intensities.

In all cases there was no measurable potential generated by the cell from this sub- bandgap light source. There was an initial increase in capacitance indicating a net increase in the negative space charge density (SCD) for the p-type CdTe material. There is a subsequent decrease in capacitance followed by a gradual increase. The drop in capacitance never reached the pre-illumination level.  During the 45 minute illumination period the capacitance increase never saturates.  Since the light source is sub-bandgap, these phenomena are a result of direct interaction of photons with deep traps. This involves the promotion of electrons from the valence band to the trap or from the trap to the conduction band.  This direct photon interaction is superimposed on the thermal emission and capture of holes and electrons by the trap.

When the light is switched off, as the cell returns to its pre-illumination equilibrium, there is a spike in capacitance followed by a gradual decrease in capacitance. This is a more typical transient response. It takes at least several days in the dark for the cell to return to equilibrium.  The magnitude of the effect increases with intensity but the basic structure remains the same.  The spikes at the beginning of illumination and after the light is switched off are limited by the 3 second capacitance reading interval of our instrumentation and the approximately 2 seconds for the bulb to fully illuminate and extinguish.

We expect that further study of these light induced CTr phenomena will lead to a better understanding of CdTe/CdS solar cell basics, in particular properties of the defect related DES.

- High Spatial Resolution Studies of Photocurrent Collection

in Thin Film Solar Cells

3.1	 CdTe/CdS cell.

CdTe, being the primary PV material under investigation, has been undergoing characterization using the in-house built Near Field Scanning Optical Microscope (NSOM). Our previous NSOM studies on CdTe cell cross sections revealed significant non-uniformities of photocurrent collection (PCC) on the grain size scale [12].

The plane view NSOM image obtained once on a CdTe cell, after an access for the optical probe was provided to the TCO surface, demonstrated in some locations higher PCC for the intergrain regions than for the grains. This result could be of significant importance providing better understanding of the grain boundary (GB) effect on the cell performance. The PCC studies in plane were partially initiated by speculations on possible beneficial effects of GBs later presented in [13].

It was very difficult to repeat these in plane studies because CdTe cells are usually of a superstrate configuaration. The technique we used for the TCO exposure was complicated and usually damaged a cell. The problem was solved recently after the University of Toledo provided us with a cell of a substrate configuration. The CdTe/CdS device has been grown on a Molybdenum substrate using an RF sputter deposition, then went through a CdCl2 treament followed by depositing ITO via RF sputtering.  A helium neon laser with wavelength of 632.8 nm was used as the excitation source in the photocurrent measurements. Results of this experiment (Fig. 3.1) consistently show a reduced PCC from grains as compared to the intergrain regions. Several images taken at random points on the device show qualitative agreement with one another and demonstrate on average a 5% difference in the photocurrent between these structures. The images shown in figure 3.1 were generated with two different programs to aid in the visualization of the topography vs. photocurrent where the topography is on the left and photocurrent is on the right. As one can see, the photocurrent in the two higher grains is lower with an increase in photocurrent around the grains.

Fig. 3.1.  Correlation between topography and photocurrent on CdTe

  - CIGS/CdS cell

As a substrate configuration is very suitable for in-plane imaging of PCC, a CIGS/CdS cell was also studied but under different circumstances. The primary reason for investigating this sample was to determine whether or not the area where the ITO and CdS were lifted off generated enough photocurrent to provide a higher efficiency value then the traditional scribing technique. These CIGS samples were prepared normally then went through the new etching process in order to measure their efficiency.  Several scans were performed in different regions of the etched layer and show that there is very little to no PCC in this region Figure 3.2 shows an image obtained with  the 26x26 (m2 scan and the excitation wavelength of 632.8 nm.  In this image, the bottom left corner is the actual device with the CdS and ITO still attached, and as moving toward the top right corner, the ITO and CdS have been lifted off.  The image on the left is the topography and the image on the right is photocurrent.

Fig. 3.2.  Correlation between topography and photocurrent on CIGS at the etch step.

Further experiments were performed using multiple wavelengths simultaneously as the excitation source with wavelengths of 457 nm and 632.8 nm.  The results from these experiments show a difference in photocurrent response as seen in Fig. 3.3 with 632.8 nm wavelength on the left and 457 nm wavelength on the right.

Fig. 3. 3  Difference in PCC at the etch stop for wavelengths

of 632.8 nm (on the left) and 457nm (on the right).

Further investigation of these two samples is needed to better interpret the results shown here. One of the next step is to use a Ti-Saphire laser simultaneously with the 632.8 nm as the excitation sources to probe deeper into the sample.

References

- S. Hegedus, D. Ryan, K. Dobson, B. McCandless, D.Desai, “Photoconductive CdS: how does it affect CdTe/CdS solar cell performance?”, Mat. Res. Soc. Symp. Proc. Vol. 763 ( 2003 Material Research Society, B9.5.1

- S. W. Townsend “Electrical and Optical Properties of Bias Stressed Cadmium Telluride Cells”, Ph.D. Thesis, Colorado School of Mines, Golden, CO (2001)

- S.W Townsend, T.R. Ohno, V. Kaydanov, A.S. Gilmore, J.D. Beach, and R.T. Collins “The Influence of Stressing at Different Biases on the Electrical and Optical Properties of CdS/CdTe Solar Cells”, Mat. Res. Soc. Symp. Proc. Vol. 668 ( 2001 Material Research Society.

- S.D Feldman, F.H. Seymour, T.R. Ohno, V. Kaydanov, and R.T. Collins, “Development and Application of Electroluminescence Imaging for CdS/CdTe Characterization”, Mat. Res. Soc. Symp. Proc. Vol. 763 ( 2003 Material Research Society,    B9.5.1

- S.D. Feldman, R.T. Collins, V. Kaydanov, and T.R. Ohno, “Effects of Cu in CdS/CdTe solar cells studied with patterned doping and spatially resolved luminescence”, Appl. Phys. Lett., 85 (9), 1529 (2004).

- V. Kaydanov, T.R. Ohno, “Studies of Basic Electronic Properties of CdTe-Based Solar Cells & Their Evolution During Processing & Stress”, Quarterly Technical Status Report for the Quarter ended January 31, 2004, Colorado School of Mines.

- F. Seymour, V. Kaydanov, T. Ohno, “Transient Studies in CdTe Solar Cells”, in National CdTe R &D Team Meeting Minutes, Perrysburg, OH, February 26-27, 2004. Appendices 15 & 16.

- S.W. Johnston and R.S. Crandall, “Evidence of the Meyer-Neldel Rule in InGaAsN Alloys: Consequences for Photovoltaic Materials” Mat. Res. Soc. Symp. Proc. Vol. 763 ( 2003 Material Research Society, B9.5.1

- R.S. Crandall, “Meyer-Neldel Rule in Charge-Trapping Metastability in p-Type Hydrogenated Amorphous Silicon”, Phys. Rev. B, 66, 195210 (2002).

- Engstrom, O. and Alm, A, Solid St. Electron, 21, 1571 (1978).

- R. Widenhorn, A. Rest, E. Bodegom, “The Meyer-Neldel rule for a property determined by two transport mechanisms”, J. App. Phys., 91, No.10, 6524 (2002).

- M.K. Herndon, A. Gupta, V. Kaydanov, and R.T. Collins, “Evidence for grain-boundary-assisted diffusion of sulfur in polycrystalline CdS/CdTe heterojunctions”, Appl. Phys. Let.,

75 (22), 3503 (1999(.

13.	V. Kaydanov, P. Meyers, “Some Possible Effects of Grain Boundaries on Thin Film cell 	performance”, in National CdTe R &D Team Meeting Minutes, Golden, CO, January 27-28, 	2000.

# Text boxes

G  .56

H  .49

I  .51

J  .56

K  .49

L  .41

M  .49

N  .47