Triangle PEERS

Research Triangle Park

North Carolina

## April 23, 2003

Dockets Management Branch (HFA-305)

### Food and Drug Administration

5630 Fishers Lane, rm. 1061

Rockville, MD  20852

Re: Docket Nos. 03D-0060, 99D-1458, 00D-1538, 00D-1543, 00D-1542, and 00D-1539

To Whom It May Concern:

Triangle PEERS is pleased to submit comments in response to the FDA’s Draft Guidance for Industry on “Part 11, Electronic Records; Electronic Signatures – Scope and Application” issued February 2003.  Triangle PEERS is an informal association comprised of entities and individuals in North Carolina with an interest in the implementation and enforcement of 21 CFR Part 11.

# General Comments on Draft Guidance

Triangle PEERS applauds the FDA for moving towards a more practical approach for implementation and enforcement of Part 11 that allows industry greater flexibility while maintaining integrity of electronic data.  In particular, Triangle PEERS is pleased that the FDA has acted to narrow the scope of Part 11 which had been broadened since 1997 through a number of informal interpretations and previous draft Guidances.  Further, we support the Agency’s decision to exercise enforcement discretion in certain areas while it considers revising the Part 11 regulation.

We are, however, concerned that the Draft Guidance provides limited explanation of this enforcement discretion.  We urge the Agency to clarify this matter in the final Guidance as soon as possible.

We note that the Draft Guidance states that it is withdrawing numerous earlier draft Guidances, and the document includes a non-exhaustive list.  However, Triangle PEERS asks that the Agency specifically confirm that the FDA Guidance for Industry, Computerized Systems Used in Clinical Trials, April 1999, which had been heavily relied upon by the industry, has also been withdrawn.  The Introduction, Section I of that document, specified that it “addresses requirements of the Electronic Records/Electronic signatures rule (21 CFR part 11).”  If not withdrawn, the Agency should address direct conflicts between the two Guidance documents.  See for example, Computerized Systems Used in Clinical Trials, Section III.H: “Changes to data that are stored on electronic media will always require an audit trail, in accordance with 21 CFR 11.10(e),” which apparently contradicts Section III.C (2) of the Draft Guidance.

We understand that the Preamble comments to 21 CFR Part 11 do not have the authority of law or regulation and served as Guidance for the Agency’s thinking when issued in August 1997.  Now, the Draft Guidance “describe[s] the Agency’s current thinking” on Part 11.   Nevertheless, to reduce possible misunderstanding by the industry, Triangle PEERS strongly suggests that the Agency issue instructions in the final FDA Guidance, Scope and Application, stating that in the event of inconsistencies or conflicting language between the final Guidance document and the Preamble comments to 21 CFR Part 11, then the language of the final Guidance document would prevail.

# Section II.  Background

Triangle PEERS notes that the withdrawal in toto of the previously issued draft Guidance documents and the Compliance Policy Guide 7153.17 leaves the Industry without current guidance in certain areas.  For instance, the withdrawn Time Stamps draft Guidance was helpful in terms of advising industry how to implement workable solutions to ensure time stamp accuracy.  In particular, Section 5.3, Time Zones, of that draft Guidance set forth the Agency’s revised position and specifically superseded comment #101 of the Preamble to Part 11 with respect to the time zone to be recorded.  Comment #101 stated that, “Regarding systems that may span different time zones, the agency advises that the signer’s local time is the one to be recorded.”  Allowing industry to implement time stamps with clear documented references to the time zone used was a helpful solution for time zone accuracy.  Triangle PEERS urges FDA to clarify its position on Preamble comment #101 in light of the withdrawn Time Stamp draft Guidance.

# Section III.B. 1.  Narrow Interpretation of Scope

The narrowed interpretation of the scope of Part 11 is most welcome but some clarification is requested.  Industry needs information from the FDA regarding Part 11 applicability where ostensible predicate rules exist but do not address or require specific records.  Specifically, we ask for guidance where predicate rules require an activity but do not mention record requirements to demonstrate fulfillment of that activity.  In such instances, is it an appropriate interpretation that electronic records maintained to prove that the activity occurred are not within the scope of predicate rules to trigger Part 11?  For example, 21 CFR §312.50 and §312.56 require sponsors to monitor the progress of clinical investigations, yet no records are specifically mentioned.  As a result, it would appear that monitoring visit reports retained electronically would not be subject to predicate rules with respect to Part 11, but would fall under the risk assessment approach enunciated in the new Draft Guidance.

Another area for clarification regards hybrid systems.  In almost every case, computer systems allow printouts of records.  We ask that the Agency provide some clarification regarding when a system is considered truly “merely incidental” to creation of the records that are then used in paper.  Several examples of what do and do not constitute “the merely incidental use of computers” (lines 151-154) would be useful.

The Draft Guidance indicates the acceptability of retaining electronic records in forms other than electronic format so long as predicate rules are complied with and other forms of the records preserve content and meaning.  With many current laboratory instrument systems, the raw data is recorded on a computer, and it is important to keep the original raw data.  Some have interpreted this to require retention in the original electronic format, which is technologically burdensome over time and apparently conflicts with the Draft Guidance.

In our view, any seeming inconsistency between 21 CFR §58.190 of the Good Laboratory Practice (GLP) regulations and the Draft Guidance can be reconciled as follows.  In 21 CFR §58.190(a), it states: "All raw data, documentation, protocols, final reports and specimens generated as a result of a nonclinical study shall be retained."  If FDA interprets the word "generated" as referred to in lines 151-154 of the Draft Guidance to include the printing out of a paper record, then the paper record could be considered the "original raw data" that has been "generated."  In that case, only the paper record would need to be retained.  Per this subsection, we ask for confirmation that if data and information are gathered via electronic laboratory equipment and a paper record is generated from that equipment, then the paper record may be treated as the original raw data (source document) so that only the paper record needs to be retained.

# Section III.B. 2.  Definition of Part 11 Records

In this section of the Draft Guidance, a firm can determine in advance whether its official record is paper or electronic, although it retains both formats.  In order to be consistent with the Draft Guidance, Triangle PEERS recommends that the FDA Inspector review the records in the format designated by the company as the “official record.”

Triangle PEERS draws Agency attention to the lines 184 through 190 in the Draft Guidance.  In particular, lines 187-190 indicate “a record that is not itself submitted, but is used in generating a submission, is not a Part 11 record unless it is otherwise required to be maintained by a predicate rule and it is maintained in electronic format.”  What does the Agency intend by the phrase “used in generating a submission”?  Does this specifically refer to a document submission system that collects and/or collates data, which is subsequently submitted to the Agency by the same system?  Or does this mean any system that collects data (not required by predicate rule) but which is used to calculate parameters required by predicate rules, and then those parameters are part of the data included in the Agency submission?

# Section III.C.1.  Validation

Triangle PEERS notes that the Draft Guidance allows considerable leeway in determining the necessity for validation.  Some of the language in section III is vague and can appear to contradict the expressed intent.  For example, lines 36-37 state, “We will not normally take regulatory action to enforce compliance with the validation . . . requirements of Part 11 as explained in this guidance.”  Lines 203-210, however, discuss validating a system even if there is no predicate rule requirement for validation.  Accordingly, the details in section III are inconsistent and could create industry disparity in determining appropriate validation activities.

Consequently, this inconsistency could foster varying enforcement discretion among FDA Inspectors with respect to Part 11 and validation.  For instance, one company could be cited by the Agency because that company claims a system is critical and then does a poor job of validation and implementation (i.e., system not under control).  In contrast, another company may escape Agency citation by developing justification that the same system used in the same manner is not critical, and therefore, Part 11 and validation do not apply.  Accordingly, Triangle PEERS urges Agency consistency in the issuance of citations and recommends citations include sufficiently detailed explanations to enable the industry to understand FDA’s expectations for validation and Part 11 compliance.

Further, the reference in the Draft Guidance to NIST Special Publication SP800-30: Risk Management Guide for Information Technology Systems is somewhat helpful, but that publication is intended to address risk to systems, not to patient safety and product quality.  This NIST publication also outlines a cumbersome and voluminous risk assessment process.  Triangle PEERS requests that the Agency provide more practical guidance regarding the Agency’s expectation regarding the content and scope of the risk assessment documentation process.

# Section III.C.2.  Audit Trail

This section on audit trail options provides more flexible alternatives while allowing organizations to address the overall concerns for sequencing events and providing attributability.

Section III.C.3.   Legacy Systems

We ask that the Draft Guidance use consistent language to reflect when the Agency intends to exercise enforcement discretion with regard to legacy systems.  Section I. Introduction, lines 41- 44, indicate that the Agency “will not normally take regulatory action to enforce Part 11 with regard to systems that were operational before August 20, 1997, the effective date of Part 11. . . ”  This language allows for broader inclusion of legacy systems for potential enforcement discretion than is expressed in Section III.C.3.  Lines 236-237, however, clearly limit the enforcement discretion to “legacy systems that otherwise met predicate rule requirements prior to August 20, 1997, the effective date of Part 11.” (emphasis added).  Triangle PEERS recommends that the Agency amend lines 41-44 and 236-237 as appropriate for consistency of interpretation.

Triangle PEERS strongly urges a clear explanation regarding how the Agency will treat legacy systems that have been enhanced or changed since August 20, 1997, the effective date of Part 11.  Common sense coupled with technological innovation suggests that very few legacy systems would be operational today that had not undergone some change or enhancement in the past six years.  The extent and allowability of change or enhancement of legacy systems need to be clarified in order to provide uniform industry understanding of the scope of the enforcement discretion for legacy systems.  We suggest that legacy systems that have been enhanced or changed since 1997, yet have been maintained in a state of control or validation, should retain the legacy system status.

# Section III.C.4.  Copies of Records

Triangle PEERS appreciates the Agency’s guidance on copies of records.

# Section III.C.5.  Record Retention

# Triangle PEERS commends the Agency for providing alternative mechanisms to address what is required by the Agency for long-term record retention.

However, footnote 6 referenced in this section provides examples of hybrid situations, which include “paper records and electronic signatures.” Triangle PEERS questions whether a valid electronic signature would be linked to an underlying paper record.  Accordingly, we recommend that footnote 6 be modified to read as follows: “Examples of hybrid situations include combinations of paper records and electronic records, or handwritten signatures executed to electronic records.”

* * *

In conclusion, Triangle PEERS considers the Draft Guidance a workable approach to Part 11.  However, we request clarification in several areas and urge consistent enforcement.

Triangle PEERS appreciates the opportunity to submit comments to FDA’s Draft Guidance for Industry on “Part 11, Electronic Records; Electronic Signatures – Scope and Application”.

Sincerely,

Lowrie M. Beacham

Co-Chair

Triangle PEERS

Research Triangle Park

North Carolina