Title: V9.1 SAS System Output
Author: SAS Version 9.1
Last saved by: dbeaty

09:19  Monday, November 13, 2006  

FY06 – LT-MDL Review – Alkaline Persulfate-Phosphorus, WCA

09:19  Monday, November 13, 2006  

LTMDL Review for Alkaline Persulfate-Phosphorus, WCA

09:19  Monday, November 13, 2006

09:19  Monday, November 13, 2006  

LTMDL Review for Alkaline Persulfate-Phosphorous, FCC

09:19  Monday, November 13, 2006  

LTMDL Review for Alkaline Persulfate-Nitrogen, FCC

09:19  Monday, November 13, 2006  

LTMDL Review for Alkaline Persulfate-Nitrogen, WCA

Analyte | TestID | Lab Code | Calculated Spike LT-MDL | Calculated Blank LT-MDL | Blank Corrected LT-MDL | LT-MDL in use | Update LT-MDL To: | Update LRL To: | Update?
N NH3-N WWR | 00610E | 2188 | 0.01694 | 0.02593 | 0.016 | 0.02 | | | N
Alkaline Persulfate-Phosphorus, WCA | 00665H | 2759 | 0.00836 | 0.01599 | 0.002 | 0.01 | 0.02 | 0.04 | Y
Alkaline Persulfate-Phosphorous, FCC | 00666I | 2757 | 0.01012 | 0.01125 | 0.002 | 0.01 | | | N
Alkaline Persulfate-Nitrogen, FCC | 62854A | 2754 | 0.04012 | 0.08742 | 0.036 | 0.03 | ~~0.087~~ | ~~0.17~~ | N
Alkaline Persulfate-Nitrogen, WCA | 62855A | 2756 | | | | 0.03 | ~~0.161~~ | ~~0.32~~ | N

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
00665H | 2759 | 044011W | 24 | 0.01 | 0 | 0.1543 | Normal
| | 04Bk | 17 | . | 0 | 0.9611 | Normal
| | 054019W | 23 | 0.035 | 0 | 0.3331 | Normal
| | 05Bk | 50 | . | 0 | 0.2389 | Normal
| | 066111W | 13 | 0.02 | 0 | 0.7137 | Normal
| | 06Bk | 15 | . | 0 | 0.6665 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
00666I | 2757 | 044011W | 23 | 0.01 | 0 | 0.1629 | Normal
| | 04Bk | 17 | . | 0 | 0.7577 | Normal
| | 054019W | 23 | 0.035 | 0 | 0.3852 | Normal
| | 05Bk | 50 | . | 0 | 0.0962 | Normal
| | 066110W | 14 | 0.02 | 0 | 0.2567 | Normal
| | 06Bk | 15 | . | 0 | 0.4238 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
62854A | 2754 | 044010W | 23 | 0.03 | 0 | 0.9633 | Normal
| | 04Bk | 17 | . | 0 | 0.7087 | Normal
| | 054018W | 24 | 0.105 | 0 | 0.8499 | Normal
| | 05Bk | 48 | . | 0 | 0.5354 | Normal
| | 066110W | 14 | 0.06 | 0 | 0.0116 | Non-normal
| | 06Bk | 15 | . | 0 | 0.7137 | Normal

TestID | Labcode | Solution | N | Expected | False Neg | P-value | distribution
62855A | 2756 | 044010W | 23 | 0.03 | 0 | 0.9297 | Normal
| | 04Bk | 17 | . | 0 | 0.6890 | Normal
| | 054018W | 23 | 0.105 | 0 | 0.9964 | Normal
| | 05Bk | 49 | . | 0 | 0.1990 | Normal
| | 066111W | 12 | 0.06 | 0 | 0.3613 | Normal
| | 06Bk | 14 | . | 0 | 0.0011 | Non-normal