## COI-NJD-NOH-I5-RATS-WOM-WOS-DC
JUNE 2009 | [7 empty] | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
COI | NJD | NOH | RATS | WoM | WoS | PDCI | Estimated Path Capacity | Day | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
C | [6 empty] | COI (N-S)
COI (S-N)
| J | [5 empty] | North of John Day
|  | H |  |  |  |  | North of Hanford
|  |  | R |  |  |  | RATS N>S
RATS S>N
|  |  |  | M |  |  | West of McNary
[5 empty] | S |  | West of Slatt
[6 empty] | D | PDCI NOB (N>S)
PDCI NOB (S>N)
PDCI Power Order (N>S)
PDCI Power Order (S>N)
[7 empty] | Description | Day: Util
|  | H |  |  |  |  | Olympia-Grand Coulee 1 287kV Line (Transformer work at Grand Coulee els 205163/dls 205180 | Day: BPA; 1 Mon: 0800 1800
| J |  |  | M | S |  | McNary-Ross 1 345kV Line (Replacing gunshot insulators) 204266 | Day: BPA; 22 Mon: 0700 1700; 23 Tue: 0700 1700; 24 Wed: 0700 1700; 25 Thu: 0700 1700; 26 Fri: 0700 1700
|  | H |  |  |  |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | Day: BPA; 30 Tue: 0800 C | to 26AUG09

## WoC-S, R-P, S-A & SoA
JUNE 2009 |  |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
WoC-S | RP | PA | S o A | Estimated Path Capacity | Day | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
S |  |  |  | West of Cascades - South |  | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
| R |  |  | Raver-Paul
|  | P |  | Paul-Allston
|  |  | A | South of Allston
|  |  |  | Description | Day: Util
|  | P |  | Satsop-Aberdeen 2 230kV Line (Tap changer service and oil mitigation at Aberdeen on Bank 4) els 203982/dls 2046261 | Day: BPA; 1 Mon: 0730 C; 2 Tue: C; 3 Wed: C; 4 Thu: C; 5 Fri: C; 6 Sat: C; 7 Sun: C; 8 Mon: C; 9 Tue: C; 10 Wed: C; 11 Thu: C; 12 Fri: C 1530
|  |  | A | McLoughlin-Sherwood 1 230kV Line (Proximity, stringing conductor for new McLoughlin-Wilsonville 115kV Line) els 196709/dls 196763 | Day: PGE; 1 Mon: 0800 1600; 2 Tue: 0800 1600; 3 Wed: 0800 1600; 4 Thu: 0800 1600; 5 Fri: 0800 1600; 8 Mon: 0800 1600; 9 Tue: 0800 1600; 10 Wed: 0800 1600; 11 Thu: 0800 1600; 12 Fri: 0800 1600; 15 Mon: 0800 1600; 16 Tue: 0800 1600; 17 Wed: 0800 1600; 18 Thu: 0800 1600; 19 Fri: 0800 1600; 29 Mon: 0800 1600; 30 Tue: 0800 1600 | to 28AUG09
| R |  |  | Olympia-Grand Coulee 1 287kV Line (Transformer work at Grand Coulee els 205163/dls 205180 | Day: BPA; 1 Mon: 0800 1800
| R | P |  | Chehalis-Centralia Switching Station Section of Chehalis-Covington 1 230kV Line (Replacing static wire) 204407 | Day: BPA; 8 Mon: 0700 C; 9 Tue: C; 10 Wed: C; 11 Thu: C; 12 Fri: C 1500
|  | P |  | Chehalis-PeEll Section of Chehalis-Raymond 1 115kV Line (Replacing poles at 1/1 to 1/19) els 204408/dls 204690 | Day: BPA; 15 Mon: 0700 2000; 16 Tue: 0700 2000; 17 Wed: 0700 2000; 18 Thu: 0700 2000; 19 Fri: 0700 2000
| R | P |  | Chehalis-Olympia 1 230kV Line (Replacing poles) els 204409/dls 204688 | Day: BPA; 22 Mon: 0700 C; 23 Tue: C; 24 Wed: C; 25 Thu: C; 26 Fri: C 1900
S |  |  | A | McNary-Ross 1 345kV Line (Replacing gunshot insulators) 204266 | Day: BPA; 22 Mon: 0700 1700; 23 Tue: 0700 1700; 24 Wed: 0700 1700; 25 Thu: 0700 1700; 26 Fri: 0700 1700
| R | P |  | Satsop 500/230kV Bank 1 (Tap changer service) 204300 | Day: BPA; 22 Mon: 0730 C; 23 Tue: C; 24 Wed: C; 25 Thu: C; 26 Fri: C 1530
| R | P |  | Paul-Satsop 1 500kV Line including Paul 500kV South Bus and PCB's 4530, 4540 & 4548 (Complete disconnect maintenance) 204490 | 26 Fri: 0700 1500
| R |  |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | Day: BPA; 30 Tue: 0800 C | to 26AUG09

## WoC-N, NI & ELM
JUNE 2009 |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
WoC-N | NI | ELM | NI & ELM Estimated Path Capacity | Day | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
C |  |  | West of Cascades - North
| N |  | Estimated NI Westside (N-S)
Estimated NI Westside (S-N)
|  | E | Echo Lake-Monroe flow gate
|  |  | Description | Day: Util
| N |  | Snohomish-Murray 1 230V Line (Wood pole replacement and danger tree removal) 192263 | Day: BPA; 15 Mon: 0600 1800; 16 Tue: 0600 1800; 17 Wed: 0600 1800; 18 Thu: 0600 1800; 19 Fri: 0600 1800; 22 Mon: 0600 1800; 23 Tue: 0600 1800; 24 Wed: 0600 1800; 25 Thu: 0600 1800; 26 Fri: 0600 1800
| N |  | Snohomish: PCB B-632 (Routine service) 203891 | Day: BPA; 15 Mon: 0700 1700
| N |  | Snohomish-Murray 1 230V Line including Snohmish PCB A0198 and 230kV Aux Bus (Complete service A-198 L/S and A/B Disc's) 204232 | Day: BPA; 26 Fri: 0600 1800
| N |  | Olympia-Grand Coulee 1 287kV Line (Transformer work at Grand Coulee els 205163/dls 205180 | Day: BPA; 1 Mon: 0800 1800
| N |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | Day: BPA; 30 Tue: 0800 C | to 26AUG09

## MT-WOH
JUNE 2009 |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
MT>NW | WoH | MT>NW & WOH OUTAGES | Day | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
M |  | Estimated MT>NW (E-W)
Estimated MT>NW (W-E)
| W | Estimated WOH (E-W)
|  | Description | Day: Util
M | W | Garrison-Taft 1 500kV Line (Spacer replacement) FY09 Spacer Replacement Program) | BPA | 0800 C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600
M |  | Garrison: 500kV West Bus including PCB's 4415, 4409 and 4463; 500/230kV Bank 1 and 500kV Rreactors 3&4 (Complete maintenancec on MOD's 4403, 4407, 408, 4414, 4462 and 4398) 204581 | Day: BPA; 15 Mon: 0630 C; 16 Tue: C 1500
M |  | Garrison: 500/230kV Bank 1 (Tap changer service) 204697 | Day: BPA; 16 Tue: 1500 C; 17 Wed: C; 18 Thu: C; 19 Fri: C; 20 Sat: C; 21 Sun: C; 22 Mon: C; 23 Tue: C; 24 Wed: C; 25 Thu: C; 26 Fri: C 1500
M |  | Taft: 500kV Reactor 1 (Diagnostic service) 204590 | Day: BPA; 24 Wed: 0815 C; 25 Thu: C; 26 Fri: C; 27 Sat: C 1500

## ID-NW
JUNE 2009 IDAHO-NW OUTAGES | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Day | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue
Estimated ID-NW E>W
Estimated ID-NW W>E
Estimated LaGrande E>W
Estimated LaGrande W>E
Estimated Harney
Description | Day: Util