# Attachment J-3

# NASA Facilities and Facility Systems

# at Vandenberg AFB

Building 836 -  	Payload Processing Facility (PPF)	55271	sq. ft.

Lab-1 Clean-room 	2450	sq. ft.,	Class 10K

Lab-1 GSE Area 	1818	sq. ft.,	Raised Floor

Lab-2 Clean-room 	3300	sq. ft.,	Class 10K

Lab-3 GSE Area 	1860	sq. ft.,	Raised Floor

Office Space 	5000	sq. ft.

Building 1610 - 	Hazardous Processing Facility (HPF)	4134 	sq. ft.

Clean-room 	2450	sq. ft.,	Class 10K

Hazardous Fuels Spill-Containment

High-Bay and Storage Room Explosion-Proof Equipment

Bldg. 810	Tracking Antenna	1000	sq. ft.

Bldg. 811	Tracking Station Bldg.	965 	sq. ft.

Bldg. 831	Tech Support Shop	6400 	sq. ft.

Bldg. 832	450’ Antenna Tower

Bldg. 833	Janitorial Storage	180	sq. ft.

Bldg. 834	Collection Accumulation Point (CAP)	1602 	sq. ft.

Bldg. 839	Stockroom/Supply	6364	sq. ft.

Bldg. 840	NASA Offices, Mission Director’s Center	26635 	sq. ft.

Bldg. 1601	Guard Shack	54 	sq. ft.

Bldg. 1603	Pump House	416	sq. ft.

Bldg. 1605	HPF Monitor/Control	1090	sq. ft.

|  |  | Responsibility Codes (1) |  |
| --- | --- | --- | --- |
| Facility | Facility System | ELVIS Contract | Air Force | Remarks |
| All Assigned Facilities |  |  |  |  |
|  | Walls, doors, windows | O, M, E, U |  | (3) |
|  | Floors, ceilings | O, M, E, U |  | (3) |
|  | Electrical wiring | O, M, E, U |  | (3) |
|  | Lights – inside, outside | O, M, E, U |  | (3) |
|  | Plumbing, building heat hot water | U | O, M, E | (2) |
|  | HVAC and Local Controls | U, O, M, E |  | (3) |
|  | Andover Facility Management System | O, M, E, U |  |  |
|  | Water chillers | U, O, M, E |  | (3) |
|  | Fuel supplies (propane, natural gas) | U | O, M, E | (2) |
|  | Fire alarm, sprinkler systems | U | O, M, E | (2) |
|  | Roads And Grounds | U | O, M, E | (2) |
|  | Roofs | U | O, M, E | (2) |
|  | Roll-up doors | O, M, E, U |  | (3) |
|  | Cipher locks | O, M, E, U |  |  |
|  | Cranes | O, M, E, U |  | (3) |
| Building 836 | Hangar rolling doors | O, M, E, U |  | (3) |
| Building 1605/1610 | Hazardous propellant containment systems | O, M, E, U |  |  |
|  | Hazard-proofed equipment | O, M, E, U |  | (3) |
|  | 225 KVA UPS (2ea) | O, M, E, U |  |  |
|  | 15 KVA UPS | O, M, E, U |  |  |
|  | Backup generators (5) | U | O, M, E | (2) |
|  | Air compressors (3) | O, M, E, U |  |  |

|  |  | Responsibility Codes |  |
| --- | --- | --- | --- |
| Facility | Support Equipment | ELVIS Contract | Air Force | Remarks |
|  | Air compressors (4) | U | O, M, E, | (2) |
|  | 2 large welders , 1 small welder (old but good cond.) | O, M, E, U |  |  |
|  | Plasma cutter (new) | O, M, E, U |  |  |
|  | Small paint booth | O, M, E, U |  |  |

- O = OPERATOR

M = MAINTAINER

E = SUSTAINING ENGINEERING

U = USER

(2)	The contractor may be required to provide maintenance and repair in particular cases where the USAF Base Civil Engineering (BCE) services cannot be obtained in a prompt manner.   In these cases services will be acquired through Task Orders issued by the Government (SOW Section 11.0).

(3) Facility modification, major repair and upgrades will be acquired through Fixed Price Task Orders issued by the Government (SOW Section 11.0).

(Intentionally Left Blank)