# FIELD SAMPLING

# Streamwater sample collection

Streamwater sampling technique

Streamwater—Bacterial indicators and coliphage

Streamwater—Cryptosporidium and Giardia

Streamwater—Enteric viruses

# Ground-water sample collection

Ground-water sampling technique.

Ground water—Bacterial indicators and coliphage

Ground water—Cryptosporidium and Giardia

Ground water—Enteric viruses

# References

Sampling for microorganisms requires that sampling equipment be clean and sterile and that attention to sterile technique be followed.  For more details on sampling for microorganisms, the reader is referred to U.S. Environmental Protection Agency (1978), Myers and Sylvester (1997), and Francy and others (2000), parts of which are included below.

# Streamwater sample collection

Streamwater sampling technique.  The spatial and temporal distribution of microorganisms in surface water can be as variable as the distribution of suspended sediment because microorganisms are commonly associated with solid particles.

- When collecting a sample for microorganisms, follow equal-width increment (EWI) or equal-discharge increment (EDI) methods described in Edwards and Glysson (1988), whenever possible, to ensure that a sample is representative of the flow in the cross section.

Because churn and cone splitters cannot be autoclaved, use a sterile 3-L bottle to composite subsamples when using EDI and EWI methods. If possible, composite by collecting subsamples at vertical locations in the cross section without overfilling the bottle.

- Collect a sample by the hand-dip method if the stream depth and (or) velocity is not sufficient to use depth-width integrating techniques, the stream is well mixed, and (or) project objectives do not require an EWI or EDI sample.

Streamwater—Bacterial indicators and coliphage. Samplers that may be used to collect streamwater for bacterial indicators and coliphage include the US-D77TM, US-D95, US-DH81, and weighted- and open-bottle samplers with autoclavable Teflon, glass, or polypropylene components.

- Clean the equipment coming in contact with the water with dilute liquinox, rinse it three times with tap and deionized water, and sterilize it (preferably by autoclaving).

- Prepare a separate set of sterile equipment (bottles, nozzles, and caps) for sampling at each site.

- Collect approximately 800 mL of streamwater for bacterial indicators or coliphage.

- Leave at least an inch of headspace in the bottle to allow adequate mixing and aeration.

- Process the samples for E. coli and (or) enterococci within 6 hours.

- For coliphage and Clostridium perfringens, send samples (at least 500 mL) on ice to the qualified laboratory to arrive within 48 hours after collection.

For E. coli in streamwater, use the mTEC (see mTEC method), modified mTEC, MI (see MI method), or Colilert (see Colilert Quantitray) methods.  For enterococci, the mEI method (see mEI) is recommended, although the mE method also may be used.  For coliphage, a quantitative assay is preferred, such as the single-agar layer method (see single-agar layer method).  For Clostridium perfringens, use the mCP agar method (see mCP agar method).

Streamwater—Cryptosporidium and Giardia. The standard samplers used in the USGS can be used to collect streamwater samples for Cryptosporidium and Giardia. Special sterilization procedures, however, are needed for equipment used in the collection of samples for Cryptosporidium and Giardia. Autoclaving is not effective in neutralizing the epitopes on the surfaces of the oocysts and cysts that will react with the antibodies used for detection. The following procedure is best done in the office with dedicated sampling equipment for each site; it may be done in the field as long as the bleach is stored and disposed of properly.

- Wash and scrub the equipment with soap and warm tap water to remove larger particulates and rinse with deionized water.

- Submerge the equipment in a vessel containing 12 percent hypochlorite solution for 30 minutes.

- Wash the equipment free of  residual sodium hypochlorite with three rinses of filter-sterilized water; do not dechlorinate the equipment using sodium thiosulfate.

For analysis of water samples for Cryptosporidium and Giardia, USEPA Method 1623 is recommended (see Method 1623).

- Collect 10 L of streamwater for each protozoan pathogen using standard sampling techniques. Composite the sample in a 10-L cubitainer (Hedwin Corporation, Baltimore, MD) that is presterilized by the manufacturer.

- Send 10-L samples in a cubitainer to a qualified laboratory to arrive within 48 hours after collection

- The sample does not have to be kept on ice during transport.

Streamwater—Enteric viruses.  A different procedure is used to collect samples for enteric viruses than for bacterial indicators, coliphage, or protozoan pathogens.

- Because large volumes of water are needed, water samples are filtered in the field and EDI or EWI techniques are not possible.

- Collect a sample from several sections of the cross section, if possible, by placing the pump tubing in each vertical section.

The analyzing laboratory should instruct you on how to collect the sample, provide you with a specially designed sampling apparatus containing a Virosorb 1MDS filter (Cuno, Meriden, Conn.), and advise on the quantity of water needed (usually about 100 L of streamwater).

- Use a specially-designed sampling apparatus to filter the sample on site.

- Clean the sampler with dilute liquinox, rinse it with tap water and then deionized water, sterilize it with 10% household bleach, and rinse it with sodium thiosulfate and then sterile deionized water to remove any residuals.

- Place a Virosorb1MDS filter (Cuno, Meriden, Conn.), that removes viruses present in the water by charge interactions, in the sterile cartridge housing.

- After sampling, keep the 1MDS filter within the cartridge housing on ice.  Send the cartridge housing and 1MDS filter to a qualified laboratory, to arrive within 48 hours after collection, for virus elution, concentration, and detection.

Samples should be analyzed by both a molecular technique such as reverse-transcriptase-polymerase chain reaction (RT-PCR) and a cell-culture method (U.S. Environmental Protection Agency, 1996). A method that incorporates both techniques is integrated cell culture-polymerase chain reaction (ICC-PCR) (Reynolds and others 1996).  Molecular techniques target specific viruses, but cannot be used to detect the infectious state of a virus; it is usually a presence or absence method.  The cell culture method detects infectious viruses, but does not identify the type of virus. Cell culture methods require about 2 weeks to complete, whereas RT-PCR results are available in a few days.

# Ground-water sample collection

Ground water sampling technique.  Collecting ground-water samples by use of sterile technique requires knowledge of the type of well, its use, its construction, and its condition. Samples are collected once purging criteria have been met as described in Koterba and others (1995).

- In sampling wells with a dedicated pump, collect the sample directly from the tap into a sterile container.

- Swab the tap with ethanol and let dry before sampling.

A tap that yields water directly from the well and before entering any kind of holding tank is preferred. Water collected after treatment is unsuitable for microbiological analysis.

For wells without in-place pumps, samples should be obtained by use of the following methods (in descending order from most to least desirable): (1) a peristaltic or vacuum pump with autoclavable silicon tubing, (2) a sterile bailer, (3) a chlorine-disinfected pump and tubing, or (4) a detergent-cleaned pump and tubing. Refer to Myers and Sylvester (1997) for a detailed discussion of ground-water sampling for microbiological analysis.

- If using a detergent-cleaned pump and tubing, collect additional field blanks to evaluate the effectiveness of the cleaning procedure.

Ground water—Bacterial indicators and coliphage.  In sampling ground water for bacterial indicators and coliphage, simply fill a clean and sterile sample bottle directly from the tap or line.

- Use any autoclavable Teflon, glass, or polypropylene sample bottle.

- Clean the sample bottle and equipment coming in contact with the water with dilute liquinox, rinse it three times with tap and then deionized water, and sterilize it by autoclaving or using bleach and sodium thiosulfate.

- Prepare a separate set of sterile equipment for sampling at each site.

- Collect approximately 800 mL for bacterial indicators. Two 100-mL aliquots are recommended plating volumes for ground water.

- Leave at least an inch of headspace in the bottle to allow adequate mixing and aeration.

- Process the samples for total coliforms, E. coli, and (or) enterococci within 6 hours.

- For Clostridium perfringens, send samples on ice to the qualified laboratory to arrive within 48 hours after collection. A 500-mL to 1-L plating volume is recommended.

- For coliphage, collect from 1-L to 4-L, depending on project objectives.  Send the sample on ice to the qualified laboratory to arrive within 48 hours after collection.

For total coliforms and E. coli in ground water, use the mENDO and NA-MUG (see mENDO and NA-MUG method), the MI (see MI method), or the Colilert Quantitray or Colilert presence/absence (see the Colilert system) methods.  For enterococci, the mEI method (see mEI) is recommended, although the mE method may also be used.  For coliphage in ground water, a presence/absence assay is recommended (see two-step enrichment method). For Clostridium perfringens, use the mCP agar method (see mCP agar method).

Ground water—Cryptosporidium and Giardia. In most circumstances, sampling ground water for Cryptosporidium and Giardia is not recommended.  If ground water is under the influence of surface water or suspected to be contaminated from protozoan pathogens, follow streamwater sampling instructions with some obvious modifications.

Ground water—Enteric viruses.  A different procedure is used to collect samples for enteric viruses than for bacterial indicators or coliphage.

- Because large volumes of water are needed, water samples are filtered in the field.

- Collect a sample by attaching the intake line from a specially designed sampling apparatus directly to the tap or by inserting the intake line down the wellhead.

The analyzing laboratory should instruct you on how to collect the sample, provide you with a specially designed sampling apparatus containing a Virosorb 1MDS filter (Cuno, Meriden, Conn.), and advise on the quantity of water needed (usually about 2,000 L of ground water).

- Use a specially designed sampling apparatus to filter the sample on site.

- Clean the sampler with dilute liquinox, rinse it with tap water and then deionized water, sterilize it with 10% household bleach, and rinse it with sodium thiosulfate and then sterile deionized water to remove any residuals.

- Place a Virosorb1MDS filter (Cuno, Meriden, Conn.), that removes viruses present in the water by charge interactions, in the sterile cartridge housing.

- After sampling, keep the 1MDS filter within the cartridge housing on ice.  Send the cartridge housing and 1MDS filter to a qualified laboratory, to arrive within 48 hours after collection, for virus elution, concentration, and detection.

Samples should be analyzed by both a molecular technique such as reverse-transcriptase, polymerase chain reaction (RT-PCR) and a cell-culture method (U.S. Environmental Protection Agency, 1996). A method that incorporates both techniques is integrated cell culture polymerase chain reaction (ICC-PCR) (Reynolds and others 1996).  Molecular techniques target specific viruses but cannot be used to detect the infectious state of a virus; it is usually a presence or absence method.  The cell culture method detects infectious viruses, but does not identify the type of virus. Cell culture methods require about 2 weeks to complete, whereas RT-PCR results are available in a few days.

# REFERENCES

Edwards, T.K., and Glysson, G.D., 1988, Field methods for measurement of fluvial sediment: U.S. Geological Survey Techniques of Water-Resources Investigations, book 3, chap. C2, 80 p.

Francy, D.S., Myers, D.N., and Helsel, D.R., 2000, Microbiological monitoring for the U.S. Geological Survey National Water Quality Assessment Program: U.S. Geological Survey Water-Resources Investigations Report 00-4018, p. 17-21.

Koterba, M.T., Wilde, F.D., and Lapham, W.W., 1995, Ground-water data-collection protocols and procedures for the National Water-Quality Assessment Program—Collection and documentation of water-quality samples and related data: U.S. Geological Survey Open-File Report 95-399, 113 p.

Myers, D.N., and Sylvester, M.D., 1997, National field manual for the collection of water-quality data—Biological indicators: U.S. Geological Survey Techniques of Water-Resources Investigations, book 9, chap. A7, 38 p.

Reynolds, K.A., Gerba, C.P., and Pepper, I.L., 1996, Detection of infectious enteroviruses by an integrated cell culture-PCR procedure: Applied and Environmental Microbiology, v. 62, no. 4, p. 1424-1427.

U.S. Environmental Protection Agency, 1978, Microbiological methods for monitoring the environment—Water and wastes: Washington, D.C., U.S. Environmental Protection Agency, EPA-600/8-78-017, p. 5-31.

U.S. Environmental Protection Agency, 1996, EPA Information Collection Rule microbial laboratory manual: Washington, D.C., EPA/600/R-95/178.