July 22, 1994

Contract #TW0592

SPECIAL STANDARD SPECIFICATION

SECTION 09511-S

ACOUSTICAL PANEL CEILING

Page

PART 1 - GENERAL

1.01	Description Of Work	2

1.02	Submittals	2

1.03	Quality Assurance	32

1.04	Delivery, Storage And Handling	3

1.05	Project Conditions	3

PART 2 - PRODUCTS

2.01	Acceptable Manufacturers Ceiling Panels	3

2.02	Ceiling Panels Suspension Materials	43

2.03	Ceiling Suspension Materials	5

2.04	Security System	6

PART 3 - EXECUTION

3.01	Examination	64

3.02	Preparation	64

3.03	Installation	64

3.04	Field Quality Control	75

3.05	Clean And Adjust	75

SPECIALSTANDARD SPECIFICATION

SECTION 09511-S

ACOUSTICAL PANEL CEILING

PART 1 - GENERAL

1.01	DESCRIPTION OF WORK

This section includes acoustical panel ceilings installed with exposed suspension systems.  Extent of acoustical ceiling is shown on the contract drawings.

1.02	SUBMITTALS

A.	Manufacturer's product specifications and installation instructions for each acoustical ceiling material, and suspension system, and security lay-in system required, including certified laboratory test reports and other data as required to show compliance with these specifications.

Provide manufacturer's recommendations for cleaning and refinishing acoustical units, including precautions against materials and methods which may be detrimental to finishes and acoustical performances.

B.	Coordination drawings for reflected ceiling plans drawn accurately to scale and coordinating penetrations and ceiling-mounted items.  Show the following:

1.	Ceiling suspension system members.

2.	Method of attaching suspension system hangers to building structure including seismic bracing.

3.	Typical ceiling-mounted items including light fixtures; air outlets and inlets; speakers; sprinklers; and special moldings at walls, column penetrations, and other junctures of acoustical ceilings with adjoining construction.

4.	Minimum Drawing Scale:  1/4 inch = 1 foot.

C.	Samples for verification of each type of exposed finish required, prepared on samples of size indicated below.  Where finishes involve normal color and texture variations, include sample sets showing the full range of variations expected.

1.	Full-size samples of each acoustical panel type, pattern, and color.

2.	Set of 12-inch-long samples of exposed suspension system members, including moldings, for each color and system type required.

DB.	Material Safety Data Sheet (MSDS) required for the ceiling panels.

EC.	Installer experience qualification data.

FD.	Product test reports on the ceiling panels that show compliance with the requirements of ASTM E 84 for flame spread and smoke developed.

1.03	QUALITY ASSURANCE

A.	Installer Qualifications:  Firm with not less than 3 years of successful experience in installation of acoustical ceilings similar to requirements for this project and which is acceptable to manufacturer of acoustical units.

B.	Fire Performance Characteristics:  Acoustical ceilings are specified to comply with fire hazard classification for flame spread and smoke developed.  Provide acoustical materials that have been tested, rated and labeled by Underwriter's Laboratories (UL), as listed in the latest edition of "Building Materials Directory."

1.	Flame Spread:  Maximum 25 per ASTM E 84.

2.	Smoke Developed:  Maximum 50 per ASTM E 84.

C.	All products used shall not contain asbestos fibers.

1.04	DELIVERY, STORAGE AND HANDLING

Deliver stock of maintenance material to the Sandia Delegated Representative (SDR), if indicated in the contract documents.  Furnish full-size units matching installed units, packaged in cartons for storage and identified with appropriate labels, including building and room numbers.

1.05	PROJECT CONDITIONS

Do not install interior acoustical ceilings until space is enclosed and weatherproof, wet work in space is completed and nominally dry, work above ceilings is completed, and ambient conditions of temperature and humidity will be continuously maintained at values near those indicated for final occupancy.

PART 2 - PRODUCTS

2.01	ACCEPTABLE MANUFACTURERS

A.	Acoustic Panels

1.	Armstrong World Industries, Inc.

2.	USG Interiors, Inc.

3.	Celotex Building Products Division, The Celotex Corporation

B.	Ceiling Suspension System

1.	Armstrong World Industries, Inc.

2.	Celotex Building Products Division, The Celotex Corporation

3.	Chicago Metallic Corp.

4.	Donn Corp.

5.	National Rolling Mills

6.	USG Interiors, Inc.

C.	Security  Clips

1.	You-Nique

2.0201	CEILING PANELS

A.	Minaboard Cortega Fire Guard #823 white, as manufactured by Armstrong World Industries, Inc. or Omni fissured Fire Code as manufactured by USG Corp.

Wet-formed Mineral Fiber Acoustical Panels with square cut lay-in edge, 24 inches by 24 inches by 5/8 inch thick and of density not less than 1.0 pound per cubic foot, medium-course nondirectional texture, NRC 0.55 to 0.60, STC 40 to 44, light reflectance over 0.80 and average R insulation factor at 75 degrees F of 1.5.

B.	Grooved Crossgate #2628 white, as manufactured by Armstrong World Industries, Inc.

Wet-formed Mineral Fiber Acoustical Panels with two tegular cut edges, 24 inches by 24 inches by 3/4 inch thick and of density not less than 0.8 pound per cubic foot, semiconcealed five plank design, NRC 0.40, STC 35 to 39, light reflectance over 75 percent and average R insulation factor at 75 degrees F of 1.8.

C.	Vinyl Faced Acoustic Tile:  ML Fireguard manufactured by Armstrong World, Inc.

1.	Material:  wet formed mineral board

2.	Nonperforated

3.	Edge Condition:  square cut lay-in

4.	Size:  24 inches by 24 inches by 5/8 inch

5.	Color:  white

A.	General:  Provide manufacturer's standard lay-in panels with white washable finish.  Provide sizes as shown on reflected ceiling plans or 24" x 48" grid-sized panels, if not otherwise indicated.

B.	Mineral Fiber Acoustical Panels:  Provide units not less than 5/8" thick and of density not less than 10 pounds per cubic foot, medium-coarse non-directional texture, NRC 0.55 to 0.65, STC 40 to 44, and light reflectance over 75%.

Provide manufacturer's recommended standard lay-in panels with standard of quality as follows:

Minaboard Cortega Fire Guard - Armstrong World Industries, Inc. Omni Fissure Fire Code - USG Corp.

2.0302	CEILING SUSPENSION MATERIALS

A.	General:  Comply with ASTM C 635, as applicable to type of suspension system required for type of ceiling units indicated.

B.	Structural Class:  Intermediate-duty system.

C.	Attachment Devices:  Follow manufacturer's requirements.

Hanger Wires:  ASTM A 641, galvanized carbon steel, soft temper, prestretched, 12 gauge (0.106") minimum.

D.	Type of System:  A direct-hung suspension system shall be used, unless existing building conditions restrict this system, and then the indirect-hung suspension system with carrying channels shall be used.  The carrying channels shall be 1-1/2" steel channels, hot-rolled or cold-rolled, not less than 0.1475 pounds per linear foot, galvanized.

E.	System Manufacturer:  Obtain suspension system from the acoustical unit manufacturer or from one of the following:

Chicago Metallic Corp.

Donn Corp.

W. J. Haertel Div., Leslie-Locke

National Rolling Mills Co.

F.	Edge Moldings:  Manufacturer's standard channel moldings for edges and penetrations of ceiling, with single flange of molding exposed, white baked enamel finish unless otherwise indicated.

1.	For circular penetrations of ceiling, provide edge moldings fabricated to diameter required to fit penetration exactly.

G.	Exposed Suspension System:  Manufacturer's standard exposed runners, cross-runners and accessories, with exposed cross-runners coped to lay flush with main runners.

For finish of exposed members, provide manufacturer's standard baked enamel finish, white, on exposed surfaces of ceiling suspension system, including moldings, trim and accessories, unless otherwise noted on drawings.

1.	Size:  15/16 inch

H.	Hold-down Clips:  Provide manufacture’s standard hold-down clips.

2.04	SECURITY CLIPS

A.	Provide Security Clips manufactured by You-Nique.

PART 3 - EXECUTION

3.01	EXAMINATION

Contractor shall examine conditions under which acoustical ceiling work is to be performed and must notify the SDR in writing of unsatisfactory conditions.  Do not proceed with work until unsatisfactory conditions have been corrected in a manner acceptable to SDR.

3.02	PREPARATION

A.	Coordination:  Furnish layouts for inserts, clips or other supports required to be installed by other trades for support of acoustical ceilings.

B.	Field verify:  Measure each ceiling area and establish layout of acoustical units to balance border widths at opposite edges of each ceiling.  Avoid use of less than half-width units at borders, and comply with reflected ceiling plans.

3.03	INSTALLATION

A.	General:  Install materials in accordance with manufacturer's printed instructions, and to comply with governing regulations, fire resistance rating requirements as indicated, and industry standards applicable to work.

Space main runners at 48" o.c. and supported at 48" o.c. maximum with cross T's at 24" o.c.

B.	Acoustical Panels:  Arrange as shown on reflected ceiling plans.  Install acoustical panels in coordination with suspension system, with edges concealed by support of suspension members.  Scribe and cut panels to fit accurately at borders and at penetrations.

C.	Suspension System:  Install suspension systems as recommended in ASTM C 636 and E 580 with hangers supported only from building structural members.

1.	Locate hangers not more than 8" from each end and spaced 4'-0" maximum along each main runner, or for the indirect-hung system, along each carrying channel, unless otherwise indicated, leveling to tolerance of 1/8" in 12'-0".

2.	Secure wire hangers by looping and wire-tying, either directly to structures or to inserts, eye-screws, or other devices which are secure and appropriate for substrate, and which will not deteriorate or fail with age or elevated temperatures.  Attachment devices shall be connected only to a structural building member (beams, joists, precast "T").

3.	Grid system shall be seismically braced in accordance with the requirements of ASTM E 580.

4.	Cross runners supported with 12-gage vertical wires attached to the building structure shall be provided at each end of each surface-mounted lighting fixture.

D.	Edge Moldings:  Install edge moldings at perimeter of acoustical ceiling area and at locations where necessary to conceal edges of acoustical units.  Place a bead of white silicone caulk between molding and wall edge to conceal irregular edges.

1.	Screw-attach moldings to substrate at intervals not over 16" o.c. into studs and not more than 3" from ends, level with ceiling suspension system.  Miter corners accurately and connect securely.

2.	Do not use exposed fasteners, including pop rivets on moldings and trim.

E.	Install  Security Clips in rooms with vault type ceilings.

F.	Install hold-down clips on vinyl-faced tile.

3.04	FIELD QUALITY CONTROL

Coordinate with other work supported by or penetrating through ceiling, including any light fixtures, HVAC equipment, or partition system.

3.05	CLEAN AND ADJUST

A.	Clean exposed surfaces of acoustical ceilings, including trim, edge moldings and suspension members; comply with manufacturer's instructions for cleaning and touch-up of minor finish damage.

B.	Remove and replace work which cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

END OF SECTION