DIRECTIVES, INSTRUCTIONS, POLICIES, AND REGULATIONS

I.	REFERENCES

A.	The work at MSFC requires compliance to many different standards and codes.  Typical of the standards and codes that may be imposed on the Contractor are:

FACTORY MUTUAL ENGINEERING CORPORATION (FM):  Factory Mutual Approval Guide

E-PTD-TOP-001,  TEST OPERATION PROCEDURE FOR WELDING QUALIFICATIONS

UNS S219000,  ARMOC NITRONIC 40 STAINLESS STELL BAR AND WIRE

UNS S21-04,

KSC-SPEC-Z-0004C, WELDING OF STRUCTURAL CARBON STEEL, LOW ALLOY STEEL, AUSTENITIC STAINLESS STEEL, AND ALUMINUM ALLOYS, SPECIFICATION FOR ENGINEERING DEVELOPMENT DIRECTORATE

ASME BOILER AND PRESSURE VESSEL CODES,

AWS STANDARDS

8.	National Aeronautics and Space Administration (NASA):

(a)	NHB 2710.1  NASA Safety and Health Handbook

(b)	NHB 1700.1 (VI)  NASA Safety Policy and Requirements Document

(c)	MMI 1700.16  Safety and Health Code

(d)	MPG 1700.1  MSFC Industrial Safety Procedures and Guides

NHB 8831.2A (1994) Facilities Maintenance and Energy Management Handbook

NSS/GO Safety Standards for Lifting Devices and EquipmentNSS/GO 1740.9B  Safety Standards for Lifting Devices and Equipment.

MARSHALL MANAGEMENT INSTRUCTIONS

MMI 1620.7  Access to Limited Areas of MSFC

MMI 1700.8  Safety Control of All Personnel in East and West Test Areas

MMI 1710.1  Safety Review and Approval of MSFC Hazardous Activities

MMI 1710.3  Hazard Warning Tags

MMI 1710.6  MSFC Program for Personnel Certification

MMI 1710.9  Protection of Personnel While Working Alone

MMI 6400.2  Packaging, Handling, and Moving Program Critical Hardware

MMI 6400.3  Safe Moving within MSFC of Nonflight Hardware and/or Equipment

MMI 6750.1  Accidents Involving Government-Owned, Leased, and Rental Vehicles

MISCELLANEOUS POLICIES AND PROCEDURES

MSFC-PROC-166  Procedure for Cleanliness of Hydraulic Systems Components

MSFC-PROC-547  Polyurethane Coating Application

MSFC-SPEC-164  Cleanliness of Components for use in Oxygen, Fuel, and Pneumatic System

MSFC-SPEC-504  Welding Aluminum Alloys

MSFC-STD-126 Inspection, Maintenance, Proof Testing and Certification of Handling Equipment

MSFC-STD-513  Standard, Certification of Equipment Operations and Materials Handling Personnel

MSFC-STD 1800  Electrostatic Discharge (ESD) Control for Propellant and Explosive Devices

MIL-STD-410  Qualification and Certification

MIL-STD-1246  Cleanliness Levels and Contamination Control

MIL-I-6870  Inspection Program Requirement Nondestructive for Aircraft and Missile Materials and Parts

29CFR 1910  Department of Labor; Occupational Safety and Health Standards

AMC-R 385-100  AMC Safety Manual

CQ 5300.36  MSFC Quality Assurance Plan

DOD 6055.9  Ammunition and Explosive Safety Standards

EP01-SOP-01  Standard Operations Procedure for Safety Critical Operations

EP01-8040.1  Test Program Control

EP01-8040.2 Test Operation Procedure Preparation and Change Control

EP01-8040.3  Test Preparation Sheet Implementation Instruction

National Electrical Code

NFPA Standards

S&E-5310.1  Policy and Procedure of Qualifications and Certification of Personnel for Fabrication and Inspection Processes

11. NATIONAL FIRE PROTECTION ASSOCIATION (NFPA):

(a)	NFPA 70 (1993) National Electrical Code

NFPA 72 (1993)  Installation, Maintenance, and Use of Protective Signaling Systems

NFPA 1 National Fire Codes

12.	UNDERWRITERSÕ LABORATORIES, INC. (UL):

Fire Protection Equipment Directory

UL 1971 Signaling Applications For the Hearing Impaired

13.      U.S. FEDERAL REGULATIONS

29 CFR 1960 Basic Program Elements for Federal Employee Occupational Safety and Health Programs and Related Matter

29 CFR 1910  Occupational Safety and Health Standards

29 CFR 1926  Safety and Health Regulations for Construction

49 CFR 200-399  Title

14.	 AMERICAN NATIONAL STANDARDS INSTITUTE (ANSI)

APPLICABLE STANDARDS

15.      ISO 9002 QUAILITY MANAGEMENT SYSTEM.

II.	ENVIRONMENTAL PROTECTION

A.	Regulation Compliance.  All environmental health and safety work shall be consistent with and in strict compliance with all NASA Health and Safety Manual requirements, and pertinent Federal, State, and local laws and regulations related to environmental management, pollution control and prevention, and protection of natural and cultural resources including, but not limited to, the following programs:

1.	Federal Water Pollution Control Act, as amended by the Clean Water Act of 1977 and the Water Quality Act of 1987 (33 U.S.C. 1251 et seq.).

2.	Clean Air Act, as amended by the Clean Air Act of 1977, and the Clean Air Act of 1990 (42 U.S.C. 7401 et seq.).

3.	Resource Conservation and Recovery Act of 1976, as amended by the Hazardous and Solid Waste Amendments of 1984 (42 U.S.C. 6901 et seq.).

4.	The Safe Drinking Water Act, as amended (42 U.S.C. 300f et seq.).

5.	Toxic Substances Control Act, as amended (15 U.S.C. 2601 et seq.).

6.	Comprehensive Environmental Response, Compensation, and Liability Act of 1980, as amended (42 U.S.C. 9601 et seq.), including the Superfund Amendments and Reauthorization Act of 1986 (42 U.S.C. 11001 et seq.).

7.	National Historic Preservation Act of 1966, as amended, as amended (16 U.S.C. 470 et seq.).

8.	Archaeological and Historic Preservation Act of 1974 (16 U.S.C. 469).

9.	Archaeological Resources Protection Act of 1979 (16 U.S.C. 470aa-47011).

10.	Native American Graves Protection and Repatriation Act of 1990 (25 U.S.C. 3001 et seq.).

11.	Fish and Wildlife Coordination Act (16 U.S.C. 661-666c).

12.	Fish and Wildlife Conservation Act.

13.	Endangered Species Act of 1973, as amended (16 U.S.C. 1531 et seq.).

14.	Migratory Bird Treaty Act (16 U.S.C. 703 et seq.).

15.	Pollution Prevention Act of 1990 (42 U.S.C. 13101 et seq.).

16.	Oil Pollution Act of 1990.

17.	Federal Facility Compliance Act of 1992 (Public Law 102-386).

18.	Office of Management and Budget (OMB) Circular No. A-106, dated December 31, 1974.

19.	Executive Order 12088, amended by Executive Order 12580, Federal Compliance with Pollution Control Standards.

20.	Executive Order 11990, Protection of Wetlands.

21.	Executive Order 12873 of October 20, 1993, Federal Acquisition, Recycling and Waste Prevention.

22.	Executive Order 12856  of August 3, 1993, Federal Compliance with Right-to-Know Laws and Pollution Prevention Requirements.

23.	Executive Order 12843 of April 21,1993, Procurement Requirements and Policies for Federal Agencies for Ozone Depleting Substances.

24.	Executive Order 12902 of March 10, 1994, Energy Efficiency and Water Conservation Act.

25.	Executive Memorandum of April 26, 1994, Environmentally and Economically Beneficial Practices on Federal Landscaped Grounds.

State and Local laws and regulations related to pollution abatement, prevention, and control, as may be applicable to the Federal Government:

(a)  ADEM Administrative Code 355-13, Solid Waste

(b)  ADEM Administrative Code 355-14, Hazardous Waste

27.	Environmental Excellence for the Twenty-First Century, NASA Strategy Document.

28.	NASA Policy Directive (NPD) 8800.16, NASA Environmental Management.

29.	Marshall Management Instruction (MMI) 8800.3 MSFC  Environmental Management.

30.	Federal Acquisition Regulation (FAR) Part 7, FAR Part 23, and NASA FAR Supplement Part 18-23.

31.	Federal Insecticide, Fungicide, and Rodenticide Act. (FIFRA)

B.	Policy.  It is NASA MSFC policy to:

1.	Comply with all pertinent statutory and regulatory environmental requirements and Executive Orders.  Environmental requirements encompass issues related to environmental management including but not limited to energy efficiency and water conservation, hazardous waste management, protection of cultural and natural resources, environmental justice, restoration and remediation of contaminated sites, and pollution prevention.  MSFC recognizes and complies with applicable Federal, State, local, and territorial environmental regulations.

2.	Give significant consideration to environmental factors at every step in program development and execution.  This requirement will include life cycle analysis of costs and environmental impacts of program and process alternatives.  Review of this requirement will be a regular part of the program management process.

3.	Consult, as appropriate, with Federal, State, and local agencies, and NASA health and safety and environmental rules and regulations including the following concerning the best techniques and methods to prevent, control, and abate environmental pollution, and to protect natural and cultural resources.

(a)	U.S. Environmental Protection Agency (EPA)

(b)	U.S. Fish and Wildlife Service

(c)	U.S. Army Corps of Engineers

(d)	Advisory Council on Historic Preservation

Alabama Department of Environmental Management

Promote employee awareness of environmental regulations through training and dissemination of active information.

OCCUPATIONAL AND ENVIRONMENTAL HEALTH

Procedural and Regulatory Guidance.  The latest edition of the following regulatory procedural guidance will be followed in accomplishing the requirements of this contract.  Other applicable regulations and procedures will be complied with as set forth in the proposed contract schedule.  This listing is not all inclusive and is not intended to relieve the contractor of his responsibilities for identification of other applicable regulations and procedures and compliance herewith, while performing work on site at MSFC.

E.O. 11612	Occupational Safety and Health Act of 1970

E.O. 12196	Occupational Safety and Health Programs Federal 		Employees

10 CFR	NRC Rules and Regulations

MM 1040.3	MSFC Emergency Plan

NHB 1700.1	Basic Safety Manual

MMI 1810.1	Occupational Medicine Program

MMI 1810.3	Respiratory Protection Program

MMI 1820.1	MSFC Hearing Conservation Program

MMI 1840.1	Environmental Health Services

MMI 1845.1	Hazard Communication Program

MM 1845.2	MSFC Hazardous Chemicals in Laboratories Protection 		Program

MM 1845.3	Confined Space Entry Program

NHS/IH-1845.3	Hazard Communication

NHS/IH-1845.4	Hearing Conservation

NHS/IH-1845.5 	Occupational Exposure to Hazardous Chemicals in 	Laboratories

MM1860.2	Radiation Safety Manual

MMI 1860.3	Control of Hazards from Laser Radiation

ANSI	American National Standard for Safe Use of Lasers