### Section C

Statement of Work

Center Institutional Safety Services

Center Institutional Safety Services

Preface

P.1	Purpose

The Center Institutional Safety Services (CISS) contract provides safety and fire protection services to support the National Aeronautics and Space Administration’s (NASA) Johnson Space Center (JSC) in accomplishing its institutional safety program objectives.  Major areas of the contract include safety, fire protection, training, maintenance of fire protection systems, test safety, safety information systems, and special projects. The contractor will specifically support the JSC Safety and Test Operations Division whose mission is to help line management and employees in reducing and preventing injuries to NASA personnel and damage to NASA equipment.

P.2	Work Environment

The primary work areas for this contract are aerospace facilities at the NASA Johnson Space Center, Houston, Texas, and related operations at Ellington Field (EF), Houston, Texas, and Sonny Carter Training Facility (SCTF), Houston, Texas.  EF and SCTF are considered part of JSC.  Intermittent support may be required at other sites for which JSC has responsibility such as the Forward Operating Location (FOL), El Paso, Texas; the White Sands Test (WSTF) Facility, Las Cruces, New Mexico; and other continental United States sites. Safety support may also be required at locations where JSC has interests such as offsite contractor locations, other NASA centers, and non-NASA locations (both foreign and domestic).

Much of the work under the contract will be performed in an office environment on-site at JSC. The nature of the work shall require contractor personnel to enter other JSC work areas such as laboratories, hazardous facilities, construction areas, and machine shops.  Contractor personnel will interface directly with other JSC personnel, including senior management and contractor personnel.

P.3	Scope

It is a NASA priority to avoid loss of life, personal injury or illness, property loss or damage,

or environmental harm and to follow all applicable federal, state, and local regulations. At JSC, safety and health is the responsibility of both line management and employees. The Safety and Test Operations Division, with support from the CISS Contractor, provides guidance and help as needed, ensures that line management is fulfilling its safety responsibilities, and maintains JSC fire protection systems. Work includes consultation, audits, surveys, inspection, training, management reviews, investigations, engineering analysis, and development and review of other safety related documentation.

The following are the major functional areas of this contract (not in priority order):

- Engineering Analysis and Support

- Verification Audits and Inspections

- Test Safety Support

- Fire Protection Systems Maintenance Services

- Mishap Investigation

- Safety Program Management, Development and Evaluation

- Safety Awareness and Motivation

- Safety Information Management

- NASA Safety Training Center

- Energy Control Equipment Management

P.4	Other relevant interfaces

The contractor shall interface with the following:

- Occupational Medicine

- OSHA Voluntary Protection Program (VPP)

- NASA Headquarters

- NASA Safety Center

- JSC Quality Management System (QMS)

- JSC Environmental Management System (EMS)

- JSC Risk Management

- Center Operations Directorate (COD)

- Emergency Operations Center (EOC)

- NASA Contractors

P.5	Definitions and Acronyms

See Section J, Attachment J-1 for definitions of terms and acronyms used in this Statement of Work (SOW).

1.0		Management

The contractor shall document its approach to organizing and managing the work on the contract in a management plan to be approved by NASA.  The plan shall be traceable to the SOW sections and address the items described in Data Requirements Description (DRD) 2, Management Plan.  Once the plan is approved, the contractor shall follow the plan in managing the contract and update the plan, with NASA approval, as necessary.

The contractor shall have the authority to direct that imminent hazards be made safe immediately or stop the work in progress.

1.1  General requirements

The contractor shall, as a minimum:

- Ensure that the obligations of this SOW are fulfilled.

- Provide accurate and timely guidance and feedback to JSC line organizations and contractors as required in various sections of this SOW.

- Recommend innovative solutions to safety problems and efficiency improvements to safety processes.

- Manage the contract activities per the JSC risk management process.

- Meet established schedules.

- Document safety processes performed under the CISS contract and maintain accurate records.

- Represent the Safety and Test Operations Division in a professional manner and work as a team with JSC line organizations, contractors and emergency response personnel.

- Immediately inform the Contracting Officer (CO) and the Contracting Officer’s Technical Representative (COTR) when the contractor has directed that work be stopped due to imminent hazards and state the reasons for stopping work.

- Immediately inform the COTR when a dispute over safe designs or safe practices between the CISS contractor and another JSC organization or contractor has arisen or is expected.

- Submit written management reports as required by the Data Requirements List (DRL) and associated DRDs in Section J, Attachment J-2.

1.2	Safety and Health

The contractor shall ensure the protection of its personnel, property, equipment, and the environment in its products and activities under the contract.

To ensure compliance with pertinent NASA policies and requirements and federal, state, and local regulations for safety and health, environmental protection, and emergency preparedness, the contractor shall develop and implement a safety and health program as described in DRD 3, Safety and Health Plan, as approved by NASA.

The contractor shall develop and implement risk management techniques for the purpose of eliminating or controlling hazards as specified in NASA policies and requirements for hazard reduction.

1.3  Quality management

# The contractor shall comply with the JSC QMS.  The contractor shall also develop a quality plan specifically for this contract as described in DRD 4, Quality Plan, and the following applicable documents:

- JPR 1700.1, JSC Safety & Health Handbook

## JPR 1280.2, Quality Manual

1.4  Environmental management

## The contractor shall follow JSC’s Environmental Management System as described in:

## JPR 8550.1, JSC Environmental Compliance Procedural Requirements

## JPR 8553.1, JSC Environmental Management System Manual

1.5	Professional qualifications and certification requirements

The contractor shall maintain personnel and company certifications described below. The contractor shall establish and operate a thorough training and certification program for its employees.  The training program shall ensure that contractor personnel understand the critical nature of NASA human spaceflight programs including training and testing facilities, ground support facilities, and operations at JSC.  Contractor personnel shall meet all applicable federal, state, local, NASA, and JSC certification requirements for any work on this contract.

The contractor shall have at least one of each of the following as a full time, on site employee:

- Registered as a Professional Engineer, with specialty in electrical, civil, general engineering sciences, mechanical or industrial in the State of Texas. This staff member shall be active and in good standing with the Texas State Board of Professional Engineers.

- Registered as a Professional Engineer with a specialty in fire protection engineering in the State of Texas and is active and in good standing with the Texas State Board of Professional Engineers.

- Currently registered Certified Safety Professional.

The contractor’s personnel training and certification program for employees listed below shall include these specific areas as a minimum:

1.5.1     Safety Engineers shall be proficient in OSHA Standards and Publications, Risk Management, and system safety techniques such as, hazard analysis, failure modes and effects analysis (FMEA's), integrated FMEA's, fault tree analysis, and hazards & operability studies (HAZOPS).  They shall be familiar with: their assigned facilities and laboratories; receive training for specific areas as required for safe access; and, have working knowledge of NFPA Codes.  Construction Safety Engineers shall be proficient in construction safety requirements and practices.

1.5.2     Fire Protection Engineers shall be proficient in current National Fire Protection association (NFPA) Codes and have a working knowledge of OSHA Standards and Publications, risk management, and system safety techniques.

1.5.3    Maintenance Technicians shall be trained on each system they are required to maintain including the functional operations of the systems and components and preventive maintenance procedures. Technicians shall be certified under the fire alarm rules and regulations for the State of Texas, as defined by the Texas Insurance Code and the Texas Commission on Fire Protection.   The company shall be certified by the Texas Commission on Fire Protection for this maintenance work.

1.5.4    Test Safety Officers shall be trained in general test safety and in specific test operations they will monitor. Test Safety Officers shall be certified under Unique Work Instruction NS-OHS-003, Training and Functions of Test Safety Officers.

  - Applicable Documents

The latest versions of the following documents, policies, and standards shall apply to the work in this SOW:

- JSC Procedures and Guidelines – JPR 1700.1, JSC Safety and Health Handbook, and all documents it references.

- JSC 05900, Emergency Preparedness Program

- JPR 5151.2, JSC Support Contractor Procedures and Guidelines

- Policies and standards of the following authorities:

- NASA and JSC

- Occupational Safety and Health Administration (OSHA)

- National Fire Protection Association (NFPA)

- American Society of Mechanical Engineers (ASME)

- American Society of Safety Engineers (ASSE)

- Appropriate recognized industry standards such as American National Standards Institute (ANSI)

The order of precedence is the most stringent of federal, state, local, NASA, then JSC requirements.

2.0		Engineering Analysis and Services

The CISS contract provides the primary source of safety and fire protection engineering and guidance at JSC.  The scope of work required ranges from assessing entire buildings to specific systems and components in a building, both permanent and temporary and includes operations and interfaces with nearby facilities for safety and fire protection concerns.  It includes all phases of facility or system life to include design, construction, operation, and shutdown.  It requires reviewing and approving related documentation, including but not limited to drawings, procedures, hazards analysis, and FMEAs.

Engineering analysis and services involves ensuring that applicable federal, state, local, NASA, and JSC requirements and standards for safety and fire protection are identified and implemented and that hazards are controlled in facilities, systems, and operations.  The contractor shall assist in identifying risk priorities in application of engineering analysis and services.

Major technical reviews and assessments include milestone reviews of new or significantly modified facilities and operations.  Minor technical reviews and assessments include locations of fire proof cabinets and simple bench-top scale test stands or production units.

The contractor shall, as a minimum:

- Ensure all safety and fire protection concerns are identified, documented, corrected either by the contractor, or by the JSC line organizations involved, and tracked to closure.

- Analyze design and operations documents, such as drawings, specifications, and procedures, using traditional engineering analysis techniques and specialized safety engineering analysis techniques such as hazard analyses.

- Meet customer review and support schedules.

- Coordinate with the Center Operations Directorate, building occupants, and other JSC line organizations (including contractors) to ensure a complete review has been performed.  The contractor shall be part of the "review team" and contribute throughout the design and construction, build up, and operational phases.

- Coordinate potential occupational health issues with Occupational Medicine, environmental issues with the Environmental Office, and emergency response issues with the Emergency Operations Office.

- Provide feedback to customers in formats that meet specific customer requirements.  As a minimum, these reports shall identify the discrepancy or finding, recommendations for correction, and supporting rationale.

- Retain records of analysis reports in the building files as described in SOW, section 7.0, Safety Information Management.

- Develop and maintain written procedures that comply with JSC Quality Management System, including JPD 1280.1, JSC Quality Policy, and JPR 1280.2, JSC Quality Manual.

- Fulfill safety roles as defined in JSC’s Emergency Response Plans.

To accomplish Engineering Analysis and Services, the contractor shall perform the following specific tasks and sub-tasks:

2.1  Assess JSC facility and equipment designs to identify safety and fire protection concerns.

This task consists of the following sub-tasks:

2.1.1  Ensure safety and fire protection requirements and hazards are addressed during design reviews and contained in design documentation.  The contractor shall provide detailed safety engineering analyses of plans and specifications of new or modified facilities and systems to include fire protection as described in SOW, tasks 2.4 and 2.5 below.  JSC projects typically involve a series of design reviews, such as 30%, 60%, and 90% of design completion.  The design reviews shall consider the need for safety and fire protection requirements in the design, construction, operation and maintenance of systems and facilities.

2.1.2  Assess facility and equipment change requests for safety and fire protection concerns. The contractor shall provide safety analyses of facilities and equipment change requests to include fire protection engineering as described in SOW, tasks 2.4 and 2.5 below.

2.1.3  Support readiness inspections and reviews for facilities. The contractor shall, as a minimum:

- Contribute to review meetings such as Operational Readiness Inspections (ORIs) and User Readiness Reviews (URRs) for hazardous, critical, or unique JSC facilities.

- Ensure the review committee is aware of all safety issues and possible resolutions.

- Attend ORIs and URRs and recommend approval of the facility for operation after all safety issues are properly addressed.

2.2  Assess construction operations to identify potential safety concerns.

This task includes reviews, coordination, and consultation to verify construction operations meet applicable federal, state, local, NASA, and JSC requirements throughout the construction phase.  The contractor shall, as a minimum:

- Perform pre-construction activities that include preparatory inspections, risk assessments of project tasks, and reviews of project-specific safety and health plans and drawings.

- Provide JSC-specific safety training to contractor personnel.

- Attend tailgate meetings as a means to reinforce NASA’s emphasis on safety with the construction contractor’s workforce.

- Conduct or assist with construction mishap investigations as described in section 4 of this SOW.

- Track inspections and enter associated findings in the Contractor Safety Violation Recording (ConSVR) database.

- Provide construction inspection reports.

- Meet inspection and support goals established by the COTR in the annual task order.

2.3  Assess crane operations.

The contractor shall, as a minimum:

- Provide technical reviews and assessments of cranes and crane operations to verify lifting hazards are controlled. Unique NASA requirements include JPR 1700.1, JSC Safety and Health Handbook, chapter 8.5; JSC Policy Directive – JPD 8719.1, JSC Material Handling Policy; and NASA-STD-8719.9, Standard for Lifting Devices and Equipment.

- Approve critical lift plans, hazard analyses, and contractor-furnished lift equipment.

2.4  Assess fire protection equipment designs.

Unique NASA requirements include JPR 1700.1, JSC Safety and Health Handbook, chapter 5.1 and NASA-STD-8719.11, Safety Standard for Fire Protection.  The contractor shall, as a minimum:

- Verify that proposed and existing fixed and portable fire protection equipment and fire detection and alarm systems meet applicable code requirements; specifications; recognized fire protection engineering standards and practices; and requirements associated with unique hazards including the fire characteristics of oxygen-enriched and micro-gravity environments consistent with NASA requirements for facilities and associated space flight programs.

- Identify non-conformances to the responsible organization and to the Safety and Test Operations Division.

2.5  Conduct fire protection surveys and studies.

The contractor shall, as a minimum:

- Review proposed facility construction, modification of existing facilities, and installation and modification of JSC systems to identify fire risks and verify risks are eliminated or controlled, or accepted.  This shall address structures, facility and system configurations, hazardous operations, and aerospace program-unique systems.

- Provide results as described in DRD 5, Safety and Fire Protection Surveys.

2.6  Assess explosives safety.

As needed, the contractor shall review facilities, operations, and programs involving explosive devices and propellants for safety concerns to assess compliance with unique NASA requirements to include JPR 1700.1, JSC Safety and Health Handbook, chapter 9.5 and NASA Safety Standard – NSS 1740.12, Explosives Safety.

2.7  Provide safety guidance.

The contractor shall provide accurate and timely safety guidance and information to other JSC personnel or organizations as requested.  Documentation will be via electronic mail or other format agreeable to the requestor.

3.0		Verification Audits and Inspections

This task includes inspecting JSC buildings for hazards and assessing the status of the JSC Safety Program as an ongoing activity.  The purpose is to assess compliance with JSC Safety Program and federal, state, and local safety and health regulations.  The contractor shall, as a minimum:

- Complete a full review of the JSC Safety Program each fiscal year per SOW, task 3.1 below.

- Assess overall risk using audits and inspection to JSC per priorities and goals established by the COTR through the annual task order.

- Gather safety and health performance data, as directed by the COTR on major support contractors and those engaged in hazardous activities.  Examples of this data include injury rates, and information described in SOW, task 3.1.

- Provide a summary of the year’s results as described in DRD 6, Annual Safety Program Audit Report.

- Immediately inform the Facility Manager and the Safety and Test Operations Division of Risk Assessment Code (RAC) 1 and 2 findings from inspections.

- Verify that deficiencies are corrected per SOW, task 3.4.

- Update records of verification activities in building files within one week of completing an audit or inspection per SOW, sub-task 7.1.4.

The contractor shall perform the following tasks and sub-tasks:

3.1  Review compliance with JSC’s Safety and Health Program.

The contractor shall assess organizational compliance with the JSC Safety Program and federal, state, and local safety and health regulations.  This includes all JSC organizations and their support contractors working onsite at JSC.  Provide an audit report to the organizational management for each assessment per DRD 1, Management Reports.

As representatives of the Safety and Test Operations Division, the contractor shall direct that imminent hazards be made safe immediately or stop the work in progress.

The contractor shall assess the following specific items as a minimum:

- Administrative and leadership activities to implement the safety and health program per JPR 1700.1, JSC Safety and Health Handbook, part 1.  Activities include safety and health committees or other processes to manage safety and health.  The contractor shall verify that each organization and contractor is adequately managing safety and health to include risk management activities.

- Employee involvement and awareness to verify that the organization’s employees are participating in safety activities and tasks with safety implications such as training requirements, compliance, motivation and awareness, per JPR 1700.1, JSC Safety and Health Handbook, chapter 1.9.  The contractor shall verify that employees know the hazards they are exposed to and how they are to be handled during the course of work.

- Worksite analyses, which includes an organization’s self-inspections and analyses to identify safety and health risks in their facilities and operations per JPR 1700.1, JSC Safety and Health Handbook, part 2.  The purpose is to assess performance of organizations and their contractors in identifying hazards and correcting them.  The contractor shall verify that all JSC buildings are inspected quarterly, hazard analyses are done and reviewed, and hazards are tracked to completion.

- Hazard prevention and control to include hazard correction tracking, hazard control programs and preventive maintenance per JPR 1700.1, JSC Safety and Health Handbook, part 3.  This includes reviewing operational procedures to verify cautions and warnings and other means to alert employees of hazardous situations meet OSHA and JSC Safety Program requirements.

- Safety and health training per JPR 1700.1, JSC Safety and Health Handbook, part 4.  The contractor shall audit civil service and contractor training and certification to verify safety and health training requirements are met.

3.2  Inspect facilities.

This task involves inspecting all facilities and operations for hazards including those identified and controlled or abated.  The contractor shall, as a minimum:

- Inspect all buildings annually for fire and safety hazards.

- Stagger annual inspection schedules so that by the end of the fourth year, all buildings will have been inspected at least once per season.

- Determine the status of abatement plans for open hazards and verify that records reflect the current status.  Verify that interim or final abatement is controlling the hazard per JPR 1700.1, JSC Safety and Health Handbook, chapters 3.2 and 3.5.

- Report health, environmental protection, and emergency preparedness hazards to the appropriate office if discovered.

- Inform Facility Managers and hazard owners of hazards found to provide an opportunity for correction during the inspection.

3.3  Audit facility baseline documentation

The contractor shall annually audit Facility Baseline Documentation for affected facilities to verify compliance with JPR 1700.1, JSC Safety and Health Handbook, chapter 10.4.  Provide a report after each audit per DRD 1, Management Reports.

3.4  Report and track findings.

This task includes reporting and following up on safety concerns from audits or inspections identified in SOW, tasks 3.2 and 3.3 above.  Identify and assess whether proper actions to abate the concerns have been initiated.  The contractor shall, as a minimum:

- Enter findings and corrective actions into JSC’s hazard tracking system(s), as described in SOW, sub-task 7.1.1, within 1 week of the inspection and track them until corrected.

- Provide reports to the Facility Manager, other appropriate management, and the building files within two calendar weeks of the inspection.  This shall include discrepancies found and commendations for exemplary performance.

4.0   	 Mishap Investigation

This task includes assuring that mishaps and close calls are reported and documented, that actions are taken, and that lessons learned are communicated.  The contractor shall assist in mishap investigations and follow current NPR 8621.1, NASA Procedural Requirements for Mishap and Close Call Reporting, Investigating, and Recordkeeping, JPR 1700.1 JSC Safety and Health Handbook, chapter 2.7, and referenced documents, and JPR 8621.1, JSC Mishap Response Plan, in performing the tasks below.

The contractor shall perform the following tasks, as a minimum:

4.1   Secure mishap scenes and evidence immediately after a Type A or B mishap or when notified of other mishaps or close calls.

The contractor shall assist the Incident Commander and ensure that:

- The Safety and Test Operations Division is notified of mishaps and preliminary investigation results as described in DRD 1, Management Reports.

- Evidence is immediately identified and secured for mishap investigations.

- The mishap scene is undisturbed, allowing for necessary actions to rescue personnel and prevent further injury or damage.

- Initial witness statements are developed and mishap witnesses are identified.

- The investigation board, team, or individual investigator receives custody of evidence.  This includes beginning a chain-of-custody log.

4.2  Assist formal mishap investigation boards and teams.

The contractor shall, as a minimum:

- Establish and maintain a government-provided facility to house mishap investigation boards and teams.  This facility may be used for other meetings on a non-interference basis.  Mishap investigations have priority.  The facility shall:

  - Be secure to prevent unauthorized disclosure of preliminary investigation findings per paragraph 5.24 of NPR 1600.1, NASA Security Program Procedural Requirements.

  - Include government-provided audio-visual, computer, and internet capabilities.

  - Include government-provided supplies for an investigation.

- Maintain mishap investigation and root cause tools per current NASA direction..

- Provide administrative capability that is proficient in standard office software and mishap investigation tools.  This includes transcription service.

- Provide technical safety guidance to formal boards or lower-level investigations by line organizations.  This includes serving as an Ex-officio member of an investigation team as described in NPR 8621.1, NASA Procedural Requirements for Mishap and Close Call Reporting, Investigating, and Recordkeeping.

4.3  Provide guidance on mishap and close call reporting and investigations.

The contractor shall provide guidance on meeting NASA and JSC mishap and close call reporting requirements.  Guidance includes interpreting reporting requirements and facilitating investigations of Type C, D, and “close call” mishaps per JPR 1700.1, JSC Safety and Health Handbook, chapter 2.7.

4.4  Track mishap and close call reports to closure.

The contractor shall follow up on mishap and close call reports to verify that investigation results and corrective action plans are adequate to prevent recurrence, documented, tracked to closure, and archived.  This includes, as a minimum:

- Verifying that corrective actions are done.

- Maintaining and dispositioning mishap and close call investigation files per NPR 8621.1, NASA Procedural Requirements for Mishap and Close Call Reporting, Investigating, and Recordkeeping, and NPR 1441.1, NASA Records Retention Schedules.

- Documenting lessons learned from mishap investigation boards per paragraph 7.6 of NPR 8621.1, NASA Procedural Requirements for Mishap and Close Call Reporting, Investigating, and Recordkeeping, and AG-CWI-001, Work Instruction for JSC Lesson Learned Process, and as described in DRD 15, Lessons Learned.

- Collect objective evidence of closure and provide closure rationale to the assigned Ex-Officio.

4.5  Investigate Safety Action Hotline calls.

The contractor shall, as a minimum:

- Receive, log, and begin an investigation of each Safety Action Hotline report within 1 working day of receipt.

- Verify imminent hazards are controlled.

- Determine the causes of the problem and verify actions are taken to address the causes if necessary.

- Provide feedback to the reporter on the status within three working days and of investigation results when investigation is complete.

- Track actions to closure.

- Maintain supporting documentation and related records.

4.6  Replenish NASA Safety Reporting System (NSRS) and Close Call forms (JSC Form 1251) in NSRS and Close Call displays.

The contractor shall check NSRS and Close Call displays at least monthly and replenish forms when empty or when requested.

5.0  	Safety Awareness and Motivation

This task involves developing, coordinating, and implementing a safety awareness program for JSC, including NASA civil service and contractor personnel, consistent with JSC operations.  The program shall be structured to ensure employees receive information on a comprehensive, proactive mishap prevention program.  This includes proposing awareness materials and campaigns based on the evolving risk environment at JSC.

The contractor shall develop, coordinate, and implement safety awareness activities and campaigns aimed at motivating employees to be safe on the job and at home as follows:

5.1  Provide awareness products.

The contractor shall provide short and long range campaign materials to motivate safety or prevent mishaps in JSC operations, to include as a minimum:

- Design, produce, and distribute routine electronic and hard copy publications to include the monthly Safety and Health Newsletter.

- As directed by the COTR, develop specific products, to include at least safety alerts, posters, newsletters, videos, announcements, and other awareness and motivational products.

5.2  Conduct periodic safety awareness and motivation campaigns.

The contractor shall, as a minimum:

- Develop plans and strategies for campaigns including purchasing or publishing campaign materials.  Specific products vary due to factors such as seasonal cycles and NASA management emphasis and objectives from the contractor’s strategic planning.

- Facilitate the awareness campaigns, as directed by the COTR.  This includes activities or material in a wide variety of venues and media.  Examples include Safety and Health Day, National Fire Prevention Week, and special topics such as the Spring Safety Fair.

5.3  Maintain a safety library.

The contractor shall, as a minimum:

- Maintain a library of safety films, program learning material, and other educational material for checkout by JSC Civil Service and contractor personnel.

- Assess library contents annually for applicability to JSC’s needs and provide the assessment and recommendations to the COTR.

- Update the library to reflect current requirements and practices.

6.0		Fire Protection Systems Maintenance Services

The contractor is responsible for maintenance of fire detection and suppression systems with the exception of those maintained by other JSC organizations.  This includes coordinating necessary lift support to accomplish required maintenance.  The contactor is also responsible for incidental modification, and repair of servicing systems in place, removal and replacement or repair of small components, and making minor adjustments for components and systems with acquisition costs less than $5,000.  See SOW section 12, Special Projects, for repairs and modifications over $5,000.

The contractor shall maintain and operate a government-provided repair shop.  Incidental maintenance and repair shall be small scale and include detectors, sprinkler heads, circuit boards, alarm panels, or other small components of the fire protection systems.

The contractor shall, as a minimum:

- Repair fire detection and suppression systems to restore a system to an operating condition.

- Purchase equipment and manufacturers' technical support necessary to accomplish this task.

- Maintain access to critical spare parts through the JSC, COD, Logistics Division.

- Notify the COTR of JSC fire protection systems that do not meet applicable OSHA standards & NFPA Standards and, NAS-STD-8719.11, Safety Standard for Fire Protection per 
DRD 1, Management Reports.

- Perform maintenance and repairs per applicable NFPA standards, Underwriters Laboratory Standards, Factory Mutual Standards, manufacturer's recommendations, or other recognized authorities having jurisdiction such as the United States Coast Guard, Federal Aviation Administration, Department of Transportation, or OSHA, and applicable NASA requirements unless otherwise directed by the COTR.

- Develop and implement contingency plans within 8 hours after systems become non-operational to protect life and property.

- Develop procedures that include operations and schedules to meet the applicable standards and update them to reflect changes in mission criticality per SOW, sub-tasks 6.1.1 – 6.1.5 below.  The contractor shall exclude specific procedures with COTR approval.  COTR approval is required on all repair and maintenance procedures.

- Coordinate repairs and upgrades with the Center Operations Directorate.

- Verify system function after repairs and upgrades.

- Assure configuration control of repairs, modifications, and upgrades.

- Coordinate with the JSC organizations on repairs, outages, access to facilities, and fire watches.

The contractor shall perform the following tasks:

6.1  Maintain fire detection systems.

This task includes testing, inspecting, and maintaining fire detection systems to ensure they reliably report events from the device-location.

The contractor shall test, inspect, and maintain fire detection systems per the following standards and other applicable standards:

- Follow NFPA 72, NASA STD 8719.11, Safety Standard for Fire Protection, associated standards, and the manufacturer's recommendations for inspection, testing, and maintenance for fire detection systems.  Perform this task on fire alarm systems in both normal and emergency power modes, throughout the central station transponders and their communication lines to the dispatch stations.

- Meet the preventive maintenance (PM) frequency in SOW, sub-tasks 6.1.2 – 6.1.6 for the appropriate level of mission criticality.

6.1.1	System proof pests.  Proof test each building fire detection system per NFPA 72 and update drawings as described in SOW, task 6.3 below.

6.1.2	Mission critical buildings:  (PM every 60 calendar days.)

4N, 4S, 5N, 5S, 7, 16, 24, 24T, 30 MOW, 30 Admin., 30 South, 32, 32A, 32AD, 32CH, 35, 46, and 48; and at the Sonny Carter Training Facility (SCTF):  Neutral Buoyancy Laboratory (NBL).

6.1.3	Essential buildings:  (PM every 90 calendar days.)

7A, 8, 9N, 12, 14, 17, 28, 36, 44, 49, 221, 222, 260, 260A, 350, 351, 352, 353, 354, 356, 361, and Ellington Field:  135, 245, 276, and 990

6.1.4	Important buildings: (PM every 120 calendar days)

1, 1T, 2, 3, 7T, 9 South, 10, 11, 12T, 13, 15, 18, 25, 29, 31, 31A, 32Q, 33, 34, 37, 41, 45, 45T, 50, 56, 57, 110, 111, 207, 210, 225, 226, 227, 228, 229, 241, 261, 262, 263, 264, 267, 268, 269, 327, 329, 330, 333, 335, 336, 337, 342, 343, 348, 349, 355, 359, 380, 381, 382, 383, 412, 413, 416, 417, 419, 420, 421, 422, 423, 424, 425, T585, plus the following buildings at Ellington Field: 134, 136, 137, 140, 142, 150, 260, 265, 266, 267, 270, 271, 272, 273, 278, 380, 991, 993, 994; and at the Sonny Carter Training Facility (SCTF) (all JSC administered facilities other than the Neutral Buoyancy Laboratory).

6.1.5	Other buildings:  (PM every 180 calendar days.)

39, 220, 223A, 230, 231, 259, 265, 266, 304, 321, 322, 323, 325, 326, 328, and 338.

6.1.6  Air handler switches which are tied into smoke detection controls of alarm systems (PM annually).

6.2  Maintain fire suppression systems.

This task includes maintenance on fire suppression systems to ensure their reliability.

The contractor shall, as a minimum, maintain suppression systems per the following standards:

- Inspect, test, and maintain water-based systems (sprinkler, standpipe and hose, fire pumps, water storage tanks, foam-water sprinkler, valves and fire department connections) as described in NFPA 25.

- Inspect, test, and maintain carbon dioxide systems as described in NFPA 12.

- Inspect, test, and maintain halon systems as described in NFPA 12A.

- Inspect, test, and maintain dry chemical and Ansul R-102 systems as described in NFPA 17 and 17A.

- Inspect, test, and maintain other systems as described per NASA-STD 8719.11, Safety Standard for Fire Protection, and associated standards.

6.3  Maintain engineering drawings and records.

This task includes maintaining a current set of as-built drawings of all fire detection and suppression systems and current maintenance records as described in SOW, sub-tasks 7.1.4 & 7.1.5.

The contractor shall, as a minimum:

- Update electronic as-built drawings for systems it alters in a government-provided system.

- Forward drawings to the COD, Facilities Design Division within 30 calendar days of completing system changes in PDF format.

- Maintain significant system maintenance records including modifications, alterations, and installation acceptance dates in building files.

- Maintain records of PM schedules and completion dates, updated within 1 working week of activity.

- Update PM schedules as required.

6.4  Oversee acceptance testing and connection of new or modified systems.

The contractor shall, as a minimum:

- Verify that new or modified fire detection and suppression systems function and are integrated with existing systems per NASA-STD-8719.11, Safety Standard for Fire Protection, and associated standards.

- Verify the proper interface and system programming compatibility.

- Witness and coordinate acceptance tests performed by the installing company or manufacturer of both new and modified fire protection systems before their acceptance by the government.

- Verify that programmable systems and addressable systems are configured to provide required notification and facility coverage.

7.0		Safety Information Management

The contractor shall collect and analyze safety data to include mishaps, hazards, and training.  The contractor shall maintain records of its activities to include reviews, inspections, maintenance, and actions worked.

The contractor shall, as a minimum:

- Ensure all records are, as a minimum, retained and dispositioned as described in NPR 1441.1, NASA Records Retention Schedule and other applicable requirements.

- Maintain records per the Privacy Act and Sensitive, but Unclassified controls, and controls specified in other applicable requirements.

- Perform validation processes for safety information systems to ensure data integrity and fidelity.  This includes maintaining configuration management of data system programming, design and code.

- Verify that reports generated from safety information systems are accurate and meet customer expectations.  This will be required whenever any new report, including metrics, is to be installed in a system and whenever these reports are modified along with periodic checks.

- As technical advisors, make recommendations to the COTR for any information system from outside sources to be used in fulfilling government objectives.

- Meet data processing goals provided by the COTR in the annual task order.

The contractor shall perform the following tasks and sub-tasks:

7.1  Administer and maintain safety information.

This includes collecting, assessing, verifying, and maintaining all safety data received as inputs to the government-provided information systems specified below.  All safety data and the systems listed below are property of the Government.

The contractor shall, as a minimum:

- Resolve problems with incoming data quality directly with the source with the intent of improving performance at the data source.

- Provide periodic metrics on the performance of the data systems mentioned below.

- Inform the COTR and process owner of any negative trends or repeated data quality issues with collecting, processing, and distributing data for the specific information system.

- Perform Site Administrator functions for Incident Reporting Information System (IRIS) and JSC database(s).

This task includes the following sub-tasks:

7.1.1  Enter and maintain information in Incident Reporting Information System (IRIS) and JSC’s database(s).  IRIS is web-based system to track mishaps, close calls, workplace hazards, and contractor statistics.  JSC maintains other databases to provide functions not available in IRIS.  Current JSC databases are listed in Section J and are subject to change over the course of the contract.  The contractor shall, as a minimum:

- Ensure that the initial information is entered into IRIS and the JSC database(s) and send notice to the responsible investigator(s) within 1 working day of receiving a mishap report and within 3 working days for a close call report.

- Ensure that investigation results and action plans, to include abatements plans in the case of hazards, are entered in IRIS and JSC’s database(s) within 3 working days of receipt.

- Ensure contractor statistics are entered and discrepancies are resolved with the source.

- Request delinquent contractor statistics from contractor within 3 working days of due date.

- For close calls, ensure that reporters are notified of action plans and completion of actions within 3 working days of receipt.

- Verify that the cited requirements, to include code reference, are accurately and systematically entered for each hazard.  Order of precession: JPR 1700.1, JSC Safety and Health Handbook; NASA standards; OSHA and NFPA standards; consensus standards; OSHA general duty clause, to be used when no standard or requirement exists.  Use organizational or programmatic requirements if they are more stringent.

- Enter abatement plans and follow-up, verifying that interim and final abatement plans contain clearly defined actions, one actionee and one due date per action.

- Request abatement plans or closure data for all hazards not closed within 30 calendar days of discovery.

- Verify that data is accurate and that mishap and close call descriptions and investigations meet NPR 8621.1, NASA Procedural Requirements for Mishap and Close Call Reporting, Investigating, and Recordkeeping, and JPR 1700.1, JSC Safety and Health Handbook, chapter 2.7.  This includes causal analysis as required and action plans to prevent recurrence.  Bring inadequacies in the initial or final report to the attention of the reporter or investigator, the COTR, and the Safety and Test Operations Division process owner within 3 working days of receipt.

- Track all actions to completion per the due dates in the action plan.

- Bring past due items to the attention of investigators or actionee within 1 week of exceeding the due date.

- Provide monthly status report as described in DRD 9, Safety Information Management Reports.

- Provide technical assistance to users of the NASA IRIS in support of JSC processes.

7.1.2  Maintain Safety Action Hotline records.  The contractor shall maintain records as described in SOW, task 4.5.

7.1.3  Maintain action data.  The contractor shall track actions in a database.  The contractor shall, as a minimum:

- Complete an accurate record of each action done by the contractor including those assigned by the COTR and hours spent on each action.

- Document 95% of schedule slips with rationale and new due dates before current due date expires and 100% no later than 5 working days after the due date.

7.1.4  Maintain building files.  The contractor shall maintain current and accurate files for all building related records such as surveys, audit reports, design review results, and operational procedures as reviewed by the contractor.  These files are the official records for fire and safety of JSC operations and are property of the Government.  Hard copy or electronic formats are acceptable.  Electronic formats shall be approved by NASA.  The files shall include, as a minimum:

- All scheduled work that has been performed by the CISS contractor for the facility as described in other sections of this SOW.

- Information developed by other JSC organizations that will have a bearing on safety of those facilities.

7.1.5  Maintain fire protection system maintenance and repair records.  The contractor shall maintain current and accurate records of activities in SOW, section 6, Fire Protection System Maintenance.

7.2  Maintain security of safety information.

The contractor shall meet Information Technology requirements and JSC center policies for data security.  This security shall include the integrity of the data received and stored; information applications; and access privileges including the protection of any outputs of a sensitive nature.  This includes maintaining an Information Technology security plan per NASA requirements.

7.3  Provide reports.

The contractor shall, as a minimum:

- Provide reports per the schedule in DRD 9, Safety Information Management Reports.

- Provide reports by special request within schedules and format agreed to by the contractor and the COTR.  These reports involve special database queries or other data compilation.

7.4  Maintain the Safety, Health, and Environmental Web Page.

The contractor shall, as a minimum:

- Review the content of JSC’s Safety, Health, and Environmental web page at least monthly and update or remove any outdated information.  Data shall be no more than 60 days out of date.

- Make changes to the content or design as directed by the COTR.  The Contractor shall also recommend improvements to the web page to the COTR for approval.

- Maintain a hazard gallery on the web page to provide pictures and description of hazards along with the requirements violated and possible solutions.

7.5  Develop and maintain safety databases.

The contractor shall, as a minimum:

- Develop and modify data base applications, when authorized by the COTR as described in SOW, section 12, Special Projects.  Development and evaluation of new data base products to support Safety Information Management shall meet customer requirements as approved by the COTR.  All Safety Information Management products, including Federal Information Processing (FIP) applications, shall become the property of the government unless otherwise specified by FIP regulations, the Federal Acquisition Requirements, and applicable requirements such as licenses.

- Ensure availability of existing databases to meet JSC safety and health program objectives, unless the unavailability is outside the contractor’s control.

- Bring network or other factors that affect database availability and that are beyond their control to the attention of the COTR within 1 working day.

8.0 	NASA Safety Training Center (NSTC)

The contractor is responsible for operating the NSTC to provide safety, health, environmental protection, emergency planning and risk management training courses throughout NASA to support both institutional and human space flight program objectives.  This includes providing safety expertise and materials for JSC specific, safety-related training administered by the JSC Human Resources Office.

The contactor shall, as a minimum:

- Develop requested courses within allotted time period.  Courses require one to three reviews or pilot presentations as necessary to accomplish acceptance of material and presentation, before being entered into the NSTC curriculum.

- Ensure new courses meet customer objectives.

- Ensure courses meet the needs of employees attending training.  Maintain an overall average rating of courses by students per goals set by the COTR in the annual task order.

- Maintain training records in SATERN.

- Produce reports as described in DRD 8, NSTC Safety Training Metrics.

The contractor shall perform the following tasks:

8.1  Operate the NSTC.

The contractor is responsible for the day-to-day management of the NSTC in support of safety, health, emergency planning, and risk management training goals and objectives of NASA; that customers receive requested support; and that related course development schedules are met.  This task includes, as a minimum:

- Developing and integrating requirements and objectives with the COTR, NASA Headquarters Office of Safety Mission Assurance, NASA Safety Center, and all NASA centers.

- Establishing and maintaining points of contact at all NASA installations to manage the advertising of course availability to achieve the widest dissemination within NASA.

- Providing qualified instructors.

- Maintaining files of all NSTC activities including, as a minimum, the following: records pertaining to all costs of operations, including travel; instructor qualifications and selection; course development, presentation, and revisions; collection, analysis, and recommendations for future course offerings; equipment and materials inventories, and training records.

- Analyzing course critiques for continual improvement.  Implement improvements that are within current budget and scope, and that meet customer objectives.

- Preparing and shipping training materials.

- Maintaining reference materials for instructors.

- Preparing and distributing course schedules and catalogs.

8.2  Develop, present, and maintain safety training courses.

The contractor shall develop NASA-specific training courses for presentation to all NASA Centers and operating locations.  The courses are instructor based or web-based training.  This includes, as a minimum:

- Developing new courses, including developing or adapting existing course materials to meet NASA objectives.

- Presenting courses through live presentation at Centers or through other media, such as the NASA Video Teleconferencing Systems using qualified instructors.  See Section J, Attachment J-7 for Core Course Inventory.

- Reviewing all course materials at least annually so that they contain up-to-date information on requirements, references, mandates, technologies, and related materials.

8.3  Conduct an annual training needs survey.

This survey is driven by NASA Headquarters and covers all NASA centers to determine course priorities of the centers.  See DRD 10, Training Needs Survey.  The contractor shall use the prioritization of courses to determine the training courses schedule for the next fiscal year. Training schedule for the following fiscal year shall meet the needs of the Centers and NASA Headquarters.  The contractor shall recommend a schedule by September 15th of each year.

9.0		 Safety Program Development and Evaluation

Safety Program Development involves supporting continuous improvement of JSC’s safety and health program.

The contractor shall perform the following tasks, as a minimum:

9.1  Recommend improvements to JSC's Safety Program.

The contractor is encouraged to recommend improvements to enhance safety and efficiency in JSC’s safety and health program.  Recommendations should include implementation approach, costs, schedules, benefits, supporting rationale, and marketing strategies.

9.2  Implement program improvements as directed by NASA.

The contractor shall develop prototype products such as presentations, database applications, procedures, or other items essential to the understanding of the specific improvement.  The contractor shall meet schedules as approved by the COTR.

9.3  Recommend changes to program and technical safety requirements in JPR 1700.1.

JSC’s Safety and Health Program is documented in JPR 1700.1, JSC Safety and Health Handbook, latest version.  The contractor shall, as a minimum:

- Ensure the content of JPR 1700.1 is current with OSHA, NASA, and JSC requirements. Coordinate recommended changes through the COTR.  This includes standards research, document writing, coordination of draft documents with other elements of the Center, and resolving issues on comments to the handbook.

- Perform a complete review of the safety-related chapters of JPR 1700.1 every 5 years.  The Safety and Test Operations Division is responsible for final editing and publication.

9.4  Review Federal Register and agency-level safety requirements and standards.

The contractor shall review proposed changes to Agency-level safety requirements and standards documents for accurate technical rationale and impact on JSC's program.  For agency-level requirements, the contractor shall provide comments through the Safety and Test Operations Division to meet NASA Headquarters review schedules.  For Federal Register safety and health updates, the contractor shall provide an impact statement per DRD 1, Management Reports.

9.5  Analyze data and measure the performance of JSC's Safety and Health Program.

This includes analyzing data gathered in SOW, sections 3, Verification Audits and Inspections, and 7, Safety Information Management, for trends and program performance, administering surveys as directed, and providing performance metrics based on data analysis.  The contractor is encouraged to propose new metrics and methods for evaluating the effectiveness of JSC’s Safety and Health Program.  Implement new metrics when directed by the COTR and methods when directed per SOW, section 12, Special Projects.

The Contractor shall:

- Assess the performance of JSC safety and health program annually to support JSC’s Annual Self Evaluation for VPP.

- Identify safety problem areas in institutional and programmatic products and processes at JSC and within line organizations and contractors.

- Provide reports and metrics as required by DRDs 6, Annual Safety Program Audit Report, and 9, Safety Information Management Reports and as directed by the Safety and Test Operations Division.

10.0 Test Safety

The contractor shall perform safety tasks for tests involving space flight and institutional research and development conducted at JSC, SCTF and Ellington Field, and tests involving JSC personnel to include test subjects, or hardware at off-site (local and remote) contractor, and international partner locations.  Test safety includes: evaluating the risk and hazards of test beds and spacecraft systems, such as life support systems, space suits, medical research equipment, thermal control systems, explosives, software, and other state of the art space systems as they are operated in ground test facilities; participating in reviews; and monitoring test operations.  These operations occur in various environments such as vacuum, extreme temperatures, underwater, vibration, and zero-gravity.

The contractor shall, as a minimum:

- Follow JPR 1700.1, JSC Safety and Health Handbook, and COTR approved procedures.

- Assure the overall safety of JSC test operations.

- Maintain a certification program for Test Safety Officers.

The contractor shall perform the following tasks:

10.1  Assess test documentation for safety issues.

Test documentation includes test plans, test procedures, test protocols, and supporting documentation such as hazard analysis, design review documentation, anomaly or discrepancy reports, and other test related reports and analyses.

The contractor shall, as a minimum:

- Review the documentation and recommend approval or disapproval of this documentation before the Test Readiness Review (TRR).

- Assure that test documentation meets JPR 1700.1, JSC Safety and Health Handbook,  and other applicable requirements and standards.

- Meet customer requirements and schedules for the review milestones.

10.2  Attend Test Readiness Reviews.

This includes participating in design, planning, build-up and readiness meetings for human testing and other hazardous tests at JSC.  It includes selected hazardous Astronaut training operations.  A certified Test Safety Officer per SOW, sub-task 1.5.4 shall attend TRRs and approve the test by signature when all safety concerns have been addressed.

The contractor shall, as a minimum:

- Verify safety concerns with the test are properly addressed before approving the test.

- Assure JSC test facilities, test beds, and test operations follow JPR 1700.1, JSC Safety and Health Handbook, and all applicable standards.

- Identify and document unresolved safety concerns to the Safety and Test Operations Division.

10.3  Monitor test operations.

This includes monitoring selected tests as part of the test team.

The contractor shall, as a minimum:

- Assign certified Test Safety Officers, per SOW, sub-task 1.5.4, to monitor operations in the following priority:

1.  Tests involving human test subjects.

2.  Hazardous, non-human tests involving flight or flight-like equipment.

3.  All other hazardous non-human tests.

- Report safety observations and concerns to the test director or equivalent as required by the rules of conduct identified for the specific test and JPR 1700.1, JSC Safety and Health Handbook.

- Report all findings, concerns, and instances of noncompliance with the safety features of the test per customer requirements, JPR 1700.1, JSC Safety and Health Handbook, and procedures approved by the Safety and Test Operations Division.

10.4  Support the Committee for the Protection of Human Subjects.

This includes review, research, and presentations on the safety implications of human research projects for representatives of the Safety and Test Operation Division.

The Contractor shall, as a minimum:

- Assist the Safety and Test Operation Division representative to the Committee for the Protection of Human Subjects.  This includes, but is not limited to, reviewing, for safety implications, human research investigations and protocols that subject personnel to potential hazards.

- Verify human research protocols and procedures meet test safety requirements in JPR 1700.1, JSC Safety and Health Handbook, and JSC Committee for the Protection of Human Subjects policies and requirements in JSC 20483, Guidelines for Investigators Proposing Human Research for Space Flight and Related Investigations.

- Prepare and present safety assessments as findings and recommendations to the Safety and Test Operations Division.  This assessment includes a review of pertinent documentation such as test and medical procedures, hazard analyses, and investigation protocols, per procedures approved by the Safety and Test Operations Division.

11.0  Administer Lockout/Tagout Equipment

The contractor shall administer lockout and tagout equipment for JSC.  This includes purchasing, issuing, and accounting for all lockout and tagout devices at JSC.

The contractor shall, as a minimum:

- Ensure lockout and tagout devices meet JSC and OSHA requirements in 29 CFR 1910.147.

- Track devices by serial number or other identification, maintain current inventory, and track devices to the point of distribution.

The contractor shall perform the following sub-tasks:

11.1  Maintain an inventory of lockout and tagout devices.

This includes maintaining a current inventory of working lockout and tagout devices to issue to NASA and contractors who need them for operations on site at JSC, EF, and SCTF.  The contractor shall, as a minimum:

- Assure full function of lockout/tagout devices.

- Issue only working devices.

- Maintain a current status of all devices.

11.2  Purchase lockout and tagout devices.

The contractor shall purchase necessary lockout and tagout devices.

11.3  Fill requests for lockout and tagout devices from NASA and contractors.

The contractor shall, as a minimum:

- Provide the capability to issue devices outside of normal business hours.

- Meet customer requests for specific lockout/tagout equipment.

- Maintain accurate records of request date, device type, date of issuance, and receiving party.

11.4  Account for all locks and devices.

This task includes fully accounting for serialized locks and devices are in the inventory.  Request verification from the responsible party the devices were issued to that all issued devices are in his or her possession.  This task does not include keeping track of when and where they are used.

The contractor shall, as a minimum:

- Publish a current list of missing locks and devices at least monthly, to include negative reports as described in DRD 1, Management Reports.

- Remove missing locks and devices from the list of missing locks within 3 working days of being notified as found and still operable.

12.0		Special Projects

The contractor shall perform special projects as defined by the Safety and Test Operations Division and authorized per the process depicted in Section C, Attachment 1.  The contractor shall establish a plan, schedule, and, time and materials estimates using the labor rates in the contract schedule for each project.  Special projects include, but are not limited to:

12.1  Perform incidental fire protection system repairs, modifications, and upgrades over $5,000 per section 6, when directed by the COTR, via the Unplanned Repairs, Modifications, and Upgrades Form, Section C, Attachment 2.

12.2  Perform other safety-related special projects when authorized by a separate task order, which include, but are not limited to:

- Safety-related information systems and tools.

- Safety-related surveys beyond those already mentioned in the SOW and survey tools.

- Safety-related studies.

- Other safety-related initiatives.

Attachment 1

Attachment 2

UNPLANNED REPAIRS, MODIFICATIONS, AND UPGRADES FORM

SOW						WBS

Start Date					Stop Date

Work Description

Materials Description		Materials Cost

Labor category          Labor Hours           Labor Rate

Total for materials and labor:

Signature Approvals

Contractor					NASA

Project Manager or Contract Official		COTR:  ________________

Contracting Officer:  _________________

NS Division Chief:  _______________

Budget:  __________________

COD:  ___________________

# Text boxes

Contractor gives COTR

description with estimated time and materials

NASA notifies Contractor, through COTR of needed modifications or system upgrades.

CO & COTR approves

project via unplanned repairs Form

Contractor develops final description, time, and materials

Contractor & COTR discuss

issues/details

COTR reviews Contractor estimated description, time and materials

Contractor notify COTR of needed repairs over $5,000

Process for Repairs, Modifications, Upgrades