Proposed AGENDA

Monthly Planning Group Coordination Call

Tuesday, August 2, 2005   8:00 am PDT and AZ, 9:00 am MDT

Call in number – 1-800-503-3360 or 503-813-5600  Passcode 699292

1.   Energy Bill Update – Provisions on Planning, Siting 	Larry Mansueti, DOE

and Permitting

The Bill has passed the House and Senate and is expected to be signed by the President this week.  Larry will give us an update on the key transmission provisions in the Bill.  Lets discuss how we can work with DOE to provide DOE with the transmission information they need from the West related to the Bill.  The bill in 1724 pages long – contains lotsa deadlines.  It contains mandatory reliability language.  FERC will put a rule-making out in August (ERO).  Four areas that DOE is involved – determination of national interest electricity corridors (bottlenecks) – FERC backstop authority.  DOE will do a constraint study within one year.  DOE will defer as much as they can to the regions to do the work.  Then two years to do an EIS on the corridors identified.  Dean – need to work together so the work products SSG-WI pens fits this need.  Doug – incumbent on WECC now to take advantage of the good climate at DOE now to use analysis done by the regions – like RMATS, STEP, etc. – energy bill tries to centralize stuff at FERC (Doug’s perspective).

2.   WECC Board Meeting – WECC future role in expansion planning	Steve Rueckert

Overview of the WECC Board discussions at the July 28 WECC Board Meeting.  PCC looked at WAG paper and out together a list of what they think WECC should and shouldn’t be doing.  The Board agreed pretty much with PCC’s list.  WECC would take over the production cost database maintenance.  WECC doesn’t have means to assign costs/benefits.  No consensus on who will actually be doing this work.  The sub-regional efforts will continue.  WECC needs to write down a work scope of what they see themselves doing here – document soon and keep in mind DOE’s needs outlined in their efforts under the Energy Bill.  Doug is pushing “identifying the beneficiaries”.  The SSG-WI level data doesn’t have contractual data, who owns plants, etc that is needed to identify individual companies.  The idea is that the output will be like RMATS – identify generally regional costs/benefits.  WECC will re-engage with PAC to work out the transfer of the database effort.

3.   Update on WGA “Clean and Diversified Energy Initiative” activities	Doug Larson

- CDEAC Transmission Task Force meeting in Portland on 8/10-11

  - Identify policies to overcome barriers to more efficient use of existing wires and expansion of the grid

  - Agree on process to estimate wires needed to support generation resulting from CDEAC policy recommendations

    - Piggy-back on SSG-WI effort in Western Interconnection

    - Use existing MISO and SPP studies in ND, SD, NE, KN

    - Use ERCOT studies in TX

- REQUEST

  - Rob, Chris, ISO, Ray, Bob help locate buses to connect postulated CDEAC generation in the SWAT, NTAC, CA ISO, RMATS, CCPG regions, respectively – Mike Milligan is doing for NREL (wind).  The coal guys are looking to RMATS, etc siting to use initially.

  - I assume that the SSG-WI transmission work group will identify needed wires in the Western Interconnection after modeling run using CDEAC resources

Adjusted their schedule to September 1, 2005 to have an initial list of proposed locations for wind and coal siting.  Doug asked two requests above.  Need the transmission gurus to take a look at reality of siting locations.  Continue with the iterative process that Mike DeWolf has pointed out in the RMATS process.

4.   Subregional Planning Group updates (brief status reports)

SWAT – Rob Kondziolka

As a result of CDEAC and SSG-WI – SWAT is focusing on getting the resource locations coordinated.  Working with WestConnect to try and merge SWAT into WestConnect as the subregional planning entity.  Will present at WestConnect August 17th Steering Committee in Denver.  Idea is to have an organizational structure in place for CY 2006.  Have he attention of many political types in Arizona through their joint effort so far.  Mayors, local utility folks showed up at last meeting.  Their hope is to begin developing coordinated corridor list.  Doug will send their efforts to-date to Rob.

NTAC – Chris Reese/Marv Landauer

RMATS/Frontier Project – Mike DeWolf

Not much to report.  WIA has formed with CA, WY, UT and NV, an MOU to develop the Frontier line effort.

CCPG – Bob Easton

Next meeting on August 25th at Tri-State’s offices.  Discussed letter from WGA to control area CEOs stating their support of a funding mechanism similar to the WECC dues structure to fund State and Provincial participation in these sub-regional study efforts.  The next step is that CREPC will meet in September and develop what they will do if these $$ do or don’t come in.

STEP representative

5.   NEXT CALL – Tuesday, September 6, 2005