|  | U.S. Department of HUD Buffalo Office, Region II 465 Main Street Lafayette Court Buffalo, New York 14203-1780 | No: 406 | Rev: 3 | Date: 02/03/2006 |
| --- | --- | --- | --- | --- |
|  |  | Subject: Energy Performance Agreement [ PHA Developed, Add-On Incentive ] |
|  |  | Approved: | Signature On File |
|  |  | Public Housing Director |

1.0	Purpose

This procedure defines requirements and describes the process for planning, performing, documenting, and developing an energy performance agreement.  It will provide for consistency in reporting of programmatic deficiencies, positive results, and good practices.

- Scope

This procedure applies to energy performance contracts, using the add-on incentive, developed by a Public Housing Authority and approved by the U.S. Department of Housing and Urban Development, Buffalo Office personnel.

- Requirements And References

  - Requirements

    - 24 CFR 85.36 - Procurement Requirements

    - 24 CFR 990 - Annual Contributions for Operating Subsidy

      - 24 CFR 990.185 - Incentives for energy conservation /rate reduction.

    - 2 CFR 965.308 - Energy Performance Contracts

  - References

    - HUD – Field Office Review Procedure – dated July 31, 2005.

    - Buffalo HUD Office computer disk on energy performance contracting.

- Definitions

  - Energy Performance Agreement - An agreement between a Public Housing Authority(PHA) and the U.S. Department Of Housing and Urban Development (HUD) whereby the PHA has qualified for and has been approved for a monetary incentive as defined in 24 CFR 990.185.

  - Energy Conservation Measure - A physical improvement that results in the reduction of energy sufficient to pay for itself in 12 years or less.  Waiver requests may be submitted for a 20 year option.

- Responsibilities

  - Public Housing Director - Responsible for assuring that the initial energy performance contracts are approved in compliance with Federal Regulations and that yearly oversight activities are completed as required.

  - Public Housing Deputy Director - Responsible for the overall management of the Buffalo HUD energy performance contract program including:

    - Assuring that initial energy performance agreements comply with Federal Regulations and are well documented.

    - Assuring that yearly reviews are adequate and well documented.

  - HUD Engineer - Responsible for:

    - Technical Resource - The HUD Engineer shall be the technical resource for all energy performance contracting issues.

    - Planning, developing, and documenting the preliminary and final energy performance contract agreement between the Buffalo Field Office and respective Public Housing Authorities (PHAs).

    - Planning, developing and documenting the yearly energy performance contract review.

    - Coordinating activities between the HUD Engineer and HUD Financial Analysts.

  - HUD Financial Analysts -

    - Responsible for the processing of the initial energy performance incentive through the operating fund.

    - Responsible for the processing of the yearly financial incentive and / or adjustment through the operating fund.

  - HUD Program Assistant - Is responsible for the organization, maintenance and filing of all documents.

  - PHA – The Public Housing Authority assumes all responsibility and risk for development, procurement, financial, construction activities associated with the energy performance agreement, and yearly verification of energy savings.

- General Information

Energy performance agreements between the Buffalo HUD office and PHA's will be executed based upon time management and risk as determined by the Buffalo HUD Office.

- Procedure

  - Initial Questions -

    - The HUD Engineer will conduct a preliminary review of the proposed energy conservation measures to determine the feasibility of conducting an energy performance contract.

      - The HUD Engineer will provide technical assistance to a PHA explaining:

        - The financial benefits and risk associated with an energy performance contract.

        - HUD requirement that the PHA hire a qualified “3rd Party Consultant” to advise them through the process.

        - The commitment and time involvement required by a PHA to design develop and execute an energy performance contract as their own ESCO.

  - 3rd Party Consultant

    - The HUD Engineer will review and approve the PHA's request for proposal to hire a qualified 3rd party consultant.

  - PHA Application -

    - The PHA will submit to the Buffalo HUD Office, a written letter of request to enter into an energy performance agreement.

    - The PHA will provide the following information with its request:

      - A copy of the energy audit conducted.

      - A completed energy conservation measure data worksheet (Attachment A) for each recommended energy conservation measure.

      - A cost summary work sheet which summarizes all of the energy conservation measures, installation costs and related energy savings.  (Attachment B).

      - Completed energy consumption data worksheets for the last three years for each project identified on the cost summary work sheet.

        - Electrical Data  (Attachment C)

Or

Electrical -excel input sheet (Attachment N)

        - Natural Gas Data  (Attachment D)

Or

Natural Gas - excel input sheet (Attachment O)

        - Water Data (Attachment E)

Or

Water – excel input sheet (Attachment P)

      - Complete energy baseline data worksheets.

        - Electrical Baseline Data  (Attachment F)

Or

Electrical -excel input sheet (Attachment N)

        - Natural Gas Baseline Data  (Attachment G)

Or

Natural Gas - excel input sheet (Attachment O)

        - Water Baseline Data (Attachment H)

Or

Water – excel input sheet (Attachment P)

      - A projected physical needs assessment worksheet (Attachment I) for the affected projects.

  - Preliminary Approval -

    - The Buffalo HUD Office engineer will provide in writing preliminary approval of the PHA's energy performance contract request.

    - The preliminary approval letter will include:

      - A statement addressing 24 CFR 990.185 requirement concerning financing of the energy conservation measures by an entity other than the Secretary.

      - A cost summary work sheet which summarizes all of the energy conservation measures, installation costs and related energy savings.  (Attachment B).

      - Energy Baseline Data including complete energy baseline data worksheets.

      - A copy of this procedure.

  - Funding Source - The PHA will obtain a non-HUD funding source.

  - Design Phase

    - The PHA will develop with the 3rd party consultant’s assistance a request for proposal to hire a design professional for the design, award and construction of the energy conservation measures.

    - The HA will forward the Buffalo HUD Office a copy of the RFP and proposed contract.

    - The Housing Authority will perform the following tasks in accordance with 24 CFR 85.36 requirements:

      - Advertise the RFP

      - Solicit the RFP

      - Evaluate the proposals.

      - Select the design professional based upon the RFP requirements.

      - Perform a cost or price analysis

      - Develop a finding of fact to document the rationale for contract award.

      - Execute a contract with the design professional.

    - Schematic and Final Design Review

      - The 3rd party consultant will provide technical assistance, during the schematic and final design review process.

      - The Housing Authority will review and approve the schematic and final design reviews.

    - The Housing Authority will develop a final bid package for the energy conservation measures.

    - The HA will submit copies of the final bid package to the Buffalo HUD Office.

    - The HA will perform the following tasks in accordance with 24 CFR 85.36 requirements:

      - Advertise the construction bid package.

      - Solicit the construction bid package.

      - Conduct the bid opening.

      - Ensure that the low bidder is both responsive and responsible.

      - Perform a cost or price analysis

      - Develop a finding of fact to document the rationale for contract award.

  - PHA Final Application Request

    - The PHA will submit to the Buffalo HUD Office, a written letter of request to enter into an energy performance agreement contract.

    - The request will include:

      - A description of any deviations from HUD's preliminary approval letter.

      - A copy of the bid tabulation

      - A full disclosure of the financial loan terms including a complete amortization table.

  - Final Approval

    - The Buffalo HUD Office engineer will be responsible for developing the final agreement letter between the Housing Authority and the Buffalo HUD Office.

    - The  approval letter will include:

      - The terms of the financial incentive being offered to the Housing Authority.

      - A cost summary work sheet which summarizes all of the energy conservation measures, installation costs and related energy savings.  (Attachment B).

      - A description of any changes in the energy baseline data

      - An explanation of the yearly monitoring procedure that will be required of the PHA to submit including example worksheets.

        - Yearly Electrical Data  (Attachment J)

        - Yearly Natural Gas Data  (Attachment K)

        - Yearly Water Data (Attachment L)

        - A sample yearly certification that will be required.    (Attachment M)

      - The HUD engineer and HUD financial analyst will sign off on the approval letter.

      - The Public Housing Deputy Director will review the final agreement and insure that all provisions of this procedure are met.

      - The Public Housing Director will approve the final agreement letter.

  - Execute a construction contract

    - The PHA will execute a construction contract to install the energy conservation measures.

  - Construction Review

    - The HUD engineer may participate in the final inspection for the installation of the energy conservation measures.

  - Yearly Review

    - The Housing Authority will submit the following data to the Buffalo HUD Office within 45 days after their fiscal year end date.

      - Completed energy consumption data worksheets for the previous year for each project identified on the cost summary work sheet.

        - Yearly Electrical Data  (Attachment J)

        - Yearly Natural Gas Data  (Attachment K)

        - Yearly Water Data (Attachment L)

        - A sample yearly certification that will be required.	  (Attachment M)

    - The HUD engineer will review the utility data and H.A. certifications and verify it against the terms of the final agreement.

    - The HUD engineer will develop a written memorandum to the HUD financial analyst which includes:

      - A statement that all requirements of this procedure have been met.

      - A statement that all terms of the final agreement between the Housing Authority and the Buffalo HUD Office have been met.

      - A recommendation for payment of the yearly add-on subsidy.

      - Copy of all calculations and PHA back-up information.

    - The HUD financial analyst will incorporate processing of the yearly add-on subsidy into the Housing Authority operating fund approval letter.

      - The HUD financial analyst will sign off on the approval letter.

      - The Public Housing Deputy Director will review and approve the yearly approval letter and insure that all provisions of this procedure are met.

- Records Maintenance

Note: The organization, maintenance and filing of these documents are extremely important.  These agreements are long term agreements and will be used by multiple parties.

  - Records generated as a result of implementing this document are identified as follows:

    - PHA Energy Audit

    - PHA Preliminary Letter of Request /Application -

    - HUD Preliminary Approval Letter

    - Design Phase

      - HUD Approval Letter of PHA's Request for Proposal.

      - HUD Approval Letter of the PHA's final bid package.

    - HUD Final Agreement Letter

    - Yearly Review -

      - PHA Documentation  (Financial & Engineering Files)

      - HUD Engineer Memorandum

      - Yearly subsidy letter.

  - Records shall be maintained in the PHA Energy Performance Contract folder.

  - A copy of the final approval letter shall be maintained in the PHA’s ACC Agreement file.

- Forms / Templates Used

  - The Buffalo HUD Office has provided sample forms for use in processing this procedure.  The intent of the forms is to streamline and provide consistency in documenting the necessary data to logically execute an energy performance contract.  The use of these forms by a PHA is not mandatory but does assist and aid in the process.

- Attachments

  - Attachment A - Energy conservation measure data worksheet

  - Attachment B – Cost Summary Worksheet

  - Attachment C - Electrical Data

  - Attachment D - Natural Gas Data

  - Attachment E - Water Data

  - Attachment F - Electrical Baseline Data

  - Attachment G - Natural Gas Baseline Data

  - Attachment H - Water Baseline Data

  - Attachment I - Physical needs assessment worksheet

  - Attachment J – Yearly Electrical Data

  - Attachment K – Yearly Natural Gas Data

  - Attachment L – Yearly Water Data

  - Attachment M - Housing Authority yearly certification

  - Attachment N – Electrical – excel input sheet

  - Attachment O – Natural Gas – excel input sheet

  - Attachment P – Water – excel input sheet