## COI-NJD-NOH-I5-RATS-WOM-WOS-DC
JULY 2009 | [7 empty] | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
COI | NJD | NOH | RATS | WoM | WoS | PDCI | Estimated Path Capacity | Day | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
C | [6 empty] | COI (N-S)
COI (S-N)
| J | [5 empty] | North of John Day
|  | H |  |  |  |  | North of Hanford
|  |  | R |  |  |  | RATS N>S
RATS S>N
|  |  |  | M |  |  | West of McNary
[5 empty] | S |  | West of Slatt
[6 empty] | D | PDCI NOB (N>S)
PDCI NOB (S>N)
PDCI Power Order (N>S)
PDCI Power Order (S>N)
[7 empty] | Description | Day: Util
|  | H |  |  |  |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | BPA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | to 26AUG09
C | J | H |  |  |  | D | Wautoma-Ostrander 1 50kV Line (Replacings spacers, shot wire and insulators) 204079 | Day: BPA; Mon: 0700 C; Tue: C; Wed: C; Thu: C; Fri: C 1530
[7 empty] | Bonneville-Hood River 1 115kV Line (Complete service to Hood River PCB B-1680) els 204235/dls 205211 | Day: BPA; Mon: 0830 C; Tue: C; Wed: C; Thu: C; Fri: C 1400
C | [5 empty] | D | John Day: PCB 4153 including 500kV Cap Group 1 (Routine PCB maintenance) 204021 | Day: BPA; Mon: 0800 1500
C | [5 empty] | D | John Day: PCB 4197 (Routine PCB maintenance) 204022 [West Bus/Big Eddy 1] | Day: BPA; Tue: 0800 1500
C | [6 empty] | John Day: PCB 4822 (Routine PCB maintenance) 204024 [East Bus/500/230kV Bank 1] | Day: BPA; Wed: 0800 1500
C | [6 empty] | John Day: PCB 4825 (Routine PCB maintenance) 204025 [west Bus/500/230kV Bank 1] | Day: BPA; Thu: 0800 1500
|  | H |  |  |  |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | BPA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | to 26AUG09

## WoC-S, R-P, P-A & SoA
'JULY 2009 |  |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
WoC-S | RP | PA | S o A | Estimated Path Capacity | Day | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
S |  |  |  | West of Cascades - South |  | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
| R |  |  | Raver-Paul | bar: Fri
|  | P |  | Paul-Allston | bar: Fri
|  |  | A | South of Allston | bar: Fri
|  |  |  | Description | Day: Util
| R |  |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | BPA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | to 26AUG09
|  |  | A | McLoughlin-Sherwood 1 230kV Line including Pearl Tap (Proximity, stringing conductor for new McLoughlin-Wilsonville 115kV Line) els XXXXXX/dls 200155 | PGE | 0800 1800 | 0800 1800 |  |  |  | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 |  |  | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 |  |  | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 |  |  | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 | 0800 1800 | to 28AUG09
S | R | P | A | Wautoma-Ostrander 1 50kV Line (Replacings spacers, shot wire and insulators) 204079 | Day: BPA; Mon: 0700 C; Tue: C; Wed: C; Thu: C; Fri: C 1530
| R | P |  | Paul: PCB 4554 (Relay trip checks from Olympia relays) 204550 | Day: BPA; Tue: 0800 1500

## WoC-N, NI & ELM
JULY 2009 |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
WoC-N | NI | ELM | NI & ELM Estimated Path Capacity | Day | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
S |  |  | West of Cascades - North |  | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX | XXX
| N |  | Estimated NI Westside (N-S) | bar: Fri
Estimated NI Westside (S-N) | bar: Fri
|  | E | Echo Lake-Monroe flow gate | bar: Fri
|  |  | Description | Day: Util
C |  |  | Olympia-Grand Coulee 1 287kV Line (Grand Coulee transformer work in proximity to line) els 205165/dls 205179 (Line operating at 230kV) | BPA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | to 26AUG09
| N |  | Custer 500/230kV Bank 2 (Tap changer service) 204141 | Day: BPA; Mon: 0700 C; Tue: C; Wed: C 1700
| N |  | Custer 500/230kV Bank 1 (Tap changer service, diagnostic and accessory service) 204145 | Day: BPA; Thu: 0700 C; Fri: C; Sat: C; Sun: C; Mon: C; Tue: C; Wed: C; Thu: C; Fri: C 1700
| N |  | Murray: PCB A-1510 (Routine service) 203905 | Day: BPA; Mon: 0730 1730
| N |  | Murray: PCB A-1514 (Routine service) 203906 | Day: BPA; Tue: 0730 1730
| N |  | Murray: PCB A-1516 (Routine service) 203908 | Day: BPA; Wed: 0730 1730
| N |  | Custer 500/230kV Bank 2 (Diagnostic and accessory service) 204147 | Day: BPA; Mon: 0700 C; Tue: C; Wed: C; Thu: C; Fri: C 1700

## MT>NW & WOH
JULY 2009 |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
MT>NW | WoH | MT>NW & WoH Estimated Path Capacity | Day | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
M |  | Estimated MT>NW (E-W) | bar: Fri
Estimated MT>NW (W-E) | bar: Fri
| W | Estimated WOH (E-W) | bar: Fri
|  | Description | Day: Util

## ID-NW
JULY 2009 IDAHO-NW OUTAGES | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Day | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri
Estimated ID-NW E>W
Estimated ID-NW W>E
Estimated LaGrande E>W
Estimated LaGrande W>E
Estimated Harney
Description | Day: Util