Barrier Coatings and Stability of Thin Film Solar Cells

1st Quarterly Report - Phase II:

September 1,  2003  --  November 30,  2003

NREL Subcontract:  44575A

Subcontractor:		Pacific Northwest National Laboratory

Principal Investigator:	Larry C. Olsen

1.      OBJECTIVES/APPROACH

The key objectives of this program are to develop low cost barrier coatings for CdTe and CIS solar cells and to develop an improved understanding of mechanisms affecting the stability of CdTe solar cells.  The scope of this work entails investigation of multilayer, barrier coatings for solar cells and studies of stability issues for CdTe solar cells.  The work is structured into three main tasks: (1)  Barrier layer coatings for CdTe and CIS solar cells;  (2) Modeling of mechanisms influencing CdTe stability;  (3) Experimental studies of CdTe cells supporting Tasks 1 and 2.

2.		PROGRESS FOR THIS REPORTING PERIOD

2.1	   Accelerated Testing of SSI Circuits

Data were obtained for a 10 cm x 10 cm SSI circuit that had a slightly thinner coating than previously used.  The process developed for depositing barrier coatings for Shell Solar CIGSS devices consists of first applying a relatively thick polymer layer to provide a planarizing surface onto which to deposit the first oxide layer.   Formation of the thick polymer + oxide layer (subsequently referred to as the base dyad) is followed by deposition of several dyads, each dyad consisting of a polymer layer plus oxide.   Previously reported accelerated lifetest data were obtained for circuits coated with four dyads on top of the base dyad (subsequently referred to as a five dyad coating).  Figure 1 describes the barrier coating applied to Circuit # S4079-22-8.   This circuit has been subjected to accelerated testing at 60ºC/90% RH for 1826 hours without significant degradation of performance.  Efficiency versus time for this circuit is shown in Figure 2.

Figure 1.  Illustration of a barrier coating formed by adding three dyads to the 					         base dyad.

Figure 2.    Efficiency versus time for SSI Circuit in an environment of 60ºC and 					        90% RH.

Circuit characteristics are shown in Table 1.  Although it is satisfying that very good performance is achieved with a four dyad coating, it is particularly significant that the PNNL barrier coating enables the SSI circuit to undergo 1826 hours of accelerated testing with minimal reduction in circuit performance.  If we consider the change in circuit performance relative to performance prior to coating deposition, after 1826 hours at 60/90 the efficiency only decreased from 10.3 % to

10.0 %.  Note that the value of Jsc and FF actually increased while Voc decreased slightly.

2.2		Studies With SSI Mini-Modules

Current studies of SSI circuits are being carried out with Shell's new mini-modules shown in Figure 3.  Shell's 10 cm x 10 cm circuits that were provided for barrier coating studies have one cm wide deletion regions along each edge of the glass substrate.  It is clear from results of accelerated tests and from PNNL work with coatings for OLEDs that the width of one cm provides a very good 'edge seal.'  The situation with the min-modules is quite different.   There is a 2 mm deletion region around the mini-module shown in Figure 3.  As noted, the cells along two sides are inactive.  As indicated, we can delete material from two of the edges to establish an improved 'edge seal,' but the two edges with contacts can not be deleted completely.  Evaluation of barrier coating properties

Table 1 --  Circuit Characteristics For S4079-22-8 *

| Voc | Jsc | FF | Efficiency | Time | Measurement |
| --- | --- | --- | --- | --- | --- |
| (Volts) | (mA/cm2) | ( % ) | ( % ) | ( Hrs@ 60/90) | Date |
| 5.75 | 31.91 | 56.1 | 10.3 | before cleaning | 9/26/2003 |
| 5.74 | 31.87 | 56.5 | 10.3 | cleaned | 9/3/2003 |
| 5.68 | 31.96 | 58.3 | 10.6 | coated | 9/3/2003 |
| 5.64 | 31.86 | 58.4 | 10.5 | 50h | 9/5/2003 |
| 5.57 | 31.86 | 58.3 | 10.3 | 111h | 9/8/2003 |
| 5.6 | 32.01 | 58.7 | 10.5 | 166h | 9/10/2003 |
| 5.61 | 32.21 | 58.4 | 10.6 | 266h | 9/14/2003 |
| 5.61 | 31.88 | 58.8 | 10.5 | 360h | 9/18/2003 |
| 5.61 | 32.3 | 58.4 | 10.6 | 460h | 9/23/2003 |
| 5.59 | 32.06 | 59.1 | 10.6 | 530h | 9/26/2003 |
| 5.59 | 31.86 | 58.8 | 10.5 | 595h | 9/29/2003 |
| 5.59 | 31.56 | 59.5 | 10.5 | 660h | 10/2/2003 |
| 5.58 | 31.73 | 59.2 | 10.5 | 775h | 10/6/2003 |
| 5.59 | 31.37 | 58.6 | 10.3 | 851h | 10/9/2003 |
| 5.56 | 31.15 | 57.8 | 10 | 1002h | 10/15/2003 |
| 5.52 | 31.1 | 56.2 | 9.65 | 1125h | 10/20/2003 |
| 5.38 | 32.32 | 55.4 | 9.64 | 1160h | 10/22/2003 |
| 5.56 | 30.99 | 58.5 | 10.1 | 1210h | 10/24/2003 |
| 5.57 | 30.91 | 58.8 | 10.1 | 1282h | 10/28/2003 |
| 5.56 | 31.01 | 57.1 | 10.1 | 1353h | 10/31/2003 |
| 5.58 | 31.25 | 58.3 | 10.2 | 1425h | 11/3/2003 |
| 5.57 | 31.56 | 57.4 | 10.1 | 1502h | 11/7/2003 |
| 5.53 | 31.1 | 57.7 | 9.93 | 1574h | 11/10/2003 |
| 5.54 | 31.48 | 56.8 | 9.91 | 1664h | 11/14/2003 |
| 5.55 | 32.04 | 56.3 | 10 | 1826h | 11/21/2003 |

*   Jsc refers total Circuit short circuit current divided by individual cell area of 5.71 cm2.

based on results for mini-modules may be more difficult but studies will be conducted because of their availability.  SSI will probably continue to provide 10 cm x 10 cm circuits as well.  It should be noted that PNNL is developing approaches to edge seals for applications to OLEDs.

2.3		 Effects Of Damp Heat On Bare SSI Circuits

As reported previously, one SSI circuit was subjected to 60/90 accelerated testing that did not have a barrier coating -- that is, a bare circuit.   Values of I-V properties were plotted versus time in the last quarterly report.   All parameters were affected significantly with Jsc being affected the most.   One significant effect of the stress

Figure 3.  The SSI 6 cm x 6 cm mini-module.

conditions is that the effective series resistance of the circuit increases.  However, since Voc decreases significantly over the first few hundred hours, it would appear that current-loss mechanisms associated with the junction are also affected.   The effect of the accelerated tests on current loss mechanisms is discussed in this report.

We have concentrated on analysis of dark data in this report.  Measurement of Circuit properties consists of measuring the total current supplied to (or produced by) a circuit versus voltage across the circuit terminals.   Each circuit consists of ten cells connected in series, each one approximately 8 cm x 0.7 cm.  We have assumed that the ten cells are identical, and characterized by individual device parameters Io, A and Rs.  We ignore shunt resistance as a parameter (which means that such effects are incorporated in Io and A) and assume that the series resistance associated with the external contacts is negligible.   Thus the assumed model is described by Figure 4.   We consider ranges of data where a single current mechanism is dominant.

We have determined the J and V for an individual cell from

J =  I / (5.71)    and   V =  Vcircuit / 10					(1)

where 5.71 cm2 is the individual cell area, and 10 is the number of cells in series.

Figure 4.   Assumed equivalent circuit for 10 cm x 10 cm circuit.

Assuming that there is a dominant current loss mechanism,  we write

J =  Jo [ exp(Vjct/AkT] 						(2)

where   	Vjct  =   V  -  Rs I  =   V -  (5.71) Rs J 				(3)

The value of series resistance is determined by considering a plot of J vs Vjct for a range of values for Rs , and selecting the value that leads to a straight line for J vs Vjct on a semilog plot.   Figures 5A and 5B summarize results for J-V analyses for Circuit S4079-22-3.   Figure 5A gives the measured values for J vs V where J is the total current ( I ) divided by 5.71 cm2, and V is Vcircuit/10.    At beginning-of-life (BOL), the I-V data exhibit typical characteristics for a good quality SSI CIGSS cell or circuit, that is, two current mechanisms are evident with the transition occurring in the range of 0.35 to 0.4 .

Volts.   After 1000 hours in a 60/90 environment, the bare circuit is characterized by much larger current losses.

Figure 5B shows 'adjusted' J-V characteristics.  Series resistance values were determined that provides a straight line on the semilog plot for the large voltage mechanism at BOL conditions, and for most of the voltage range for the 1000 hour case.   Rs values of 1.8 ohms and 3.6 ohms were determined as appropriate for the BOL and 1000 hour cases.  These values correspond to estimated values for one cm2 of junction.  One of the key results of this analysis is that the degradation is not simply explained by a degradation of the series resistance associated with each cell.  In fact, the effective Jo accounts for a significant part of the degradation, or in other words, it would appear that current loss mechanisms due to recombination in the junction region account for a significant part of the degradation.  The straight line portion of the adjusted curves are fit by parameters given in Table 2.  It is interesting that the A-value is essentially the same for the degraded J-V curve and the upper mechanism at BOL.  However, the Jo-value

(A)

(B)

Figure 5.    (A)  Measured dark J-V characteristics for bare circuit at beginning of life 					        (BOL) and after 1000 hours in environment of 60ºC and 90% relative 					        humidity.

increased from 1.5x10-8 A/cm2 to 5x10-6 A/cm2 as a result of the stress.   It is tempting to interpret these results as follows:  the stress increases the density of recombination centers associated with the A-value for 1.8 to 1.88 by a factor on the order of 400.

Clearly, we have tried to extract a lot of information from these I-V characteristics.  I think we can make two general conclusions:  (1) the average series resistance per cell increases as a result of the stress, and is probably due to effects of moisture on ZnO; (2) the stress also affects the junction region such that recombination centers leading to current losses are increased.  It is also tempting to postulate that the effect of the moisture on this cell was to increase the density of recombination centers in the depletion region that contribute to the dominant current loss mechanism.   In particular, since the A-factor is essentially the same at BOL and after 1826 hours of stress, it appears that the dominant recombination center at BOL is greatly increased as a result of the stress.

Table 2  --  I-V Parameters For The SSI Bare Cell, S4079-22-3

At  BOL                      Rs = 1.8 ohms        A = 1.80         J0 = 1.5E-8  A/cm2

After 1000 hrs             Rs =  3.6 ohms      A =  1.88        J0 = 5E-6  A/cm2

at 60/90

2.4		Module Reliability Meeting

Dr. Olsen attended the Module team meeting in Albuquerque, September 18 and 19, 2003.   Results for the first three quarters of this project were presented.  Discussions were held with several solar cells industries, and plans made for future interactions.  The meeting was very beneficial for defining problems faced by manufacturers, and will be of tremendous help in determining the direction of future work.