## Chapter 13
Escrows, Escrow Agents, Compliance Inspection Reports, and the Authorization of Funds

#### Overview

| Introduction | This chapter contains information about escrows, escrow agents, compliance inspection reports, and the authorization to release funds, including: general information about escrows selection of the escrow agent preparation of the escrow agreement package review and approval of VA Form 26-1839, Compliance Inspection Report, and management and authorization to release funds. |
| --- | --- |

| In this Chapter | This chapter includes the following sections: |
| --- | --- |

| Section | Section Name | See Page |
| --- | --- | --- |
| A | General Information About Escrows | 13-A-1 |
| B | Selection of the Escrow Agent | 13-B-1 |
| C | Preparation of the Escrow Agreement Package | 13-C-1 |
| D | Review and Approval of VA Form 26-1839, Compliance Inspection Report | 13-D-1 |
| E | Management and Authorization to Release Funds | 13-E-1 |

## Section A
General Information About Escrows

#### Overview

| Introduction | This section contains information about escrows for the Specially Adapted Housing (SAH) and Special Housing Adaptations (SHA) Grants. |
| --- | --- |

| In this Section | This section includes the topic “Escrow Guidelines.” |
| --- | --- |

#### Escrow Guidelines

| Introduction | This topic contains information about escrow guidelines, including: definitions when escrows are required general guidelines when the escrow account is established release of funds use of grant funds to acquire land, and use of earned interest. |
| --- | --- |

| Definitions | The table below defines terms related to this topic. |
| --- | --- |

| Term | Definition |
| --- | --- |
| Escrow Account | Escrow account is an account where money [Specially Adapted Housing (SAH)/Special Housing Adaptations (SHA) grant funds and supplemental funds, such as personal funds and construction loan funds] is put into the custody of a third party (escrow agent). The escrow is to be held by the escrow agent until authorization from Department of Veterans Affairs (VA) to release the funds. Once the agreed upon conditions have been met, the escrow agent delivers the escrowed funds to the grantee, such as a creditor or contractor. Reference: For more information about the release of escrow funds, see Appendix A: “Grant Funds Flow Chart.” |
| Escrow agreement | An escrow agreement is a legal instrument used to govern the control and release of funds in escrow. |

Continued on next page

Escrow Guidelines, Continued

| When Escrows Are Required | When Escrows Are Required: Escrows are required for all SAH/SHA cases. Exception: Escrows are not required if funds are to be released immediately or within 10 working days after receipt of the grant check. Examples: Plan 4 for SAH grants since there is no construction or remodeling, or any turn-key project. |
| --- | --- |

| General Guidelines | For both SAH and SHA cases, the grant and the veteran’s funds must be: deposited in an account in the veteran’s name subject to the control of VA, and readily available without charge or early withdrawal penalty. For both SAH and SHA cases, loan construction funds are subject to control of VA, if allowed by the lender. If VA does not have control of loan construction funds, the grant and the veteran’s funds cannot be released over and above the value of in-place improvements. For both SAH and SHA cases, funds should be placed in an interest bearing escrow account if: it is not contrary to local, State, and Federal laws or customs funds are available upon demand, and the funds are not commingled with the veteran’s personal funds. |
| --- | --- |

Continued on next page

Escrow Guidelines, Continued

| When the Account Is Established. | The escrow account is established after: VA Form 26-1854, Escrow Agreement has been signed by all parties the check has been endorsed, and all supplemental funds are deposited. IMPORTANT: The SAH agent must assure that the grant funds are placed in the escrow account in a timely manner to assure that the: veteran receives the highest benefit from the proceeds project is not unnecessarily delayed, and in the event of a veteran’s death, with Central Office (CO) concurrence, the estate may continue with the project or have the property returned to the same condition it was prior to grant approval. Reference: For more information about death cases see Chapter 15, Section D, “Death Cases.” |
| --- | --- |

| Release of Funds. | Fund releases are either: scheduled releases, or a lump sum payment at the end of the project. References: For more information about scheduled releases and lump sum payments, see Chapter 13, Sections C, “Preparation of the Escrow Agreement Package,” and E, “Management and Authorization to Release Funds.” |
| --- | --- |

Continued on next page

Escrow Guidelines, Continued

| Use of Grant Funds to Acquire Land | In some cases, the veteran may need to use grant funds to acquire the land. The maximum amount permissible for land acquisition is 50 percent of grant funds. If a veteran wishes to use the grant funds to acquire land, the following must occur: Regional Counsel (RC) must give an acceptable opinion on title, showing that the veteran will receive good and marketable title CO must approve the use of grant funds above 50 percent for the land acquisition, and the SAH agent must fully document the grant file. |
| --- | --- |

| Use of Earned Interest | Any interest earned on the grant funds is outside the scope of the escrow agreement. The veteran chooses how to handle the earned interest upon completion of the escrow agreement. |
| --- | --- |

## Section B
Selection of the Escrow Agent

#### Overview

| Introduction | This topic contains information about the selection of the escrow agent, including: escrow agent selection guidelines making initial contact with the escrow agent, and responsibilities of the escrow agent. |
| --- | --- |

| In this Section | This section includes the following topics: |
| --- | --- |

| Topic | Topic Name | See Page |
| --- | --- | --- |
| 1 | Escrow Agent Selection Guidelines | 13-B-2 |
| 2 | Making Initial Contact with the Escrow Agent | 13-B-4 |
| 3 | Responsibilities of the Escrow Agent | 13-B-5 |

#### Escrow Agent Selection Guidelines

| Introduction | This topic contains information about escrow agent selection guidelines, including: types of qualifying institutions and agencies characteristics of the escrow agent who selects the escrow agent when to select an escrow agent notification of the selected escrow agent, and escrow agent fees. |
| --- | --- |

| Types of Qualifying Institutions and Agencies | The following institutions or agencies qualify as escrow agents: banks attorneys Federal Housing Administration (FHA) approved mortgagees title insuring companies supervised lenders, as defined in Title 38 United States Code 3702(d), and finance groups of the Department of Veterans Affairs (VA), upon approval by Central Office (CO). |
| --- | --- |

| Characteristics of the Escrow Agent | The escrow agent, whether an individual or an institution, should: be acceptable to the veteran, contractor, and lender (if applicable) practice financially sound principles, and be of unquestionable integrity. |
| --- | --- |

| Who Selects the Escrow Agent | The veteran, contractor, lender (if applicable), and the Specially Adapted Housing (SAH) agent work together to select an escrow agent. |
| --- | --- |

Continued on next page

Escrow Agent Selection Guidelines, Continued

| When to Select an Escrow Agent | The escrow agent must be selected: at the time of grant approval, and before the receipt of the grant check. |
| --- | --- |

| Notification of the Selected Escrow Agent | The veteran, contractor, or lender notifies the SAH agent of the selected escrow agent, including the: company name company address name of the escrow agent, and telephone/fax number of the escrow agent. Note: All parties of the project must agree to the use of the selected escrow agent. |
| --- | --- |

| Escrow Agent Fees | The escrow agent usually sets the fee for his/her services. For fees that seem excessive, the veteran and the escrow agent usually negotiate for a more reasonable fee. When negotiations fail, the SAH agent discusses the matter with the veteran and suggests selecting an escrow agent who charges a lesser fee. Note: The veteran has freedom of choice when it comes to selecting the escrow agent. |
| --- | --- |

#### Making Initial Contact with the Escrow Agent

| Introduction | This topic contains information about making initial contact with the escrow agent, including: the purpose when to perform, and how to brief the escrow agent. |
| --- | --- |

| Purpose | The purpose of contacting the escrow agent is to discuss the: escrow process, and escrow agent’s responsibilities. |
| --- | --- |

| When to Perform | Make initial contact with the escrow agent upon notification of the selected escrow agent. |
| --- | --- |

| How to Brief Escrow Agent | Follow the steps in the table below to brief the selected escrow agent. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Contact the escrow agent and discuss: that the veteran was approved for a grant the approximate time frame for receipt of all funds that grant funds are only released upon authorization from the Department of Veterans Affairs (VA) that supplemental funds, if relevant to the case, will be deposited and will also be released upon authorization from VA how the staged releases operate, and the fees for the escrow agent’s services. |
| 2 | Explain the escrow agent’s responsibilities and receive written confirmation of the escrow agent’s acceptance of VA requirements. Reference: For more information about the escrow agent’s responsibilities, see “Responsibilities of the Escrow Agent” later in this section. |

#### Responsibilities of the Escrow Agent

| Introduction | This topic contains information about the responsibilities of the escrow agent, including: setting up the escrow account completing the escrow fee in Item 8 of VA Form 26-1854, Escrow Agreement scheduling the endorsement of the grant check and obtaining signatures on VA Form 26-1854 releasing the funds in accordance with VA instructions, and accounting for all funds released. |
| --- | --- |

| Setting Up the Escrow Account | The escrow agent is responsible for setting up the account: in the veteran’s name, and with the following instructions: “Written authorization from VA for any withdrawal is required.” Rationale: This ensures that VA has control over the funds and the veteran is protected. |
| --- | --- |

| Completing Item 8 of VA Form 26-1854 | The escrow agent is responsible for completing Item 8 of VA Form 26-1854, Escrow Agreement. Note: Item 8 is the escrow fee to be charged to the veteran and should not include any other costs or fees. |
| --- | --- |

Continued on next page

Responsibilities of the Escrow Agent, Continued

| Schedule Endorsement of the Grant Check & Obtaining Signatures on the VA Form 26-1854 | Upon receipt of the grant check from the Specially Adapted Housing (SAH) agent, the escrow agent is responsible for setting up an appointment with the veteran for the check’s endorsement and deposit. After depositing the grant check in escrow, the escrow agent is responsible for: signing the original copy of VA Form 26-1854 obtaining signatures from the veteran and contractor on the original copy of VA Form 26-1854, and providing copies of VA Form 26-1854 to VA, the veteran, and the contractor for their records. Note: All signatures must be witnessed by either the SAH agent, escrow agent, or be notarized. |
| --- | --- |

| Release of the Funds | The escrow agent is responsible for releasing the grant funds in accordance with the disbursement schedule only after receiving written authorization from VA. |
| --- | --- |

| Accounting of Funds | The escrow agent is responsible for submitting a full accounting to VA of all funds released. This accounting includes: lien waivers evidence of funds released, such as receipts, wire transfers, cancelled checks, etc. the date the escrow account was closed, and a statement concerning the release of all interest accrued. |
| --- | --- |

## Section C
Preparation of the Escrow Agreement Package

#### Overview

| Introduction | This section contains information about preparing the escrow agreement package, including: general information about escrow agreement packages VA Form 26-1854, Escrow Agreement Guidelines VA Form 26-1854, Disbursement Schedule Guidelines, and instruction letter guidelines. |
| --- | --- |

| In this Section | This section includes the following topics: |
| --- | --- |

| Topic | Topic Name | See Page |
| --- | --- | --- |
| 1 | General Information About Escrow Agreement Packages | 13-C-2 |
| 2 | Guidelines for VA Form 26-1854, Escrow Agreement | 13-C-4 |
| 3 | Guidelines for VA Form 26-1854, Disbursement Schedule | 13-C-6 |
| 4 | Instruction Letter Guidelines | 13-C-10 |

#### General Information About Escrow Agreement Packages

| Introduction | This topic contains information about the escrow agreement package, including: the purpose when to perform components of the escrow agreement package delivery of the escrow agreement package, and updating the Specially Adapted Housing (SAH)/The Appraisal System (TAS). |
| --- | --- |

| Purpose | The purpose of preparing the escrow agreement package is to provide the escrow agent with all necessary information to establish the escrow account. |
| --- | --- |

| When to Perform | Prepare the escrow agreement package when the Treasury check is received at the Regional Office (RO) or Regional Loan Center (RLC). |
| --- | --- |

| Components of the Escrow Agreement Package | Components of the escrow agreement package include: four unsigned copies of VA Form 26-1854, Escrow Agreement, including the disbursement schedule the letter of instruction to the escrow agent, and the grant check. |
| --- | --- |

| Delivery of the Escrow Agreement Package | Deliver the escrow agreement package through: hand delivery, or certified mail. Rationale: Both methods of delivery ensure proof of delivery of the escrow agreement package. |
| --- | --- |

Continued on next page

General Information About Escrow Agreement Packages, Continued

| Updating the SAH/TAS | Update SAH/TAS with escrow information. |
| --- | --- |

#### Guidelines for VA Form 26-1854, Escrow Agreement

| Introduction | This topic contains information about guidelines for VA Form 26-1854, Escrow Agreement, including: the purpose of VA Form 26-1854 when to complete the parts of VA Form 26-1854, and a review for accuracy. |
| --- | --- |

| Purpose of VA Form 26-1854 | The purpose of VA Form 26-1854 is to notify the escrow agent, veteran, and contractor about how the grant funds, loan funds, and veteran’s funds, if any, will be released. |
| --- | --- |

| When to Complete | VA Form 26-1854 should be prepared: after the grant has been approved by the Loan Guaranty Officer (LGO), or designee, and upon receipt of the grant check. |
| --- | --- |

| Parts of VA Form 26-1854 | The table below describes the parts of VA Form 26-1854. |
| --- | --- |

| Part | Description |
| --- | --- |
| Parties to the agreement. | Lists the names of the parties to the agreement, including the: veteran contractor, and escrow agent. |
| Director or designee. | Indicates the name of the individual at Department of Veterans Affairs (VA) who authorizes the release of funds. |
| Property. | Provides a legal description of the property. |
| Financial terms. | Indicates the amount of loan funds and veteran’s personal funds used in the project. |
| Disbursement schedule. | Defines the scheduled releases and the amount of funds to be released. |

Continued on next page

Guidelines for VA Form 26-1854, Escrow Agreement, Continued

Parts of VA Form 26-1854 (continued)

| Part | Description |
| --- | --- |
| Escrow agent fee. | Indicates the cost of the services provided by the escrow agency. |
| Signatures. | Provides an area for the signatures of all parties. |

| Reviewing for Accuracy | The following information must be reviewed for accuracy on VA Form 26-1854: the contract and commitment letter from the lender the funds, and assurance that the stage inspections coincide with the draws. |
| --- | --- |

#### Guidelines for VA Form 26-1854, Disbursement Schedule

| Introduction | This topic contains information about preparing the disbursement schedule, including: a reference the purpose stages of the disbursement schedule conditions that impact the disbursement schedule calculating releases, and how to generate the schedule (VA Form 26-1854, Disbursement Schedule) . |
| --- | --- |

| Reference | For more information about the authorization of funds, including lump sum payments and staged releases, see Chapter 13, Section E, “Guidelines for Escrow Fund Release.” |
| --- | --- |

| Purpose | The purpose of preparing the disbursement schedule is to define the following information for all parties in both Specially Adapted Housing (SAH) and Special Housing Adaptations (SHA) cases: the stages of the disbursement schedule, and the amount of funds to be released at each stage. |
| --- | --- |

Continued on next page

Guidelines for VA Form 26-1854, Disbursement Schedule, Continued

| Stages of the Disbursement Schedule | The disbursement schedule will usually contain five stages, which coincide with the stages of the construction process. The disbursement schedule typically calls for 20 percent of the total funds to be paid out for each stage. The table below describes the five stages involved in the disbursement schedule; however, the description of each stage may be modified to fit the needs of the project. |
| --- | --- |

| Stage | Description |
| --- | --- |
| 1 | The foundation walls are complete and ready for backfill. |
| 2 | The building is enclosed and rough in is complete. |
| 3 | The following types of fixtures are set: plastered/sheetrock trimmed, and plumbing fixtures. IMPORTANT: This stage does not include the finished floors, doors, decorating, electrical fixtures, or heating equipment. |
| 4 | The building is complete. |
| 5 | Payment of the 20% holdback to the contractor is made. |

| Example | The table below illustrates a disbursement schedule where the: awarded SAH grant is for $50,000.00 supplementary bank loan is $50,000.00, and veteran has $2,000.00 in personal funds. |
| --- | --- |

| Stage | Percentage | Grant Funds | Loan Funds | Veteran’s Funds | Total Funds |
| --- | --- | --- | --- | --- | --- |
| 1 | 20% | $10,000.00 | $10,000.00 | $400.00 | $20,400.00 |
| 2 | 20% | $10,000.00 | $10,000.00 | $400.00 | $20,400.00 |
| 3 | 20% | $10,000.00 | $10,000.00 | $400.00 | $20,400.00 |
| 4 | 20% | $10,000.00 | $10,000.00 | $400.00 | $20,400.00 |
| 5 | 20% | $10,000.00 | $10,000.00 | $400.00 | $20,400.00 |
| Total | 100% | $50,000.00 | $50,000.00 | $2,000.00 | $102,000.00 |

Continued on next page

Guidelines for VA Form 26-1854, Disbursement Schedule, Continued

| Conditions that Impact the Disbursement Schedule | The stages of the disbursement schedule and the amount of the release may be impacted by the type of project (remodeling, remodeling with an addition, or new construction). The stages of the disbursement schedule may also be impacted by the: availability of funds, and SAH agent’s receipt of the Department of Veterans Affairs (VA) Compliance Inspection Report from the VA-assigned Compliance Inspector (CI) indicating that the work for the particular stage is incomplete and/or non-compliant. Note: Any modifications to the original escrow agreement concerning disbursements must be corrected by an amendment and signed by all parties to the escrow agreement. |
| --- | --- |

| Example | The table below illustrates a disbursement schedule where there: are three compliance inspections are three draws, and there is a 20 percent holdback shown on the schedule. Notes: In this example, the construction was completed at the time of the third inspection. If VA has an acceptance statement by the veteran and a lien waiver from the contractor for the entire project, the remaining 20 percent can be released along with the third draw after the final field review by the SAH agent. If settlement for permanent financing is scheduled, and 20 percent is retained, the 20 percent can be released at loan settlement as long as the house is 100 percent complete. |
| --- | --- |

| Stage | Percentage | Grant Funds | Loan Funds | Veteran’s Funds | Total Funds |
| --- | --- | --- | --- | --- | --- |
| 1 | 11% | $7,280.00 | -- | $10,120.00 | $17,400.00 |
| 2 | 44% | $21,120.00 | -- | $40,480.00 | $61,600.00 |
| 3 | 25% | $12,000.00 | -- | $23,000.00 | $35,000.00 |
| 4 | 20% | $9,600.00 | -- | $18,400.00 | $28,000.00 |
| Total | 100% | $50,000.00 | -- | $92,000.00 | $142,000.00 |

Continued on next page

Guidelines for VA Form 26-1854, Disbursement Schedule, Continued

| Calculating Release Amounts | Reference the plan that was used to compute the grant amount to determine the manner in which the grant proceeds are paid out from the veteran’s account. Calculate release amounts on the basis of in-place construction. Limit the release amount to no more than 80 percent of the value of in-place construction, plus the cost of the land. References: For more information about plan types and calculating the grant amounts, see Chapter 6, “Specially Adapted Housing (SAH) and Special Housing Adaptations (SHA) Plan Types and Grant Calculations.” |
| --- | --- |

| How to Generate VA Form 26-1854 | Generate VA Form 26-1854, Disbursement Schedule from SAH/The Appraisal System (TAS). |
| --- | --- |

#### Instruction Letter Guidelines

| Introduction | This topic contains information about preparing the instruction letter, including: the purpose when to perform items to address, and generating the instruction letter. |
| --- | --- |

| Purpose | The purpose of the instruction letter is to: confirm issues addressed in the initial contact with the escrow agent, and provide instructions for the escrow agent in order to establish the escrow account. |
| --- | --- |

| When to Perform | The instruction letter should be prepared with the escrow agreement package. |
| --- | --- |

| Items to Address | The table below describes the items to address in the instruction letter to the escrow agent. |
| --- | --- |

| Item | Description |
| --- | --- |
| Grant approval | Indicate that the veteran has been approved for the grant. Note: Place a photocopy of the grant check in the grant file. |

Continued on next page

Instruction Letter Guidelines, Continued

Items to Address (continued)

| Item | Description |
| --- | --- |
| Grant check | Advise the escrow agent that: the grant check is enclosed, including the: date of the check, and check number he/she should: schedule an appointment with the veteran and the contractor to endorse the check, and place the grant proceeds in the escrow account as early as possible, even if evidence of title has not been received, so that interest will be earned during construction and/or remodeling. Note: No grant funds will be released from the escrow account until acceptable title is obtained. |
| Contact Information for the Veteran and the Contractor | Provide the following contact information about the veteran and the contractor: name, and telephone number. |
| Deposit and Release of Funds | Advise the escrow agent that he/she should: deposit the funds in an interest bearing account, if possible, and not release any funds without authorization from the Department of Veterans Affairs (VA). |

Continued on next page

Instruction Letter Guidelines, Continued

Items to Address (continued)

| Item | Description |
| --- | --- |
| Information to be Provided to VA | Advise the escrow agent that he/she should provide: a copy of the executed escrow agreement evidence the account has been established, and evidence the grant funds have been deposited. |

| Generating the Instruction Letter | Generate the instruction letter using Specially Adapted Housing (SAH)/The Appraisal System (TAS). |
| --- | --- |

## Section D
Review and Approval of VA Form 26-1839, Compliance Inspection Report

#### Overview

| Introduction | This section contains information about the review and approval of VA Form 26-1839, Compliance Inspection Report, including: information about compliance inspections reviewing VA Form 26-1839, and handling non-compliant inspections. |
| --- | --- |

| In this Section | This section includes the following topics: |
| --- | --- |

| Topic | Topic Name | See Page |
| --- | --- | --- |
| 1 | General Information About Compliance Inspections | 13-D-2 |
| 2 | Reviewing VA Form 26-1839, Compliance Inspection Report | 13-D-4 |
| 3 | Handling Non-Compliant Inspections | 13-D-6 |

#### General Information About Compliance Inspections

| Introduction | This topic contains information about compliance inspections, including: the purpose who performs the inspections, and a description of VA Form 26-1839, Compliance Inspection Report. |
| --- | --- |

| Purpose | The purpose of a compliance inspection is to obtain approval of the construction for all Specially Adapted Housing (SAH) or Special Housing Adaptations (SHA) cases, where a Department of Veterans Affairs (VA) grant is being sought. The compliance inspection certifies that the property has been constructed or remodeled in accordance with: Federal, State, and local building codes (see Chapter 9, Section F, “Building Code Requirements” , and the specifications outlined by VA, including the: conformance to the Minimum Property Requirements (MPRs), and inclusion of special adaptive features. Note: Certification of federal, state, and local building codes can be in the form of a certificate of occupancy, or in case of remodeling, a copy of the final inspection report from the local building authority. Rationale: VA can release grant funds only after: a proper inspection has been conducted by a VA assigned Compliance Inspector (CI) all non-compliant items on VA Form 26-1839, Compliance Inspection Report are resolved, and VA Form 26-1839 has been reviewed and approved by the Regional Loan Center (RLC). |
| --- | --- |

Continued on next page

General Information About Compliance Inspections, Continued

| Who Performs the Inspection | A VA-assigned CI is responsible for performing the compliance inspections. Exception: In some cases the SAH agent may conduct the final inspection if a VA-assigned CI is not available in the area. However, all efforts should be made to assign a VA-approved CI for liability purposes. References: For more information about VA-assigned CIs in: SAH cases, see Chapter 9, Section G, “Specially Adapted Housing (SAH) The Inspection Schedule and Assignment of the Department of Veterans Affairs (VA) Compliance Inspector” and SHA cases, see Chapter 10, Section F, “Special Housing Adaptations (SHA) Inspection Schedules and Assignment of a Department of Veterans Affairs (VA) Compliance Inspector.” |
| --- | --- |

| Description VA Form 26-1839 | After the compliance inspection, the VA-assigned CI completes VA Form 26-1839. This report: lists the stage of the inspection indicates whether or not the project is compliant with the plans and specifications at a specific stage of construction, and indicates when a re-inspection by the VA-assigned CI is required. Note: Once an inspection report from the VA-assigned CI is received, indicating that all SAH-related construction is complete, the SAH agent must conduct a Final Field Review to ensure that the construction is compliant with SAH requirements. Reference: For information about the Final Field Review, see Chapter 9, Section G, “Specially Adapted Housing (SAH) The Inspection Schedule and Assignment of the Department of Veterans Affairs (VA) Compliance Inspector.” |
| --- | --- |

#### Reviewing VA Form 26-1839, Compliance Inspection Report

| Introduction | This topic contains information about reviewing VA Form 26-1839, Compliance Inspection Report, including: the purpose a definition, and how to review the report. |
| --- | --- |

| Purpose | The purpose for reviewing VA Form 26-1839 is to: check the stage of construction and verify that the construction is completed per plans and specifications, and determine whether or not reports of compliance inspections, re-inspection, and inspections for staged payments of construction were completed. |
| --- | --- |

| Definition: Non-Compliant Items | Non-compliant items include: deficiencies deviations, or unauthorized substitutions or changes. |
| --- | --- |

| How to Review the Report | Follow the steps in the table below to review VA Form 26-1839. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Review VA Form 26-1839 and check for any non-compliant items. Reference: For information about handling non-compliant items, see “Handling Non-Compliant Inspections” later in this section. |

Continued on next page

Reviewing VA Form 26-1839, Compliance Inspection Report, Continued

How to Review the Report (continued)

| Step | Action |
| --- | --- |
| 2 | Sign VA Form 26-1839, and indicate if the report is a: pre-final report final report, or reinspection. |
| 3 | Mail copies of the report to the: veteran contractor, and lender (if applicable). |
| 4 | File the original report in the grant file. |
| 5 | Update Specially Adapted Housing (SAH)/The Appraisal System (TAS). |
| 6 | Submit the VA-assigned CI’s fee invoice for payment. |

#### Handling Non-Compliant Inspections

| Introduction | This topic contains information about handling non-compliant inspections, including: how to handle non-compliant items, and the contractor’s failure to correct the deficiency. |
| --- | --- |

| How to Handle Non-Compliant Items | Follow the steps in the table below to handle non-compliant items on VA Form 26-1839. IMPORTANT: If the non-compliance affects the structural integrity of the structure and purpose of the project, contact the contractor and Department of Veterans Affairs (VA)-assigned Compliance Inspector (CI) to discuss the deficiency. Reference: For information about handling non-compliant items that cannot be corrected, see Chapter 15, Section A, “Delays, Complaints, and Transfer Cases.” |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Immediately provide the counter-signed copy of VA Form 26-1839 to the contractor thereby notifying him/her that there are non-compliant items. |
| 2 | Send a detailed letter to the contractor and a courtesy copy of the letter to the veteran: identifying the: situation, and needed corrections, and explaining that the cost of the re-inspection is at the contractor’s expense. Note: A change order may be necessary if there is a substitution or deviation from the plans and specifications. |
| 3 | Monitor the status of the needed corrections, and schedule a re-inspection, once the non-compliant item is corrected. |

Continued on next page

Handling Non-Compliant Inspections, Continued

| Failure to Correct the Deficiency | Allow the contractor a reasonable amount of time to correct the construction problem. However, if the contractor still fails to correct the deficiency, contact the Regional Loan Center (RLC) to: advise of the deficiency, and request guidance in resolving the problem. Reference: For more information about the contractor’s failure to correct the deficiency, see Chapter 15, Section A, “Delays, Complaints, and Transfer Cases.” |
| --- | --- |

## Section E
Management and Authorization to Release Funds

#### Overview

| Introduction | This section contains information about the management and authorization to release funds, including: guidelines for escrow fund release twenty percent holdback of grant funds authorization of release letter guidelines, and guidelines for obtaining documentation and evidence of the escrow fund release. |
| --- | --- |

| In this Section | This section includes the following topics: |
| --- | --- |

| Topic | Topic Name | See Page |
| --- | --- | --- |
| 1 | Guidelines for Escrow Fund Release | 13-E-2 |
| 2 | Twenty Percent Holdback of Grant Funds | 13-E-4 |
| 3 | Authorization of Release Letter Guidelines | 13-E-5 |
| 4 | Guidelines for Obtaining Documentation and Evidence of the Escrow Fund Release | 13-E-7 |

#### Guidelines for Escrow Fund Release

| Introduction | This topic contains information about guidelines for the escrow fund release, including: when to initiate the release how to authorize the release, and when to retain funds in escrow. |
| --- | --- |

| When to Initiate Release | Use the table below to determine when to initiate the release of funds. |
| --- | --- |

| If the case is a … | Then initiate the release of funds after … |
| --- | --- |
| Specially Adapted Housing (SAH) case | obtaining an acceptable title opinion from Regional Counsel (RC), and receiving an acceptable VA Form 26-1839, Compliance Inspection Report from the Department of Veterans Affairs (VA) assigned Compliance Inspector (CI). Note: A Final Field Review report must be completed by the SAH agent or other qualified VA personnel before the final funds (20% holdback) can be disbursed. |
| Special Housing Adaptations (SHA) case | receiving an acceptable VA Form 26-1839 from the VA-assigned CI, and an acceptable Final Field Review report. |

References: For more information about: checking the title requirements, see Chapter 11, Section C, “Verifying Evidence of Acceptable Title,” and VA Form 26-1839, see Chapter 13, Section D, “Review and Approval of VA Form 26-1839, Compliance Inspection Report.”

| How to Authorize the Fund Release | To authorize the fund release, prepare and send the escrow release letter to the escrow agent. Reference: For more information about the escrow release letter, see “Authorization of Release Letter Guidelines” later in this section. |
| --- | --- |

Continued on next page

Guidelines for Escrow Fund Release, Continued

| When to Retain Funds in Escrow | Retain funds in escrow upon receipt of the Final Field Review report if work is still not complete because of: non-compliant items, or items outside of the contractor’s control. The amount to retain in escrow must be two times the cost of the incomplete items or a minimum of $1,500.00, whichever is higher. Note: Final escrow funds must not be released until the SAH agent has received evidence of completion of non-compliant items and/or items outside of the contractor’s control. Evidence includes an additional Final Field Review report by the SAH agent or, in the case of minor items, photographs and a statement of satisfactory completion, signed by both the veteran and the contractor. |
| --- | --- |

#### Twenty Percent Holdback of Grant Funds

| Introduction | This topic contains information about the 20 percent holdback of grant funds, including: the purpose requirements an example, and exceptions. |
| --- | --- |

| Purpose | The purpose of coordinating the 20 percent holdback is to assure the project: will be fully completed, and is in compliance with the approved plans and specifications. |
| --- | --- |

| Requirement | A 20 percent holdback of grant funds is required anytime a disbursement schedule is prepared for the project. Note: The 20 percent holdback may or may not contain any of the loan funds, depending upon the lender’s preference. |
| --- | --- |

| Exceptions | In some instances, the 20 percent holdback may be considered excessive. Such instances may include situations where the: contractor must postpone completion of certain improvements or is unable to deliver or install certain kinds of equipment on schedule due to weather conditions, or other reasons beyond his/her control, or veteran may desire occupancy before the property is entirely completed and completion is delayed because of reasons beyond the control of the contractor. IMPORTANT: The amount to retain in escrow must be two times the estimated cost of the incomplete items, or a minimum of $1,500.00, whichever is higher. |
| --- | --- |

#### Authorization of Release Letter Guidelines

| Introduction | This topic contains information about the authorization of release letter guidelines, including: a description when to perform components of the letter, and generating the letter. |
| --- | --- |

| Description | The authorization of release letter: authorizes the escrow agent to release a specified amount of the grant funds, and indicates to whom the checks are to be made payable. |
| --- | --- |

| When to Perform | Scheduled Release Cases The authorization of release letter should be prepared and sent: in accordance with the established escrow agreement disbursement schedule upon acceptance of each inspection report requiring a disbursement, and after acceptable title opinion is received from Regional Counsel (RC). Reference: For more information about checking the title requirements, see Chapter 11, Section C, “Verifying Evidence of Acceptable Title.” Lump Sum Payment Cases The authorization of release letter should be prepared and sent: after acceptable title opinion is received from RC after the final VA Form 26-1839 is received and approved, and after the Final Field Review is conducted. Reference: For information about the Final Field Review, see Chapter 9 Section G, “The Inspection Schedule and Assignment of a Department of Veterans Affairs (VA) Compliance Inspector.” |
| --- | --- |

Continued on next page

Authorization of Release Letter Guidelines, Continued

| Components of the Letter | For both scheduled release cases and lump sum payment cases, the authorization of release letter should include the: names of the payees to be included on the check, including the veteran and contractor amount to release, and instructions for submitting supporting documentation and evidence, including a lien waiver and/or material and labor cost receipts (depending on local practices). References: For more information about: the amount of the release, see “Guidelines for Escrow Fund Release” earlier in this section, and lien waivers and other supporting documentation and evidence, see “Guidelines for Obtaining Documentation and Evidence of the Escrow Fund Release” later in this section. |
| --- | --- |

| Generating the Letter | The authorization release letter may be generated from the Specially Adapted Housing (SAH)/The Appraisal System (TAS). |
| --- | --- |

#### Guidelines for Obtaining Documentation and Evidence of the Escrow Fund Release

| Introduction | This topic contains information about the guidelines for obtaining the documentation and evidence of escrow fund release, including: the purpose when to obtain a description of lien waivers required documentation and evidence, and when to file the evidence and update Specially Adapted Housing (SAH)/The Appraisal System (TAS). |
| --- | --- |

| Purpose | The purpose of obtaining the documentation and evidence of escrow fund release from the escrow agent is to ensure that the grant funds were properly released. |
| --- | --- |

| When to Obtain | Documentation and evidence of escrow fund release should be obtained after the final release of the grant funds. |
| --- | --- |

| Description: Lien Waivers | A lien waiver states that: the contractor has paid or will pay for materials and specialty contractors and sub-contractors, and no enforceable mechanic liens can or will be placed on the subject property. |
| --- | --- |

Continued on next page

Guidelines for Obtaining Documentation and Evidence of the Escrow Fund Release, Continued

| Required Documentation and Evidence | The escrow agent must provide: evidence of all releases, such as copies of endorsed checks lien waivers evidence that any interest accrued was paid to the veteran evidence that the escrow account has been closed a statement or summary of payments evidence that grant funds were applied to the principal balance of the mortgage, if applicable evidence that the veteran was reimbursed, if applicable, and the HUD 1 Settlement Statement. Note: The HUD 1 Settlement Statement is obtained from the lender when the veteran is obtaining supplemental financing. |
| --- | --- |

| When to File the Evidence and Update SAH/TAS | After all of the evidence and documentation has been received: file the Final Field Review and all evidence and documentation from the escrow agent in the grant file, and update SAH/TAS with information about inspections and escrow payments. Note: SAH/TAS must be updated after each release of funds. Reference: For more information about the Final Field review, see Chapter 9, Section G, “Final Field Review.” |
| --- | --- |