September 6, 2005

EPA Water Docket Center

1200 Pennsylvania Ave., NW

Mail Code 4101 T

Washington, DC 20460

Attention: Docket ID OW-2004-0035

Re:	Agency Information Collection Activities: Proposed Collection; Comment Request: Technical Survey, Drinking Water Treatment Facilities, EPA ICR Number 2176.01,

70 Federal Register 38675

Dear Docket:

As directors and managers of the nation’s largest drinking water systems collectively serving over 110 million people, AMWA appreciates the opportunity to provide comment on the proposed Screener and Detailed Surveys related to the development of effluent guidelines for drinking water treatment facilities.

EPA states the goal of the screener and detailed surveys are to:

“… provide EPA with preliminary, technical, and environmental data needed to quantify any adverse environmental impacts of the discharges of residuals and metals from drinking water treatment facilities, evaluate the effectiveness of treatment technologies, and determine the incremental pollutant removals and compliance costs for various residual management options that EPA might consider for the proposed rule.”

AMWA believes that in order for EPA to meet its objectives, it should explain how the data requested of utilities would assist EPA in achieving its stated goals.  Currently, the links between the data requested in the draft surveys, and the goals described are unclear. Understanding the context for requests for specific data will help utilities gather the data EPA needs to understand the composition of drinking water treatment residuals.

Utilities and states might also be more inclined to provide EPA with additional data relevant to EPA’s goals and overall mission (i.e., determining whether to propose effluent guidelines for drinking water treatment residuals) if they understand what, exactly, the mission is and what data are necessary to complete it.  Previous informal requests from EPA for residuals data from drinking water treatment plants have gone largely unanswered because utilities do not have clear information to help them make decisions about what data would be helpful to the agency.

In articulating how the survey will inform EPA’s effort to address potential effluent guidelines for drinking water systems, EPA should aim to only collect data that is relevant to this mission.  Collecting data not directly related to EPA’s mission will confuse utilities that are gathering the data.  It will also result in wasted time spent by utilities in gathering irrelevant data as well as wasted time spent by EPA in analyzing it.

With regard to collecting information about residuals sent to publicly owned treatment works (POTWs), AMWA understands that it is necessary for EPA to collect this data for the purposes of developing a mass balance of residuals generation and disposal.  However, AMWA notes that drinking water systems work with POTWs to manage drinking water residuals within the local limits set by municipalities. These local limits, unique to each municipality, have been successfully worked out and implemented in communities across the country.

With regard to the specific questions posed by EPA in the Federal Register notice, AMWA offers the following comments:

1.	Is the collection of information necessary for the proper performance of the functions of the Agency (i.e., to determine whether an effluent guidelines regulation for drinking water utilities is necessary)?

AMWA believes that before (and possibly instead of) collecting the  information detailed in the draft screener and detailed questionnaires, EPA should review existing records to identify water systems that generate and dispose of residuals.  Much of the information EPA seeks is available in the data submitted to the agency by large water systems under the Information Collection Rule (ICR).

This rule required all water systems serving more than 100,000 people to electronically submit a sampling plan. This plan included design plant parameters, general drinking water treatment process schematics, monthly and quarterly water quality monitoring results, residuals information, and operational data, such as monthly chemical dosage information.

Albeit water utilities may have altered treatment processes or added new water sources since the ICR was implemented in July of 1997, an EPA review and analysis of existing ICR data could provide information to identify systems that have residuals treatment, their treatment types and dosage rates.   Such a review and analyses would enable EPA to identify data gaps and refocus the current survey instruments.   (It might then be possible to combine the two surveys into one, targeted survey aimed at utilities known to generate and dispose of waste residuals of concern to EPA.)  The result would be a more cost and time efficient endeavor for both EPA and drinking water utilities that will be required to complete the survey.

2.	Is EPA’s burden estimate for the questionnaires accurate (7 hours for the short screener, 48 hours for the longer form), and is their approach overall valid?

For large utilities that do manage waste residuals generated at the facility, EPA has underestimated the time necessary to complete the surveys.  For the screener survey, treatment plants with processes that generate waste residuals could take several hours just to compile the information necessary to complete the screener. In addition, adequate time for QA/QC and management review should be considered. AMWA estimates it would take at least 16 hours for such facilities to complete the screener questionnaire.

If EPA decides to use the screener survey, AMWA suggests inserting a new question #7 that allows utilities that do not produce residuals to check a box indicating there are no residuals generated (and therefore, none to dispose of) from the facility.  If the “no” box is checked for this question, it should be noted that the treatment facility is finished with the questionnaire, and does not need to answer more questions.

In terms of the detailed questionnaire, AMWA believes that EPA has underestimated the time necessary for completion.  Utilities will most likely have to distribute the questionnaire out to different departments or personnel to obtain information about residuals, chemical consumption and costs.  In terms of costs requested, utilities would also have to research the categories mentioned across different departments to report accurate information. For many treatment plants, AMWA estimates at least twice the amount of time would be required (96 hours).

EPA should also note that most large utilities that will be affected by these surveys have more than one treatment plant.  The estimated burden time for one utility system could be multiplied two or more times for those utilities that have multiple plants producing residuals.

3.	Can the surveys be improved in any way to enhance the quality, utility and clarity of information to be collected?

AMWA believes the surveys could be improved in many ways to improve the quality, utility and clarity of the information EPA proposes to collect. Below are several suggestions to the agency:

- Clarifying which utilities and drinking water treatment plants are required to complete the survey. Both the “Draft” and “Detailed” survey instruments are intended for response for information for one “facility” and specify one SDWIS ID.  Large drinking water systems generally have more than one treatment plant affiliated with its individual public water system ID (PWSID, which should be the same as the SDWIS ID).  In some states, each drinking water treatment plant may have its own unique ID.

EPA needs to specify which treatment plants are required to complete the survey for each PWSID/SDWIS ID. Currently the questionnaire is clear only for systems with a single surface water treatment plant.  Does a utility fill out multiple questionnaires if it has multiple treatment plants?

- Clarifying what is meant by “facility”. In the proposed survey, “facility” is defined as “physical location corresponding to the site where industrial and non-industrial activities are conducted.”  EPA says that a questionnaire needs to be completed for each facility.

- Clarification of term “treatment”.  EPA’s definition of treatment is specific to waste products.  Drinking water utilities generally refer to treatment as the means of processing raw water for the purpose of meeting federal and state quality regulations and distribution to water system customers for their use and consumption.  AMWA suggests EPA use an adjective to describe what sort of “treatment” to which it is referring, i.e., “waste treatment”, “drinking water treatment” or “residuals treatment”.

- Clarification of term “primary source”.  The Detailed Survey requests water quality information for the primary source. For a groundwater system, there is likely to be several sources, but no “primary source”. EPA should clarify this term.  Does EPA intend to have the surface water body or groundwater well where the utility draws its largest volume of raw water for treatment as its primary source?

- Short Screener Survey Questionnaire, Question 3. AMWA suggests editing this question for clarity to read, “Did the drinking water treatment facility generate residuals that were disposed of in any of the following ways: to waters of the United States, to a publicly owned treatment works (POTW), on-site (e.g., landfill, irrigation, evaporation), or off-site (e.g., landfill, composting, irrigation)?

- Security of schematics submitted.  Although detailed schematics are not proprietary information as defined in the surveys (i.e., CBI), detailed schematics and treatment processes submitted to EPA should be protected from public disclosure. Since September 11, 2001, water utilities have taken many steps to secure information that could leave them vulnerable to an intentional malevolent act. In the case of the survey instruments, this includes detailed schematics and information about treatment chemicals, doses, and the location of their application.  Additionally, requiring the latitude and longitude coordinates for treatment plants and intakes is a concern. EPA should ensure that such information will not be freely available to others within the Agency who do not have a need to know, and should also be able to protect it from freedom of information act (FOIA) requests.

4.	What is the best way for EPA to collect this information to minimize the burden?

EPA’s draft survey states, “We do not recommend you complete this survey electronically.” AMWA disagrees with this statement and suggests that electronic reporting be allowed, at least for large systems. AMWA believes that setting up a system for electronic submission by developing properly formatted online survey mechanisms (whether web-based or through submission of pre-formatted spreadsheets) would reduce the data entry burden for EPA and for utilities.  Electronic submission would also facilitate water system response.

AMWA encourages EPA to clearly state the expected units of measure for each data field.  This will be very important for proper analysis of the information collected.

AMWA is committed to advocating environmental priorities based on a scientific approach to policy making.  We appreciate your consideration of our comments.  Should you have any questions, please do not hesitate to contact Erica Brown, Director of Regulatory Affairs, or me at 202-331-2820.

Sincerely,

Diane VanDe Hei

Executive Director

Cc:	Tom Born, EPA

Ahmar Siddiqui, EPA

# Text boxes

Association of Metropolitan Water Agencies

Serving the nation’s largest publicly owned drinking water agencies

Washington, DC  20005

(202) 331-2820 • fax 785-1845

www.amwa.net