May 25, 2005

5.1 Contractor Furnished Equipment (CFE)

The following items of common support equipment required for site maintenance will be delivered by Raytheon with the system:

| EQUIPMENT NAME | NSN |
| --- | --- |
| Fluke 189 Multimeter | 6625-01-481-8246 |
| Fluke 199C/AN Scopemeter | 6625-01-494-0438 |
| Peak Power Meter, Model 8652A, Gigatronics | 6625-01-517-6003 |
| Peak Power Meter Sensor, Model 80350A, Gigatronics | 6625-01-429-9277 |
| DSP Fiber Test Kit, Model 045X923, Fluke | 6625-01-490-1884 |
| One Touch Series II Network Assistant, Model ITS210, Fluke | 6625-01-496-8552 |
| 1 Ohm Power Resistor, Various, Various | 5905-01-013-8859 |
| 20dB 50W Attenuator, Various, Various (Raytheon) | 5985-01-355-4731 |
| 10dB 10W Attenuator, Various, Various | 5985-01-136-2372 |

Please note: CFE equipment failures are covered under warranty. The warranty expires One year after the signing of the DD250. Additional Units will be purchased by the Program Office to serve as spares following expiration of warranty.

5.2 Government Furnished Equipment (GFE)

The Program Office has identified and will procure the following items of common support equipment required for site maintenance:*

| EQUIPMENT NAME | MFG | NSN |
| --- | --- | --- |
| Network Analyzer, E5061A/250/Option 100 | Agilent | 6625-01-522-2737-1 |
| 50-ohm Type N Cal Kit 30 KHZ to 9 GHZ | Agilent | 6625-01-522-2734-1 |
| TVSS Test Set, Mdl 4010-01-B | Bourns, Inc. | 6625-01-511-8080-1 |
| Red Test Cbl, Mdl 30503-01 | Bourns, Inc. | 6625-01-511-6263-1 |
| Black Test Cbl, Mdl 30503-02 | Bourns, Inc. | 6625-01-511-7645-1 |
| RF Peak Power Meter, Mdl 4400A | Boonton | 6625-01-476-6755-1 |
| Dual Channel Front Pnl Input, Option 01 | Boonton |  |
| Peak Power Sensors (2) 56318 | Boonton | 6625-01-465-0926-1 |
| Three-Year Extended Warranty | Boonton |  |
| Type N Interconnect Kit, P/N 11716A | Agilent | 5985-01-107-7801 |
| Manual Step Attenuators, P/N 8494A | Agilent | 5985-01-138-3578 |
| 0-11 dB, 1dB steps w/N (f) connectors | Agilent |  |
| Manual Step Attenuator, P/N 8496A | Agilent | 5985-01-249-6037 |
| Option 1, 0-110 dB, 10 dB steps w/N (f) connectors | Agilent |  |
| Type N (male) to Type N (male) Cable, Mdl 11500A | Agilent | 5995-00-686-4683-1 |
| Spectrum Analyzer | Test Mart | 6625-01-0465-1844-1 |
| Laser Source (Single Mode Laser Source), Mdl LS-1310/1550 *Sites will receive if needed for fiber optic testing | Fluke | 5860-01-473-4291 |