STATION RECORD SHEET

# SYNOP or CLIMATE/SYNOP RECORD SHEET

Station Name:	Grootfontein

Date Station Established:  1913-11-01 as a rainfall station 	Synop No: 68014

1980- 01 digitized records , this is temperature and other parameters.

Latitude:	19deg 34min SOUTH		Longitude: 18deg 05min EAST

Height above MSL:	1469m			Point used: Met Enclosure

Observer: Michael Simalumba

Phone No: +(264) 67 242509

Postal Address:				Address for policy matters:

P.O.Box 318          				Namibian Meteorological Service

Grootfontein					P/Bag 13224

Namibia            				Windhoek

Namibia.

# Location Indicator:

The station is located about 300m opposite the Railway line and about 100m west of Grootfontein railway station.

# Remarks:

## The station is situated in a residential area where one of the houses is used as an office. The instruments are installed inside the yard behind the house and the yard is fenced with hedge all round. This environment is not suitable for meteorological observation as the surrounding buildings and hedge have an effect on all the observed parameters.

# Instructions for locating station by road:

## The station is at the 	Western end of Town off the road from Otavi along the Captain Lombaard Street. See sketch.

Synop reporting times: 0300z, 0600Z 0900z, 1200Z, 1500z and 1800z; everyday’ except that on Saturdays the 1500z observations are not taken..

# Metar reporting times: Metars are reported hourly, however the 1600 and 1700hrs observations are skipped. The metar reports on Saturdays are not taken for 1300hrs, 1400hrs, 1500hrs and 1700hrs.

# Transmission of reports: All reports are sent to Windhoek by facs and telephone, otherwise when telephone lines are out of service cell phones are used.

Inspections by: D. F. Molotsi and E. Magagwa		Date: 04/10/06

Returns furnished: Data in the diaries (log books) are transcribed on to monthly climate return forms and sent to the National Meteorological Head quarters in Windhoek.

.

# Annual supplies: The consumables normally supplied are, thermometers, pens, ink and wicks.

# Non- Instrumental (books, charts, scales etc):. All charts, and daily log books

## MANUAL RAINGAUGE:

Type:						5 inch copper standard rain-gauge

Purpose:				 	climate

Inst Date:					not known

Height of rim above MSL:			120cm

Glass measure type and number:		10cm

Location/Remarks:				In the Met enclosures close to the hedge hence the hedge causes an obstruction to this instrument.

### AUTOMTATIC RAINGAUGE

Type:						daily

No:

Chart No:

Height of rim above ground level:		120cm

Clock:					           Daily spring clockwork mechanism S/N     1150860

Drum:

Location/Remarks:				Met enclosure exposure is no good installed near hedge.

## THERMOMETER SCREEN:

Type:						standard screen

Support:					metal stand

Inst date:					not known

Location/Remarks:				Installed in the Met enclosure and not well exposed as it is too near to the building.

THERMOMETERS:	TYPE: 	MAKE & S/ NO:	           CERTIFICATE

Dry bulb			sheathed	CW .Price & Co 13503/91               no

Wet bulb			sheathed	CW. Price & Co 9742/88                 no

Maximum			sheathed	CW. Price & Co 2246/05                no.

Minimum			sheathed	CW. Price & Co 2270/05                no.

Grass minimum		n/a

5cm earth			n/a

10cm earth			n/a

20cm earth			n/a

30cm earth			n/a

100cm earth			n/a

Remarks: The earth thermometers are not available.

## REMOTE INDICATING ISTRUMENTS

Type:

Location of sensor:

Location of indicator:

## BAROMETER

Type:							PA11 digital barometer

Maker:						Vaisala

# No:                                                                              PTB220ACA2A3

Installed:						Records are  not available.

Location:						Observatory

# New or old convention:                                            Old

# Attached thermometer in Degrees:

# Height of cistern above MSL:

# Gravity of station:

# When and how height obtained:

# Correction cards for:

# Remarks: Although the installation date is known the observer indicated that he does not recall if the instrument has ever been calibrated.

## BAROGRAPH

Type:							Micro Barograph

Maker:						Thies Clima

No:							3.0811.10.000

Installed:						 The instrument was installed in September 2006.

Clock:							Daily Spring Clockwork Mechanism.

Chart no::						No chart Number

# Remarks: The chart number is not given as they are manufactured locally. The instrument is in a good condition and well maintained

# .

## SUNSHINE RECORDER

Height above ground:

Installed:

# Location/mounting/remarks

This instrument is not available at this station.

## RADIATION RECORDER

# Sensor Make and Type:

# Sensor Make and Type:

# Sensor Make and Type:

# Location of sensors:

# Recorder Type:

# Recorder location:

# Solar Panel No:

# Remarks: The instrument is not available at this station.

## HORIZON PROFILE

# Date prepared:

# Observation Point:

# Remarks:

## EVOPORIMETER

Type:							class A evaporation pan

Gauge Type:						ruler scale

# Dipstick No:                                                              not available

Height of Rim above ground level:			22cm

Location/Remarks:					met enclosure

## THERMOGRAPH

Type: 							daily

Maker:						Thies Clima

Date of installation:					The instrument was installed on September 2006.

# Clock:                                                                         spring clockwork mechanism

Chart No:						205088

## EARTH THERMOGRAPH

Type:	 The instrument is not available.						.

# Maker:

# Installed Date:

# Clock:

# Chart No:

# Location of Sensors:

# Remarks: This instrument is not used at this station

## HYGROGRAPH

Type:								daily

Maker:							Thies Clima

Installed Date:					           September 2006

# Clock:                                                                                    Spring Clockwork mechanism

## Chart No:							205088

Remarks: A thermo-hygrograph is placed in the Stevenson screen in the met enclosure. The number of the chart given above is for a weekly chart however the clock for the instrument has been set to work as a daily clock.

## CLOUD SEARCHLIGHT

Type:	The instrument is not available.							.

# Baseline:

# Location of Searchlight:

# Stand Construction:

# Observation Point:

# Alidade Type:

# Switch Type:

# Remarks:

## CUP COUNTER ANEMOMOTER

Type:

Make:

Date Installed:							not known

# Can station take only an Angled faced unit

Height of head above ground:					2m

Location:								enclosure

## ANEMOMOTER INSTRUMENTS

# Cup Counter:

# Cup Contact:

# Cup Generator:

# Wind Vane:

# Recorder, speed:

# Recorder, combined:

# Indicators Located:

# Recorder Type:

# Chart Drive:

# Recorder Location:

# Resistance Box Location:

# Power Transformer Location:

# Power point location:

# Remarks:

## MAST

Type:

Height of Head above Ground Level:

# Boom orientated

Remarks, There is no conventional wind system at this station however a pressure plate has been installed on a (6m) six meter mast. This instrument is being used as a source of wind information. (wind speed and direction).

## ADDITIONAL INSTRUMENTS:

There are no additional instruments at this station.

# General Exposure of Station:

The instruments at this station are not well exposed. The station is in a  residential area where there are houses in the vicinity which do not give the station enough exposure. This situation is not in accordance with international standards.

# Exposure of the Instrument enclosure:

The instruments are not well exposed. The site is not clear of obstructions. The yard is fenced with hedge which does not give instruments sufficient exposure causes wind eddies. This situation has an adverse effect on the observations. The details of exposure are as per attached photos.

Local Effects: Nearness to the buildings, hedge around the fence, dust from the road in the vicinity.