ASBESTOS MANAGEMENT Program

Lawrence Berkeley National Laboratory

Contents

Page

I.	Policy	3

II.	Purpose	3

III.	Applicable Regulations	4

IV.	Definitions	4

V.	Hazardous Properties of Asbestos	8

VI.	Examples of Materials That Have Been Manufactured With Asbestos	9

VII.	Responsibilities	10

VIII. 	Guidelines	14

A.  	Asbestos Program Manager	14

B.  	Building Surveys/Repairs	14

C.  	Bulk Sampling	15

D.  	Employee Notification	15

E.  	Exposure Monitoring & Jobsite Clearance Levels	15

F.  	Flooring Material Maintenance	16

G.  	Hygiene Facilities	16

H.  	Identification of ACM in Buildings	17

I.  	Labeling and Posting	17

J. 	Medical Surveillance	17

K. 	New Products	17

L. 	Protective Clothing	17

M. 	Regulatory Agency Notification	18

N. 	Respirators	18

O. 	Roofing Products	20

P. 	Sheetrock	20

Q. 	Training	20

IX.	Asbestos Removal and Repair Procedures	21

X.	Waste Disposal	28

Appendices

Appendix A - Asbestos Removal/Repair Form, Instructions and Procedures (not currently available)

Appendix B - Building Construction Dates (not currently available)

Appendix C - Asbestos Labels and Signs

Appendix D - BAAQMD Notification Form (not currently available)

Appendix E - Checklist for Auditing Asbestos Work Practices (not currently available)

Appendix F - ACM Damage Categories & Corrective Action

Appendix G - Bulk Sampling Procedure

Appendix H - Transite - Drilling Procedure (not currently available)

Appendix I - Asbestos Containing Floor Tile, Removal Procedure (not currently available)

ASBESTOS MANAGEMENT Program

I.  Policy

Lawrence Berkeley National Laboratory (LBL) has adopted an Asbestos Management Program for asbestos.  The policy is to immediately remove or repair all asbestos containing materials that pose a significant health hazard due to location or condition.  Asbestos that is in good condition will be maintained in a condition that will not produce a significant risk to LBL personnel.  Asbestos containing material will be removed, repaired and/or protected prior to planned renovations, demolitions, or modifications that may result in its disturbance.  All removal and repairs shall be conducted in a safe manner that is consistent with applicable regulations, DOE requirements, and recognized good practice.

II.  Purpose

The purpose of this document is to outline how the management of asbestos-containing materials is to be performed at Lawrence Berkeley National Laboratory.

Asbestos is a generic term referring to fibrous mineral silicates that were used extensively from about 1900 until very recently in the manufacture of construction and industrial products.  Some products are still manufactured with a significant asbestos content.  Section VI lists various products that have been manufactured with asbestos.  This list is not exhaustive, other products not listed may also contain asbestos.

Asbestos-containing materials can be divided into two general categories; friable and non-friable. Friable ACM products are those that can be readily crumbled or powdered by hand pressure, and are of more concern than non-friable ACM because of the greater ease of fiber release.  Examples of friable ACM include pipe insulation, sprayed-on acoustical insulation, and sprayed on fireproofing.  Intact and sealed friable asbestos materials are considered non-friable and do not pose a health risk if they are undisturbed and undamaged.

Non-friable ACMs generally possess a strong binder such as cement or vinyl, which stabilizes the asbestos, reducing the likelihood of generating airborne asbestos dust.  However, specific actions such as sanding, grinding, cutting or drilling of non-friable asbestos can result in the release of asbestos fibers.  Examples of non-friable asbestos include intact vinyl asbestos floor tiles, roofing felts/shingles, and asbestos cement products such as transite panels and pipes.

III.  Applicable Regulations

In addition to this document the following regulations contain applicable information.

• 29 CFR 1926.32, Definitions

• 29 CFR 1910.1001, Asbestos Occupational Safety and Health Standards, Department of Labor

• 29 CFR 1926.1101, Asbestos Safety and Health Standards for the (formerly 1926.58) Construction Industry, Department of Labor

• 40 CFR Part 61, National Emission Standards for Hazardous Air, Subpart M, Pollutants (NESHAP), Environmental Protection Agency (EPA)

• 40 CFR Part 763 (guidance), Asbestos Hazard Emergency Response Act (AHERA) - EPA regulations for schools

• Reg. 11, Rule 2, Asbestos Demolition, Renovation and Manufacturing Bay Area Air Quality Management District  (BAAQMD)

• Title 22, California Code of Regulations,  Hazardous Waste Disposal and Transportation, California Department of Toxic Substances Control (DTSC)

EPA Guideline "Managing Asbestos in Place"  (7/90  #20T-2003)

The interplay of EPA, OSHA, and BAAQMD regulations makes asbestos compliance somewhat complicated.  Therefore, frequent consultation with an EH&S Industrial Hygienist, the Environmental Protection Group and/or LBL Environmental Counsel on asbestos-related issues is encouraged.

IV.  Definitions

Abatement.  Removal, encapsulation, enclosure, repair or demolition of ACM.

ACM.  Asbestos Containing Material.  Building materials which contain asbestos in  an amount greater than 1.0% by weight, area, or count.

ACM Waste.  Waste materials which contain friable asbestos in an amount of 1% or greater by weight, area, or count, and asbestos-contaminated materials (e.g., protective clothing and equipment).

Accredited.  The Analytical laboratory used for asbestos analysis must participate in a quality assurance program administered by the American Industrial Hygiene Association (AIHA) or the National Institute of Occupational Safety and Health (NIOSH).

Asbestos.  A generic term referring to naturally-occurring fibrous mineral silicates.  The three most common types are chrysotile (white) asbestos, amosite (brown) asbestos, and crocidolite (blue) asbestos.  Note:  Non-asbestiform tremolite, anthrophyllite and actinolite are not regulated as an asbestos containing materials.

CIH.  Certified Industrial Hygienist.  A person who is certified in the comprehensive practice of industrial hygiene by the American Board of Industrial Hygiene.

Class I Asbestos Work.  Activities involving the removal of thermal system insulation (TSI) and surfacing ACM or PACM in an amount greater than 1 glovebag.

Class II Asbestos Work.  The removal of asbestos-containing wallboard, floor tile, roofing materials, transite, construction mastic, gaskets, etc.  Does not involve the removal of TSI or surfacing materials.

Class III Asbestos Work.  Activities involving the repair and maintenance operations, where ACM (including TSI and surfacing materials) are likely to be disturbed.  The amount removed must fit into 1 glovebag or wastebag less than 60" in width.

Class IV Asbestos Work.  Maintenance or custodial activities (e.g., floor buffing) during which employees contact ACM or PACM, and activities to clean up waste and debris containing ACM and PACM.

Competent Person.  One who meets the requirements in 29 CFR 1926.32  (f), and iscapable of identifying existing asbestos hazards in the workplace, able to select the appropriate control strategy, and has the authority to take prompt corrective measures to mitigate them.

Composite.  Several individual parts combining to form one integral system.  For example, a composite asbestos sample of a sheet rock wall system with asbestos-containing joint compound would be a sample of the entire wall material, (i.e., joint compound, tape, and wallboard combined).

Containment.  The construction of an  impermeable barrier around ACM to prevent the release of fibers into occupied areas during abatement.  In addition, a containment controls the amount of incoming air so that a negative pressure in the work area can be maintained.

Contractor.  An individual or business with which LBL arranges to perform work involving ACM.

Cumulative.  A series of small renovations or removals of RACM performed during

Renovation.  A calendar year that taken together would add up to a reportable amount.

Demolition.  The wrecking or taking out of any load-supporting structural member of a structure. (Note: This definition is for BAAQMD purposes)

Encapsulant.  A liquid material that can be applied to ACM which controls the possible release of asbestos fibers from the material.  Bridging encapsulants do this by creating a membrane over the surface, while penetrating encapsulants penetrate into the material and bind the components together.

Encapsulation.  Application of a encapsulant to ACM to control the release of asbestos fibers.

Excursion Limit.  Exposure to asbestos in excess of 1.0 fiber per cubic centimeter of air (1 f/cc) as averaged over a sampling period of thirty minutes.

Fiber.  A particulate form of asbestos five micrometers or longer with a length to diameter ratio of at least 3 to 1 as determined by PCM.

Friable.  A material containing asbestos that can be crumbled, pulverized or reduced to a powder when dry, under hand pressure, or that has been crumbled, pulverized, or reduced to a powder.

HEPA Filter.  A high efficiency particulate air filter capable of filtering 0.3 micrometer particles with 99.97 percent efficiency.  This filter is the only type of filter suitable for asbestos work, both in respirators and negative air machines.

Industrial Hygienist.  Professional qualified by education, training and experience to anticipate, recognize evaluate and develop controls for occupational health hazards.

Negative Exposure Assessment.  Demonstration by exposure monitoring that employee exposure during an operation is expected to be consistently below the PEL or excursion limit.

Negative Pressure Ventilation System.  A portable exhaust system equipped with HEPA filtration and capable of maintaining a negative pressure of 0.02 inches (or greater) of water in a contained area.

Nonfriable ACM (Category I).  Intact asbestos-containing packings, gaskets, resilient floor coverings, and asphalt roofing products.

Nonfriable ACM (Category II).  Asbestos-containing material (excluding Category I) that when dry and in its present form, cannot be crumbled, pulverized, or reduced to powder by hand pressure.  Includes asbestos cement products, transite board, pipe, plaster, stucco, paint, and mastics.

PACM.  Presumed Asbestos Containing Material.  Material that may contain asbestos (see section VI, page 6 for examples of materials) and has not been sampled for asbestos content, shall be assumed to contain asbestos and treated accordingly.

PCM.  Phase Contrast Microscopy.  An analytical method used to count airborne fibers.  Results are given as fibers per cubic centimeter of air (f/cc).  OSHA employee exposure standards are based on this method.  This method counts all fibers greater than 5 microns in length, without specifically identifying the fiber type (e.g., cotton, fiberglass, nylon etc., will also be counted).

PEL.  Permissible Exposure Limit.  The eight hour time-weighted average concentration of allowable airborne asbestos fibers to which an employee may be exposed.  The limit for asbestos is 0.1 fibers per cubic centimeter (f/cc) of air.

Personal Exposure Monitoring.  Determination of an employees exposure from breathing zone (i.e., 2 foot radius surrounding the head) air samples representative of the 8-hour TWA or 30 minute excursion limit.

Planned Renovation.  Renovation, or a number of renovations, that can be predicted to occur within one  period of time, not to exceed one year.

PLM	Polarized Light Microscopy.  Analytical method used to determine type and quantity  (i.e., percent) of asbestos present in an bulk sample.

Regulated Asbestos Containing Material (RACM).

A.	Friable ACM

B.	Nonfriable Category I ACM that has, or will become friable, or that has been subjected to sanding, drilling, grinding, cutting, or abrading.

C.	Nonfriable Category II ACM that may become crumbled, pulverized, or reduced to powder by the forces expected to act upon the material in the course of demolition or renovation.

Regulated Asbestos Work Area.  An area in which the exposure to asbestos fibers can reasonably be expected to exceed the PEL of 0.1 fibers per cubic centimeter of air.  No one may enter the regulated area without training and proper protective equipment.  Regulated areas are restricted by barriers, asbestos warning tape, signs (see appendix C) etc.

Renovation.  Altering in any way one or more facility components.  Operations in which load-supporting structural members are wrecked or taken out are considered demolitions.

Reportable  Defined by the BAAQMD as every demolition, even if no RACM is involved, and renovations involving removal of RACM greater than or equal to 100 linear feet, 100 square feet (ft2), or 35 cubic feet (ft3).

Structure (in AHERA).  A microscopic bundle, cluster, fiber, or matrix which may contain asbestos.

Structural Member.  Any load-supporting member of a facility, such as beams and load-supporting walls.

Surfacing Material.  Material that is sprayed, trowelled or otherwise applied to surfaces (e.g., fireproofing on structural steel, acoustical plaster on ceilings)

Surfactant.  A chemical wetting agent added to water to improve penetration of the water into a solid material.

TEM.  Transmission Electron Microscopy.  This method counts all fiber sizes (including those less than 5 microns in length) and positively identifies the type of fiber.  The results are reported in structures/cc.  This method is not recognized by the OSHA asbestos standard but is specified in the AHERA standard.

TSI.  Thermal System Insulation.  Insulation applied to pipes, fittings, boilers, ducts, etc., to prevent heat loss or gain.

TWA.  Time Weighted Average.  Average airborne exposure to a substance as averaged over an 8-hour workday.

Visible Emissions.  Any release of ACM that is visually detectable without the aid of instruments.

V .  Hazardous Properties of Asbestos

Asbestos is primarily an inhalation hazard.  Asbestos-related diseases caused by the inhalation of fibers typically occur 10 to 45 years after exposure.  Asbestos does not cause any acute (immediate) effects, except skin warts which are mentioned below.

•  Asbestosis - permanent fibrotic scarring of lung tissue, which results in a reduced ability to breathe, cardiovascular failure, and in severe cases, death.

•  Lung Cancer - occurs more often in people exposed to asbestos than in non-exposed groups.  This effect of asbestos exposure is greatly magnified by cigarette smoking.

•  Mesothelioma - cancer of the lining of the chest and abdominal cavity.  A rare disease that occurs almost exclusively in those exposed to asbestos.

•  Skin warts - single asbestos fibers imbedded in the skin may cause non-cancerous warts.  They heal when the fiber is removed.

Asbestos is a demonstrated human carcinogen.  Consistent with LBL policy employee exposure to airborne asbestos shall be limited to levels that are "As Low As Reasonably Achievable" (ALARA).

VI.  Examples of Materials That Have Been Manufactured With Asbestos

• Cement/asbestos panels and pipes (transite)

• High temperature gaskets

• Pipe insulation (block, corrugated aircell, etc.)

• Mastic for vinyl flooring

• Vinyl floor tiles and sheet vinyl flooring

• Wallboard  (sheetrock)

• Electric wiring insulation

• Taping or joint compounds

• Spray applied fireproofing and insulation

• Roofing felt/shingles/flashing

• Automotive brake linings and pads

• Ceiling tiles

• Fire resistant gloves, clothing

• HVAC duct insulation & tape

• Linoleum and other resilient flooring

• Paint

• Fire doors

• Window putty

• Plaster/stucco

• Elevator/crane brake shoes

VII.  Responsibilities

A.  Building Managers

1.  Notify Facilities Department Work Request Center of suspected or known ACM that may pose a health hazard (see Appendix A for reporting form).

B.  Environmental Protection Group (EPG)

1.  Submit written notification to the BAAQMD at least ten working days in advance of all demolitions (notification needs to be given at all times, even when ACM is not present) and renovations involving removal of RACM greater than or equal to 100 linear feet, 100 ft2, or 35 ft3.

2.  Submit written notifications to BAAQMD of combined individual nonscheduled renovations (over a period of at least 30 days) and cumulative renovations (during a calendar year) that involve reportable amounts of RACM.

3.  Prepare written requests to BAAQMD for approval of alternate removal methods, such as dry removals.

4.  Maintain records of BAAQMD notifications, including annual cumulative renovation information.

5.  Provide Facilities copies of all notifications submitted to the BAAQMD.

C.  Facilities Department

1.  As custodian of the LBL physical plant, maintain the integrity and safety of ACM.

2.

A.  Ensure that buildings and equipment are surveyed for ACM prior to demolitions and renovations.  (Note:  This is a dual responsibility shared with Industrial Hygiene.)

B.  Collect bulk samples of suspected ACM.

C.  Send bulk samples for analysis to an accredited laboratory that has a well documented quality assurance program.

D.  Ensure that location, identification, and removal of ACM is recorded on the Survey Form, Appendix B.

E.  Maintain a list showing removed ACM.

3.  Ensure that industrial hygiene services are contracted for large-scale asbestos abatement projects.  The purpose of this is to provide day to day on-site industrial hygiene oversight for the project.

4.  Provide site specific contract specifications for large-scale asbestos abatement projects.

5.  Notify the Industrial Hygienist of every demolition, whether or not it involves asbestos, and every removal of RACM a minimum of fifteen working days prior to starting.  The EPG must also be notified of yearly planned, scheduled and nonscheduled removal of RACM twenty working days prior to the beginning of the new calendar year.  Appendix D contains the form for providing this notification.  If an outside abatement contractor will perform work reportable to the BAAQMD, a copy of the BAAQMD notice can be provided to the EPG at the time of submission to the BAAQMD instead of Appendix D.

6.  Notify a Industrial Hygienist immediately of any changes to any of the information submitted on the Appendix D form or submitted in a BAAQMD notice (for reportable work performed by an outside contractor) pursuant to item 5 listed above.

7.  Ensure that contract specifications are followed by abatement contractors and the industrial hygiene oversite contractor.  The oversight of this work must be performed by an EPA trained "competent person".

8.  Submit copies of all contractor air-monitoring results to an EH&S Industrial Hygienist.

9.  Notify an EH&S Industrial Hygienist of all asbestos abatement projects involving Class I & II work verbally as far in advance as feasible.

10.  Perform asbestos abatement or encapsulating work in accordance with Section IX of this program.  Complete the Asbestos removal/repair form (Appendix A) for small removal/repair jobs (Class III work) when RACM or PACM is removed by Facilities employees.  FAX a copy to the Environmental Protection Group at x 4776 the same day the work is completed.

11.  Ensure that Facilities employees performing work with ACM or potentially exposed to asbestos at a concentration above the PEL or excursion limit have current EPA approved training appropriate for the type of asbestos work they are performing.

12.  Manager of Operations & Maintenance, or designated representative.

A.  Review work orders, project drawings and specifications to determine if ACM may be disturbed.

B.  Direct custodial / maintenance staff and contractors with regard to all asbestos related work.

C.  Serve as the "Competent person" for all abatement projects performed by O&M, in compliance with OSHA, 29 CFR 1926.1101 Sections (b) and (e) (6) (ii), as well as the "on-site representative" in compliance with BAAQMD 11-2-303.9.

13.  Obtain written approval from a Field Support Department Industrial Hygienist prior to purchasing new ACM.

E.  Field Support Department - Industrial Hygienist

1.  Review  specifications for maintenance and repair operations as well as other plans involving the disturbance of ACM.

2.  Ensure that buildings and equipment are surveyed for ACM by Facilities or contract consultants prior to demolitions and renovations.  (Note:  This is a dual responsibility shared with Industrial Hygiene.)

3.  Audit asbestos abatement projects for compliance with applicable regulations (see Appendix E - audit form).

4.  Perform representative personal air monitoring and area air-monitoring (e.g., clearance sampling) as appropriate for asbestos abatement work involving LBL employees.  Notify the employee's supervisor of the results in writing within seven working days of their receipt.

5.  Perform quantitative respirator fit tests every six months for employees routinely involved with asbestos abatement work.

6.  A EH&S Industrial Hygienist trained in each of the following specialty areas must be available for consultation and inspection:  EPA approved Building Inspector / Management Planner, Contractor/Supervisor, Project Designer, with current certification. Note: Certified Industrial Hygienists do no have to attend the Building Inspector course (29 CFR 1926.1101 (k) (ii) (B) )

7.  Notify the EPG of every demolition, whether or not it involves asbestos, and every removal of RACM a minimum of fifteen working days prior to starting.  The EPG must also be notified of yearly planned, scheduled and nonscheduled removal of RACM twenty working days prior to the beginning of the new calendar year.  Appendix D contains the form for providing this notification.  If an outside abatement contractor will perform work reportable to the BAAQMD, a copy of the BAAQMD notice can be provided to the EPG at the time of submission to the BAAQMD instead of Appendix D.

8.  Provide guidance to Facilities regarding performance requirements, site specific details, scope of work etc.

F.  Health Services Group

1. Provide complete asbestos physical examinations as described in 29 CFR 1926.1101 or 29 CFR 1910.1001 for LBL employees who will potentially be exposed to asbestos at or above the PEL or excursion limit, or who are required to wear negative-air respirators for asbestos related work.

2.  Notify a EH&S Industrial Hygienist and Facilities if an employee is unable to work on ACM due to physical condition.

G.  Purchasing

1.  Ask purchasers of chairs what type of flooring surface the chairs will be used on.  Ensure that rubber wheels are installed on new chairs that will be used on resilient flooring.

2.  Contact a Industrial Hygienist and the Facilities for comments and review prior to releasing the yearly blanket order contract for asbestos removal.

H.  Supervisors of employees who routinely work with or may disturb ACM

1.  Arrange annual safety meetings at which the topic of asbestos safety is discussed.

2.  Provide employees with air monitoring results sent by the Field Support Group within seven working days of their receipt.

3.  Provide employees with appropriate protective clothing and respiratory protection.

4.  Ensure that employees who conduct asbestos work comply with LBL's Asbestos Management Program, and that hygiene practices and facility requirements specified in 29 CFR 1926.1101 (j) are met.  Also ensure that all employees handling asbestos, or who may be exposed to asbestos at or above the PEL or excursion limit, have received required training.

5.  Ensure that appropriate employees receive medical surveillance, as per section VIII K.

I.  Waste Management Group

1.	Provide assistance with labeling, storage and disposal requirements for ACM.  Select a DTSC approved disposal site for all RACM and asbestos contaminated waste material. (Note: DTSC approvals are not required for non-RACM materials, including undamaged floor tiles and sheetrock containing less than 1% asbestos).

2.  Ensure proper packing and loading of ACM onto transport vehicles.

3.  Ensure that vehicles transporting RACM and asbestos contaminated waste materials (e.g., clothing and equipment) are placarded in compliance with BAAQMD Rule 11-2-304.5, and that waste shipment records comply with BAAQMD Rule 11-2-502.

4.  Manifest RACM and asbestos contaminated waste materials from LBL to disposal site.

5.  Maintain disposal records.

6.  Ensure that Hazardous Waste Handling Facility employees who handle asbestos containing waste are adequately trained (see Training section R for details) and adhere to proper safety procedures.

7.  Provide the Facilities Department with necessary waste disposal information prior to abatement projects (see Appendix D), as well as a copy of the waste manifest after receipt from the disposal site, when applicable.

VIII.  Guidelines

A.  Asbestos Program Manager

The Manager of O&M will be the designated "Asbestos Program Manager".  This will entail active involvement with all LBL asbestos control activities and the review of routine work orders for ACM surveys prior to demolition, renovation, or other instances involving the possible disturbance of ACM.

B.  Building Surveys / Repairs

1.  Buildings constructed after 1979 do not contain friable asbestos, and need not be inspected for these materials prior to demolition/renovation.  However, they may contain non-friable asbestos-containing products (e.g., floor tiles, roofing etc.), and will need to be inspected for these materials prior to renovation/demolition.  Note:  See appendix B for the construction date of LBL buildings.

2.  The Facilities Department is responsible for the repair of damaged or deteriorated (unsealed ends, nicks, loose pieces of insulation, abraded floor tiles, etc.) friable and non-friable ACM.  The chart in Appendix F will be used to decide what type of repair is necessary and how soon it needs to be performed.  An Industrial Hygienist will be available for consultation on these decisions.

3.  Pre-renovation / Demolition: Facilities is responsible for surveying the affected structure or areas for ACM prior to any demolition or renovation, per 40 CFR 61.145 and BAAQMD 11-2-303.8.

4.  If suspected ACM has not undergone laboratory analysis, it should be assumed to contain asbestos and treated accordingly.

C.  Bulk Sampling

1.  The testing, evaluation and sample collection of materials for asbestos analysis shall be conducted by an accredited Facilities inspector (40 CFR Part 763) or by a CIH.

2.  Analysis of these samples shall be performed by persons or laboratories with proficiency demonstrated by participation in the National Voluntary Laboratory Accreditation Program (NVLAP).

D.  Employee Notification

Air monitoring results from the Field Support Group must be given in writing to the affected employee's supervisors/managers within five working days of their receipt.  The supervisor shall give these results to the affected employee within five working days.

E.  Exposure Monitoring and Jobsite Clearance Levels

1.  The current Federal Occupational Safety and Health Administration (OSHA) "Permissible Exposure Limit" (PEL) is 0.1 fibers per cubic centimeter (f/cc) of air averaged over an 8-hour day.  The excursion limit for any 30 minute exposure is 1.0 f/cc of air.

2.  All samples taken to satisfy monitoring requirements shall be personal samples.

3.  Initial monitoring of LBL  employees who are or may be reasonably expected to be exposed to airborne asbestos concentrations exceeding the PEL or Excursion Limit shall be performed by the Field Support Group.  Monitoring may be discontinued when results show that employee exposures are consistently below the PEL and Excursion Limit.  Initial monitoring shall be repeated whenever there has been a change in the control equipment, process, personnel, or work practices that may result in new or additional exposures.

4.  Periodic monitoring shall be performed every six months or less for employees who perform tasks that may be reasonably foreseen to exceed the PEL or Excursion Limit.

5.  Acceptable job-site clearance levels are 70 structures per square millimeter (st/mm2) by TEM.  Clearance sampling is not required for small-scale short duration projects.

F.  Flooring Material Maintenance

1.  Rubber wheels (i.e., not plastic) shall be used on chairs that are in contact with resilient flooring (e.g., linoleum, floor tiles, sheet flooring).  The purpose of this requirement is to prevent floor abrasion and the subsequent creation of asbestos-containing dust.  The Facilities Work Request Center at extension 6274 is available for assistance in the replacement of wheels.  The cost of the rubber wheels will be at the expense of the owner of the chair.

2.  Sanding of the flooring, it's backing, or mastic, is prohibited.

3.  Stripping of floors shall be conducted using low abrasion pads at speeds lower than 300 rpm, and wet methods.

4.  Burnishing or dry buffing may be performed only on flooring that has sufficient finish so that the pad cannot contact the asbestos-containing material.

5.  Dust and debris in an area containing visibly deteriorated ACM shall not be dusted, swept dry, or vacuumed without the use of a HEPA vacuum.

G. Hygiene Facilities

1.	For Class 1 asbestos jobs involving over 25 linear or 10 square feet of TSI or surfacing material, there shall be a decontamination area (29CFR 1926.1101 (j)) consisting of an equipment room, shower area, and clean room, in series and connected to the Regulated Area.  Employees must enter and exit  through the decontamination area.

2.  For Class 1 involving less than 25 linear or 10 ft2, and Class 2 or 3 work which is above the PEL or where there is no negative exposure assessment, a equipment room that is adjacent to the Regulated Area shall be constructed.  The floor area and horizontal work surface shall be constructed of 6-mil plastic (minimum), and be large enough to accommodate the cleaning of equipment and surfaces of waste containers.  Work clothing must be HEPA vacuumed before it is removed, employees must enter or exit through the equipment room.

3.  Class IV work at LBL will not require decontamination facilities. Employees trained at this level will not work in Regulated areas or be involved in the cleanup of ACM or PACM.

H.  Identification of ACM in Buildings

1. 	Prior to remodeling, modifying, demolishing, or otherwise disturbing any facility component, the job site will be visually inspected by a qualified Facilities Building Inspector.  If ACM is potentially present and an adequate prior survey of the area has not been conducted, a complete survey must be performed to identify any ACM that may be disturbed by the planned work.  Any such materials that are identified as ACM must be removed or protected from disturbance before the work can proceed.  (See 40 CFR 61.145 (c) and BAAQMD 11-2-303.  For specific bulk sampling procedures see Appendix G.)

2.  Materials suspected of being ACM but not sampled will be assumed to contain asbestos and treated accordingly.  This is most appropriate when the task is very limited in scope (e.g., small spill < 1 ft2, floor tiles < 10 ft2) and the cost and time spent collecting and analyzing the samples is a significant part of, or exceeds, the cost of performing work.

I.  Labeling and Posting

1.  Identified (by laboratory analysis) friable ACM found to contain 1.0 % asbestos or greater should be labeled as shown in Appendix C, Figure C-1.

2.  Warning signs shall be posted at the outside perimeter of each regulated area and its approaches as shown in Appendix C, Figure C-2.

3.  Newly installed pipe insulation should be identified as "non-asbestos".  An example of a label is shown in Appendix C, Figure C-4.  Buildings constructed after 1979 are exempt from this recommendation.

J.  Medical Surveillance

Any employee identified as being potentially exposed to airborne asbestos levels at or above PEL or excursion limit, or required to wear a negative pressure respirator for asbestos, will be provided a complete asbestos physical as described in 29 CFR 1926.1101 or 29 CFR 1910.1001 by the Health Services Group.

K.  New Products Containing Asbestos

No asbestos-containing product shall be procured, stocked, installed, or used at LBL without prior review by the Field Support Group.

L.  Protective Clothing

1.  Employees who may be exposed to airborne asbestos levels exceeding the PEL or Excursion Limit shall be provided protective clothing ( e.g., disposable coveralls, gloves, shoe coverings, safety glasses etc.)  and work equipment at no cost.

2.  Contaminated clothing used in areas that may exceed the PEL or excursion limit, shall be removed only in change rooms, transported in sealed, labeled bags, and disposed of as asbestos-containing waste.

M.  Regulatory Agency Notification

The BAAQMD requires a minimum of 10 working days notice prior to any building demolition.  The same notification requirement applies to building renovations involving RACM removal over certain reportable quantities.  An  additional category of notification is for a series of small activities involving RACM which individually do not trigger notification, but collectively do.  This is called a cumulative notification and it is given once per year.  Yearly, planned, nonscheduled notifications must be submitted by the Environmental  Protection Group (EPG) twenty working days prior to the beginning of the new calendar year.

The procedure at LBL to ensure compliance with BAAQMD's notification requirements is as follows:

The Environmental Protection Group (EPG) will be informed of every demolition, whether or not it involves asbestos, and of every removal of RACM as soon as the work has been planned.  The Appendix A "Asbestos Removal/Repair" form will be completed for all removal of RACM or PACM if the amount to be removed is less than 100 linear, 100 square feet (ft2) or 35 cubic feet.  If greater than these amounts, the Appendix D notification will be completed and submitted to the EPG a minimum of 12 days prior to the start of work.  EPG will use the information submitted on the Appendix D form to prepare and submit a notice to BAAQMD, if required.  The exception to the requirement to use the Appendix D form is if an outside contractor performs work reportable to BAAQMD and sends BAAQMD the required notice.  In that case, it is sufficient to send EPG a copy of the BAAQMD notice at the time it is submitted to the BAAQMD.

Changes to information on the Appendix D form, or to a BAAQMD form submitted by an outside contractor, will also be provided to EPG immediately.  This may be done by a telephone call, an amended Appendix D form, or a copy of an amended BAAQMD notice that was submitted by an outside contractor.

Note that the above procedure requires that the EPG receive either the Appendix D form or a copy of a submitted BAAQMD notice for every demolition, whether or not involving asbestos, and for every removal of RACM, no matter how small.

N.  Respirators

1.  Air-purifying negative pressure respirators used by LBL personnel who may be exposed to asbestos above the PEL or excursion limit must be quantitatively fit-tested every 6 months.  This is in addition to the other aspects of the Respiratory Protection Program.  Call extension 4028 for respirator fit testing and training.

2.  Powered air purifying respirators shall be provided free of charge in lieu of a negative pressure respirator if an employee requests one.

3.  Respirators shall be used in all of the following circumstances.

a.  Class I asbestos jobs.

b.  Class II work where the ACM is not removed intact.

c.  Class II & III work where wet methods are not used and there is not a negative exposure assessment.

d.  Class III work where TSI or surfacing material that contains or may contain asbestos is removed.

4.  The Field Support Department shall perform a initial exposure assessment of all tasks where the PEL or Excursion limit may be exceeded.  The following table will be used to select respiratory protection, and represent minimum requirements.

| Airborne Concentration of Asbestos | Required Respirator |
| --- | --- |
| Not in excess of 1 f/cc (10X PEL) | Half-mask air purifying (not disposable) with HEPA filters. |
| Not in excess of 5 f/cc (50X PEL) | Full-face air purifying respirator with HEPA filters. |
| Not in excess of 10 f/cc (100X PEL) | Powered air purifying with HEPA filters. |
| Not in excess of 100 f/cc (1000X PEL) | Full facepiece supplied air respirator operated in pressure demand mode. |
| Greater that 100 f/cc (1000X PEL) | Full facepiece supplied air respirator in pressure demand, equipped with 5-minute escape bottle |

O.  Roofing Products - Asphalt

Asphalt roofing products containing asbestos are non-regulated (Category I, non-friable) unless they are or will become friable, or will be subjected to sanding, drilling, grinding, cutting, or abrading.  Such non-regulated asphalt roofing products do not need be removed or reported prior to demolition or renovation activities.  Note:  Waste Disposal sites may have individual internal requirements that exceed legal disposal requirements, be sure to contact the Waste Management Group for guidance concerning bins, labeling & wrapping requirements, etc. before starting work

P.  Sheetrock (drywall)

When a demolition or renovation impacts a wall system composed of sheetrock, joint compound, and tape, a composite sample will be taken of the wall material.  A wall system shown by composite sampling to contain less than 1% asbestos is not regulated by BAAQMD, EPA, or DTSC, and may be disposed of as construction waste.  If the composite sample result indicates a trace amount of asbestos, and/or the joint compound analysis indicates a 1% or greater asbestos content, a EH&S Industrial Hygienist will be contacted for further guidance before starting the work.

Q.  Training

1.  Employees routinely engaged in activities that may incidentally result in disturbance of ACM (e.g., custodial staff) must attend an annual safety meeting at which the topic of asbestos safety is addressed.  This training will be scheduled by the supervisor.  An EH&S Industrial Hygienist will attend this meeting to provide information and answer questions.  This course shall shall cover (per 29 CFR 1926.1101 (k) (v) )the following:

A.  Methods of recognizing asbestos and when to presume that a building material contains asbestos.

B.  The health effects associated with asbestos exposure.

C.  The relationship between smoking and asbestos in causing cancer.

D.  The nature of the operations that could result in asbestos exposure, as well as how to minimize exposure through the use of engineering controls, work practices, personal protective equipment, and administrative controls.

E.  The use and limitations of respirators, information on smoking cessation programs, and medical surveillance program requirements.

F.  The contents of the asbestos standard, 29 CFR 1926.1101, the meaning and 	requirement for posting signs and labels.

2.  Employees identified as being potentially exposed to airborne asbestos levels above the PEL or excursion limit shall receive OSHA approved training.  (per 29 CFR 1910.1001 (j) (7) and 29 CFR 1926.1101 (k) (iii)

3.  Employees performing bulk sampling must attend an EPA-approved building inspector course or be a CIH (29 CFR 1926.1101 (k) (ii)(B).

4. The Asbestos Program Manager must attend EPA approved Building Inspector / Management Planner and Contractor/Supervisor courses, and maintain current certification.

5. 	The Industrial Hygienist whose specialty area is asbestos must attend EPA approved Building Inspector/Management Planner and Contractor/Supervisor courses, and maintain current certification.

IX.  Asbestos Removal and Repair Procedures

The presence, location, and quantity of ACM or PACM must be identified at the worksite before work starts.  This information must be disclosed to the employees who will perform this work, as well as employees who will be working in adjacent areas.

In addition, before any demolition, and for all renovation work when RACM will be removed, (including small-scale, short duration work) the Environmental Protection Group will be informed.  The Appendix A "Asbestos Removal/Repair" form must be completed for all removal of RACM or PACM if the amount to be removed is less than 100 linear, 100 square feet (ft2) or 35 cubic feet.  If greater than these amounts, the Appendix D notification form, available from the Environmental Protection Group, will be completed a minimum of 12 working days prior to the start of work.  An outside contractor performing work that is reportable to the BAAQMD may provide a copy of the BAAQMD reporting form instead of Appendix D.  The purpose of this requirement is to assure compliance with BAAQMD notification requirements, see section N for further details.  All exposed RACM shall be adequately wetted and kept wet during cutting, stripping, demolition, renovation, removal, handling and disposal.  Approval for dry removal of RACM must be received from the BAAQMD through  the Environmental Protection group.

A.  Class 1 Asbestos Work

1.  Definition:  Removal of thermal system insulation (TSI) or surfacing material greater than 1 glovebag.  Note:  Any change or deviation from the below specified control methods must be approved in writing by a CIH.

2. Training:  Abatement workers will supervised by a "competent" person who meets the requirements of 29 CFR 1926.32(f).  Workers must AHERA worker (32 hours) training.

3.  Air Sampling:  Daily monitoring required unless a negative exposure assessment has been performed for the entire operation.  Clearance air sampling is required before negative pressure enclosure is removed and the work area is re-occupied.  The acceptance clearance level is 70 structures/mm2 by TEM.

4.  Regulated Area: Required for all work.

5.  PPE / Respirators:  Disposable coveralls, gloves, shoe covers or rubber boots, and respirator.  Respirators must always be worn, see respiratory selection table in section O for selection.  Supplied-air pressure-demand respirators are required if a negative exposure assessment has not been performed.

6.  Work Requirements:

A.  The work location will be identified as a "Regulated Area".

B.  HVAC system inside of the regulated area is isolated by sealing with a double layer of 6 mil plastic.

C.  Impermeable drop cloths will be placed on surface beneath all removal activity.

D.	Appendix E (Job Audit Checklist) must be completed by a EH&S Industrial Hygienist or a Facilities Supervisor AHERA trained as a “competent” person, before work starts.

7.  Negative Pressure Enclosure

If the amount of ACM to be removed is more than 25 linear or 10 square feet, and exposure monitoring has shown that the PEL may be exceeded, a negative pressure enclosure is required.  Listed below are the requirements for the enclosure.

A.  A minimum of -0.02 inches of water differential and at least 4 air changes per hour must be maintained inside of the enclosure.

B.  Negative pressure machines shall be exhausted to the outside of the building, if feasible.

C.  Full decontamination with a equipment room, shower area (with hot & cold water), and clean room in series,  is required at the worksite. (29 CFR 1926.1101 (j))

D. Electrical circuits shall be deactivated, unless protected with ground fault interrupters.

8.  Glovebag Systems

Glove bags shall be used to remove ACM and PACM from straight runs of piping, specifications for the glovebags and their use are listed below:

A.  Made of 6 mil thick plastic and seamless at the bottom.

B.  Installed so that it completely covers the circumference of the pipe.

C.  Smoke tested for leaks and any leaks sealed prior to use.

D.  Used only once and not moved.

E.  Not used on surface exceeding 150o F.

F.  Collapsed by removing air with a HEPA vacuum prior to disposal.

G.  Loose and friable material adjacent to the glovebag shall be wrapped and sealed in two layers of 6 mil plastic, or otherwise rendered intact.

H. Sliding valve or other device shall be used to separate bag from vacuum hose to ensure that asbestos fibers are not release when the bag is disconnected.

I.  At least two persons shall perform Class 1 glovebag removals.  Note: This is required in 29CFR 1926.1101 (g) (9).

B.  Class II Asbestos Work

1.  Definition:  Removal of ACM other than TSI or Surfacing materials.  Examples of this type of work include the removal of roofing, flooring, mastics, gaskets, transite, wallboard etc.

2.  Training:  Abatement workers will supervised by a "competent" person who meets the requirements of 29 CFR 1926.32(f).  Workers must have AHERA worker (32 hours) training.  If the workers will remove/disturb only one type of building material (e.g., roofing, flooring, transite) they can be trained at a Class IV level, with additional training on specific work practices and engineering controls.  This course will include hands-on training and be at least 8 hours long.

3.  Air Sampling: Daily, unless there is a negative exposure assessment.  Clearance air sampling may be required before the work area is occupied.  The acceptance clearance level is < 70 structures/mm2 by TEM.

4.  PPE / Respirators:  Same as for Class 1 Work if the PEL is exceeded, wet methods are not used, or if the material is not removed substantially intact.

5.  Indoor Areas - Work Requirements:

For all indoor work use the procedures for Class I Work, unless:

A.  A negative exposure assessment has been performed and shows exposures below the PEL.

B.  ACM is removed substantially intact.

6.  Roofing - shall be removed following the work practices listed below:

A.  Removed intact to the extent feasible.

B.  Wet methods used when feasible.

C.  Cutting machines misted continuously during use, unless a competent person determines misting decreases worker safety.

D.  Loose dust left by sawing operations HEPA vacuumed immediately.

E.  Unwrapped or unbagged roofing material immediately lowered to the ground via covered, dust-tight chute, crane, or hoist.  Wrapped or bagged material lowered to the ground at the end of the workshift.

F.  Roof level heating and ventilating air intake sources isolated by sealing and wrapping with 2 layers of 6-mil plastic or equivalent.

7.  Floor Tile Removal

A.  Removing floor tile < 100 ft2, see appendix I

B.  Removing floor tile > 100 ft2, follow requirements for Class 1 work.However, section 7c (i.e., shower/equipment room) may be omitted if a negative exposure assessment has shown that the work is less than the PEL.  In addition, the following listed below apply:

1.  Sanding of flooring, it's backing, and the mastic is prohibited.

2.  Vacuums equipped with HEPA filter, disposable dustbag, and metal floor tool (no brush) shall be used to clean floors.

3.  Resilient sheeting shall be removed by cutting while wetting, and wetting during delamination.

4. All scraping of residual adhesive or backings shall be performed using wet methods.

5.  Dry sweeping and mechanical chipping are prohibited.

6.  When tiles are heated and removed intact, wetting may be omitted.

8.  Transite panels, siding or shingles (i.e., asbestos-cement products)

The following work practice shall be followed: (29 CFR 1926.1101 (g)(8)(iii))

A.  Cutting, abrading, or breaking is prohibited; if this is not possible perform as Class 1 Asbestos Work.  See appendix H for transite drilling procedure.

B.  Each panel or shingle shall be sprayed with amended water prior to removal.

C.  Unwrapped or unbagged panels shall be lowered to the ground, or wrapped in plastic sheeting and lowered to the ground at the end of the project.

C.  Class III Asbestos Work

1.  Definition:  Repair and maintenance activities which disturb ACM (or PACM), includes TSI and surfacing material and the cleanup of ACM dust or debris. The amount disturbed must fit in one glovebag or wastebag less than 60" in width.

Examples include:

•  Single glovebag removal of pipe insulation

•  Patching of pipe insulation (< 100 linear feet)

•  Decontamination of surfaces (spills etc.) < 25 square feet

• Removal of one square foot or less of RACM, using a local HEPA exhaust ventilation and collection system.

2. 	Training:  Supervisor and workers trained at the EPA 16-hour Operations & Maintenance level.

3.  Air Sampling: Shall be performed as needed to document potential exposures.

4. 	Regulated Areas: Not required, unless the PEL is exceeded or a negative exposure assessment has not been performed.

- PPE / Respirators: Required as for Class 1 work when TSI or surfacing material is disturbed, the PEL is exceeded, or when a negative exposure assessment has not been performed.  See Respirator section for guidance in selecting a respirator.

6.  Work requirements:

A.  Remove all unprotected personnel from the work area to a distance of at least 20 feet if no wall or other barrier is present.

B.  Place barricades at the access point(s) to the work area, post signs in such a manner that unauthorized persons will avoid entering the asbestos work area.  (See Appendix C, Figures C-2 and C-3)

C.  Turn off or isolate the air supply and exhaust systems.  Turn off any local sources of air movements.

D.  Isolate the work area to the extent possible by closing doors, windows, or other openings.

E.  Wear disposable coveralls, shoe covers or rubber boots, and half-mask respirator with HEPA filters, as appropriate.

F.  Lightly mist any loose asbestos or asbestos debris with an appropriate wetting agent.  Pick up or vacuum (HEPA) up loose material or dust.  Wet wipe hard surfaces after vacuuming.   Note: The exposed hose end of the HEPA vacuum shall be taped shut when the vacuum is not in use.

G. Cover surfaces under the area to be abated with a sheet of 6-mil thick plastic sheeting adequate to catch any debris.

H.  Wet the material thoroughly before handling.  For pipe insulation removal, use a glove bag.

I.  Local exhaust ventilation shall be used when feasible.

J.  Whenever the work involves the disturbance of TSI or surfacing materials, impermeable plastic barriers, mini-enclosures or glovebags shall be used to isolate the work area.

K.  Use only hand tools to remove or repair material.

L.  Seal all exposed ACM surfaces with a coating of penetrating encapsulant and a layer of bridging encapsulant.

M. Vacuum off protective clothing, and dispose of as asbestos containing waste material.  These materials should be double bagged in 6-mil plastic bags and labeled as shown in Appendix C, Fig. C-1.  Rubber boots that are to be reused must be wet wiped after use.  Respirators should be removed last, wet wiped, and placed in a storage bag.  Filters should be removed from the respirator and disposed of, or the respirator filters air inlets should be sealed with tape if left on the respirator.  Dispose of the wet wipe material and the respirator filters as asbestos containing waste material.

N. Clearance air-sampling is generally not required for work at this scale.  Contractors performing this work will monitor their own workers.  Removed ACM shall be disposed of in accordance with Section X.

D.   Class IV Asbestos Work

1.  Definition:  Maintenance and custodial activities where employees contact ACM or PACM.

2.  Training:  Supervisor trained at the EPA 16-hour Operations & Maintenance level, workers trained at the same (i.e., equivalent in curriculum and training) level as the EPA awareness course (per 29 CFR 1926.1101 (k) (v) ).  Note:  Activities involving the cleanup of ACM or PACM dust or debris shall be performed by employees trained at a  minimum of a Class III asbestos work level.

3.  Air sampling:  Sufficient frequency to document expected exposures.

4.  Regulated Areas:  None, employees who are trained at this level will not work in a regulated area.

5.  PPE / Respirators:  Not required, employees who are trained at this level will not work in Regulated Areas or perform work that may exceed the PEL.

6. 	Work requirements:  Wet methods.  Since this type of work will primarily involve contact with ACM flooring, see section G, "Flooring Material Maintenance".

X.  Waste Disposal

A.  Friable ACM containing 1% or greater asbestos (RACM).

1.  All RACM waste must be handled as hazardous waste.  RACM will be thoroughly wetted before packaging, then packaged to prevent dispersion and to facilitate handling.

2. 	The Waste Management Group at extension 5867 or 5877 is responsible for determining the Hazardous Waste Handling Facility's storage and labeling requirements, selecting the disposal site, as well as manifesting and maintaining disposal records.  They will also assist in determining how to best package the waste for disposal and arranging site pickup.

3.  Packaging

Labels:  All containers of RACM must bear the asbestos warning label (Appendix C, Fig. C-1) and the "Hazardous Waste" label.

Bags: Asbestos waste must be sealed inside two layers of 6-mil thickness plastic bags after thorough wetting.  The inside and outside bags shall be separately sealed.  The excess air in the bag shall be removed by a HEPA vacuum.  The outer bag must be labeled as shown in Appendix C, Fig C-1.

Drums:  Wetted asbestos waste can be contained in properly labeled DOT spec. 17H 55-gal steel drums equipped with polyethylene drum liner bags.

B.  Non-friable ACM (transite, floor tile etc.)

Contact the Waste Management Group at extension 6012 for assistance with labeling, storage, and disposal requirements.  Labels may not be necessary if non-friability can be demonstrated (29 CFR 1926.1101 (k)(7)(A)).

Appendices

Appendix A - Asbestos Removal/Repair Form, Instructions and Procedures

Appendix B - Building Construction Dates

Appendix C - Asbestos Labels and Signs

Danger Contains Asbestos Fibers Avoid Creating Dust Cancer and Lung Disease Hazard

Figure C-1.  Appropriate wording for labelling friable materials containing 1.0% asbestos by weight, or greater.  This label is also appropriate for containers (including waste containers) that contain 1.0% or greater friable asbestos by weight.  Waste containers holding RACM and asbestos contaminated materials (such as protective equipment and clothing) must also include a label with the generator name and location, and a hazardous waste label.

DANGER ASBESTOS Cancer and Lung Disease Hazard Authorized Personnel Only Respirators and Protective Clothing Are Required in This Area

Figure C-2.  Appropriate wording for warning sign to demarcate areas where the PEL or excursion limit may be exceeded due to asbestos handling or the presence of damaged, friable ACM in need of repair.

CAUTION ASBESTOS Cancer and Lung Disease Hazard Do Not Disturb Without Proper Training and Equipment

Figure C-3.  Appropriate wording for warning sign where there is the potential for employees to come into contact with, release, or disturb, asbestos or asbestos-containing construction materials.

NON-ASBESTOS INSULATION

Figure C-4.  Appropriate wording for identified friable insulation that does not contain asbestos.

Appendix D - BAAQMD Notification Form

Appendix E - Checklist for Auditing Asbestos Work Practices

Appendix F - ACM Damage Categories & Corrective Action

| ACM RECOMMENDATION CATEGORIES AND CORRECTIVE ACTION: SUMMARY OF OPTIONSa |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ASBESTOS DAMAGE CATEGORY | OPTIONS |  |  |  |
|  | I. PREVENTATIVE (O&M PROGRAM)e | II. REPAIR and O&Md | III. ENCAPSULATEb and O&Md | IV. ENCLOSEc and O&Md | V. REMOVE |
| •Significantly Damagedf |  |  |  | X or | X |
| •Damagedg |  | X or | X or | X or | X |
| •Slightly Damaged/Agedh |  | X or | X or | X or | X |
| •Not Damaged/Agede | X |  | X or | X or | X |

a	The Asbestos Inspector, Building Manager, or Asbestos Program Manager shall make recommendations from the response options listed above only after an Inspection/Reinspection or Periodic Surveillance.

b	Apply encapsulant.

c	Enclose (isolate) the space only where necessary to protect human health and environment.

d	Operations and Maintenance (O&M) Program if ACM is not removed, which will include inspection, labeling, preventative maintenance, and other apropriate controls.

e	An O&M Program, alone, is appropriate if no corrective action is warranted.  The recommendation to correct ACM that is not damaged includes an assessment of the "potential" for future damage/disturbance.

f	Corrective action immediately (<1 day) or seal off the area if friable, if non-friable type of material contact an Industrial Hygienist (IH) to determine the appropriate repair schedule.

g	Corrective action ASAP (within 5 days) if friable, if non-friable type of material contact an IH to determine the appropriate repair schedule.

h	Corrective action within 30 days if friable, if non-friable type of material contact an IH to determine the appropriate repair schedule.

Appendix G - Bulk Sampling Procedure

APPENDIX G

Bulk Sampling Procedure

1.  Wear a high efficiency particulate respirator.  Protective clothing may also be necessary in some instances.

2.  Be prepared to clean-up and/or contain debris created by the sampling process.

3.  Utilize core samplers such as small hollow "bits" to drill into insulation.  (Bit may be 5mm (3/16) thin wall brass tubing 6-7 mm (3 inches) long and sharpened on one end).  One bit is used for each sample.  Bit is chucked up in a slow (<500 rpm) battery powered drill.

a.  Place moist sponge over area to be sampled.

b.  Turn-on drill and with gentle but firm pressure bore the hollow bit tharough the sponge and insulation until contact is made with the underlying structure.  (Be careful not to damage copper pipes).  With bit still rotating, the core is withdrawn back through the wet sponge.  Turn off the drill.

c.  Place plastic bag around the tubing and end of the bit, then release the tubing into the bag.  Seal and label bag, then record the sample into the logbook.  Note sample number on adjacent insulation with indelible marker.

d.  Repair sampling damage by filling the hole with caulking material.

e.  Pack sample for shipment to the laboratory.  In order to analyze, the laboratory will push the core through the hollow bit.

Appendix H - Transite - Drilling Procedure

Appendix I - Asbestos Containing Floor Tile, Removal Procedure