## Sheet1
Table D2. Inorganic elements, nutrients, and environmental tracers in untreated ground water from public-supply and monitoring wells, Oahu, Hawaii January 2000 through August 2001 | [16 empty] | Table D2. Inorganic elements, nutrients, and environmental tracers in untreated ground water from public-supply and monitoring wells, Oahu, Hawaii January 2000 through August 2001 -- Continued | [16 empty] | Table D2. Inorganic elements, nutrients, and environmental tracers in untreated ground water from public-supply and monitoring wells, Oahu, Hawaii January 2000 through August 2001 -- Continued
[Concentrations in units shown; "W" wells are 30 public-supply wells sampled January-July 2000; "M" wells are 15 monitoring wells sampled April-August 2001; blank entries are non-detections; bold and shaded entries exceed drinking-water regulations (or are lower than, in the case of pH); E, estimated; M, presence of material verified but not quantified; NA, not analyzed; mg/L, milligrams per liter; mg/L, micrograms per liter; mS/cm, microSiemens per centimeter; %, percent; deg.C, degrees Celsius; mm Hg, millimeters of mercury; NTU, Nephelometric Turbidity Units; pCi/L, picoCuries per liter; pg/kg, picograms per kilogram; CFC, chlorofluorocarbon; SF6, sulfur hexafluoride; apparent recharge dates assume simple piston-flow displacement; Excess, contaminated in excess of air-water equilibrium; Modern, indistinguishable from modern air-water equilibrium value; <1940, older than 1940; micropurge depth is intake depth of low-rate sampling pump.] | [16 empty] | [Concentrations in units shown; "W" wells are 30 public-supply wells sampled January-July 2000; "M" wells are 15 monitoring wells sampled April-August 2001; blank entries are non-detections; bold and shaded entries exceed drinking-water regulations (or are lower than, in the case of pH); E, estimated; M, presence of material verified but not quantified; NA, not analyzed; mg/L, milligrams per liter; mg/L, micrograms per liter; mS/cm, microSiemens per centimeter; %, percent; deg.C, degrees Celsius; mm Hg, millimeters of mercury; NTU, Nephelometric Turbidity Units; pCi/L, picoCuries per liter; pg/kg, picograms per kilogram; CFC, chlorofluorocarbon; SF6, sulfur hexafluoride; apparent recharge dates assume simple piston-flow displacement; Excess, contaminated in excess of air-water equilibrium; Modern, indistinguishable from modern air-water equilibrium value; <1940, older than 1940; micropurge depth is intake depth of low-rate sampling pump.] | [16 empty] | [Concentrations in units shown; "W" wells are 30 public-supply wells sampled January-July 2000; "M" wells are 15 monitoring wells sampled April-August 2001; blank entries are non-detections; bold and shaded entries exceed drinking-water regulations (or are lower than, in the case of pH); E, estimated; M, presence of material verified but not quantified; NA, not analyzed; mg/L, milligrams per liter; mg/L, micrograms per liter; mS/cm, microSiemens per centimeter; %, percent; deg.C, degrees Celsius; mm Hg, millimeters of mercury; NTU, Nephelometric Turbidity Units; pCi/L, picoCuries per liter; pg/kg, picograms per kilogram; CFC, chlorofluorocarbon; SF6, sulfur hexafluoride; apparent recharge dates assume simple piston-flow displacement; Excess, contaminated in excess of air-water equilibrium; Modern, indistinguishable from modern air-water equilibrium value; <1940, older than 1940; micropurge depth is intake depth of low-rate sampling pump.]
Constituent and class | Units | State well number and map well number (fig. 6) | [14 empty] | Constituent and class | Units | State well number and map well number (fig. 6) | [14 empty] | Constituent and class | Units | State well number and map well number (fig. 6)
|  | 2858-02 | 1851-54 | 2051-02 | 3100-02 | 3412-02 | 3307-01 | 2803-07 | 2901-06 | 1749-19 | 2603-01 | 1952-06 | 2153-12 | 2355-07 | 2355-10 | 2356-50 |  |  | 2557-03 | 2400-05 | 1849-16 | 2402-03 | 2004-04 | 2303-01 | 2303-03 | 2459-20 | 2800-01 | 2901-12 | 3405-04 | 4101-07 | 2500-01 | 2659-02 | 2600-03 |  |  | 2959-01 | 2903-01 | 2902-03 | 2802-01 | 2401-03 | 2300-18 | 2659-01 | 2500-03 | 2303-07 | 3505-25 | 3505-26 | 3307-21 | 3406-14 | 2600-08 | 2702-05
Nutrients |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Nutrients |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Nutrients |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
Nitrogen, ammonia, as N | (mg/L) | [15 empty] | Nitrogen, ammonia, as N | (mg/L) | [12 empty] | .044 |  |  | Nitrogen, ammonia, as N | (mg/L)
Nitrogen, ammonia + organic, as N | (mg/L) | W01: E.05 | Nitrogen, ammonia + organic, as N | (mg/L) | [15 empty] | Nitrogen, ammonia + organic, as N | (mg/L)
Nitrogen, nitrite plus nitrate, as N | (mg/L) | .421 | .669 | .665 | 1.03 | .701 | 4.25 | 1.09 | .657 | .306 | 3.51 | .569 | .433 | .811 | .488 | .282 | Nitrogen, nitrite plus nitrate, as N | (mg/L) | .337 | 5.13 | .581 | 5.24 | 2.65 | 1.07 | 1.38 | 2.49 | .815 | 1.59 | 2.95 | .503 | 2.15 | 1.58 | 1.78 | Nitrogen, nitrite plus nitrate, as N | (mg/L) | .474 | .176 | .669 | .796 | 3.74 | .592 | 2.17 | 1.51 | 1.91 | 2.49 | 4.21 | 5.16 | 2.80 | E1.25 | E2.84
Nitrogen, nitrite, as N | (mg/L) | [15 empty] | Nitrogen, nitrite, as N | (mg/L) | [15 empty] | Nitrogen, nitrite, as N | (mg/L) | [5 empty] | .008 | E.004
Phosphorus, total, as P | (mg/L) | .067 | .035 | .052 | .144 | .077 | .241 | .185 | .151 | .066 | .216 | .037 | .033 | .070 | .064 | .037 | Phosphorus, total, as P | (mg/L) | .070 | .300 | .037 | .397 | .087 | .135 | .110 | .238 | .136 | .175 | .272 | .065 | .253 | .188 | .214 | Phosphorus, total, as P | (mg/L) | .215 | .349 | .199 | .218 | .274 | .067 | .175 | .119 | .141 | .180 | .227 | .341 | .138 | .151 | E.234
Phosphorus, ortho, as P | (mg/L) | .074 | .034 | .043 | .133 | .071 | .232 | .173 | .135 | .061 | .204 | .030 | .024 | .064 | .063 | .032 | Phosphorus, ortho, as P | (mg/L) | .062 | .293 | .036 | .381 | .078 | .112 | .091 | .228 | .123 | .158 | .270 | .065 | .252 | .175 | .200 | Phosphorus, ortho, as P | (mg/L) | .205 | .330 | .185 | .195 | .285 | .058 | .172 | .111 | .125 | .213 | .261 | .370 | .134 | E.150 | E.242
Carbon, organic, dissolved (DOC) | (mg/L) | W02: E.23; W07: E.19; W08: E.18; W10: E.24; W12: E.19 | Carbon, organic, dissolved (DOC) | (mg/L) |  | E.16 |  | E.17 | [5 empty] | E.17 | E.16 |  |  |  |  | Carbon, organic, dissolved (DOC) | (mg/L) |  |  |  |  | 1.0 | 1.0 | .48 | E.31 | 1.1 | 1.8 | E.30 | 1.5 | 1.4 | .35 | .35
Major Ions |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Major Ions |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Major Ions |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
Calcium | (mg/L) | 8.60 | 8.19 | 11.5 | 8.88 | 14.1 | 14.5 | 8.33 | 8.07 | 5.92 | 14.5 | 13.9 | 22.0 | 16.4 | 11.4 | 44.1 | Calcium | (mg/L) | 8.10 | 11.1 | 4.81 | 9.39 | 39.9 | 26.9 | 31.9 | 6.90 | 6.80 | 9.94 | 8.64 | 10.0 | 6.12 | 7.13 | 6.77 | Calcium | (mg/L) | 7.52 | 5.99 | 7.19 | 10.3 | 9.48 | 20.0 | 9.52 | 12.2 | 30.3 | 9.46 | 7.21 | 6.42 | 19.2 | 8.85 | 12.7
Magnesium | (mg/L) | 6.84 | 8.99 | 10.1 | 8.03 | 14.3 | 16.9 | 6.99 | 6.74 | 8.67 | 13.4 | 15.2 | 20.7 | 15.5 | 9.44 | 37.2 | Magnesium | (mg/L) | 6.89 | 12.7 | 6.59 | 12.2 | 42.3 | 24.7 | 26.4 | 7.58 | 5.69 | 8.16 | 8.35 | 9.51 | 7.87 | 6.29 | 5.61 | Magnesium | (mg/L) | 6.78 | 4.22 | 5.58 | 8.49 | 15.2 | 17.2 | 8.64 | 11.5 | 26.7 | 11.3 | 7.27 | 6.95 | 9.98 | 11.0 | 13.3
Potassium | (mg/L) | .79 | 3.39 | 1.65 | 1.18 | 4.44 | 3.40 | 1.35 | 1.02 | 2.47 | 2.10 | 2.65 | 2.63 | 2.56 | 1.57 | 2.70 | Potassium | (mg/L) | .88 | 2.20 | 4.04 | 2.76 | 7.03 | 4.17 | 4.54 | 2.20 | 1.20 | 1.28 | 2.12 | 1.41 | 1.52 | 1.37 | 1.49 | Potassium | (mg/L) | .60 | 1.30 | 1.47 | 1.54 | 4.01 | 2.59 | 1.66 | 1.99 | 4.36 | 3.19 | 2.69 | 1.89 | 2.71 | .94 | 2.06
Sodium | (mg/L) | 12.4 | 36.4 | 27.4 | 13.5 | 69.3 | 79.3 | 16.8 | 12.8 | 36.1 | 26.4 | 40.2 | 45.3 | 41.1 | 21.2 | 35.2 | Sodium | (mg/L) | 13.2 | 49.4 | 40.2 | 54.0 | 108 | 67.7 | 71.4 | 53.9 | 12.4 | 16.7 | 48.6 | 29.4 | 32.1 | 17.9 | 16.8 | Sodium | (mg/L) | 12.3 | 25.8 | 25.0 | 22.0 | 142 | 54.7 | 24.6 | 36.2 | 63.2 | 62.7 | 40.2 | 61.3 | 50.1 | 19.3 | 35.9
Bromide | (mg/L) | .06 | .15 | .16 | .08 | .31 | .44 | .08 | .08 | .18 | .23 | .28 | .42 | .31 | .14 | .70 | Bromide | (mg/L) | .08 | .41 | .15 | .29 | .83 | .58 | .26 | .24 | .07 | .10 | .21 | .19 | .20 | .09 | .10 | Bromide | (mg/L) | .08 | .09 | .14 | .14 | .83 | .49 | .14 | .26 | .57 | .40 | .20 | .19 | .29 | .13 | .18
Chloride | (mg/L) | 15.2 | 41.4 | 41.1 | 17.6 | 121 | 110 | 17.3 | 16.2 | 50.7 | 43.5 | 80.9 | 123 | 86.6 | 36.5 | 203 | Chloride | (mg/L) | 15.3 | 46.7 | 40.9 | 49.8 | 263 | 165 | 176 | 55.4 | 13.8 | 18.2 | 46.3 | 49.8 | 29.0 | 16.3 | 17.0 | Chloride | (mg/L) | 17.5 | 18.0 | 18.6 | 21.0 | 174 | 129 | 24.2 | 56.5 | 140 | 95.3 | 36.9 | 35.2 | 69.0 | 20.9 | 35.5
Fluoride | (mg/L) | [15 empty] | Fluoride | (mg/L) |  | .1 |  | .3 | .1 | .2 |  |  |  |  | .1 |  | .1 |  |  | Fluoride | (mg/L) | E.1 | .2 | E.1 | E.1 | .3 |  |  |  | E.1 | E.1 | E.1 | E.1 | E.1 |  | E.1 | bar: E.23 W06; E.24 W10
Silica | (mg/L) | 42.4 | 39.8 | 42.1 | 71.3 | 51.7 | 66.3 | 69.9 | 68.2 | 33.0 | 76.3 | 39.0 | 41.2 | 47.9 | 42.6 | 42.6 | Silica | (mg/L) | 42.7 | 70.9 | 34.4 | 76.3 | 71.8 | 73.7 | 70.2 | 60.6 | 65.2 | 78.7 | 73.9 | 47.6 | 69.2 | 56.5 | 69.6 | Silica | (mg/L) | 60.1 | 82.9 | 79.3 | 75.9 | 77.1 | 53.5 | 66.6 | 62.3 | 76.4 | 66.2 | 67.7 | 68.5 | 66.9 | 54.4 | 74.8
Sulfate | (mg/L) | 2.0 | 7.2 | 6.2 | 2.7 | 16.5 | 23.2 | 5.7 | 3.2 | 7.7 | 16.3 | 12.3 | 15.8 | 13.6 | 5.4 | 23.7 | Sulfate | (mg/L) | 2.7 | 19.7 | 5.7 | 24.1 | 39.1 | 23.1 | 25.4 | 13.6 | 2.8 | 4.1 | 13.9 | 7.6 | 12.0 | 5.4 | 6.7 | Sulfate | (mg/L) | 3.9 | 12.1 | 12.2 | 13.9 | 46.0 | 17.9 | 6.6 | 12.0 | 25.0 | 17.9 | 11.9 | 12.8 | 20.1 | 8.8 | 19.8
Bicarbonate | (mg/L) | 58 | 88 | 80 | 66 | 79 | 120 | 67 | 61 | 67 | 79 | 72 | 63 | 69 | 71 | 50 | Bicarbonate | (mg/L) | 64 | 104 | 77 | 96 | 120 | 92 | 96 | 90 | 48 | 69 | 86 | 65 | 70 | 62 | 51 | Bicarbonate | (mg/L) | 51 | 58 | 67 | 80 | 97 | 44 | 75 | 76 | 115 | 60 | 73 | 116 | 93 | 73 | 103
Carbonate | (mg/L) | [15 empty] | Carbonate | (mg/L) |  |  | 1 | [12 empty] | Carbonate | (mg/L) | bar: E.23 W02
Trace Elements |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Trace Elements |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Trace Elements |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
Aluminum | (mg/L) | W01: 2; 1 W02: 2; 1 W03: 9; 1 W05: 3; 1 W06: 2; 1 W07: 3; 1 W09: 1; 1 W11: 1 | Aluminum | (mg/L) | 1 |  |  |  | 1 | 1 | [5 empty] | 1 |  |  |  | Aluminum | (mg/L) | [7 empty] | 1 | 1 |  | 1 |  | 4 | 1
Antimony | (mg/L) | [15 empty] | Antimony | (mg/L) | [15 empty] | Antimony | (mg/L) |  |  |  |  | E.04 |  |  |  | E.04
Arsenic | (mg/L) | [15 empty] | Arsenic | (mg/L) | [15 empty] | Arsenic | (mg/L) |  | E.1 | E.1 | E.1 | .8 |  |  | E.1 |  |  | .2 | .2
Barium | (mg/L) | 1.8 |  | 5.4 | 3.4 | 1.9 | 1.1 | 1.9 | 1.6 |  | 1.6 | 2.7 | 10.6 | 9.3 | 6.3 | 6.9 | Barium | (mg/L) | 3.1 | 4.1 |  | 2.2 | 1.8 | 1.8 | 1.8 | 3.0 | 1.6 | 2.5 | 2.4 | 2.8 | 2.1 | 1.6 | 2.1 | Barium | (mg/L) | 1.1 |  | 3.4 | 2.5 | 3.6 | 8.3 | 2.4 | 3.8 | 3.1 | 1.2 | 2.3 | 1.4 | 2.5 | 1.1 | 2.1
Beryllium | (mg/L) | [15 empty] | Beryllium | (mg/L) | [15 empty] | Beryllium | (mg/L)
Boron | (mg/L) | 19 | 39 | 38 | 25 | 44 | 102 | 43 | 26 | 20 | 54 | 33 | 34 | 51 | 30 | 30 | Boron | (mg/L) | 21 | 191 | 44 | 179 | 83 | 30 | 48 | 123 | 30 | 40 | 115 | 34 | 106 | 51 | 59 | Boron | (mg/L) | 24 | 89 | 70 | 77 | 285 | 59 | 72 | 95 | 58 | 88 | 112 | 119 | 100 | 65 | 130
Cadmium | (mg/L) | [15 empty] | Cadmium | (mg/L) | [15 empty] | Cadmium | (mg/L) | [13 empty] | .05 | .05
Chromium | (mg/L) | 1.6 | 2.3 | 2.0 |  | 1.6 | 1.4 | 1.7 |  | 2.2 | 3.7 | 2.4 | 2.1 | 1.5 | 2.1 | 1.3 | Chromium | (mg/L) | 2.7 | 1.8 | 2.5 | 13.4 | E.8 | 1.1 | 1.4 | 1.5 | 1.7 | 1.3 | 2.9 | 2.3 | 1.5 | 1.3 | 1.2 | Chromium | (mg/L) | E.5 | 5.0 | .8 | 1.0 | 2.2 | 1.8 | 24.3 | 1.1 | 1.3 | 1.4 | 1.3 | 1.3 | 1.9 | .9 | 8.5
Cobalt | (mg/L) | [15 empty] | Cobalt | (mg/L) | [15 empty] | Cobalt | (mg/L) | .03 | .07 | 1.01 | .05 | .06 | .02 | E.01 | .09 | .03 | E.01 | E.01 | E.01 | .02 | .10 | .04
Copper | (mg/L) | 1.4 |  | 1.2 | 2.4 | 8.8 | 3.0 | 3.3 | 7.7 |  | 1.2 | 4.5 | 1.3 | 1.3 |  | 1.8 | Copper | (mg/L) | 1.9 | 6.2 | 1.3 | 7.4 | 10.4 | 2.8 | 6.0 | 5.0 | 5.7 | 2.7 | 2.5 | 3.3 | 2.4 | 1.7 | 2.9 | Copper | (mg/L) | .3 | .7 | .3 | .3 | .7 | 1.9 | 1.3 | .3 | 4.1 | 1.0 | .9 | .4 | E.2 | .4 | .9
Iron | (mg/L) | 1 W05: 20 | Iron | (mg/L) | [5 empty] | M | [7 empty] | M |  | Iron | (mg/L) | 30 | 80 | 290 | 50 |  |  | M | 60 | M
Lead | (mg/L) | 1 W03: 1.19; 1 W11: 1.31; 1 W12: 1.91; 1 W13: 2.29; 1 W14: 1.85; 1 W15: 1.91 | Lead | (mg/L) |  | 1.24 | 1.16 | 1.14 | 1.73 | 1.20 | 1.50 |  | 1.08 | 1.78 |  | 1.35 | 1.20 | 1.11 |  | Lead | (mg/L) | E.04
Lithium | (mg/L) |  | 1.0 | .6 | .3 | 1.1 | .9 | .5 | E.2 | .8 | .8 | .6 | .6 | .7 | .6 | .7 | Lithium | (mg/L) | E.2 | .6 | 1.4 | .5 | 2.1 | 1.3 | 1.1 | .6 | .4 | .5 | .7 | .7 | .5 | .4 | .5 | Lithium | (mg/L) | E.3 | 1.3 | 1.0 | .8 | .4 | .9 | .7 | .6 | 1.1 | 1.0 | .7 | .6 | 1.4 | E.3 | 1.0
Manganese | (mg/L) | [15 empty] | Manganese | (mg/L) | [15 empty] | Manganese | (mg/L) | 4.3 | 12.9 | 18.8 | 5.5 | .2 | .6 | 9.1 | 14.4 | .4 | .4 | .3 | .1 |  | 1.0 | .5
Molybdenum | (mg/L) | [15 empty] | Molybdenum | (mg/L) | [15 empty] | Molybdenum | (mg/L) |  |  |  |  | .5 | E.1 | E.1 | .3 | .3 | .3 | .3 | .2 | .5 | E.2 | .2
Nickel | (mg/L) | [15 empty] | Nickel | (mg/L) |  | 1.12 |  | 1.12 |  | 1.59 | 1.28 |  |  | 1.46 | [5 empty] | Nickel | (mg/L) | 3.54 | 7.21 | 3.82 | 6.15 | 4.10 | .26 | .84 | .58 | 1.11 | .33 | .84 | .47 |  | 34.4 | 12.9
Selenium | (mg/L) | 1 W02: .9; 1 W03: .8; 1 W04: E.4; 1 W06: .8; 1 W11: E.5; 1 W12: E.7; 1 W13: E.7; 1 W15: .7 | Selenium | (mg/L) |  | 2.4 | E.4 | 1.5 | 2.5 | 1.1 | 1.7 | 1.7 |  |  | E.6 |  | .8 |  |  | Selenium | (mg/L) |  | .4 | E.2 | E.3 | 10.5 | E.3 |  | E.3 | 1.1 | E.3 | 1.0 | 1.1 | .6 | .6 | .4
Silver | (mg/L) | [15 empty] | Silver | (mg/L) | [15 empty] | Silver | (mg/L)
Strontium | (mg/L) | 56.7 | 67.5 | 72.4 | 60.0 | 141 | 110 | 48.5 | 50.6 | 48.1 | 90.6 | 105 | 173 | 119 | 73.2 | 285 | Strontium | (mg/L) | 47.6 | 73.5 | 36.3 | 58.4 | 347 | 203 | 288 | 47.3 | 39.8 | 67.7 | 64.9 | 60.4 | 42.8 | 44.2 | 42.9 | Strontium | (mg/L) | 48.7 | 41.8 | 48.8 | 67.4 | 87.9 | 124 | 61.8 | 85.6 | 231 | 78.9 | 52.6 | 43.7 | 112 | 54.6 | 83.7
Thallium | (mg/L) | [15 empty] | Thallium | (mg/L) | [15 empty] | Thallium | (mg/L) |  |  |  |  | .13
Vanadium | (mg/L) | 15.0 | 18.8 | 18.0 | 27.1 | 20.1 | 41.4 | 36.0 | 28.1 | 14.2 | 44.6 | 11.0 | 10.9 | 12.3 | 13.1 | 8.3 | Vanadium | (mg/L) | 18.1 | 48.0 | 16.8 | 57.9 | 17.8 | 25.4 | 28.2 | 45.9 | 36.8 | 30.2 | 56.3 | 21.0 | 48.3 | 32.7 | 43.1 | Vanadium | (mg/L) | 29.8 | 53.1 | 32.3 | 36.4 | 42.4 | 21.4 | 30.2 | 32.4 | 26.2 | 39.7 | 42.3 | 50.5 | 40.0 | 22.8 | 39.6
Zinc | (mg/L) | 10 |  | 10 | 17 | 19 | 4 | 12 | 67 |  | 7 | 2 |  | 5 | 1 | 8 | Zinc | (mg/L) | 4 | 5 | 1 | 15 | 11 | 16 | 7 | 5 | 9 | 6 | 5 | 6 | 10 | 24 | 21 | Zinc | (mg/L) | 5 | 5 | 15 | 3 |  | 2 | 2 | 2 | 3 |  | 1 |  |  | 6 | 3
Uranium | (mg/L) | [15 empty] | Uranium | (mg/L) | [15 empty] | Uranium | (mg/L) | [8 empty] | .02
Physical Properties |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Physical Properties |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Physical Properties |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
Total dissolved solids | (mg/L) | 129 | 185 | 177 | 156 | 346 | 398 | 162 | 154 | 175 | 253 | 251 | 356 | 278 | 166 | 570 | Total dissolved solids | (mg/L) | 125 | 290 | 176 | 299 | 710 | 470 | 552 | 269 | 145 | 189 | 264 | 190 | 209 | 157 | 164 | Total dissolved solids | (mg/L) | 149 | 197 | 203 | 214 | 538 | 318 | 188 | 235 | 443 | 304 | 223 | 265 | 299 | 172 | 268
Specific conductance | (mS/cm) | 165 | 297 | 278 | 176 | 558 | 674 | 187 | 166 | 294 | 333 | 416 | 544 | 436 | 252 | 791 | Specific conductance | (mS/cm) | 163 | 403 | 279 | 413 | 1150 | 736 | 801 | 375 | 142 | 197 | 346 | 286 | 255 | 184 | 172 | Specific conductance | (mS/cm) | 155 | 188 | 206 | 235 | 900 | 547 | 237 | 361 | 721 | 474 | 306 | 381 | 446 | 229 | 354
Oxygen | (mg/L) | 8.2 | 8.2 | 8.9 | 7.4 | 8.4 | 6.8 | 7.2 | 7.3 | 7.7 | 7.6 | 8.6 | 8.6 | 8.7 | 9.0 | 8.7 | Oxygen | (mg/L) | 8.9 | 7.3 | 8.5 | 7.6 | 7.3 | 7.3 | 7.7 | 7.9 | 7.7 | 7.1 | 7.7 | 8.1 | 7.7 | 8.4 | 7.6 | Oxygen | (mg/L) | 6.5 | 6.6 | 4.7 | 6.3 | 6.8 | 7.6 | 7.2 | 6.6 | 6.8 | 7.6 | 7.6 | 6.8 | 7.1 | 6.7 | 6.1
Oxygen saturation | (%) | 95 | 92 | 102 | 86 | 96 | 79 | 86 | 84 | 87 | 89 | 96 | 97 | 98 | 100 | 99 | Oxygen saturation | (%) | 101 | 84 | 97 | 89 | 87 | 85 | 90 | 91 | 91 | 83 | 88 | 90 | 90 | 96 | 90 | Oxygen saturation | (%) | 77 | 81 | 57 | 74 | 82 | 89 | 86 | 80 | 83 | 90 | 94 | 82 | 85 | 81 | 73
pH | (pH units) | 7.8 | 8.0 | 8.2 | 6.8 | 7.6 | 6.9 | 7.2 | 6.8 | 8.2 | 6.8 | 7.8 | 7.7 | 7.2 | 7.4 | 7.3 | pH | (pH units) | 7.4 | 6.7 | 8.2 | 6.7 | 6.6 | 6.7 | 6.7 | 6.7 | 6.8 | 6.3 | 6.6 | 7.2 | 6.7 | 6.9 | 6.6 | pH | (pH units) | 6.8 | 6.5 | 6.4 | 6.6 | 6.8 | 7.2 | 6.7 | 7.0 | 6.8 | 6.9 | 6.7 | 6.8 | 8.0 | 6.5 | 6.4
Alkalinity | (mg/L) | 48 | 73 | 66 | 54 | 65 | 98 | 55 | 50 | 55 | 65 | 59 | 51 | 56 | 58 | 41 | Alkalinity | (mg/L) | 52 | 85 | 65 | 78 | 99 | 75 | 79 | 74 | 40 | 56 | 70 | 54 | 58 | 51 | 42 | Alkalinity | (mg/L) | 42 | 48 | 55 | 66 | 80 | 36 | 61 | 62 | 95 | 50 | 60 | 96 | 76 | 60 | 85
Temperature | (deg. C) | 20.9 | 21.3 | 20.8 | 21.0 | 22.2 | 23.2 | 23.0 | 21.0 | 21.3 | 22.1 | 21.0 | 21.4 | 20.9 | 20.3 | 21.3 | Temperature | (deg. C) | 20.6 | 22.5 | 21.7 | 22.2 | 23.5 | 22.4 | 22.4 | 21.9 | 22.1 | 21.8 | 22.1 | 20.6 | 22.2 | 21.1 | 22.3 | Temperature | (deg. C) | 22.3 | 24.4 | 23.8 | 22.5 | 24.3 | 23.6 | 23.3 | 24.4 | 24.9 | 23.5 | 25.5 | 24.9 | 24.1 | 24.3 | 23.1
Barometric pressure | (mm Hg) | 736 | 764 | 747 | 738 | 768 | 765 | 742 | 744 | 766 | 746 | 764 | 763 | 758 | 761 | 761 | Barometric pressure | (mm Hg) | 746 | 762 | 760 | 752 | 759 | 754 | 754 | 758 | 743 | 740 | 763 | 760 | 751 | 747 | 745 | Barometric pressure | (mm Hg) | 740 | 742 | 745 | 747 | 757 | 765 | 753 | 757 | 755 | 757 | 755 | 761 | 761 | 753 | 745
Turbidity | (NTU) | [15 empty] | Turbidity | (NTU) | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | .1 | Turbidity | (NTU) | .7 | 1.3 | 5.4 | 3.4 | .2 | .8 | 3.4 | 21 | .2 | .2 | .4 | .1 | .1 | 1.4 | .2 | bar: W01 to W15
Radionuclides |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Radionuclides |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Radionuclides |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
Radon 222 | (pCi/L) | 165 | 222 | 69.0 | 68.0 | 147 | 86.0 | 137 | 95.0 | 397 | 103 | 180 | 168 | 93.0 | 101 | 103 | Radon 222 | (pCi/L) | 107 | 67.0 | 263 | 71.0 | 209 | 123 | 119 | 111 | 137 | 85.0 | 87.0 | 91.0 | 40.0 | 105 | 57.0 | Radon 222 | (pCi/L) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Radon 222, 2 sigma precision | (pCi/L) | 38 | 20 | 17 | 17 | 18 | 18 | 21 | 17 | 24 | 18 | 16 | 17 | 15 | 17 | 19 | Radon 222, 2 sigma precision | (pCi/L) | 17 | 14 | 20 | 14 | 17 | 16 | 16 | 17 | 17 | 19 | 17 | 16 | 15 | 16 | 16 | Radon 222, 2 sigma precision | (pCi/L) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Radium 226 | (pCi/L) | W01: .03; W03: .03; W13: .02; W14: .03 | Radium 226 | (pCi/L) | .04 |  |  | .04 | .03 | .02 | .02 |  |  | .03 |  |  |  | .02 | .04 | Radium 226 | (pCi/L) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Radium 226, 2 sigma precision | (pCi/L) | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .02 | .01 | Radium 226, 2 sigma precision | (pCi/L) | .02 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .01 | .02 | Radium 226, 2 sigma precision | (pCi/L) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Radium 228 | (pCi/L) |  | .51 | .02 | M | .34 | .46 | .37 | .29 | .31 | .30 | .30 | .60 | .31 | .23 | .39 | Radium 228 | (pCi/L) | .11 | .19 | .13 | .24 | .27 | .16 | .23 | .40 | .07 | .28 | .24 | .29 | .32 | .32 | .29 | Radium 228 | (pCi/L) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Radium 228, 2 sigma precision | (pCi/L) | .41 | .37 | .35 | .31 | .36 | .32 | .30 | .30 | .29 | .28 | .33 | .41 | .39 | .42 | .39 | Radium 228, 2 sigma precision | (pCi/L) | .35 | .33 | .33 | .37 | .38 | .36 | .35 | .39 | .33 | .41 | .35 | .33 | .34 | .35 | .37 | Radium 228, 2 sigma precision | (pCi/L) | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Environmental Tracers |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Environmental Tracers |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Environmental Tracers |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
CFC apparent recharge date | (year) | 1947 | 1986 | 1952 | 1977 | 1958 | 1983 | 1968 | 1978 | 1962 | 1956 | 1964 | 1983 | 1978 | 1956 | 1978 | CFC apparent recharge date | (year) | 1954 | Modern | 1961 | 1975 | 1973 | 1952 | 1958 | 1976 | <1940 | Excess | 1985 | 1958 | 1980 | 1966 | 1966 | CFC apparent recharge date | (year) | 1974 | Excess | Excess | Excess | 1992 | 1962 | 1992 | 1992 | 1964 | 1973 | 1988 | 1989 | 1986 | 1976 | 1976
SF6 apparent recharge date | (year) | [15 empty] | SF6 apparent recharge date | (year) | [15 empty] | SF6 apparent recharge date | (year) | 1982 | 1978 | 1976 | 1972 | 1986 | 1968 | 1992 | 1982 | Excess | 1984 | 1988 | 1992 | 1984 | 1979 | 1976
Tritium | (T.U) | 1.259 |  | .112 | .255 | .113 | 1.372 | .209 | 1.052 | .144 | .255 | .078 | .118 | .287 | .700 | .140 | Tritium | (T.U) | .523 | 1.011 | .113 | .752 | .157 | .078 | .082 | .299 | .295 | .533 | .794 | .034 | .277 | .209 | .142 | Tritium | (T.U) | .156 | 1.804 | 1.509 | 1.387 | .733 | .110 | .235 | .161 | .284 | .633 | .922 | .800 | .703 | .298 | .446
Hydrogen 2/1 ratio | (per mill) | -11.80 | -9.80 | -12.00 | -13.40 | -18.80 | -15.40 | -11.90 | -9.00 | -11.10 | -21.70 | -10.30 | -10.10 | -12.40 | -9.50 | -11.00 | Hydrogen 2/1 ratio | (per mill) | -8.90 | -13.70 | -10.20 | -16.90 | -22.50 | -16.20 | -19.70 | -11.90 | -12.00 | -13.50 | -15.50 | -13.80 | -13.50 | -12.20 | -11.30 | Hydrogen 2/1 ratio | (per mill) | -10.00 | -12.60 | -9.70 | -13.30 | -14.80 | -12.30 | -14.20 | -12.80 | -17.70 | -14.50 | -14.40 | -11.80 | -17.40 | -13.20 | -18.60
Oxygen 18/16 ratio | (per mill) | -3.08 | -3.02 | -3.21 | -3.11 | -4.21 | -3.20 | -3.16 | -2.88 | -3.02 | -4.12 | -3.21 | -3.15 | -3.14 | -3.10 | -3.01 | Oxygen 18/16 ratio | (per mill) | -2.99 | -3.34 | -3.05 | -3.65 | -4.29 | -3.58 | -3.91 | -3.20 | -2.93 | -2.89 | -3.33 | -3.32 | -3.21 | -3.11 | -3.10 | Oxygen 18/16 ratio | (per mill) | -2.59 | -2.85 | -2.74 | -3.17 | -3.14 | -3.10 | -3.23 | -3.11 | -3.76 | -3.31 | -3.23 | -2.94 | -3.51 | -3.04 | -3.57
Well Geometry |  | W01 | W02 | W03 | W04 | W05 | W06 | W07 | W08 | W09 | W10 | W11 | W12 | W13 | W14 | W15 | Well Geometry |  | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | Well Geometry |  | M01 | M02 | M03 | M04 | M05 | M06 | M07 | M08 | M09 | M10 | M11 | M12 | M13 | M14 | M15
Altitude of land surface | (feet) | 959 | 34 | 718 | 1145 | 18 | 27 | 872 | 850 | 21 | 745 | 21 | 35 | 258 | 159 | 102 | Altitude of land surface | (feet) | 620 | 207 | 55 | 417 | 141 | 412 | 419 | 202 | 762 | 874 | 208 | 81 | 416 | 571 | 664 | Altitude of land surface | (feet) | 910 | 862 | 827 | 689 | 282 | 26 | 412 | 376 | 299 | 233 | 287 | 100 | 10 | 358 | 717
Depth to water from land surface | (feet) | 939 | 12 | 696 | 870 | 9 | 16 | 671 | 576 | -3 | 727 | 0 | 17 | 243 | 144 | 88 | Depth to water from land surface | (feet) | 604 | 189 | 34 | 399 | 128 | 397 | 404 | 184 | 742 | 599 | 197 | 64 | 398 | 552 | 645 | Depth to water from land surface | (feet) | 638 | 591 | 555 | 417 | 265 | 10 | 394 | 359 | 285 | 228 | 277 | 89 | -1 | 339 | 701
Depth to open interval below water | (feet) | 61 | 344 | 74 | 0 | 112.06 | 110 | 159 | 0 | 178 | 0 | 229 | 133 | 45 | 78 | 39 | Depth to open interval below water | (feet) | 46 | 52 | 247 | 61 | 60 | 153 | 46 | 50 | 60 | 101 | 39 | 30.23 | 48 | 72 | 60 | Depth to open interval below water | (feet) | 0 | 0 | 0 | 0 | 0 | 28.22 | 18 | 4.05 | 0 | 0 | 0 | 31.28 | 82.74 | 0 | 0
Length of open interval below water | (feet) | 160 | 104 | 100 | 60 | 120 | 209 | 160 | 137.31 | 101 | 264 | 261 | 150 | 70 | 191 | 200 | Length of open interval below water | (feet) | 100 | 101 | 90 | 150 | 80 | 75 | 84 | 103 | 208 | 158 | 100 | 57 | 100 | 86 | 145 | Length of open interval below water | (feet) | 136.89 | 138.3 | 137.6 | 137.61 | 5 | 1052 | 1375 | 995 | 754.96 | 21.6 | 78.01 | 60 | 6.5 | 13.55 | 14.44
Midpoint of open interval below water | (feet) | 141 | 396 | 124 | 30 | 172.06 | 214.5 | 239 | 68.655 | 228.5 | 132 | 359.5 | 208 | 80 | 173.5 | 139 | Midpoint of open interval below water | (feet) | 96 | 102.5 | 292 | 136 | 100 | 190.5 | 88 | 101.5 | 164 | 180 | 89 | 58.73 | 98 | 115 | 132.5 | Midpoint of open interval below water | (feet) | 68.445 | 69.15 | 68.8 | 68.805 | 2.5 | 554.22 | 705.5 | 501.55 | 377.48 | 10.8 | 39.005 | 61.28 | 85.99 | 6.775 | 7.22
Micropurge depth below water | (feet) | [15 empty] | Micropurge depth below water | (feet) | [15 empty] | Micropurge depth below water | (feet) | [5 empty] | 55.22 | 46 | 17.05 | 49.96 |  | 20 | 30

## Sheet2
VOC's Sch2020 & LC8134 | Pcode | PNAME | SNAME | ONAME | CAS | RANK92 | USE | CLASS | PARENT
1,1,2-Trichloroethane | 34511 | 1,1,2-Trichloroethane | 1,1,2-Trichlor_thane | _ | 79-00-5 | ND | Adjuvant | ND | NA
1,1-Dichloroethene | 34501 |  |  | 1,1-dichloroethylene | 75-35-4
1,1-Dichloropropene | 77168 |  |  | 1,1-DCPe | 563-58-6
1,2,3-Trichloropropane | 77443 | 1,2,3-Trichloropropane | 1,2,3-Trichlor_opane | 1,2,3-TCP | 96-18-4 | ND | Fumigant | ND | NA
1,2-Dibromoethane * | 77651 | 1,2-Dibromoethane | 1,2-Dibromoethane | EDB,_Ethylene_dibromide | 106-93-4 | ND | Fumigant | ND | NA
1,2-Dichloroethane | 32103 | 1,2-Dichloroethane | 1,2-Dichloroethane | Ethylene_dichloride | 107-06-2 | ND | Fumigant/Adjuvant | ND | NA
1,2-Dichloropropane | 34541 | 1,2-Dichloropropane | 1,2-Dichloropropane | 1,2-DCP | 78-87-5 | ND | Fumigant/Adjuvant | ND | NA
trans-1,2-Dichloroethene | 34546 |  |  | dichloroethene, trans-1,2- | 156-60-5
1,2,4-Trimethylbenzene | 77222 |  |  | benzene, 1,2,4-trimethyl- | 95-63-6
Bromoform | 32104 |  |  | Tribromomethane | 75-25-2
Tetrachloromethane | 32102 | Tetrachloromethane | Tetrachloromethane | Carbon_tet | 56-23-5 | ND | Fumigant/Adjuvant | ND | NA
Chlorobenzene | 34301 | Chlorobenzene | Chlorobenzene | _ | 108-90-7 | ND | Adjuvant | ND | NA
Dibromochloromethane | 32105 |  |  | chlorodibromomethane | 124-48-1
Chloroform | 32106 | Chloroform | Chloroform | Trichloromethane | 67-66-3 | ND | Fumigant/Adjuvant | ND | NA
cis-1,2-Dichloroethene | 77093 |  |  | ethene, cis-1,2-dichloro- | 156-59-2
1,2-Dibromo-3-chloropropane * | 82625 | 1,2-Dibromo-3-chloropropane | 1,2-Dibromo-3-_opane | DBCP | 96-12-8 | ND | Fumigant | ND | NA
Bromodichloromethane | 32101 |  |  | dichlorobromomethane | 75-27-4
1,1,1,2-Tetrachloroethane | 77562 |  |  | 1,1,1,2-TCA | 630-20-6
Ethyl tert-butyl ether | 50004 |  |  | tert-Butyl ethyl ether, ETBE | 637-92-3
1,1,2-Trichloro-1,2,2-trifluoroethane (CFC-113) | 77652 | 1,1,2-Trichlorotrifluoroethane | 1,1,2-Trichlor_thane | CFC-113 | 76-13-1 | ND | Adjuvant | ND | NA
Dichloromethane | 34423 | Dichloromethane | Dichloromethane | Methylene_chloride | 75-09-2 | ND | Fumigant/Adjuvant | ND | NA
Tetrachloroethene | 34475 | Tetrachloroethylene | Tetrachloroethylene | PCE | 127-18-4 | ND | Fumigant/Adjuvant | ND | NA
Toluene | 34010 | Toluene | Toluene | Methyl_benzene | 108-88-3 | ND | Adjuvant | ND | NA
Trichloroethene | 39180 | Trichloroethylene | Trichloroethylene | TCE | 79-01-6 | ND | Fumigant/Adjuvant | ND | NA
Trichlorofluoromethane (CFC-11) | 34488 | Trichlorofluoromethane | Trichlorofluor_thane | CFC-11 | 75-69-4 | ND | Adjuvant | ND | NA
Pesticides Sch2001 / 2010 | Pcode | PNAME | SNAME | ONAME | CAS | RANK92 | USE | CLASS | PARENT
Atrazine | 39632 | Atrazine | Atrazine | AAtrex,_Gesaprim | 1912-24-9 | 1 | Herbicide | triazine | NA
Deethylatrazine | 04040 | Deethylatrazine | Deethylatrazine | DEA | 6190-65-4 | 1 | Degradate | triazine | Atrazine
Dieldrin | 39381 | Dieldrin | Dieldrin | Panoram_D-31,_Octalox | 60-57-1 | >207 | Insecticide | organochlorine | NA
p,p'-DDE | 34653 | p,p'-DDE | p,p'-DDE | _ | 72-55-9 | >207 | Degradate | organochlorine | DDT
Pesticides Sch2060 / 9060 | Pcode | PNAME | SNAME | ONAME | CAS | RANK92 | USE | CLASS | PARENT
Atrazine | 39632 | Atrazine | Atrazine | AAtrex,_Gesaprim | 1912-24-9 | 1 | Herbicide | triazine | NA
Bentazon | 38711 | Bentazon | Bentazon | Bentazone,_Basagran | 25057-89-0 | 12 | Herbicide | N_heterocycle | NA
Bromacil | 04029 | Bromacil | Bromacil | Bromax,_Hyvar_X,_Urox_B | 314-40-9 | 109 | Herbicide | uracil | NA
Caffeine | 50305 | Caffeine | Caffeine | _ | 58-08-2 | NA | Stimulant | N_heterocycle | NA
Deethylatrazine | 04040 | Deethylatrazine | Deethylatrazine | DEA | 6190-65-4 | 1 | Degradate | triazine | Atrazine
Deethyldeisopropylatrazine | 04039 | Didealkylatrazine | Didealkylatrazine | DDA | 3397-62-4 | 1 | Degradate | triazine | Atrazine
Deisopropylatrazine | 04038 | Deisopropylatrazine | Deisopropylatrazine | DIA | 1007-28-9 | 1 | Degradate | triazine | Atrazine/Cyanazine/Simazine
Diuron | 49300 | Diuron | Diuron | DCMU,_Karmex,_Direx | 330-54-1 | 32 | Herbicide | urea | NA
2-Hydroxyatrazine | 50355 | 2-Hydroxyatrazine | 2-Hydroxyatrazine | Hydroxyatrazine | 2163-68-0 | 1 | Degradate | triazine | Atrazine
Imazaquin | 50356 | Imazaquin | Imazaquin | _ | 81335-37-7 | 50 | Herbicide | imidazolinone | NA
Metsulfuron methyl | 61697 | Metsulfuron_methyl | Metsulfuron_methyl | _ | 74223-64-6 | 105 | Herbicide | sulfonylurea | NA
3(4-Chlorophenyl)-1-methyl urea | 61692 | 3-(4-chlorophenyl)-1-methyl_urea | 3-(4-chlorophe__urea | _ | 5352-88-5 | 32 | Degradate | phenylurea | Diuron
Pesticides Sch2002 / 9002 | Pcode | PNAME | SNAME | ONAME | CAS | RANK92 | USE | CLASS | PARENT
2-Chloro-2,6-diethylacetanilide | 61618 | 2-Chloro-2,6-diethylacetanilide | 2-Chloro-2,6-d_ilide | _ | 6967-29-9 | 6 | Degradate | acetanilide | Alachlor
3,4-Dichloroaniline | 61625 | 3,4-Dichloroaniline | 3,4-Dichloroaniline | 3,4-DCA | 95-76-1 |  | Degradate | aniline | Diuron
Hexazinone | 04025 | Hexazinone | Hexazinone | _ | 51235-04-2 | 121 | Herbicide | triazine | NA