ATTACHMENT C  STATEMENT OF WORK

C.1  BACKGROUND

C.1.1  ODIN is intended to develop a long-term outsourcing arrangement with the commercial sector which transfers to it the responsibility and risk for providing and managing the vast majority of NASA’s desktop, server, and intra-Center communication assets and services as the Agency downsizes and refocuses IT personnel to Agency core missions. Additionally, this contract may be utilized by other Agencies with external agency order placement and administration being handled in accordance with the procedures specified by the GSA/FTS organization. NASA considers its desktop, server, and intra-Center communications assets vital to its success as the world leader in aeronautics, space exploration, and scientific research.  NASA personnel use IT to support NASA’s core business, scientific, research, and computational activities.  As NASA continues to downsize its civil service workforce, the Agency strives to optimize the productivity of its workforce through the efficient use of desktop computers, high performance networks, and sophisticated applications.  It is imperative that the commercial sector deliver cost-effective ODIN services which meet NASA mission and program needs while achieving a high level of customer satisfaction.

C.1.2  NASA is a highly decentralized organization consisting of its Headquarters and nine field Centers:  Ames Research Center (ARC), Dryden Flight Research Center (DFRC), Goddard Space Flight Center (GSFC), Johnson Space Center (JSC), Kennedy Space Center (KSC), Langley Research Center (LaRC), Lewis Research Center (LeRC), Marshall Space Flight Center (MSFC), and Stennis Space Center (SSC).  For the purposes of this SOW, HQ is referred to as a center. Each Center has a unique mission and diversified capabilities, and may have satellite facilities which are considered a part of the Center.  ODIN services must be delivered effectively and efficiently within this dispersed organizational structure and ensure that Agency and Center IT architectural, interoperability, and other functional requirements are met and maintained as IT evolves and is added to the Agency’s environment.  In addition to these ten centers, the Jet Propulsion Laboratory (JPL) is a Government Owned, Contractor Operated (GOCO) facility currently operated by the California Technology University.  Services will not be provided by the Contractor to JPL as JPL has a separate outsourcing contract.

C.2  SCOPE

C.2.1  The Contractor is required to deliver comprehensive, end-to-end desktop, server, and intra-Center communications services, including associated capital infrastructure improvements, as well as maintenance and enhancements to that infrastructure, throughout the term of the contract.  ODIN is expected to provide the vast majority of desktop, server, and intra-Center communications IT capability at most NASA Centers and those external agencies choosing to use these contracts.

C.2.2  In general, desktop services are to be provided on a per “seat” basis where all required service components are bundled.  Several different seat types are required to be provided, as described in the Service Model, Attachment E.  For all of the services, management of the necessary LAN communications infrastructure is expected to be bundled with each service offered.  Server services provide capacity and functionality which are not already specifically bundled with the Desktop Services.  A variety of intra-Center communication services are to be provided, such as telephone services, facsimile services, etc.  These services are to be offered distinct from the bundled seat desktop services and server services as well as from each other.  For all of these communications services, management of the necessary infrastructure is expected to be bundled with each service offered.

C.2.3  These services may be provided to Government civil servants, Government (on-site or near-site) contractors, off-site contractors, principal investigators, Universities through grants or cooperative agreements, GOCO organizations, and other Government agencies.

C.2.4  The Government reserves the right to add new seat types, service levels, and technologies in order to reduce cost, increase efficiency and performance, or any other reason found to be advantageous to maintaining NASA’s IT environment.  It is expected that technology which emerges during the term of contract and which support the above services will be delivered to the Government through technology refreshment and other provisions of the contract.  The Government intends for the services to conform, where possible, with those offered commercially and to evolving standards.

C.3  OBJECTIVES

C.3.1  ODIN’s objectives are to: optimize service delivery by acquiring services from a single point of contact at each Center, to include desktop, server, and intra-Center communications services; transfer asset management responsibilities and risk to the commercial sector; shift civil servant resources currently supporting these services to research and development functions in support of NASA’s core missions; reduce the cost to NASA of delivering desktop, server, and intra-Center communications services; and facilitate IT management through the evolution of a more common computing and communications environment thereby enhancing system and product interoperability.

C.3.2  In addition, NASA has socio-economic obligations which need to be accommodated by this initiative.  These are described below.

C.3.2.1  NASA has a strong commitment to utilize small, small disadvantaged, and woman-owned small businesses in Agency programs.  Currently, NASA has an 8 percent Agency-wide goal for prime and subcontract awards to small disadvantaged businesses, woman-owned small businesses, and Historically Black Colleges and Universities and Other Minority Institutions.  Over the past few years, approximately 30 percent or more of the Agency’s IT dollars have been obligated to small business concerns (which includes 8 percent small disadvantaged business, woman-owned small business goal).  This percentage has been growing in recent years.  In Government Fiscal Year 1996, this level of contracting represented more than 350 new awards geographically distributed throughout the United States.  NASA desires to continue this level of support and utilize high-performing small business concerns to the greatest extent possible, consistent with efficient contract performance, and minimize the potential negative impact on continued participation of such groups in any outsourcing arrangement.  Ideally, continuing the commitment of obtaining cost-effective customer services and maximizing small, small disadvantaged, and woman-owned small business participation may be met through teaming arrangements, joint ventures, and/or individual subcontracting plans containing aggressive acquisition and mentoring objectives.

C.3.2.2  Under the letter and spirit of the Stevenson-Wydler Act, NASA supports local educational institutions by providing excess computer equipment to elementary and secondary schools, universities, and other non-profit institutions.  It is important to NASA that this outreach initiative is continued where cost effective, even though the Agency no longer has or desires to have asset management responsibilities.

C.4  ODIN OPERATING MODEL

This section describes the model to be used to assure that ODIN implementation, hardware and software refreshment, and application roll out will occur consistent with Agency and Center interoperability and functionality requirements.  The model describes when the Contractor must coordinate with NASA and the other ODIN contractors to ensure these objectives are met.

C.4.1  CIO OPERATING MODEL

C.4.1.1  GWAC CIO OPERATING MODEL

The Operating Model for non NASA ordering agencies shall be similar to the NASA model. Specific operating procedures will be established during the DOSP.

C.4.1.2  NASA CIO OPERATING MODEL {R1}

NASA is responsible for establishing and maintaining the Agency and Center IT architectures and standards that define the minimum interoperability and functionality requirements.  This is accomplished through the CIO Operating Model, described in NASA Procedural Guide 2800. Agency level IT architectures and standards are established and maintained through an intra-Agency consensus based process as described in the CIO Operating Model. The ODIN Contractors shall implement the NASA IT architectures and standards which are published in NASA’s IT Technical Standards – Directives. NASA’s standards and architecture have previously been established through the issuance of CIO Executive Notices (EN's).   Information regarding the IT Technical Standards - Directives, as well as EN’s that are relevant to ODIN, but are planned to be incorporated into an IT Management or Records Management Directive that is not yet published (e.g., NPG 2800) can be found at <http://stewmgr.gsfc.nasa.gov/itstandards.html>.  In addition to Agency level architectures and standards, the individual Centers have their own unique processes and documents through which Center level IT architectures and standards are issued.  NASA is shifting the responsibility to select specific IT systems and products to meet NASA IT requirements and implement all NASA established standards to the ODIN Contractors.  All ODIN Contractors are jointly and mutually responsible for all system-level and product-level integration testing to ensure interoperability and functionality, as well as compliance with Agency and Center IT standards and architectures.

C.4.2  COORDINATION AND INTEGRATION ROLES, RESPONSIBILITIES, AND PROCESSES

C.4.2.1  The NASA CIO has delegated responsibility to GSFC to implement ODIN.  GSFC will use an intra-agency team consisting of a Program Manager (PM) and staff, a Contracting Officer for the master contracts, Delivery Order Contracting Officers (DOCO), and Delivery Order Contracting Officer’s Technical Representatives (DOCOTR).  The PM is responsible for ODIN Program Operations.  The PM is directly accountable to the NASA CIO and the NASA CIO Council for meeting ODIN program and performance objectives.  Included in this responsibility is: ensuring contractor compliance with the terms and conditions of their contracts, implementing and ensuring compliance with Agency architectures and standards, assuring maintenance of interoperability and compatibility across the Agency, and validating that contractor offered systems and products are within the system and product performance specifications, Attachment N, ODIN Performance Specifications.

C.4.2.2  Both NASA and the ODIN Contractors are encouraged to recommend additions, modifications, and deletions to Agency and Center IT policies, architectures, standards, and procedures.  All proposed changes will be reviewed before implementation at the appropriate level (Agency or Center).  It is the responsibility of the Contractor(s) to raise adverse impacts to stability, cost, architecture, interoperability, compatibility or service.  The Contractor shall also review with NASA any planned system implementations, including hardware/software refreshment and application rollout, which could be reasonably expected to have an adverse impact on the stability of the existing IT environment.

C.4.2.2.1 To assure maintenance of the NASA IT architectural configuration, the process set forth in paragraph 2.2.1 of NPG 2800 will be followed.  The Contractor shall bring recommendations for changes to the NASA IT architecture and standards to the attention of the ODIN PM, who will be responsible for ensuring the review and approval process is conducted in compliance with NPG 2800, and communicating results of that process to the Contractor.  When reviewing and approving recommendations for changes affecting ODIN, the CIO Representatives Board will be augmented by the ODIN Program Manager and the ODIN Contractor Program Managers.  To facilitate management of the ODIN Program and resolution of program issues which cannot be resolved at a lower level, the CIO Council, chaired by the NASA CIO, will be augmented as appropriate with senior ODIN Contractor representatives.

C.4.2.2.2  Each Center will establish a Center level Configuration Control Board (CCCB), chaired by the Center CIO and membership made up of at least the DOCOTR and the ODIN Contractor’s representative.  Functions of the CCCB include approving proposed changes to local architectures and standards, which assure changes in local architectures and standards are consistent with Agency interoperability and compatibility standards.  The Centers may use an existing or alternative mechanism that accomplishes the same results.

C.4.2.3  Each Center will have a DOCOTR.  The DOCOTR is responsible for ODIN Center Operations, and is directly accountable to the ODIN Program Manager for meeting ODIN program and performance objectives, ensuring the Contractors’ compliance with the terms and conditions of their delivery orders, implementing and ensuring compliance with Agency architectures and standards, and assuring maintenance of interoperability, compatibility across the Agency, and managing the local configuration.  ODIN Contractors shall coordinate system, product, and service roll outs with the DOCOTR to facilitate implementation to minimize impact to end-users.

C.4.3  The selection of systems, products, and services are the responsibility of the Contractor(s).  The Contractor shall meet the requirements for interoperability and functionality and maintain configuration control of their specific Center environment.  The configuration shall be current and available for NASA review and use, upon request.  The ODIN Contractors shall coordinate their system, product and service roll outs with the other ODIN Contractors to assure Agency or Center level interoperability or functionality requirement are not compromised.  Where the ODIN Contractors cannot agree among themselves on matters affecting the interoperability or functionality of ODIN systems, the ODIN Contractors shall establish and employ binding conflict resolution techniques, at their expense.  This process shall not impact schedules, and the Government will not be a party to such conflict resolution.  The Contractor shall inform the PM as soon as practicable of any issue requiring binding conflict resolution.

C.5  SERVICES REQUIRED

The Contractor shall provide the standard and optional services described in the Service Model, Attachment E, as further described in delivery orders issued under this contract.  This includes any servers (e.g., email, print, file, and similar end user and domain based application servers) and/or “back office” products and services required to deliver the functionality to the desktop seats and communication services.  In addition, the Contractor shall provide the following additional services, as appropriate.

C.5.1  END USER TRAINING

In addition to the training requirements specified in the Service Model, the Contractor shall offer a broad range of training courses covering the breadth of products and services, including ODIN-supported COTS software, on a fixed price per person basis.  These offerings shall be made available through the Catalog of Services and Commercial Components, Attachment G.  Training facilities for both training types shall be located in a convenient location to individuals supported by ODIN.  If an on-site training location is used, the facility can only be used to train NASA, tenant Agency, or NASA contractor employees.

C.5.2  END USER DOCUMENTATION

The Contractor shall provide unrestricted access to end user electronic documentation on ODIN services for the use of any products delivered. Hardcopy documentation shall be available in the CSCC, Attachment G. Additionally, the Contractor shall provide a Center telephone directory in accordance with the terms in DRD5.

C.5.3  INTEGRATED CUSTOMER SUPPORT/HELP

For all ODIN provided services, the Contractor shall provide, the following integrated customer support and help as specified in the Service Model.  At a minimum these services shall include:

Appointing a Multiple Resource Single Point of Contact (MRSPOC) for all ODIN provided services.

Providing a toll free phone number for service calls.  The phone number shall be available 24 hours a day, 7 days a week with response consistent with the seat service level.

Providing telephonic and/or electronic mechanisms for problem reporting, requests for service, and action status. These services shall be available 24 hours a day, 7 days a week with response consistent with the seat service level

Minimizing the amount of time it takes for a customer to report problem to the representative.

Routing of non-ODIN actions to the appropriate service provider within 15 minutes after acknowledgement receipt of the trouble ticket.

Tracking of problems from initial call to problem resolution. This includes problems redirected to non-ODIN service providers. (Note: The ODIN return to service metric will be suspended during the period the non-ODIN service provider is resolving problem.)

Notifying users of problem status and resolution.

Monitoring systems to proactively determine, diagnose, and resolve problems.  This includes notifying customers and all service providers of known problems and alerts.

Providing access to ODIN service offerings, (e.g., Service Model, Attachment E; CSCC, Attachment G).

Providing end user documentation for provided services.

Provide consultation services for all Triage Level 1 software packages. For purposes of this requirement, consultation services includes assisting customers in the correct usage of the software, but does not include application development.

C.5.4  SYSTEM ADMINISTRATION

The Contractor shall be responsible for administration of server and desktop systems containing various data which has inherent security requirements.  The Contractor shall obtain security clearances, implement non-disclosure agreements, and comply with Section C.8, IT Security Requirements, to assure that data on ODIN systems is not compromised.  All ODIN system administrators shall be qualified and certified where appropriate to administer ODIN systems.  The Contractor shall be responsible for the integrity and availability and as necessary, confidentiality of all data on all ODIN servers.  The Contractor shall provide a backup and recovery capability for all ODIN servers.  In the event of a server system failure, the Contractor shall be able to restore the latest backup copy of user data, up to the previous five versions.  In no event shall a user lose more than one day’s work.  The Contractor shall provide the capability to restore server user data consistent with Agency and Center standards.  Depending on the system administration level included in the seat/system functionality, the Contractor may retain full administrative privileges to the system, (see Attachment E for appropriate service levels). Where system privileges are shared or the Government has exclusive rights, the Contractor shall provide guidance as to the policies and procedures to ensure interoperability and system integrity are adequately communicated to the Government administrators.  The Government will then assume responsibility to ensure that security and interoperability requirements are met.

C.5.5  SUPPORT TRIAGE FOR ODIN AND NON-ODIN COMPONENTS

The services provided by the Contractor shall accommodate the installation, development, and execution of Government-provided and user-developed hardware and software.  This section describes the Contractor’s responsibility on ODIN-managed/provided seats/systems in this environment.

C.5.5.1  ODIN-SUPPORTED HARDWARE AND SOFTWARE  (Triage Level 1)

For ODIN-supported hardware and software on ODIN-managed/provided seats/systems, the Contractor shall provide the full scope of services required by the Service Model and SOW, as a part of the seat/systems.  ODIN-supported hardware and software systems include: Agency and Center standard COTS hardware and software loads; Center specific COTS hardware and software loads; all ODIN Communication services; and items purchased from the CSCC, Attachment G.  See Attachment L for a list of software Triage Level 1 products.

C.5.5.2  NON-ODIN SUPPORTED HARDWARE AND SOFTWARE (Triage Level 2)

ODIN will provide support to Triage Level 2 supported hardware and software on ODIN-managed/provided seats/systems as identified below.  See Attachment L for a list of software Triage Level 2 products.

C.5.5.2.1 Non-ODIN supported hardware and software systems may include any Agency and Center standard hardware and software loads supported by the Government or through non-ODIN contracts. The non-ODIN hardware and software also includes items purchased through the CSCC with Triage level 2 support (see Attachment G).  For each NASA Center, the Government will identify a point of contact (POC) to the ODIN Contractor for each hardware and software product in this category.  For Triage Level 2 items (included in the seat/system), the Contractor shall:

Facilitate resolution of problems and respond to user requests for information and configuration changes about this hardware and/or software by working, if necessary, with the Government identified POC.

Install the non-ODIN supported hardware and software.  If required the ODIN Contractor shall identify the location and make available the appropriate file space to store non-ODIN supported software.

Ensure the availability of the baseline version of the non-ODIN supported hardware and software.

De-install and re-install any non-ODIN supported hardware and software to another location consistent with the move, add, and change provisions for a system (see Attachment E.3.1.8 Moves, Adds, Changes)

Return the configuration to the baseline operable installation when it is determined that the non-ODIN supported hardware and/or software implementation affects the stability or operability of the ODIN configuration.

C.5.5.2.2  If the Contractor has added non-ODIN supported hardware or software component(s) to the existing base configuration and the updated configuration is stable and interoperable; the updated configuration will be established as the new baseline for that system.  If the Contractor subsequently modifies the baseline configuration as part of a normal ODIN process, and that configuration becomes unstable due to the non-ODIN supported hardware and/or software implementation, the customer's need to accomplish the NASA mission must supersede the new configuration modification and the Contractor shall return the configuration to the established baseline.  If this inability to update the baseline configuration results in the Contractor being unable to achieve a contract performance metric, then the DOCOTR should be contacted for resolution.

C.5.5.3  other HARDWARE AND SOFTWARE (Triage Level 3)

Triage Level 3 hardware and software is any item not covered by Triage Levels 1 and 2.  On any ODIN managed/provided seat/system with maintenance or technology refreshment, the Contractor is responsible for the following:

For seats SE1 through SE3 individual baseline seat configurations may have to be jointly defined by the end user and the Contractor to ensure continuity of the NASA mission and the ODIN performance.  If a customer installs other hardware or software component(s) on the existing seat configuration and the Contractor and the end user jointly agree that the updated seat configuration is stable and interoperable; the updated seat configuration shall be established as the new seat configuration for that end user.  In those cases where a mutual agreement regarding the seat configuration cannot be reached, a decision will be rendered by the DOCOTR.

For any seat where an end user has implemented a change to the established baseline configuration and the Contractor subsequently modifies the seat configuration, and that configuration becomes unstable or ceases to be interoperable due to end-user effected change, the Contractor shall return the configuration to the previous established baseline if the customer's need to accomplish the NASA mission supersedes the need of the ODIN configuration modification.  The DOCOTR will decide the priority of needs and resolution of performance metrics in this instance. The Contractor shall charge for this service according to A.1.15; see also C.5.9.7.

In addition to the above, for any seat where it is determined that a hardware or software Triage Level 3 change has affected the stability, operability, or performance metrics for the seat or any ODIN service, the Contractor shall return the configuration to the baseline operable configuration. A joint decision will be made between the Contractor, end user and DOCOTR on how to proceed. The Contractor shall charge for this service according to A.1.15; see also C.5.9.7.

C.5.6  ASSET REQUIREMENTS

C.5.6.1  ASSET/RESOURCE TRACKING

The Contractor shall use an asset management system to identify, track, and report all ODIN managed assets at the hardware, software and communication component (i.e., hardware and software product) and system levels.  This includes Government-owned assets, as well as the infrastructure.  The Contractor shall provide asset/resource information covering the seat or system configuration which includes selected service level options and catalog selections, customer profile, asset in service date, projected refresh date, and current special status levels (e.g., mission critical uplift, security uplift, mission freeze).

C.5.6.2  PROPERTY MANAGEMENT TRACKING SYSTEMS

The Contractor shall update information in the Government’s property management tracking system databases for Government-owned, ODIN-managed resources.  This requirement shall be performed until the disposal of Government-owned assets managed by the Contractor takes place.  The Government will be responsible for disposing of Government-owned assets.

C.5.6.3  CONFIGURATION CONTROL

The Contractor shall maintain configuration control for the ODIN-managed/provided environment.  The Contractor shall be able to identify, track, and report on all ODIN managed assets. System configuration information to be tracked includes current hardware configuration, software versions, software license utilization, network identification information, and communication system configuration.  System architectures, “as-built” diagrams, and communication system configurations shall be available for Government review and use upon request.

C.5.6.4  ASSET REPORTING REQUIREMENTS

The Contractor shall provide periodic reports as required by DRD 1. (This includes reporting requirements stated in C.5.6.1 and C.5.6.3).  The Contractor shall allow, to the Center ODIN customer base on an ongoing basis, electronic access and SQL query capability to the asset databases.

C.5.7  CATALOG SERVICES

C.5.7.1  The Contractor shall provide a catalog of commercially-available products and services, or CSCC, which augments the bundled products and services described in the Service Model, Attachment E.  These items are to be provided and priced individually (i.e., not bundled within the seat or service).  Orders from this catalog shall not affect the price of the basic seat or system.

C.5.7.2  Catalog items shall be offered and priced in three categories for the master contract.  At DOSP, centers will identify the category under which each product will be available.  Complete descriptions for each of the categories are detailed in Attachment G.

C.5.7.3  Additional items may be added to the catalog at the discretion of the Contractor, or as requested by the Government.  The Government reserves the right to remove items from the catalog.

C.5.8  INTEGRATION AND TESTING

C.5.8.1  During the course of this contract, the Contractor shall periodically modify the user's existing configuration, (i.e., by applying maintenance or technology refreshment enhancements).  In effecting these enhancements, the Contractor shall:

Minimize the time involved to complete the configuration modification to achieve the updated baseline.

Coordinate system, product, and service roll outs with the DOCOTR to facilitate implementation to minimize impact to end-users.

Maintain interoperability amongst the various seat configurations.  A modification to any existing baseline configuration which was interoperable prior to the modification shall maintain that interoperability after the modification is fully integrated.

C.5.8.2  At the Government's discretion, modifications to the baseline (i.e., at a minimum, changes to the Standards and Architecture) and the integration of those modifications may be required to be demonstrated to the Government prior to implementation.  This demonstration should minimize Government travel and the impact to ODIN customers.

C.5.9  SPECIALIZED REQUIREMENTS

C.5.9.1  MISSION CRITICAL REQUIREMENTS

The Contractor shall uplift any seat to Mission Critical Status in accordance with the procedures and pricing described in Section A.1.15.

C.5.9.2  MISSION FREEZE

Due to mission operations, there will be times when contractor access to specific systems and areas will be restricted.  These restrictions may prevent the Contractor from performing routine services, (e.g., preventative maintenance, conducting outages, implementing software and/or hardware configuration changes); however, services levels shall be maintained and corrective maintenance performed as required.  These restrictions, regardless of duration and frequency, will not entitle the Contractor to any price adjustment.  The Contractor shall coordinate access, when necessary (i.e., corrective maintenance), to the affected systems and areas with the DOCOTR.  The Government will notify the Contractor no less than three working days prior to the freeze or as negotiated at DOSP.

C.5.9.3  TEMPORARY SYSTEMS

For well defined but short periods of time, usually three months or less, ODIN seats are required on a temporary basis.  The standard configuration for each seat offered by the Contractor shall be available, with the ability to customize the seat with any selectable optional services.

C.5.9.4  PRIORITY SERVICE

C.5.9.4.1  The Contractor shall allow for up to one (1) percent of all seats at any time to receive priority service. Once the trouble ticket has been issued, response to the problem shall be no greater than 30 minutes.  Return to service or a workaround shall be no greater than 2 hours.  The cost of providing this priority service shall be bundled in and distributed across all seats provided.  The DOCOTRs will deliver to the Contractor and maintain current a list of those seats requiring priority service.

C.5.9.4.2  Additionally, the Contractor shall provide priority service for up to one (1) percent of all problems exclusive of those covered above. Once the trouble ticket has been issued, response to the problem shall be no greater than 30 minutes.  Return to service or a workaround shall be no greater than 2 hours.  The cost of providing this priority service shall be bundled in and distributed across all seats provided.  The procedure for escalating a problem which requires priority service will be established during the DOSP.

C.5.9.5  TELECOMMUTERS, TRAVELERS, & OFF-SITE PERSONNEL

For ODIN seats used by telecommuters, travelers, and other off-site personnel, remote diagnostics and troubleshooting will be performed to the extent possible in an attempt to resolve problems remotely.  The Contractor is not required to provide services at the remote location.  For problems and services that cannot be resolved or provided remotely, the ODIN seats will be returned to the NASA Center of origin or an ODIN Contractor facility, whichever is more convenient to the Government.  Return to service and performance metrics will apply once the seat is at a supported location and the specific location is acknowledged by the Contractor.

C.5.9.6  SECURITY UPLIFT

The Contractor shall uplift any seat to a classified (secure) level (see Section C.8) in accordance with the procedures and pricing described in Clause A.1.15.

C.5.9.7  RETURN TO SERVICE

The Contractor shall restore the baseline configuration in accordance with Section C.5.5.3 and the procedures and pricing described in Clause A.1.15.

C.5.9.8  NETWORK RESEARCH REQUIREMENTS

The Contractor shall change any seat or service to Network Research Status in accordance with the procedures and pricing described in Clause A.1.15. This seat change shall only be accomplished by notification from the DOCOTR.  Network research activities may prevent the Contractor from performing preventative maintenance, scheduled outages, software and hardware configuration changes.  However, necessary communication services shall be maintained and corrective maintenance performed. The Contractor shall coordinate with the DOCOTR when access to the affected systems is necessary.  The Government will notify the Contractor no less than three working days prior to the freeze.  Due to network research by a Center, there will be times when contractor access to specific systems, services, or areas will be restricted.  During these periods of increased service risk (e.g. higher possibility of unstable networks, performance impacts, service instability) to support network research requirements, there will be times when the required service level(s) and metrics may not be met. These restrictions will not entitle the Contractor to any price adjustment.  During these periods the Contractor will not be held accountable to meet the metrics.  Further, the credit for outage clause in the contract shall not apply.

C.5.9.9  Excess celluLar phone usage

The Contractor shall charge for cellular use in excess of 500 minutes pursuant to the pricing established in the CSCC.

C.5.10  SOFTWARE RIGHT TO USE

The Contractor shall offer to the Government the right to use ODIN provided software at different locations and non-concurrent use on multiple platforms (e.g., allow a second copy to be utilized on a home computer), to the extent the Contractor is able to obtain this right from the software publishers.

C.5.11  Local Area Network Support

The Contractor shall provide for the management, operation, and maintenance of a Center’s local area network, as defined in the Service Model, Attachment E, subject to A.1.10, Allowable Cable Plant Delivery Order Changes.

C.6  PERFORMANCE METRICS

The Contractor shall report performance metrics in accordance with DRD 2.  The Contractor shall provide, maintain, and execute the tool(s) required to capture all metrics.  However, the Government requires the right to access the tools upon request. The monthly electronic reporting shall be retained (electronically in a consistent format) and available upon request until 180 days after contract completion.

C.7  TECHNOLOGY REFRESHMENT PROCESS

The Contractor shall routinely refresh technology as required by the Service Model or other provisions of this contract.  Technology refreshment shall be accomplished and proposals for technology infusion submitted in accordance with Sections A.1.18, Technology Refreshment Proposals and C.4, ODIN Operating Model. The Government reserves the right to verify SOW performance requirements.

C.7.1  PERIODIC/ROUTINE TECHNOLOGY REFRESHMENT

C.7.1.1  ODIN Desktop seats have fixed technology refreshment periods included as a service level component.  The Contractor shall periodically assess the offerings for each seat and update the seat configuration based on the best value to the Government for each seat functionality and price.  The Contractor shall, at a minimum, refresh 1/n of the seats with an n year refreshment cycle each year where n is the refresh period. Desktop performance will be measured using the methodology defined in Attachment N, ODIN Performance Specifications, and shall meet or exceed the performance measures identified in Attachment R, Technology Refreshment Baseline.

C.7.1.2  As ODIN Communications Services and Server Seats as defined in Attachment E, ODIN Service Model, do not have a predefined technology refresh period, the Contractor may propose suitable technology refreshments at any time.

C.7.2  TECHNOLOGY INFUSION

The Contractor shall continually assess the state of technology and NASA’s IT requirements and infrastructure and propose new technology and services for NASA’s consideration.  This shall include recommendations to change Agency and Center architectures, standards, products, systems, and services.  Assessments of new technological security threats should be included in the ODIN technology infusion.  These proposals shall be submitted under the value engineering and other provisions of the contract.

C.8  INFORMATION TECHNOLOGY SECURITY REQUIREMENTS {R3}

C.8.1  COMPUTER SECURITY REQUIREMENTS {R1}

The requirements stated in NASA Policy Directive (NPD) 2810, "Assuring the Security of Information Technology" and NASA Procedures Guidance (NPG) 2810.1, "NASA Information Technology Security Guidelines" apply to all IT systems and networks under NASA's purview operated by or on behalf of the Federal Government, whether located in Federal, contractor or subcontractor installations.  This includes all workstations, servers and portable computers (e.g. laptops and notebooks) used by NASA employees and NASA contractors to remotely access NASA computing and networking resources regardless of location.  Remote access is defined as logging into a NASA computer system through a network or a modem to execute a command on the NASA computer system from a remote location, or to manipulate data stored on a NASA computer system from a remote location.  Compliance with these requirements will be monitored by periodic computer security audits performed by or on behalf of NASA.  All information processed, stored, or transmitted by contractor equipment belongs to the Government, even though the Contractor may own the equipment.  By having the responsibility to maintain the equipment, the Contractor does not acquire access rights to the information or rights to redistribute the information.  The Contractor understands that civil, criminal, or administrative penalties may apply for failure to protect information appropriately.

C.8.2  CLASSIFIED (DoD) INFORMATION SUPPORT

The highest classification level of information required in connection with this procurement is TOP SECRET.

In accordance with the National Industrial Security Program Operating Manual, DoD 5220.M, the Contractor must possess or be able to possess a Facility Security Clearance equal to the highest level of classified information necessary to perform the tasks or services required on this contract.  Security requirements relating to the handling and safeguarding of classified information will be identified in the Contract Security Classification Specification (DD Form 254) issued as Attachment J to the contract.  Contractor personnel, whose duties require access to systems processing classified information, must possess a security clearance at least equal to the highest degree of classification involved and have a validated need-to-know prior to beginning work on the classified system.  The sponsoring agency's security requirements for classified systems must be met by all contractor personnel accessing classified information or systems processing classified information.  The Contractor shall provide the capability to support any seat type at a 'DoD Classified' security level.  It is expected that less than 50 of all seats supported by the Contractor will have a 'DoD Classified' security requirement.  The price for providing this support shall not be included in the NTE seat price, but shall be ordered as a surcharge on a per seat basis as specified in Attachment K

C.8.3  SENSITIVE INFORMATION SUPPORT (UNCLASSIFIED)

Under current Federal guidelines, all officially held information is considered sensitive to some degree and must be appropriately protected by the Contractor as specified in applicable IT Security Plans.  Types of sensitive information that will be found on NASA systems that the Contractor will have include, but are not limited to: Privacy Act information; information that is proprietary to companies or contractors other than the subject contractor; resources protected by International Traffic in Arms Regulation (ITAR); technology restricted from foreign dissemination for competitive reasons; NASA administrative communications, including those of senior Government officials; procurement or budget data;  information on pending cases by Equal Employment Opportunity (EEO);  labor relations;  legal actions;  disciplinary actions;  complaints;  IT security pending cases;  civil and criminal investigations;  information not releasable under the Freedom of Information Act (FOIA)  (e.g. payroll, personnel, and medical data).

Performance under this contract will involve access to and/or generation of sensitive information or systems. The Contractor shall perform an assessment to determine position sensitivity and management controls to prevent the individuals in these positions from bypassing controls and processes such as individual accountability requirements, separation of duties, access controls, and limitations on processing privileges. These position sensitivity assessments will be forwarded to the DOCO and DOCOTR, the NASA system owner, and the NASA information owners for a determination of personnel suitability requirements for individuals assigned to the positions in accordance with DRD3.  Ongoing re-evaluations of the positions and suitability requirements will be necessary during the life of the contract as positions and assignments change.

The Contractor shall conduct initial risk assessments, document the results, develop and maintain IT Security Plans in accordance with the IT security requirements in effect at the Center at which the system is operated.  This plan shall describe how the integrity, availability, confidentiality of the information and IT resources will be protected, including protection (disclosure) from the subject contractor.

A decision to accept any residual risk will be the responsibility of the NASA system owner and the NASA information owners.  The Contractors risk assessments and IT Security Plans shall be updated at least every three years or upon significant change to the functionality of the assets, network connectivity, or mission of the system, whichever comes first.  If new or unanticipated threats or hazards are discovered by the Contractor, or if existing safeguards have ceased to function effectively, the Contractor shall update the risk assessments and IT Security Plans (within 30 working days) and shall make appropriate risk reduction recommendations to the NASA system owner and the NASA information owners (within 5 working days).

C.8.4  PRIVACY AND SECURITY SAFEGUARDS {R1}

The Contractor shall not publish or disclose in any manner, without the data owner and NASA Center IT Security Manager written consent, the details of any security safeguards designed, developed, or implemented by the Contractor under this contract or existing at any NASA Center.

The Contractor shall develop procedures and implementation plans to ensure that IT resources leaving the control of the assigned user (such as being reassigned, removed for repair, replaced, or upgraded) is cleared of all NASA data and sensitive application software by a technique approved by the Center IT Security Manager (currently overwriting at least three times).  For IT resources leaving NASA use, applications acquired via a "site-license" or "server license" shall be removed.  Damaged IT storage media will be degaussed or destroyed.

{R1}To the extent required to carry out a program of inspection and audit to safeguard against threats and hazards to the confidentiality, integrity, and availability of government data, the Contractor shall afford NASA access to the Contractor's facilities, installations, technical capabilities, operations, documentation, records, databases, and personnel.

C.8.5  SECURITY INCIDENT REPORTING {R1}

The Contractor shall promptly report to the Center Information Technology Security Manager any suspected computer or network security incidents occurring on any systems. If it is validated that there is an incident, the Contractor shall provide all necessary assistance and access to the affected systems so that  a detailed investigation can be conducted and lessons learned documented.  Security logs and audit information shall be handled according to evidence preservation procedures.

C.8.6  IT SECURITY TRACKING {R3}

The Contractor shall, at a minimum, implement a management program to identify, track, and report on the current status of assignments of responsibility for IT security, establishment of IT security plans, review of

security controls, and  authorizations to process.  The Contractor shall identify, track, and report the number of incident occurrences on an ODIN supported system, receiving regular or enhanced system administration. Incidents to be tracked include:  unauthorized access of an ODIN supported system wherein a valid account is used without authorization and successfully gains access to the system; a valid account is used in excess of authorized access and successfully gains access to unauthorized information; a weakness in the system is successfully exploited and successfully used to gain access to unauthorized information; resources are stolen which provide access to password files, protected or restricted data (proprietary or export controlled), licensed applications or software, restricted applications, software or code; or, an authorized account is used in violation of Federal, NASA or Center policies regarding proper use of computer resources.  The contractor shall track the number of each incident occurrences resulting in a user's loss of data integrity, denial of service, loss of confidentiality or renders the user or users unproductive for a period of time.  The contractor shall also track and report these instances as identified by

users or system administrators of other systems.

C.9  INTERFACE REQUIREMENTS

The Contractor shall establish appropriate interface agreements with other Agency and/or Center contractors as required.

C.9.1  ODIN Wide Area Telecommunications and Network Interface Requirements

The Contractor shall interface with the NASA Integrated Services Network (NISN).  NISN provides both wide area telecommunications and networking in direct support of space operations and general programmatic and administrative communications requirements of the Agency. NISN services will be provided to NASA by the Consolidated Space Operations Contract (CSOC) as identified in C.9.1.1.1.1, Table 1, Intercenter Service Provider Evolution.  Both NISN and CSOC are managed by the Space Operations Management Office (SOMO). The CSOC participating Centers are currently JSC, MSFC, KSC, JPL, and GSFC.

C.9.1.1  NISN Wide Area Communications Background

C.9.1.1.1  NISN is the consolidation of NASA’s various telecommunication networks under the management of a single project office.  NISN services include:

Long Distance Switched Voice Service

Facsimile (FAX) Service

Voice Teleconferencing Service (VoTS) and Mission Voice Service

Video Teleconferencing Service (ViTS)

Low Bandwidth Video (LBV) Service

Internet Protocol (IP) Services

High Rate Data and Video (HRDV) Services (Mission)

Dedicated Transmission Services

International Services

Reference the NISN Network Services Document for complete and current descriptions.  The data communications services include the physical network resources and supporting infrastructure of the former PSCN, Nascom, NSI, EBnet, and Aeronet.

C.9.1.1.1.1 Each of these legacy networks will undergo significant changes in services and transmission architectures in the near term.  NISN is in the process of redefining routed data services, based largely on the Internet Protocol (IP), in lieu of the project-based networks of the past.  These router based service offerings are classified as “Standard, Premium, and Mission Critical” as specified in the “NISN Network Services Document” (included in the ODIN Offeror’s library).  For quick reference, these categories are summarized below.

Standard - normal, commercially available service

Premium - predictable level of network performance

Mission Critical-superior reliability, availability, and performance

The table below is representative of the typical user base and associated user requirements within NASA and the evolution of service providers for those services over time.  Today’s Service Provider represents the environment at the time that the ODIN RFP is released.  The Near Term Service Provider represents changes currently being implemented in NISN by Program Information Systems Mission Services (PrISMS) contract, with the Long Term Service Provider, CSOC, beginning to be implemented in FY98.

Table C.9.1.1.1.1 ---Intercenter Service Provider Evolution

| Typical User Base | WAN Service Level Requirement | Today’s Service Provider | Near Term Service Provider | Long Term Service Provider |
| --- | --- | --- | --- | --- |
| Administrative and Institutional | Standard |

PSCNI

| NSI | NISN (PrISMS) | NISN (CSOC) |
| --- | --- | --- |
| Laboratory, Engineering, Science | Premium |

PSCNI

Aeronet

| NSI | NISN (PrISMS) | NISN (CSOC) |
| --- | --- | --- |
| Space Operations | Mission Critical |

NASCOM

| EBNET | NISN (PrISMS) | NISN (CSOC) |
| --- | --- | --- |
| New Technology | Advanced Technology | NREN | WAN R&D, (i.e. NREN) | WAN R&D (ARC) |

C.9.1.1.1.2  The CSOC Contractor also provides local area networking for Space Operations activities.  These local area networks will be linked directly to wide area communications services by CSOC.  Additionally there exists a need to interface these local area networks to the ODIN provided local area networks.

The table below is representative of the typical user base and associated user requirements within NASA and the evolution of service providers over time.

Table C.9.1.1.1.2--LAN Service Provider Evolution

| Typical User Base | Typical Service Level Requirement | Today’s Service Provider | Near Term Service Provider | Long Term Service Provider |
| --- | --- | --- | --- | --- |
| Administrative, Institutional, Laboratory, Engineering, Science | Campus, Organization, or Lab LAN | See ODIN Offerors Library at each Center | See ODIN Offerors Library at each Center | ODIN |
| Space Operations | Mission Critical | See CSOC Offerors Library (e.g. SFOC, CNMOS) | See CSOC Offerors Library (e.g. SFOC, CNMOS) | CSOC |
| KSC Launch | Mission Critical and Campus | See ODIN Offerors Library (e.g. SFOC, JBOSC) | See ODIN Offerors Library (e.g. SFOC, JBOSC) | TBD |

C.9.1.2  ODIN Communications Interface Requirements

C.9.1.2.1  Local Area Networking and other Wide Area Communication Networks

The Contractor shall interface the local area network and other communication services to wide area service providers.  NISN is the primary wide area service provider for NASA. The Contractor shall be responsible for the physical, operational, security and performance characteristics of the interface and ensure that the interface is not the limiting factor in the end-to-end performance.  The Contractor shall coordinate problem resolution with the NISN Help Desk.  For an explanation of NISN systems and interfaces, refer to:

NISN Network Services Document

Transition Plan for NASA Routed Data Network Consolidation

PrISMS Data Requirement DR6.7, PSCN Network Description Document

C.9.1.2.2  Other Local Area Data Networks

The Contractor shall interface the ODIN local area network to the other on-site Local Area Network(s) (e.g., CSOC).  The Contractor shall be responsible for the physical, operational, security and performance characteristics of the interface and ensure that the interface is not the limiting factor in the end-to-end performance.

C.9.1.2.3  Other Local Communications Services

The Contractor shall be required to interface with CSOC and other local service providers for managed communications systems, (e.g. voice telecommunications, video telecommunications, FAX).

C.9.2  INTEGRATED FINANCIAL MANAGEMENT PROject  (IFMP)

Through the IFMP contract, NASA will acquire, implement, and support Integrated Financial Management (IFM) systems as defined by the Joint Financial Management Improvement Program, a joint cooperative of Office of Management and Budget (OMB), General Accounting Office (GAO), the Department of the Treasury, and the Office of Personnel Management (OPM).  These systems will be implemented on an Agencywide basis, including NASA’s Headquarters and nine Centers, and shall support all facilities, organizations, programs, projects, and personnel.  The IFM systems are expected to employ new and emerging computing and communication technologies which take advantage of open, heterogeneous, distributed architectures.  For the end-user desktop systems, the IFMP Contractor is responsible for acquiring and delivering any special end-user workstation hardware and/or software required to successfully execute the IFMP software that is not included in the ODIN managed/provided seat configuration.  The ODIN Contractor is required to provide support consistent with the requirements described in C.5.5.2, Non-ODIN Supported Hardware and Software (Triage Level 2).  This includes the installation on ODIN managed systems of any IFMP-delivered client hardware and/or software, as well as ensuring the continued successful operation of the IFMP hardware and/or software as ODIN system changes are implemented.  For IFMP servers, the IFMP Contractor will have full responsibility for acquiring, delivering, and installing all hardware and any specialized networking required between the IFMP system components; and acquiring, delivering, installing, and maintaining all IFMP systems and application software.  The ODIN Contractor shall only be responsible to maintain an end-user desktop environment that ensures continued successful access to IFMP servers.

C.9.3  CENTER-SPECIFIC INTERFACES

In addition to the Agency-wide interface requirements described above, the Contractor shall establish interface agreements/MOU’s with other contractors and/or Government project offices as identified by each Center during the DOSP.  A list of existing major contracts/projects at each Center for which the Contractor is expected to establish an interface is provided in Attachment M.  Additional and more specific information will be provided when the Center initiates the DOSP. These interface agreements shall be configuration controlled in accordance with the CCCB process as described in Section C.4, ODIN Operating Model.

C.10  EMERGENCY PREPAREDNESS PLAN

The Contractor shall develop procedures and implementation plans to ensure that IT resources are protected and that acts of nature have been considered.  Details are provided in DRD 4.  Center specifics will be provided at DOSP.

[End of Attachment C]