4600.2

APPENDIX 1

___________________________________________________________________________

STANDARDS - FIRE SAFETY EQUIPMENT

Introduction.  As provided in P.L. 93-204 the standards are basically

those set forth in the 1967 edition of the Life Safety Code of the

National Fire Protection Association or other such codes or requirements

approved by the Secretary of Health, Education, and Welfare as conditions

of participation for providers of services under Title XVIII and Title

XIX of the Social Security Act.

Scope of Applicable Standards.  Chapter 10 of the 1967 Life Safety Code

covers the specialized provisions for Institutional Occupancies.  Section

10-2 covers standards for existing Nursing Homes and Residential-Custodial

Care Facilities.  Special attention shall be given to 10-211 Applications.

Note:  Availability of published Standard

The 1967 edition of the Life Safety Code of the National Fire

Protection Association is available from:

National Fire Protection Association

470 Atlantic Avenue

Boston, Massachusetts 02210

___________________________________________________________________________

Page 1 (and 2)                     8/74