Meeting Agenda

Seams Steering Group - Western Interconnection - Planning Work Group

Technical Support Group

June 11, 2003

PDX Conference Center

1:00 p.m. to 5:00 p.m.

- Introductions

- 2008 case: Final Approval of Assumptions and Base Case Results – Kurt Granat, Rich Nixon, Jamie Austin

- Potential elimination of low gas price case and possible creation of a higher high gas price case

- 2013 case Generation Assumptions – Phil Carver

- Renewable Scenario

- Coal Scenario

- Gas Scenario

- 2013 case Generation Assumptions – Jeff Miller

- Renewable Scenario

- Coal Scenario

- Gas Scenario

- Review progress on the attached action items from the prior meeting

- Review report outline and writing schedule

- Next meeting

# SSG-WI-PWG Technical Support Group

# Action Items as of 5/22/03

(Past due items shown in red)

In addition to the following action items, there are several report drafting assignments as identified in the report outline and schedule that has been distributed by Mary Johannis.

### Mary Johannis

- Redraft the report outline and report writing schedule  - Completed

- Document generation assumptions and resulting reserve margin for the 2008 and 2013 cases.

- Identify potential improvements in how this information is gathered (i.e., how the questions are posed to the WECC members)

- Analyze the issue of hydro modeling and develop specific recommendations for how to model low, average, and high hydro conditions in the simulations. Document the methodology for the report.

### Dennis Phillips

- Examine the graphics in the WGA report and look for ways to improve them.

### Phil Carver

- Chair the generation subgroup and develop the 2013 generation assumptions (by June 5th). -

- Develop a table for each case (1 in 2008 and 3 in 2013) showing the amount of coal, wind and gas generation. Nameplate capacity, dependable capacity, and energy will be compared (by June 5th).

### Dean Perry

- Compare the 2008 simulation results with the historical data previously compiled (by June 5th)

### Jayson Antonoff

- Develop wind generation assumptions for the 2013 case (by June 1)

  - 2008 case includes 2,800 MW of wind

  - 2013 gas and coal scenario cases include 9,200 MW of wind (6,400 MW of new wind generation)

  - 2013 Renewables scenario case 21,200 MW of wind (18,400 of new wind - 12,000 MW above base or coal case)

- Provide a write-up to Mary Johannis on how wind generation was modeled by June 12.

## Marv Landauer

- Document the transmission addition assumptions for the 2008 and 2013 cases

### Cynthia Praul

- Distribute CEC 2013 transmission plan for the west to the group - Completed

Tom Foley (with advice from Doug Larsen)

- Document the approach used to address non-transmission alternatives and develop the results.

### Jeff Miller

- Distribute graphics from CA-ISO Henwood LMP study to the group – Unable to locate study

- Help Jayson get wind information. – Help not requested

- Develop a position on whether Mohave should be included in the 2013 case by June 1. – Nearing Completion

- Have transmission subgroup review OTC values for the 2008 case by June 1 - Completed.

- Have transmission subgroup review 2008 results and assess whether the limits are correct by June 1 - Completed

- Develop 2013 transmission assumptions by June 12. – Will need to wait for Generation assumptions and also for initial simulations

### Ali Amarili/Jim Kritikson

- Write a section of the report that describes the difference between the ABB simulations and actual power markets.

### Kurt Granat and Rich Nixon

- Finalize 2008 simulation - Completed

- Develop a list of new plants included in the case by May 27.

Unassigned Open Items:

- Need to examine constraints in getting the large pockets of generation that is developing, but not included in the 2008 case, to market. This may require additional simulations.

Report Writing Group Members: Mary Johannis (Chair), Jeff Miller, Dennis Phillips, Phil Carver, Doug Larson, Marv Landauer, Ken Morris, Donald Davies, Jayson Antonoff, Jacob Willams, Cynthia Praul, Jim Caldwell, Kurt Granat, Rich Nixon, Jamie Austin, and Dean Perry.

Generation Subgroup Members:  Phil Carver (Chair), Kurt Granat, Cynthia Praul, Mary Johannis, Bob Smith, Doug Smith, Jacob Willams, Jayson Antonoff, Donald Davies, and Phil Park.

Transmission Subgroup Members: Jeff Miller (Chair), Marv Landauer, Stan Gray, Jamie Austin, Kurt Granat, Rich Nixon, Donald Davies, Ken Morris, Doug Smith, Harlow Peterson, Bob Smith, Doug Smith, and Dennis Phillips

Attachment X Report Outline

DRAFT (5/29/03)

EXPANDED OUTLINE

# Report of the SSG-WI

Western Interconnection Transmission Planning Process

Technical Study

- Executive summary – Doug Larson

  - Brief description of reasons for study, planning process and studies

  - Conclusions of 2008 and 2013 studies for the various scenarios evaluated

  - Recommendations

- Introduction – Jeff Miller

  - Purpose of study

    - To identify opportunities to mitigate uneconomic transmission congestion with focus on inter-RTO, but also within RTOs

    - To provide policy makers with information concerning transmission impacts of various energy policies being considered by State and Federal entities

    - To identify to generation developers transmission additions necessary to deliver specific generation resources to load

  - Description of the relationship between the WGA and SSG studies

- SSG-WI Transmission Planning Process – Dean Perry

  - Goals and objectives of the SSG-WI planning process

    - Facilitates competitive and reliable regional power market by providing information on what constitutes robust transmission system

    - Focuses on addressing congestion issues that impact marketing of energy between RTOs/ISOs while coordinating with individual RTO planning processes and WECC’s reliability planning processes

    - Assumes voluntary participant funding for identified project needs

    - Specifies time frame for expansion options of 5-15 years in the future beyond already committed projects

    - Considers the following inputs in producing WI-wide long-range expansion scenarios with broad benefits:

      - Historical path use

      - Future resource/demand scenarios

      - Production cost or other method for simulating market

      - Expansion plans from 3 RTOs

      - Expansion plans from TOs and LSEs

      - Subregional (RTO or other subregional forum) planning results

      - Inter-RTO expansion plans (developed by SSG-WI and others) to facilitate WI-wide competitive energy market

      - Long-term visions/principles for higher level transmission development concepts for western grid

      - Resource planning processes

      - State, Provincial and Federal energy policies

      - Demand-side management/demand response options

    - Provides LSEs transmission system implications for various generation and load scenarios for use in their (integrated) resource planning processes

    - Develops a robust Transmission Long Range Plan that provides insight and direction for interconnection expansion

  - Description of the planning process

(Insert Transmission Planning Process Group’s expanded outline)

- Historic congestion – Dean Perry

  - A path is considered heavily loaded if its use exceeds 75% of its OTC (Operating Transfer Capability) over 50% of the time (given that transmission capability must be set aside for reliability and system performance); this definition is different from WGA report (50% of its RTC (Rated Transfer Capability) over 50% of the time) Are there any facts that can be used to support this assumption?

  - Graphs of actual flows on WI paths depicting % of time path flow exceeds certain % of OTC

  - Descriptions of Transmission projects underway to alleviate some of the congestion

- Transmission study methodology

  - Description of ABB Market Simulator Model – Kurt Granat/Rich Nixon

    - Hydro and wind = hard-wired

    - Thermal power plants dispatched economically to simulate market

    - Transmission impacts calculated based on changes from 2008 WECC Power Flow Study

  - Description of model assumptions – various authors – see schedule

    - Simulation of median, high and low hydro

    - Evaluation of median, high and low gas prices

    - 25% reserve margin = proxy for resource adequacy, but no relationship to resource adequacy efforts underway in RTO-West and Cal ISO areas (Does WestConnect have resource adequacy effort underway?)  Right now the 25% reserve margin is just an artifact of the assumptions in the 2008 case.  Since 25% reserve margin does not appropriately capture resource adequacy parameters in NW, the approach for the 2013 run will be to add sufficient resources to avoid unserved load.

      - hydro= nameplate capacity

      - wind= 20% of nameplate capacity would be contribution to any reserve margin

    - Description of model assumptions compared with expectations for WI-wide fully functioning market

      - Hydro simulation

      - Market simulation

  - Reasons for Selecting 2008/2013 simulations for this study

- Base case = 2008 simulation

  - Generation includes power plants on-line January, 2004 unless construction far enough along and contracts in place to ensure that plants will be on-line sometime in 2004

  - Transmission includes lines that will be energized by 2008 as evidenced by construction underway, or all required regulatory permits issued

  - Gas price = wellhead price + basis and transportation adder for WI sub-regions

    - Median price = $3.00/MBTU

    - High price = $4.50/MBTU

    - Low price = $2.00/MBTU

  - Cases:

    - Median hydro, low gas

    - Median hydro, median gas

    - Median hydro, high gas

    - Low hydro, high gas

    - High hydro, low gas

  - Results for 5 cases – Rich Nixon/Kurt Granat

- Scenarios and assumptions for 2013 simulation

  - Criteria for Generation and Transmission additions

  - Gas price assumptions -- Doug Larson/Cynthia Praul

    - Median price = $3.50/MBTU

    - High price = $5.00/MBTU

    - Low price = $2.50/MBTU

  - Demand-side management/demand response scenario modeled as demand reduction -- Doug Larson/Tom Foley

  - Gas scenario – XX MW of new gas, 6400 MW of new wind, XX MW of new coal

  - Coal scenario – 6,000 MW of new coal, 6,400 MW of new wind generation, xx MW of new gas – Jacob Williams

  - Renewables scenario - 21,200 MW of wind and XX MW of new gas 18,400 of new wind - 12,000 MW above base or coal case -- Jayson Antonoff

  - Distributed generation modeled as gas close to load center

  - Cases for each scenario same as for 2008 simulation

  - Results for scenario analyses and associated cases – Rich Nixon/Kurt Granat

- Possible improvements to future studies -- Dennis Phillips

  - Better hydro modeling

  - Better market simulation

  - More flexibility to perform scenario analyses

  - Ability to integrate generation and transmission planning

  - Consistent load modeling assumptions

  - Improve wind generation modeling

  - Coordination with local resource plans and IRPs

- Findings, conclusions and recommendations - All

- Appendices

  - WI Path Flow Study, February, 2003 – Dean Perry

  - Details of generation scenarios and cases in 2008/2013 – Generation subgroup (Phil Carver=lead)

  - Details of transmission assumptions in 2008/2013 – Transmission Subgroup (Jeff Miller=lead)

Attachment X – Report Schedule

DRAFT (5/29/03)

SCHEDULE

# Report of the SSG-WI

Western Interconnection Transmission Planning Process

Technical Study

| Study Task | Responsible Person | Deadline | Status |
| --- | --- | --- | --- |
| 2008 Simulation: Provide seasonal OTC reports | Don Davies |  | Complete |
| Develop nomogram info for model | Kurt Granat |  | Complete |
| Request tx updates for 2008 Case | Don Davies |  | Complete |
| Finalize list of LMP buses | Jamie Austin | 5/9/03 | Complete |
| Check generation included in study | Gen Subgroup | 5/16/03 | Complete |
| Provide Canada hydro generation | Phil Park | 5/16/03 | Complete |
| COMPLETE SIMULATION | Kurt Granat | 6/12/03 |  |
| 2013 Simulation: Decision on modeling gen. adequ. | Gen Subgroup | 6/6/03 |  |
| Formulate generation scenarios | Gen Subgroup | 6/13/03 |  |
| Develop wind generation assumptions | Jayson Antonoff | 6/6/03 |  |
| Update hydro, if necessary | Mary Johannis/ Phil Park | 6/13/03 |  |
| Distribute CEC 2013 Tx plan to group | Cynthia Praul | 6/6/03 | Complete |
| Decide on Tx projects on-line | Tx Subgroup | 6/13/03 |  |
| Data for simulation | Kurt Granat/ Rich Nixon/ Jamie Austin | 6/20/03 |  |
| COMPLETE SIMULATION | Kurt Granat | 6/30/03 |  |
| Write-ups: Introduction | Jeff Miller | 8/8/03 |  |
| Document model assumptions | Kurt Granat | 8/8/03 |  |
| Document generation assumptions | Mary Johannis | 8/8/03 |  |
| Document gen. adeq. assumptions & relationship to resource adequacy | Mary Johannis | 8/8/03 |  |
| Hydro modeling assumptions | Mary Johannis | 8/8/03 |  |
| Wind modeling assumptions | Jayson Antonoff | 6/2/03 |  |
| Document Tx addition assumptions | Marv Landauer | 8/8/03 |  |
| Describe SSG-WI Tx planning goals & objectives and process | Dean Perry | 8/8/03 |  |
| Document Gas Price Forecast | Doug Larson/ Cynthia Praul | 6/6/03 | 1st draft done |
| Describe relationship of model market assumptions to actual market behavior | Ali Amarili/Jim Kritikson | 8/8/03 |  |
| Describe modeling of demand-side management & distributed generation | Doug Larson/ Tom Foley | 8/8/03 |  |
| Describe historic congestion | Dean Perry | 8/8/03 |  |
| Describe future improvements | Dennis Phillips/ Mary Johannis/ Others | 8/8/03 |  |
| Document future wind scenario | Jayson Antonoff | 8/8/03 |  |
| Document future coal scenario | Jacob Williams | 8/8/03 |  |
| Describe results of 2008/2013 simulations | Kurt Granat/ Rich Nixon | 8/8/03 |  |
| Executive Summary | Doug Larson | 8/19/03 |  |
| Draft Report to Technical Sup. Grp | Mary Johannis | 8/22/03 |  |
| FINAL DRAFT REPORT | Mary Johannis | 9/5/03 |  |

# Comments

Page: 1
 The objectives of this document are to:  (1) gather the work that the SSG-WI PWG has done thus far into one document; and (2) provide a framework into which the future work of the SSG-WI PWG (particularly the modeling work) can be inserted.

Page: 1
 The objectives of this document are to:  (1) gather the work that the SSG-WI PWG has done thus far into one document; and (2) provide a framework into which the future work of the SSG-WI PWG (particularly the modeling work) can be inserted.