Comparison of Energy Program Requirements of EPACT 2005 and EO 13423

|  | EPACT 2005 | EO 13423* |
| --- | --- | --- |
| Energy Efficiency | 2% reduction per year through 2015 | Reduce energy intensity by 3 % annually through 2015, or by 30% by 2015. |
| Greenhouse Gases | (Not addressed) | By reducing energy intensity by 3% annually or 30% by 2015, reduce greenhouse gas emissions. Will be realized through other E.O. goals |
| Advanced Electric Metering | Meter all appropriate facilities by 2012 | (Not addressed) |
| Renewable Energy Usage | The following amounts of electric energy should be from renewable energy sources At least 3% in fiscal years 2007 - 2009; At least 5% in fiscal years 2010 - 2012; At least 7.5% in fiscal year 2013 and after. Double credit for many renewable energy projects | At least 50% of current renewable energy must be new renewable energy sources (in service after 1/1/1999). Also encourages on-site projects for site use. |
| Water Conservation | Implement where cost effective Water Conservation rules to be developed | Reduce water consumption intensity by 2% annually through 2015. FY 2007 will be established as baseline year |
| Procurement | Acquisition of Energy Star products and FEMP-designated products is mandatory unless not cost effective. | Scope of item includes energy-efficient products as well as other environmentally-sound goods and services, including biobased products. |
| Federal Building Performance Standards | Design buildings to be 30% more efficient than applicable ASHRAE or IECC building standard. Interim final energy-efficiency rule was issued December 3, 2006, and is now in force. Sustainable buildings rule to be developed by DOE. | Construct or renovate buildings in accordance with sustainability strategies, including resource conservation, reduction, and use; siting; and indoor environmental quality. Makes mandatory the elements of the High Performance Buildings MOU signed by 19 agencies in January 2006. 15% of existing building stock to be sustainable by 2015. |
| EMS systems | (Not addressed) | Implement EMS for energy where appropriate |
|  |  | * First set of EO implementing instructions to be issued in mid-February 2007. |