Centralized Hydrogen Production from Wind

Wind power is currently utilized as a renewable power technology for generating electricity.  Combining this electricity with water electrolysis, wind can provide hydrogen with few emissions and with very low consumption of petroleum.  Grid electricity supplements the electricity from wind in order to increase the capacity factor of the electrolyzer for the Future case. The petroleum energy use and resultant CO2 emissions from this process are associated with hydrogen delivery, as well as the use of grid electricity for the Future case.

| Well-to-Wheels Energy and Greenhouse Gas Emissions Data |
| --- |
|  | Current (2005) Gasoline ICE Vehicle | Current (2005) Gasoline Hybrid Electric Vehicle | Current (2005) Central Electrolysis Using Wind - FCV | Future (2030) Central Electrolysis Using Wind/Grid - FCV |
| Well-to-Wheels Total Energy Use (Btu/mile) | 5,900 | 4,200 | 3,800 | 4,700 |
| Well-to-Wheels Petroleum Energy Use (Btu/mile) | 5,300 | 3,800 | 20 | 100 |
| Well-to-Wheels Greenhouse Gas Emissions (g/mile) | 470 | 340 | 50 | 50 |
| Cost of Hydrogen ($/gge, Delivered) |  |  | 9.50 | 2.70 |

Notes: Centralized Hydrogen Production from Wind

- Source: Well-to-wheels energy, petroleum and greenhouse gas emissions information from the Argonne National Laboratory GREET model, Version 1.7.  Well-to-wheels values represent primary fuel production, electricity production, hydrogen production, and hydrogen delivery. Fossil resource exploration and equipment manufacture is not included.

- Source: Cost, resource requirements, energy requirements, all fuel and feedstock energy contents, and efficiency values for the Current (2005) case is from the National Renewable Energy Laboratory and the H2A model, Version 1.0.9 for a 125,000 kg/day capacity wind electrolysis facility.

- Source: Cost, resource requirements, energy requirements, all fuel and feedstock energy contents, and efficiency values for the Future (2030) case is from the H2A model cases modified to reflect the Department of Energy’s Hydrogen Fuel Cells, and Infrastructure Technologies Program 2015 cost goals as of November 2005.

- Basis is 1 kg of hydrogen, dispensed from filling station for 5,000 psi fills.  A kg of hydrogen contains approximately the same amount of energy as one gallon of gasoline, or one gallon of gasoline equivalent (gge).

- Diagram is for Future (2030) case, showing feedstock and energy consumption levels required to meet technology cost goals.  Flows in diagram represent direct energy and emissions between production and dispensing, and are not based on well-to-wheels calculations.

- Cost of Future (2030) case assumes electricity assistance provided by grid to maintain capacity factor at 97%; the electricity to the electrolyzer is assumed to be 50% wind, 50% grid.  Current (2005) case uses only wind-generated electricity, with an electrolyzer capacity factor of 41%. While the higher capacity factor is required for an economic future (2030) case, it results in higher well-to-wheels total energy use and greenhouse gas emissions.  The greenhouse gas emissions are higher slightly for the future (2030) case, although rounding to significant figures hides this effect.  In the future (2030) case, grid electricity is purchased at the avoided price of $0.03/kWh.  Avoided cost estimates the incremental cost of fuel and capacity displaced by a unit of the specified resource and more accurately reflects its as-dispatched energy value than comparison to the levelized cost of other individual technologies.  See http://www.eia.doe.gov/oiaf/aeo/electricity.html for more details.

- The price of electricity produced from wind in the current (2005) case was calculated from the current (2005) central wind electrolysis H2A case and assumed to be the price wind electricity was produced at in the model.  In the future case (2030) it was assumed the grid and wind electricity prices were the same at $0.03/kWh.

- The petroleum use and resultant GHG emissions are associated with the grid electricity for delivery, as well as for grid assistance in the future (2030) case.  Fossil-based power plants generating grid electricity for the future (2030) case are assumed to sequester carbon emissions at a rate of 85%.

- Energy from incoming wind was not included in the overall energy balance, although the wind-generated electricity is.

- The hydrogen delivery in the Current (2005) case assumes liquid hydrogen delivery by truck from a central plant located 76 miles from the forecourt station.  Liquefier efficiency is 77.4%.  Truck fuel consumption is 6 mi/gallon.  Data were obtained from the H2A Delivery Scenario Model and GREET.  The Future (2030) case assumes hydrogen pipeline delivery over 76 miles.  Delivery costs include necessary compression and/or liquefaction equipment.

- Cost of hydrogen delivery for the current (2005) and future (2030) cases is assumed to be $3.50/kg and $1.00/kg, respectively.

- Future (2030) case assumes pipeline compressed gas delivery to the forecourt station.  Pipeline energy use calculated using the H2A Scenario Model.

- The efficiency of the electric forecourt compressor, which raises the pressure of the gaseous hydrogen for 5,000 psi fills, is 94%.

- For the Current (2005) case, hydrogen is assumed to be received at the forecourt as a liquid and dispensed as a gas for 5,000 psi fills.  For the Future (2030) case, hydrogen is assumed to be received at the forecourt as gaseous hydrogen at 250 psi by pipeline and dispensed for 5,000 psi fills.  The cost of dispensing is included in the delivery cost.

- Current (2005) electrolyzer uses 53.4 kWh of electricity per kg of hydrogen generated.  Future (2030) electrolyzer uses 44.5 kWh/kg.  The LHV electrolyzer efficiencies for the current (2005) and future (2030) cases are 64% and 76%, respectively.

- Installed electrolyzer capital cost for 2005 and 2030 cases is $800/kW and $180/kW, respectively.

- Efficiency results are presented in terms of lower heating value (LHV) of hydrogen.

- Cost of hydrogen is the minimum required to obtain a 10% internal rate of return after taxes on the capital investment.

- The data relevant to the Centralized Hydrogen Production from Wind technology diagram above is provided in the table below.

|  | Current (2005) Central Electrolysis Using Wind - FCV | Future (2030) Central Electrolysis Using Wind/Grid - FCV |
| --- | --- | --- |
| Feedstock Price ($/million Btu) | N/A - Wind Energy | N/A - Wind Energy |
| Energy in Feedstock (Btu) | N/A - Wind Energy | N/A - Wind Energy |
| Grid Electricity Consumed (kWh) | N/A - Wind Energy | 22 |
| Grid Electricity Price ($/kWh) | N/A - Wind Energy | 0.030 |
| Wind Electricity Price ($/kWh) | 0.049 | 0.030 |
| Electricity to Process (Btu) | 182,000 | 152,000 |
| Energy Losses from Process (Btu) | 66,000 | 36,000 |
| Pressure of Hydrogen from Production (psi) | 300 | 300 |
| Energy Use for Delivery Forecourt Operations (Btu) | Negligible | 7,200 |
| Energy Use for Delivery Transport (Btu) | 34,000 | 2,000 |
| Hydrogen Dispensing Fill Pressure (psi) | 5,000 | 5,000 |
| Plant Gate Energy Use Including Feedstock (Btu) | 182,000 | 152,000 |
| Production Process Efficiency | 64% | 76% |
| Pathway Efficiency | 54% | 72% |

# Text boxes

This analysis is based on the best available technology in the laboratory.  Currently, it has not been validated through demonstration.