Parameter Code '00556

Name: Oil and grease, water, unfiltered, freon extraction, gravimetric, recoverable, milligrams per liter
Matrix: Water, Unf

| Analyte Name | Test ID | Lab Code | LTMDL by Spk Std Dev | LTMDL in use | Std Dev | Change To: | LCL | UCL | LRL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OIL&GREASE EPA1664 | 00556B | 2125 | 4.15235 | 3 | 1.655 | 4.2 | 3.211 | 5.877 | 8 |