Shielded Active Integrators for use in Plasma Magnetic Field Diagnostics

Thomas P. Intrator+1, Glen A. Wurden1, Ian C. Faust1, Mark Kostora1

P-24 Plasma Physics Group

Los Alamos National Lab

Los Alamos, New Mexico Mail Stop E526

+intrator@lanl.gov

The Field Reversed Experiment (FRX-L) at Los Alamos National Laboratory confines deuterium plasma in a compact toroidal shape known as a Field Reversed Configuration (FRC). The characterization of the plasma necessitates the analysis of its magnetic fields. Through the use of Faraday’s induction law, an electrical signal from a “b-dot” probe must be integrated accurately to understand the strength and nature of the induced magnetic field. Integration of the signal is done precisely using an analog active integrator. It allows for substantial gains, automatic zeroing of the baseline integrated signal and no signal droop, reducing the error. Data accuracy is preserved through diligent shielding from electromagnetic interference. This was done by mounting the cards within a standard rack chassis isolated in a faraday cage-like arrangement. The design has been optimized to reduce cross-interference, ease repairs and reduce temperatures. The overall error and noise fluctuations are expected to be reduced significantly by many orders of magnitude. Magnetic signal analyses, which comprise the primary diagnostic for the FRC, require one to difference two integrated dB/dt signals. This differential integrator provides a simple way to do this electronically without manually zeroing out integrating signals. The increased precision will allow for better characterization of the plasma in the upcoming tests on FRX-L. Depending on the time scales and characteristics of future plasmas, adjustments to longer timescales and greater shielding will necessitate modification of the active integrator.

Ian Faust was funded by the Science Undergraduate Laboratory Internship program.