Dedicated Hosting Service (DHS) Cutover Checklist

GSA Transition Coordination Center

27 July 2007

Prepared for the

GENERAL SERVICES ADMINISTRATION

Networx Support Services

10304 Eaton Place

Fairfax, VA  22030

Contract Number GS00T03AHD0007

Order Number GST007NS0023

Dedicated Hosting Services (DHS) Transition Cutover Check List

- Networx Service Functional Definition

- Dedicated Hosting Services (DHS)

Dedicated Hosting Services (DHS) provide agencies the alternative of hiring a contractor for Web hosting operations. DHS are fully managed by the Contractor.

The various equipment and facilities comprising the Web hosting environment are operated and administered by the Contractor.

- Dedicated Hosting Services (DHS)

Web hosting refers to the process of publishing a Web site and making it available for Worldwide Web access. In particular, Agency will contract with the Contractor to store its content (Web pages) on a dedicated server, located in the Contractor’s Internet Data Center (IDC). A dedicated server is leased strictly to a single Agency; in addition, other infrastructure - including Internet connectivity - is also dedicated or leased for the exclusive use of the Agency.

- Standards

DHS shall comply with the following standards, as applicable. After award, the contractor may propose alternatives at no additional cost to the Government that meet or exceed the provisions of the standards listed below.

- RFC 1034 - Domain names - concepts and facilities

- RFC 1035 - Domain names - implementation and specification

- RFC 1123 - Requirements for Internet Hosts - Application and Support

- RFC 2181 - Clarifications to the DNS Specification

- RFC 4033 - Domain Name System Introduction and Requirements

- RFC 4034 - Resource Records for DNS Security Extensions

- RFC 4035 - Protocol Modifications for DNS Security Extensions

- Networx Performance Requirements

The performance levels and Acceptable Quality Level (AQL) of Key Performance Indicators (KPIs) for Dedicated Hosting Services Performance Metrics Key are mandatory unless marked optional:

| DHS Performance Metrics |
| --- |
| Key Performance Indicator (KPI) | Service Level | Performance Standard (Threshold) | Acceptable Quality Level (AQL) | How Measured |
| Availability (Internet Connection) | All | 99.99% | ≥ 99.99 % | Internet Connection availability is calculated as a percentage of the total reporting interval time that the Internet Connection is operationally available to the Agency. Availability is computed by the standard formula: Where x=Internet Connection |
| Availability (Web Site) | Routine | 99.7% | ≥ 99.7% | Web Site availability is calculated as a percentage of the total reporting interval time that the Web Site is operationally available to the Agency. Availability is computed by the standard formula: Where x = Web Site |
| Time to Restore (TTR) | Without Dispatch | 4 hours | < 4 hours | The Networx Vendor will calculate Time to Restore (TTR) as the elapsed time between the time a service outage is recorded in the Trouble Management System and the time the service is restored minus any (1) time due to scheduled network configuration change or planned maintenance or (2) time, as agreed to by the Government, that the service restoration of the service cannot be worked due to Government caused delays. Examples of Government caused delays include: 1) the customer was not available to allow the contractor to access the Service Delivery Point or other customer-controlled space or interface; 2) the customer gave the contractor an incorrect address for the SDP; 3) the customer failed to inform the contractor that a security clearance was required to access the SDP or customer-controlled space; 4) or the Government required service at a remote site and agreed that a longer transit time was required. |
|  | With Dispatch | 8 hours | < 8 hours |  |

*Use in conjunction with Generic Cutover Checklist

| PRE-CUTOVER |  | STATUS |
| --- | --- | --- |
| Administrative | Has an Agency Hierarchy Code (AHC) been provided to the Networx vendor? |  |
|  | Have Local Government Contacts (recommend at least two per location) been identified and contact information provided? |  |
|  | Has a Project Specific Transition Plan Identifier been assigned? |  |
|  | Note (P_OPS) in the Agency Service Request Number (ASRN) if this is parallel service with a new DNS applied to the new site |  |
| Pre-Ordering/Design Decisions | Select Hardware (type of server) and Software Platforms (Linux/Apache, Unix, Microsoft Windows/ISS |  |
|  | Determine Security Requirements – Vulnerability Scanning, Intrusion Detection |  |
|  | Engineer Internet Bandwidth and Committed Information Rate Requirements |  |
|  | Develop Load Balancing Criteria |  |
|  | Determine COOP (Disaster Recovery) |  |
|  | Utilize parallel operations only if a different DNS is established although this is a highly unlikely scenario. |  |
|  | Develop Fall-Back plan: Maintain the HW/SW configuration at the FTS2001 vendor’s site and have the Networx vendor re-point the DNS back to the original IP address. The continued activation of the Hosting at the FTS2001 site will also provide access to the application while the Networx hosting site is propagated across the Internet. |  |
| Site Preparation (all to be done at the Networx Vendor’s site) | Is sufficient power capacity available? |  |
|  | Are Fire Detection and Suppression capacity adequate? |  |
|  | Is spare rack space available? |  |
| User Training | Have users received training on Trouble Reporting Procedures and Escalation, Report Interpretation to include System Availability Monitoring/Management display/reports, and Web Monitoring/Management display/reports. |  |
| Installation | Router, Firewall, Load balancing, Servers, Security, all to be done by the Networx vendor. Web content will be the responsibility of the Agency. |  |
| Application Management |  |  |
| Documentation |  |  |
| Execute Tests | See Examples Below of a Networx Vendor Networx Services Verification Test Plan: Have the Agency LGC or Network Management Organization and Networx vendor reviewed the results of this testing to insure all is ready for the actual cutover? |  |
| Conduct Pre-Cutover Testing | Testing should be accomplished from the LAN to the application and then from the WAN to the application. A test DNS can be established at the Networx server to support this pre-cutover testing. |  |

- Feature Tests

The Agency should insure that all of the features and functions ordered with the service were delivered and are operational within the seventy two hour acceptance window. The Networx vendors are to perform verification testing on the service for each order at the initial service delivery to an Agency per the Networx service verification test plan.

| FINAL CUTOVER |  |  |
| --- | --- | --- |
| Communicate schedule and status with stakeholders |  |  |
| Obtain authorization to proceed or delay | GO/NO-GO notification |  |
| Activate new service(s) | Agency must go into the Domain record and change the primary/secondary to the Networx vendor. |  |
| Conduct acceptance test | Access to the hosting application should be tested from a number of ISPs in order to ensure that the new IP address for the DNS has been propagated throughout the Internet. Propagation throughout the entire Internet may take from 6-48 hours. |  |
| The Agency should notify the Networx vendor and TCC of rejection of service within 72 hours of cutover | Acceptance period of 72 hours begins upon receipt of the Service Order Completion Notice (SOCN) |  |
| Begin production |  |  |
| Deactivate legacy service |  |  |
| Obtain signoffs for cutover completion |  |  |

Transition Cutover Contact List

Agency Name: _______________________________________

Local Government Contact Personnel:

Name: __________________________		Name: ____________________________

Title/Function: ___________________		Title/Function:______________________

Location: _______________________		Location: __________________________

Mobile #: _______________________		Mobile #:__________________________

Office #: ________________________		Office #: ___________________________

Email: __________________________		Email: _____________________________

Networx Vendor: ______________________________________________

Networx Vendor Key Contact Personnel:

Name: __________________________		Name: ____________________________

Title/Function: ___________________		Title/Function:______________________

Location: _______________________		Location: __________________________

Mobile #: _______________________		Mobile #:__________________________

Office #: ________________________		Office #: ___________________________

Email: __________________________		Email: _____________________________

### CUTOVER ISSUES LOG

| ISSUE # | INITIATOR | ISSUE SUMMARY |
| --- | --- | --- |
| Priority/Impact | Owner | Target Resolution Date |
| Status | Status Date | Resolution |