ASSESSMENT NO. : EENS-FS-

FIRE SAFETY SURVEILLANCE

| Department/Division Assessed: Date: Location/Building # Reference: SBMS Fire Safety |
| --- |
| Controlling Ignition Sources |
| 1 | Y | Do all space heaters have the appropriate BNL Space Heater Label? If not, was the space heater appropriately reviewed prior to use? Contact MMC if a label is needed. |
|  | N |  |
|  | NA |  |
| Comments: |
| 2 | Y | Is there a minimum of a 3’ clearance between the space heater and any combustible materials such as wood desks or cardboard boxes? |
|  | N |  |
|  | NA |  |
| Comments: |
| 3 | Y | Are space heaters unplugged when not in use? |
|  | N |  |
|  | NA |  |
| Comments: |
| 4 | Y | Is there any open flame work in laboratories such as Bunsen burners? |
|  | N |  |
|  | NA |  |
| Comments: |

| 5 | Y | Is open flame work conducted in an engineered safe area, such as a hood for items like Bunsen burners? |
| --- | --- | --- |
|  | N |  |
|  | NA |  |
| Comments: |
| 6 | Y | Are all designated smoking areas a minimum of 25 ft away from flammable liquid storage containers, 10 ft away from containers with combustible material (recycling bins, dumpsters) or ground cover (mulch, leaves, wooden floors), and 20 ft away from areas with smoke detection? |
|  | N |  |
|  | NA |  |
| Comments: |
| 7 | Y | Are “Butt Stop” containers well maintained with no evidence of cigarette butts on the surrounding ground? |
|  | N |  |
|  | NA |  |
| Comments: |
| Fire Protection |
| 8 | Y | Are any Fire Doors propped open? |
|  | N |  |
|  | NA |  |
| Comments: |
| 9 | Y | Are self-closing fire doors kept clear so that they can close if needed? |
|  | N |  |
|  | NA |  |
| Comments: |

| 10 | Y | Are all exit paths kept clear and clearly marked exit? |
| --- | --- | --- |
|  | N |  |
|  | NA |  |
| Comments: |
| 11 | Y | For flammable or combustible liquids, is there more than 1-days supply stored outside of an approved storage cabinet? |
|  | N |  |
|  | NA |
| Comments: |
| 12 | Y | Are there more than three flammable storage cabinets within 100 feet of each other? (May require a fire evaluation for size of fire area, contact fire safety SME) |
|  | N |  |
|  | NA |  |
| Comments: |
| 13 | Y | Are any flammables or combustibles stored in exit enclosures such as stairwells? If so, relocation is required. |
|  | N |  |
|  | NA |  |
| Comments: |

| 14 | Y | Does the facility Firehouse Response Card acknowledge that there is flammable storage and where it is? (Access from the emergency services home page) |
| --- | --- | --- |
|  | N |  |
|  | NA |  |
| Comments: |
| 15 | Y | Is there a fire extinguisher between 10 and 25 feet from the cabinet or room where flammable or combustible liquids are stored? |
|  | N |  |
|  | NA |  |
| Comments: |

Comments: Identify comments against question number noted above

Improvement Opportunities:

Lessons Learned:

Assessor      _____________________

Assessor Signature

Title       __________________

Date      _______

Reviewed by:	Manager, Research operations Office

Date

Lab-Wide Implications? No	 Yes (Submit Lessons Learned to SBMS)